## Slide 1
IBRTF September NPRR_NOGRR update
Stephen Solis – Principal, System Operations Improvement
September 13th, 2022

## Slide 2: Preliminary High-Level Gap Assessment of ERCOT Nodal Protocols
Sec 11
Sec 4
Sec 5
Sec 6&7
Sec 9
Sec 8
1
2
2
2
2
2
3
2

## Slide 3: NPRR requiring Reactive Capability at 0 MW output for IBRs
Will be an NPRR and corresponding NOGRR
Drafts are complete and undergoing a final review with an estimated 2-3 weeks to time of submission
Addresses other clarifications and requirements needed to support this requirement
Aligns with or exceeds applicable parts of IEEE 2800 requirements where appropriate
Some effort shifted to further expedite the voltage and frequency ride through requirements NOGRR based on feedback from last IBRTF meeting

## Slide 4: IBR Ride-Through Requirements
Will be a NOGRR revising Sections 2.6 and 2.9.
Initial Draft is complete and past technical review. Second review is now starting with an estimated 3-4 weeks to time of submission
Addresses both frequency ride-through and voltage ride-through of Inverter Based Resources (IBRs)
Aligns with or exceeds applicable parts of IEEE 2800 requirements where appropriate
Includes language that addresses most of the ride-through failure modes
Includes language that clarifies certain specific aspects of ride-through performance requirements with additional specificity and clarity

## Slide 5: FFR/Inertial response requirements
Not started
Will begin after other two efforts are in flight as ERCOT already has a level of FFR and inertial response requirements in effect.

## Slide 6
Questions?