Draft

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100 – Austin, Texas 78744

Wednesday, August 10, 2022 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Bowen, Kenneth | CPS Energy | Via Teleconference |
| Borkar, Sandeep | Lower Colorado River Authority (LCRA) | Alt. Rep. for Daniel Marr |
| Boyd, Phillip | City of Lewisville | Via Teleconference |
| Bunch, Kevin | EDF Trading North America (EDF Trading) |  |
| Burke, Tom | RWE Renewables (RWE) | Alt. Rep. for Jennifer Ayers- Brasher |
| Camet, Brooke | Office of Public Utility Council (OPUC) | Via Teleconference |
| Cloninger, Ross | Texas-New Mexico Power (TNMP) | Alt. Rep. for Chris Gerety Via Teleconference |
| Cochran, Adam | Tenaska Power Services (Tenaska) | Via Teleconference |
| Cochran, Seth | DC Energy | Via Teleconference |
| Ebrahimian, Reza | Austin Energy | Via Teleconference |
| Evans, Doug | South Texas Electric Cooperative (STEC) | Via Teleconference |
| Haley, Ian | Luminant Generation (Luminant) |  |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) | Via Teleconference |
| Lee, Billy | Garland Power and Light (GP&L) | Via Teleconference |
| Lutrick, Chris | Denton Municipal Electric (DME) | Via Teleconference |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) | Via Teleconference |
| Nashawati, Eithar | Oncor Electric Delivery (Oncor) |  |
| Reid, Mike | Air Liquide | Via Teleconference |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) | Via Teleconference |
| Schmitt, Jennifer | Rhythm Ops | Via Teleconference |
| Smith, Chase | Southern Power |  |
| Valagura, Bill | Calpine Corporation (Calpine) | Via Teleconference |
| Woitt, Wes | CenterPoint Energy (CNP) | Via Teleconference |
| Zhang, Wen | Shell Energy North America (SENA) | Alt. Rep. for Resmi Surendran Via Teleconference |

| Guests: |  |  |
| --- | --- | --- |
| Anderson, Connor | AB Power Advisors | Via Teleconference |
| Ashley, Kristy | Customized Energy Solutions | Via Teleconference |
| Bell, Brad | Solar Proponent | Via Teleconference |
| Benson, Mariah | PUCT | Via Teleconference |
| Blackburn, Don | Hunt Energy Network | Via Teleconference |
| Blackshear, David | PNM Resources | Via Teleconference |
| Calcagni, Anthony | DC Energy | Via Teleconference |
| Canamar, Jorge | Sharyland | Via Teleconference |
| Case, Jaime | LP&L | Via Teleconference |
| Collard, Brad | PEC | Via Teleconference |
| DeRidder, Chris | nFront | Via Teleconference |
| DeWitt, Charles | PEC | Via Teleconference |
| Dharme, Neeraja | EDFT | Via Teleconference |
| Dietert, Cole | EPE | Via Teleconference |
| Donohoo, Ken | Owl ERC, LLC | Via Teleconference |
| Floyd, Rickey | Oncor | Via Teleconference |
| Headrick, Bridget | Customized Energy Solutions |  |
| Henson, Martha | Oncor | Via Teleconference |
| Hinds, David | LCRA | Via Teleconference |
| Hubbard, John Russ | TIEC | Via Teleconference |
| Jackson, Jimmy | CPS Energy | Via Teleconference |
| Jamar, Ben | Orsted | Via Teleconference |
| Kee, David | CPS Energy | Via Teleconference |
| Khayat, Maribel | CNP | Via Teleconference |
| King, Kenesha | Oncor | Via Teleconference |
| Koenig, Chris | GSEC | Via Teleconference |
| Kolberlein, Paul | LP&L | Via Teleconference |
| Kolb, Lloyd | Invenergy | Via Teleconference |
| Kroskey, Tony | Brazos Electric Cooperative | Via Teleconference |
| Lee, Jim | CNP |  |
| Leverett, Travis | WETT LLC | Via Teleconference |
| Lotter, Eric | GridMonitor | Via Teleconference |
| Miller, Alexandra | EDFR | Via Teleconference |
| Miller, Luke | LP&L | Via Teleconference |
| Mulholland, Chad | NRG | Via Teleconference |
| Noyes, Theresa | LCRA | Via Teleconference |
| Nguyen, Andy | LCRA | Via Teleconference |
| Palen, John | Grid Beyond |  |
| Penney, David | Texas Reliability Entity | Via Teleconference |
| Pokharel, Nabaraj | OPUC | Via Teleconference |
| Polusani, Jithender | PECI | Via Teleconference |
| Reid, Walter | Advanced Power Alliance | Via Teleconference |
| Roberts, Vincent | TNMP | Via Teleconference |
| Siddiqi, Shams | Crescent Power Consulting | Via Teleconference |
| Snellgrove, Jon | AEP | Via Teleconference |
| Townsend, Aaron | Potomac Economics | Via Teleconference |
| Turner, Lucas | STEC | Via Teleconference |
| Uy, Manny | Hunt Energy | Via Teleconference |
| Varnell, John | Tenaska | Via Teleconference |
| Velasquez, Ivan | Oncor | Via Teleconference |
| Wall, Perrin | CNP | Via Teleconference |
| Wang, Zhenhua | AEPSC | Via Teleconference |
| White, Lauri | AEPSC | Via Teleconference |
| Williams, Wes | BTU | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power | Via Teleconference |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Anderson, Troy |  | Via Teleconference |
| Balderas, Raul |  | Via Teleconference |
| Ballard, James |  | Via Teleconference |
| Billo, Jeff |  | Via Teleconference |
| Blevins, Bill |  | Via Teleconference |
| Cheng, Yunzhi |  | Via Teleconference |
| Clifton, Suzy |  |  |
| Daryabak, Mehdi |  | Via Teleconference |
| Dokic, Tatjana |  | Via Teleconference |
| Du, Pengwei |  | Via Teleconference |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  | Via Teleconference |
| Hartmann, Jimmy |  | Via Teleconference |
| Hinojosa, Luis |  | Via Teleconference |
| Huang, Fred |  |  |
| Kang, Sun Wook |  | Via Teleconference |
| Jenkins, Darrell |  | Via Teleconference |
| Maggio, Dave |  | Via Teleconference |
| Mago, Nitika |  |  |
| Mickelson, Evan |  | Via Teleconference |
| Phillips, Cory |  | Via Teleconference |
| Schmall, John |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Springer, Agee |  | Via Teleconference |
| Teixeira, Jay |  | Via Teleconference |
| Thompson, Chad |  | Via Teleconference |
| Troublefield, Jordan |  | Via Teleconference |
| Wasik-Gutierrez, Erin |  | Via Teleconference |
| Yan, Ping |  | Via Teleconference |

Unless otherwise indicated, all Market Segments participated in the votes.

Chase Smith called the August 10, 2022 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

Mr. Smith reviewed items scheduled for a vote and noted changes to the agenda.

# Approval of Meeting Minutes (see Key Documents)

# June 10, 2022

Market Participants reviewed the June 10, 2022 ROS Meeting Minutes.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Technical Advisory Committee (TAC) Update

Mr. Smith reviewed the disposition of items considered at the June 27, 2022 and July 27, 2022 TAC Meetings.

# ERCOT Reports (See Key Documents)

# Operations Report

# Luis Hinojosa reviewed the June 2022 Operations Report.

# System Planning Report

# Ping Yan reviewed the June 2022 System Planning Report.

Generic Transmission Constraint (GTC) Update

Yunzhi Cheng presented the GTC update and highlighted the new Hamilton GTC.

Transient Security Assessment Tool (TSAT) Model Update

Mehdi Daryabak provided an update on the TSAT data requirements and model statuses, highlighted that some Resource Entities with User-Defined Models submitted by third-party vendors now meet the requirements, however, some Resource Entities have still not submitted models or responded to ERCOT requests.  Mr. Smith requested ERCOT provide a comprehensive status on model submittal and Public Utility Commission of Texas (PUCT) enforcement efforts.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1138, Communication of Capability and Status of Online IRRs at 0 MW Output

Freddy Garcia summarized NPRR1138.  Market Participants noted NPRR1138 discussion at the July 21, 2022 Operations Working Group Meeting (OWG), and in consideration of concepts and standardizing Intermittent Renewable Resource (IRR) practices with respect to setting Low Sustained Limit (LSL) values and the related technical discussion, requested further review of the issues by OWG and the Inverter-Based Resource Task Force (IBRTF).  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

ROS Revision Requests (See Key Documents)

Impact Analyses Review

Nodal Operating Guide Revision Request (NOGRR) 242, Update POIB References

Market Participants recalled the July 8, 2022 email vote to recommend approval of NOGRR242 language and reviewed the 6/22/22 Impact Analysis.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

Planning Guide Revision Request (PGRR) 073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR230, WAN Participant Security

ROS took no action on these items.

NOGRR241, Related to NPRR1127, Clarification of ERCOT Hotline Uses

Market Participants discussed NOGRR241’s tabled status and the 6/1/22 ERCOT comments.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

OWG (see Key Documents)

Rickey Floyd reviewed OWG activities.

NPRR1070, Planning Criteria for GTC Exit Solutions

NPRR1132, Communicate Operating Limitations during Cold and Hot Weather Conditions

Resource Registration Glossary Revision Request (RRGRR) 032, Related to NPRR1132, Communicate Operating Limitations during Cold and Hot Weather Conditions

NOGRR215, Limit Use of Remedial Action Schemes

NOGRR226, Revision to 5% Transmission Operator (TO) Load Shedding Relay Point

ROS took no action on these items.

NPRR1084, Improvements to Reporting of Resource Outages and Derates

Stephen Solis summarized NPRR1084 and the 7/19/22 ERCOT comments.  Ian Haley summarized the 8/4/22 Joint Commenters comments to NPRR1084.  Mr. Solis reviewed the Revision Request and project implementation timelines, stated that the concepts in the 8/4/22 Joint Commenters comments should be considered in a separate Revision Request, and requested ROS consideration of the issues.  Market Participants noted that OWG had not reviewed the 7/19/22 ERCOT comments, however there was extensive discussion of the issues at various OWG meetings.

Sandeep Borkar moved to endorse NPRR1084 as amended by the 7/19/22 ERCOT comments.  Eithar Nashawati seconded the motion.  The motion carried with one abstention from the Investor Owned Utility (IOU) (TNMP) Market Segment.  (Please see ballot posted with Key Documents.)

NPRR1118, Clarifications to the OSA Process

Mr. Floyd summarized NPRR1118 discussion at the June 23, 2022 OWG meeting and stated that OWG was in consensus to support a recommendation to ROS for NPRR1118 as amended by the 6/13/22 ERCOT comments.  Market Participants offered administrative clarifications to NPRR1118.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

System Change Request (SCR) 821, Voltage Set Point Target Information for Distribution Generation Resource (DGR) or Distribution Energy Storage Resource (DESR)

Dennis Kunkel summarized SCR821.  Mr. Floyd summarized SCR821 discussion at the June 23, 2022 OWG meeting and stated that OWG was not in consensus to support a recommendation to ROS.  Kenesha King noted that although the Network Data Support Working Group (NDSWG) had not held a meeting, a request for discussion comments was solicited and the only notification received was from ERCOT Staff noting that SCR821 had minimal impacts to ERCOT systems.

Mr. Kunkel moved to endorse SCR821 as submitted.  Tom Burke seconded the motion.  The motion carried with seven abstentions from the Consumer (2) (Air Liquide, OPUC), Independent Power Marketer (IPM) (SENA), Independent Retail Electric Provider (IREP) (Rhythm Ops), and IOU (3) (Oncor, CNP, TNMP) Market Segments.  (Please see ballot posted with Key Documents.)

NDSWG (see Key Documents)

Ms. King reviewed NDSWG activities.

Dynamics Working Group (DWG) (see Key Documents)

Zhenhua Wang reviewed DWG activities.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Jimmy Jackson reviewed PDCWG activities.

NPRR1128, Allow FFR Procurement up to FFR Limit Without Proration

Mr. Jackson summarized NPRR1128 discussion at the May 18, 2022 PDCWG meeting.  Shams Siddiqi reviewed NPRR1128 and noted the 8/5/22 WMS comments.  Ms. Mago summarized the 7/15/22 ERCOT comments to NPRR1128.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Geomagnetically Induced Current (GIC) System Model Procedure Manual Update

Methodology for Assessing GMD Impacts on ERCOT Power Systems

Jorge Canamar presented the GIC System Model Procedure Manual Update and the whitepaper, “Methodology for Assessing GMD Impacts on ERCOT Power Systems”.  Market Participants offered clarifications to the whitepaper.  Mr. Smith noted these items could be considered for inclusion in the Combined Ballot.

Disband PGDTF

Market Participants expressed support to disband the PGDTF.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Steady State Working Group (SSWG) (see Key Documents)

SSWG Procedure Manual

Ross Cloninger reviewed SSWG activities and presented the updated SSWG Procedure Manual for ROS consideration.   Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Mr. Burke moved to approve the Combined Ballot as follows:

- To approve the June 2, 2022 ROS Meeting Minutes as submitted

- To request PRS continue to table NPRR1138 for further discussion by OWG and IBRTF

- To endorse and forward to TAC the 7/8/22 ROS Report and 6/22/22 Impact Analysis for NOGRR242

- To endorse and forward to TAC the 6/2/22 ROS Report, as amended by the 6/1/22 ERCOT comments, and the 3/23/22 Impact Analysis for NOGRR241

- To endorse NPRR1118 as amended by the 6/13/22 ERCOT comments as revised by ROS

- To endorse NPRR1128 as amended by the 7/15/22 ERCOT comments

- To approve the GIC System Model Procedure Manual Update as submitted

- To approve the Methodology for Assessing GMD Impacts on ERCOT Power Systems as revised by ROS

- To disband PGDTF

- To approve the SSWG Procedure Manual as submitted

Kevin Bunch seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

IBRTF (see Key Documents)

Mr. Solis reviewed IBRTF activities.

System Protection Working Group (SPWG) (see Key Documents)

Jon Snellgrove reviewed SPWG activities.

Operations Training Working Group (OTWG) (see Key Documents)

James Ballard noted that the required Summer Load Shed Workshop was held on July 14, 2022, and encouraged Market Participants to attend the December 8, 2022 Winter Load Shed Workshop.

Other Business

Annual TAC Subcommittee Structural Review

Mr. Smith reminded ROS working group and task force leadership of the annual review criteria for meeting efficiencies, requested that the completed reviews be submitted to ROS leadership, and noted that the consolidated document would be considered at the September 1, 2022 ROS meeting.  Mr. Smith encouraged Market Participants to attend the September 12, 2022 TAC and TAC Subcommittee Structural and Procedural Review by Webex only.

2023 Meeting Schedule

Market Participants reviewed the 2023 Block Meeting Calendar.  Suzy Clifton reviewed the process for finalizing the 2023 ROS Meeting schedule.

Reschedule Dates for October and November ROS meeting

Mr. Smith noted that in consideration of PUCT open meeting conflicts, the October and November ROS meetings were rescheduled to September 29, 2022 by Webex Only and November 7, 2022 by Webex Only.

Review Open Action Items List

Market Participants reviewed the Open Action Items List.

No Report

- Black Start Working Group (BSWG)

- Planning Working Group (PLWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Smith adjourned the August 10, 2022 ROS meeting 12:54 p.m.

# Footnotes

# Key Documents referenced in these minutes may be accessed on the ERCOT website at:

# https://www.ercot.com/calendar/event?id=1650548413198