DRAFT

Minutes of the Technical Advisory Committee (TAC) Meeting – Webex Only

Wednesday, July 27, 2022 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Bailey, Dan | Garland Power & Light (GP&L) |  |
| Barnes, Bill | Reliant Energy Retail Services (Reliant) |  |
| Blakey, Eric | Just Energy |  |
| Camet, Brooke | Office of Public Utility Counsel (OPUC) |  |
| Carpenter, Jeremy | Tenaska Power Services (Tenaska) |  |
| Cochran, Seth | DC Energy |  |
| Coleman, Diana | CPS Energy | Alt. Rep. for David Kee |
| Dreyfus, Mark | City of Eastland |  |
| Easton, Eric | CenterPoint Energy (CNP) |  |
| Fehrenbach, Nick | City of Dallas |  |
| Gaytan, Jose | Denton Municipal Electric (DME) |  |
| Goff, Eric | Residential Consumer |  |
| Greer, Clayton | Morgan Stanley |  |
| Haley, Ian | Luminant Generation (Luminant) |  |
| Harpole, Jay | AP Gas & Electric (APG&E) |  |
| Helton, Bob | ENGIE |  |
| Hendrix, Chris | Demand Control 2 |  |
| Jolly, Emily | Lower Colorado River Authority (LCRA) |  |
| Kent, Garret | CMC Steel Texas (CMC Steel) |  |
| Lange, Clif | South Texas Electric Cooperative (STEC) |  |
| Loving, Alicia | Austin Energy |  |
| Martin, Collin | Oncor Electric Delivery (Oncor) |  |
| Nix, Keith | Texas-New Mexico Power (TNMP) |  |
| Powell, Christian | Pedernales Electric Cooperative (PEC) |  |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) |  |
| Ross, Richard | AEP Service Corporation (AEPSC) |  |
| Sams, Bryan | Calpine Corporation (Calpine) |  |
| Smith, Bill | Air Liquide |  |
| Smith, Caitlin | Jupiter Power |  |
| Zhang, Wen | Shell Energy North America (SENA) | Alt. Rep. for Resmi Surendran |

The following proxies were assigned:

- Bryan Sams to Ian Haley

- Caitlin Smith to Bob Helton

| Guests: |  |  |
| --- | --- | --- |
| Aldridge, Ryan | AB Power Advisors |  |
| Allen, Thresa | Avangrid Renewables |  |
| Anderson, Connor | AB Power Advisors |  |
| Basaran, Harika | PUCT |  |
| Belin, Deb | Earth Etch |  |
| Benson, Mariah | PUCT |  |
| Bivens, Carrie | Potomac Economics |  |
| Boggs, Callie | Eric Winters Goff, LLC |  |
| Bruce, Mark | Cratylus Advisors |  |
| Bunch, Kevin | EDF Trading |  |
| Campo, Curtis | GP&L Texas |  |
| Claiborn-Pinto, Shawnee | PUCT |  |
| Collard, Brad | PEC |  |
| Daigneault, Ralph | Potomac Economics |  |
| Detelich, David | CPS Energy |  |
| Dharme, Neeraja | EDFT |  |
| Dollar, Zachary | PUCT |  |
| Foos, Richard | Citadel |  |
| Gardner, Clint | LP&L |  |
| Gross, Blake | AEPSC |  |
| Haguewood, Ben | PUCT |  |
| Headrick, Bridget | Customized Energy Solutions |  |
| Henson, Martha | Oncor |  |
| Hubbard, John | TIEC |  |
| Huynh, Thuy | Potomac Economics |  |
| Jones, Randy | Mountaineer Market Advisors |  |
| Kleckner, Tom | RTO Insider |  |
| Kremling, Barry | GVEC |  |
| Lacek, Mollie | Talen Energy |  |
| Leverett, Travis | WETT |  |
| Lotter, Eric | GridMonitor |  |
| McKeever, Debbie | Oncor |  |
| McMurray, Creighton | PUCT |  |
| Mechler, Robert | CTT |  |
| Morris, Sandy | WETT |  |
| Nashawati, Eithar | Oncor |  |
| Nguyen, Andy | LCRA |  |
| Okenfuss, James | Savion |  |
| Pokharel, Nabaraj | OPUC |  |
| Pyka, Greg | Schneider Engineering |  |
| Reedy, Steve | CIM View Consulting |  |
| Reid, Walter | Advanced Power Alliance |  |
| Ritch, John | NextEra |  |
| Schatz, John | Vistra |  |
| Scott, Kathy | CNP |  |
| Shaffer, Jarred | Office of Texas Governor Greg Abbott |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Smith, Chase | Southern Power Company |  |
| Townsend, Aaron | Potomac Economics |  |
| True, Roy | ACES Power |  |
| Uy, Manny | Hunt Energy |  |
| Varnell, John | Tenaska |  |
| Walker, Floyd | PUCT |  |
| Wall, Perrin | CenterPoint Energy |  |
| White, Lauri | AEPSC |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Zarnikau, Jay | University of Texas at Austin |  |
| Zhang, Yang | WETT |  |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Anderson, Troy |  |  |
| Ayson, Janice |  |  |
| Barati, Camron |  |  |
| Blevins, Bill |  |  |
| Boren, Ann |  |  |
| Castillo, Leo |  |  |
| Clifton, Suzy |  |  |
| Day, Betty |  |  |
| Du, Pengwei |  |  |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  |  |
| Green, Alex |  |  |
| Gross, Katherine |  |  |
| Hobbs, Kristi |  |  |
| Huang, Fred |  |  |
| Kang, Sun Wook |  |  |
| Maggio, Dave |  |  |
| Mago, Nitika |  |  |
| Mantena, Dan |  |  |
| Ögelman, Kenan |  |  |
| Orlandini, Phil |  |  |
| Parakkuth, Jayapal |  |  |
| Patterson, Mark |  |  |
| Phillips, Cory |  |  |
| Rickerson, Woody |  |  |
| Rosel, Austin |  |  |
| Rowe, Evan |  |  |
| Ruane, Mark |  |  |
| Schmall, John |  |  |
| Shaw, Pamela |  |  |
| Stice, Clayton |  |  |
| Troublefield, Jordan |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

# Clif Lange called the July 27, 2022 meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Lange directed attention to the displayed Antitrust Admonition and noted that the Antitrust Guidelines are available for review on the ERCOT website.

Approval of TAC Meeting Minutes (see Key Documents)

June 7, 2022

June 27, 2022

Market Participants reviewed the June 7, 2022 and June 27, 2022 TAC Meeting Minutes.  Mr. Lange noted these items could be considered in the Combined Ballot.

July Public Utility Commission of Texas (PUCT) Meeting Update

Mr. Lange reviewed the disposition of items considered at the July 14, 2022 PUCT Meeting.

Review of ERCOT Market Impact Statements and ERCOT Opinions (see Key Documents)

Ann Boren presented the ERCOT Market Impact Statements and ERCOT Opinions for Revision Requests to be considered by TAC.

Protocol Revision Subcommittee (PRS) (see Key Documents)

Martha Henson reviewed PRS activities and presented Revision Requests for TAC consideration.

Nodal Protocol Revision Request (NPRR) 1085, Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs)

Market Participants reviewed the 7/13/22 PRS Report and Business Case; and the 7/5/22 Revised Impact Analysis for NPRR1085.

NPRR1133, Clarify Responsibilities for Submission of Planning Model Data for DC Ties

Planning Guide Revision Request (PGRR) 101, Related to NPRR1133, Clarify Responsibilities for Submission of Planning Model Data for DC Ties

Market Participants reviewed the 7/13/22 PRS Report and 5/6/22 Impact Analysis for NPRR1133, and the 7/8/22 ROS Report and Impact Analysis for PGRR101.

NPRR1134, Related to RMGRR168, Modify ERCOT’s Mass Transition Responsibilities

Retail Market Guide Revision Request (RMGRR) 168, Modify ERCOT’s Mass Transition Responsibilities

Market Participants reviewed the 7/13/22 PRS Report and 6/14/22 Impact Analysis for NPRR1134, and the 5/13/22 RMS Report, 5/12/22 PRS comments, and 4/26/22 Impact Analysis for RMGRR168.

NPRR1135, Add On-Line Status Check for Resources Telemetering OFFNS for Ancillary Service Imbalance Settlements

Market Participants reviewed the 7/13/22 PRS Report and 5/17/22 Impact Analysis for NPRR1135.

NPRR1136, Updates to Language Regarding a QSE Moving Ancillary Service Responsibility Between Resources

Market Participants reviewed the 7/13/22 PRS Report and 5/18/22 Impact Analysis for NPRR1136.

NPRR1137, Updates to Section 1.1 to Modify the OBD List Review Timeline and Other Clarifications

Market Participants reviewed the 7/13/22 PRS Report and 6/17/22 Impact Analysis for NPRR1137.

System Change Request (SCR822), Create Daily Energy Storage Integration Report and Dashboard

Market Participants reviewed the 7/13/22 PRS Report and 7/13/22 Impact Analysis for SCR822.  Some Market Participants noted the potential benefit of reviewing existing publicly-available dashboards and reports to ensure they are providing clear messaging to non-expert users.

Mr. Lange noted NPRRs 1085, 1133, 1134, 1135, 1136, 1137, SCR822, PGRR101, and RMGRR168 could be considered in the Combined Ballot.

NPRR1142, ERS Changes to Reflect Updated PUCT Rule Changes re SUBST. R. 25.507 – URGENT (Waive Notice)

Other Binding Document Revision Request (OBDRR) 042,  Related to NPRR1142, ERS Changes to Reflect Updated PUCT Rule Changes re SUBST. R. 25.507

Mr. Lange noted that a successful motion to waive notice would be required for TAC to take action on NPRR1142.

Eric Goff moved to waive notice on NPPR1142.  Brooke Camet seconded the motion.  The motion carried with one objection from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment.  (Please see ballot posted with Key Documents.)

Ms. Henson summarized the NPRR1142 discussion at the July 22, 2022 Special PRS Meeting.  Mark Patterson summarized NPRR1142 and OBDRR042. Market Participants reviewed the 7/22/22 PRS Report and 7/14/22 Impact Analysis for NPRR1142; and the 7/20/22 ERCOT comments and 7/14/22 Impact Analysis for OBDRR042.  Market Participants discussed the potential implementation timeline for NPRR1142 and the related OBDRR042, and requested to see Emergency Response Service (ERS) deployment pattern data as soon as possible.  ERCOT Staff offered to provide the analysis at a future TAC meeting.  Some Market Participants expressed concern that most ERS Entities may already be offline due to price sensitivity when ERS is deployed, and requested that the reliability and economic effectiveness of ERS be studied.

Garret Kent moved to recommended approval of NPRR1142 as recommended by PRS in the 7/22/22 PRS Report; grant OBDRR042 Urgent status, and to recommended approval of OBDRR042, as amended by the 7/20/22 ERCOT comments, and the 7/14/22 Impact Analysis.  Bill Smith seconded the motion.  The motion carried with one objection from the (IPM) (Morgan Stanley) Market Segment.  (Please see ballot posted with Key Documents.)

OBDRR042 (see Key Documents)

This item was considered with NPRR1142

Revision Requests Tabled at TAC (see Key Documents)

NPRR1127, Clarification of ERCOT Hotline Uses

OBDRR041, Updates to Requirements for Aggregate Load Participation in the ERCOT Markets

TAC took no action on these items.

RMGRR168

This item was considered with NPRR1134.

Reliability and Operations Subcommittee (ROS) Report (see Key Documents)

Chase Smith reviewed ROS activities and presented Revision Requests for TAC consideration.

PGRR101

This item was considered with NPRR1133.

Large Flexible Load Task Force (LFLTF) Update (See Key Documents)

Bill Blevins reviewed LFLTF activities.  Some Market Participants expressed concern for the Lancium patent issues and impacts to Controllable Load Resources.  ERCOT Staff reminded Market Participants that ERCOT is focused on functionality, i.e., what are the conditions to allow the integration of Large Flexible Loads into the ERCOT System quickly and how to manage it, however, offered to review the issues.   Mr. Lange noted that future LFLTF updates will be provided to TAC on an as-needed basis.

ERCOT Reports (see Key Documents)

July 8, 2022 Repricing

Dave Maggio reported on the modeling error that impacted pricing in the Real-Time Market (RTM) for Operating Day (OD) July 8, 2022, noted that prices were corrected by a manual process before Final Settlement, and stated that the issue was resolved by a permanent solution on Saturday, July 9, 2022.

Analysis on Changing Generation Cost Scaling in Hourly Reliability Unit Commitment (HRUC)

Mr. Maggio presented analysis and study cases to support ERCOT’s recommendation in changing the RUC scaling parameter from 20% to 100%, summarized the benefits in consideration of ERCOT’s current operational approach, and requested TAC consideration of the issues.  Market Participants expressed support for the recommendation in the current environment, but requested the opportunity to revisit the issues annually, in the hope of returning to market self-commitments in the future. Mr. Lange noted this item could be considered in the Combined Ballot.  Mr. Lange assigned the following TAC action item:

- Annual Review of Generation Cost Scaling in HRUC (Protocol Section 5.5.2., Reliability Unit Commitment (RUC) Process

Roanoke Area Upgrades Regional Planning Group (RPG) Project

Prabhu Gnanam presented the ERCOT independent review, a comparison of options, and the ERCOT recommendation for Option 2 to address the reliability need in the Roanoke area.  Mr. Lange noted this item could be considered in the Combined Ballot.

Bearkat – North McCamey – Sand Lake 345-kV Transmission Addition RPG Project

Mr. Gnanam presented the ERCOT independent review, a comparison of options noting that the Stage 1 Upgrade was endorsed in 2021, and the ERCOT recommendation for the Project Stage 2 Upgrade to address the reliability need in the Delaware Basin area.  Mr. Lange noted this item could be considered in the Combined Ballot.

Cross-State Air Pollution Rule (CSAPR) Study

Woody Rickerson presented the ERCOT preliminary analysis of the Environmental Protection Agency (EPA) Federal Implementation Plan Regional Ozone Transport Rule and summarized the reliability impacts and potential costs to resolve the issues.  In response to Market Participant questions, Katherine Gross reviewed potential next steps based on regulatory or legislative actions.

Updated ERCOT Report on NPRR1112, Reduction of Unsecured Credit Limits

Mark Ruane presented the updated ERCOT report on NPRR1112, summarized the revised analysis, and reviewed the next steps for consideration at the August 16, 2022 ERCOT Board Meeting.  Market Participants and ERCOT Staff discussed credit risk and issues in unsecured credit.  Market Participants that supported reducing unsecured credit to $30 million requested ERCOT provide additional analysis to include the allocation of unsecured credit by Market Segment, the amount of unsecured credit by rating equivalent, and the amount of unsecured credit by Counter-Party segment and rating equivalent to provide Board Members a more comprehensive analysis for consideration of the issues.

July 13, 2022 ERCOT Conservation Appeal – Dispatchable Generation

Kenan Ögelman noted that following the July 13, 2022 ERCOT Conservation Appeal, concerns were expressed for the ERCOT approach in using the installed capacity calculation and stated that the basis for it was that it is uniform across all resources and that the seasonal net maximum brings certain resources down more than others.  Carrie Bivens stated that there were questions on the actual Outage thermal capacity and was difficult to determine from the actual watch or interim Outage report and opined that new reports or enhancements to the dashboard might be beneficial in understanding the thermal Outage capacity.  Market Participants requested further of review of the issues at WMS.  Mr. Lange referred the issues to WMS.

TAC Structural and Procedural Review Discussion  (see Key Documents)

Mr. Lange announced the September 12, 2022 Annual TAC and TAC Subcommittee Structural and Procedural Review, asked subcommittee leadership to facilitate discussions with their working groups and task forces for meeting efficiencies, and stated that changes brought forth from the review would be considered at the September 28, 2022 TAC meeting.  Mr. Lange also highlighted TAC leadership discussions with ERCOT Board members regarding the TAC proposed enhancements to the Stakeholder process..

Other Business (See Key Documents)

Market Readiness for Fast-Frequency Response Advancement (FFRA) and Firm Fuel Projects

Matt Mereness noted that both FFRA and Firm Fuel projects are planned for delivery in October 2022, reminded Market Participants of the improved market readiness concepts being piloted, and reviewed the project timelines and Next Steps.  Mr. Mereness also encouraged Market Participants to attend the August 4, 2022 Technology Working Group (TWG) meeting.

2023 Draft Block Calendar

Ann Boren presented the 2023 Draft Block Calendar, noted potential conflicts with PUCT Open Meetings dates not yet published, and highlighted the November 29, 2023 or December 4, 2023 proposed TAC meeting date to avoid holiday conflicts.  Mr. Lange requested Market Participants to review the TAC proposed meeting dates for consideration at the September 28, 2022 TAC meeting.

RUC Review

Market Participants noted the recent Revision Requests related to RUC compensation and discussed the need for a comprehensive review of RUC compensation for potential gaps.  Mr. Lange requested WMS review the issues.

Combined Ballot

Mr. Goff moved to approve the Combined Ballot as follows:

- To approve the June 7, 2022 and June 27, 202 Meeting Minutes as presented

- To recommend approval of NPRR1085 as recommended by PRS in the 7/13/22 PRS Report

- To recommend approval of NPRR1133 as recommended by PRS in the 7/13/22 PRS Report

- To recommend approval of NPRR1134 as recommended by PRS in the 7/13/22 PRS Report

- To recommend approval of NPRR1135 as recommended by PRS in the 7/13/22 PRS Report

- To recommend approval of NPRR1136 as recommended by PRS in the 7/13/22 PRS Report

- To recommend approval of NPRR1137 as recommended by PRS in the 7/13/22 PRS Report

- To recommend approval of SCR822 as recommended by PRS in the 7/13/22 PRS Report

- To recommend approval of RMGRR168 as recommended by RMS in the 5/3/22 RMS Report

- To recommend approval of PGRR101 as recommended by ROS in the 7/8/22 ROS Report

- To recommend approval of changing the RUC scaling parameter from 20% to 100%

- To endorse the Roanoke Area Upgrades Project Option 2 as presented

- To endorse the Bearkat – North McCamey – Sand Lake 345-kV Transmission Addition Project Stage 2 Upgrade as presented

Clayton Greer seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Mr. Lange adjourned the July 27, 2022 TAC meeting at 12:26 p.m.

# Footnotes

# Key Documents referenced in these minutes may be accessed on the ERCOT website at:

https://www.ercot.com/calendar/event?id=1620841675810