## Slide 1: LFLTF Load Shed Options – Assessment (August Update)
Option | Description | Pros | Cons
1 | ERCOT to telemeter TOs’ RT Load Shed obligation % | -Accuracy | -Complex and highly dependent on telemetry -Implementation logistics? -ERCOT systems changes? -No assurance of how the LFLs will actually behave in RT
2 + 3 | ERCOT excludes LFLs from TO-LS allocation percentages, and ERCOT directs LFL QSEs to stop consuming pre-emergency | -QSE “load shed” allocation to be based on ERCOT registration requirements | -Will TO be backstop for firm portion if LFL doesn’t respond? -Decouples transmission cost allocation (PUC level) from load shed allocations (ERCOT level)
4 | Load Ratio Share based on distribution load only | -May reduce complexity | -Skews LS obligation to be more burdensome on TOs with less industrial (i.e., transmission-connected) load -No assurance of how the LFLs will actually behave in RT -If excluded, transmission level load is free to decrease, increase or remain the same during an event. (GSEC) -Potentially shifts obligations to entities with higher ratio of distribution level load (GSEC)

## Slide 2: LFLTF Load Shed – Recommendations/Consensus Statements
Large loads should not be required to consume energy during Energy Emergency Levels 1, 2, or 3
    Caveat: If providing AS, LFL should consume until ERCOT directs the AS deployment
    Discussed/consensus reached on the above during 6/25/22 LFLTF
    Caveat: provided EEA3 load shed allocation is changed so that an LFL does not create a load shed obligation with which a TO can’t comply. (GSEC)
During the August 22 LFLTF meeting, consensus was obtained on Combo Option 2+3 to address LFLTF Issues No. 34, 38, 39, 43, and 44.
    Submitters of Options 1 and 4 agreed to withdraw their submittals from further consideration, or pursue elsewhere
    Combo Option 2+3 is to be presented by LFLTF leadership to TAC for endorsement as a concept
      With TAC endorsement, ERCOT can begin developing any necessary Protocol/Operating Guide changes