## Slide 1
Item 6: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
September 28, 2022

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR1118, Clarifications to the OSA Process [ERCOT]*
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1058, Resource Offer Modernization [Reliant, Luminant, STEC, LCRA, Calpine]
  IA: Between $100K and $150K Priority 2023; Rank 3715
NPRR1084, Improvements to Reporting of Resource Outages, Derates, and Startup Loading Failures [ERCOT]
  IA: Between $40K and $60K (O&M) Priority N/A; Rank N/A
NPRR1139, Adjustments to Capacity Shortfall Ratio Share for IRRs [ERCOT]
  IA: Between $15K and $30K Priority 2023; Rank 3470

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1140, Recovering Fuel Costs for Generation Above LSL During RUC-Committed Hours [ERCOT]
  IA: Between $20K and $30K Priority 2023; Rank 3750
SCR820, Operator Real-Time Messaging During Emergency [AEP, CenterPoint]
  IA: Between $750K and $1.2M Priority 2023; Rank 3730
SCR823, ERCOT Mass System “County Name” File Updates for Texas SET V5.0 Implementation – URGENT [TX SET]
  IA: To be determined

## Slide 4: Appendix

## Slide 5: NPRR1058, Resource Offer Modernization [Reliant, Luminant, STEC, LCRA, Calpine]
Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3715
ERCOT Impact Analysis: Between $100K and $150K; no impacts to ERCOT staffing; impacts to Market Operations Systems, Data Management & Analytic Systems, Settlements & Billing Systems, ERCOT Website and MIS Systems, and Channel Management Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR improves the validity of the Physical Responsive Capability (PRC) calculation and dispatch by requiring quicker updates by Qualified Scheduling Entities (QSEs) to the telemetered Resource Status, High Sustained Limit (HSL), and other relevant information.
PRS Decision: On 6/9/22, PRS voted unanimously to recommend approval of NPRR1058 as amended by the 4/6/21 ERCOT comments as revised by PRS. On 8/11/22, PRS voted unanimously to endorse and forward to TAC the 7/13/22 PRS Report and 8/2/22 Impact Analysis for NPRR1058 with a recommended priority of 2023 and rank of 3715.

## Slide 6: NPRR1084, Improvements to Reporting of Resource Outages, Derates, and Startup Loading Failures [ERCOT]
Proposed Effective Date: Upon system implementation
ERCOT Impact Analysis: Between $40K and $60K (O&M); no impacts to ERCOT staffing; impacts to Outage Management Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR allows ERCOT to provide important information about Resource Forced Outages, Forced Derates, and Startup Loading Failures to the public in a more complete and timely manner.
PRS Decision: On 8/11/22, PRS voted unanimously to recommend approval of NPRR1084 as amended by the 7/19/22 ERCOT comments. On 9/15/22, PRS voted unanimously to endorse and forward to TAC the 8/11/22 PRS Report and 9/13/22 Revised Impact Analysis for NPRR1084.

## Slide 7: NPRR1118, Clarifications to the OSA Process [ERCOT]
Proposed Effective Date: December 1, 2022
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR clarifies the Outage Schedule Adjustment (OSA) process based on lessons learned from performing this process during 2021, as well as other factors.
The first set of changes improves the terminology and clarifies the process for issuing Advanced Action Notices (AANs) and OSAs. The second set of changes clarify offer submission and Reliability Unit Commitment (RUC) procedures after an OSA is issued.
PRS Decision: On 8/11/22, PRS voted unanimously to recommend approval of NPRR1118 as amended by the 6/13/22 ERCOT comments as revised by PRS. On 9/15/22, PRS voted unanimously to endorse and forward to TAC the 8/11/22 PRS Report and 1/25/22 Impact Analysis for NPRR1118.

## Slide 8: NPRR1139, Adjustments to Capacity Shortfall Ratio Share for IRRs [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3740
ERCOT Impact Analysis: Between $15K and $30K; no impacts to ERCOT staffing; impacts to Settlements & Billing Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR replaces the usage of the Wind-powered Generation Resource Production Potential (WGRPP) and PhotoVoltaic Generation Resource Production Potential (PVGRPP) with the High Sustained Limit (HSL) of an Intermittent Renewable Resource (IRR) as reflected in the Current Operating Plan (COP), similar to treatment afforded to Resources that are not IRRs.
PRS Decision: On 8/11/22, PRS voted unanimously to recommend approval of NPRR1139 as amended by the 7/29/22 ERCOT comments. On 9/15/22, PRS voted unanimously to endorse and forward to TAC the 8/11/22 PRS Report and 8/23/22 Revised Impact Analysis for NPRR1139 with a recommended priority of 2023 and rank of 3740.

## Slide 9: NPRR1140, Recovering Fuel Costs for Generation Above LSL During RUC-Committed Hours [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3750
ERCOT Impact Analysis: Between $20K and $30K; no impacts to ERCOT staffing; impacts to Settlements & Billing Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR permits Generation Resources to recover their fuel costs when instructed to start due to a Reliability Unit Commitment (RUC) and operate above the Generation Resource’s Low Sustained Limit (LSL).
PRS Decision: On 8/11/22, PRS voted unanimously to recommend approval of NPRR1140 as amended by the 8/10/22 ERCOT comments. On 9/15/22, PRS voted unanimously to endorse and forward to TAC the 8/11/22 PRS Report and 6/7/22 Impact Analysis for NPRR1140 with a recommended priority of 2023 and rank of 3750.

## Slide 10: SCR820, Operator Real-Time Messaging During Emergency [AEP, CenterPoint]
Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3730
ERCOT Impact Analysis: Between $750K and $1.2M; no impacts to ERCOT staffing; impacts to Grid Operations Support Systems, ERCOT Website and MIS Systems, and Channel Management Systems; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated.
Revision Description: This SCR builds on the ERCOT Hotline communication process by developing a web-based (e.g., Google Chrome; Microsoft Edge) platform supporting Real-Time, bi-directional, “Send-Review” messaging between ERCOT Operators and Transmission Operators (TOs) during emergency event coordination. The tool will support one-to-one or one-to-many communications. The Messaging System will log and store communications so that parties can stay current during the emergency event and for review subsequent to the emergency.
PRS Decision: On 1/13/22, PRS voted unanimously to recommend approval of SCR820 as submitted. On 9/15/22 PRS voted to endorse and forward to TAC the 2/9/22 PRS Report and 9/13/22 Impact Analysis for SCR820 with a recommended priority of 2023 and rank of 3730. There was one abstention from the Independent Power Marketer (IPM) (Tenaska) Market Segment.

## Slide 11: SCR823, ERCOT Mass System “County Name” File Updates for Texas SET V5.0 Implementation – URGENT [TX SET]
Proposed Effective Date: To be determined
ERCOT Impact Analysis: To be determined
Revision Description: This SCR requests that ERCOT process (upload) a flat file received by ERCOT from each affected TDSP that contains all the TDSPs’ ESI IDs with one exception being retired ESI IDs. This flat file would allow all REPs to have County Names associated to all ESI IDs on the very first day following Texas SET V5.0 production go-live through the TDSPs’ ESI ID extract that is produced daily by ERCOT.
PRS Decision: On 9/15/22, PRS voted unanimously to grant SCR823 Urgent status; to recommend approval of SCR823 as submitted; and to forward to TAC SCR823.

## Slide 12: 2022 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February Various Dates | April 4/5 – 4/7 | May 5/24 – 5/26 | July 7/26 – 7/28 | October 10/4 – 10/6 | December 12/6 – 12/8
LPGRR068 NPRR1054(a) NPRR1005 NOGRR210 RRGRR025 NPRR917 NPRR1052 NPRR1065 NPRR1073 NPRR1016 PGRR082 NOGRR212 | None NPRR1092(a) | NPRR939 NPRR1093 NPRR1101 NPRR1113 NOGRR191 NOGRR198 NOGRR232 OBDRR032 OBDRR033 OBDRR035 SCR800 SCR809 SCR814 MarkeTrak User Interface Refresh | NPRR1108(a) NPRR935(b) NOGRR239 NPRR1129 NPRR1108(b) | NPRR987(a) NPRR1002(a) FFR Advancement (NPRR863 FFR) NPRR1120 OBDRR039 NPRR987(a) NPRR1002(a) | NPRR1096(a) NPRR1097 SCR812 NPRR1063 NPRR1142
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R3
R4
R5
R6
ü
ü
ü
ü
Securitization Subchapter N March Go-Live
1/1
EMS Freeze
May 2023 – Jan. 2024
E
E
E
E
E
ü
ü
ü
ü
DGR/DESR
NPRR935(b) – New solar forecasts and reports
NPRR987(a) – ESR Contribution to PRC
NPRR1002(a) – Charging Restrictions in Emergency Conditions
NPRR1054(a) – Portion of gray box
NPRR1092(a) – RUC offer floor change
NPRR1096(a) – Non-Spin portion
TBD | NPRRs: 484,825(b),826,829,841,857,879,885,904,918,930,936,941,945,962,963,965,975,987,995,1004,1006,1007,1019,1023,1026,1030,1032,1034,1057, 1077,1090,1092(b),1105 SCRs: 799,805,807,810,813,816,818,819 PGRRs: 066,076,088,091,094,099 Other: OBDRR009,OBDRR017,RRGRR028
ü
ü
ü
ü
NPRR1120 Firm Fuel Supply Serv.
Issue RFP no later than 8/1/2022
Contracts start in November
6/4 – 6/6
7/1
5/13
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
P
P
P
E
E
10/13
ü
ü
ü
7/15
ü
8/16
ü
11/2
ü
12/1