| SCR Number | 820 | SCR Title | Operator Real-Time Messaging During Emergency |
| --- | --- | --- | --- |
| Date of Decision |  | September 15, 2022 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Priority – 2023; Rank - 3730 |  |
| Supporting Protocol or Guide Sections/Related Documents |  | None |  |
| System Change Description |  | This System Change Request (SCR) builds on the ERCOT Hotline communication process by developing a web-based (e.g., Google Chrome; Microsoft Edge) platform supporting Real-Time, bi-directional, “Send-Review” messaging between ERCOT Operators and Transmission Operators (TOs) during emergency event coordination. The tool will support one-to-one or one-to-many communications. The Messaging System will log and store communications so that parties can stay current during the emergency event and for review subsequent to the emergency. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | The tool provides an improvement to the Verbal Dispatch Instruction (VDI) interaction and communication between Entities as they work to restore the system and prevent and/or mitigate an emergency event. The Real-Time messaging text communication allows for more efficient and effective communication between the Reliability Coordinator and the TOs or between TOs. The messaging tool platform allows for multiple additional useful communications such as during a Black Start restoration by allowing ERCOT and TOs to maintain contact and stay current on actions being taken. The Hotline communication tool could still be used as necessary although the messaging tool will result in a reduction of calls and reduced time spent on the phone issuing and receiving emergency operations and Load shed instructions. Compliance risk associated with issuing verbal instructions and required three-part communications will also be reduced. An in-house Real-Time Messaging System is leveraged by the Southwest Power Pool (“SPP”) and has proven successful for managing Load shed events and proved beneficial in managing the Winter Storm Uri emergency event. |  |
| PRS Decision |  | On 1/13/22, PRS voted unanimously to recommend approval of SCR820 as submitted. All Market Segments participated in the vote. On 2/9/22, PRS voted unanimously table SCR820. All Market Segments participated in the vote. On 9/15/22 PRS voted to endorse and forward to TAC the 2/9/22 PRS Report and 9/13/22 Impact Analysis for SCR820 with a recommended priority of 2023 and rank of 3730. There was one abstention from the Independent Power Marketer (Tenaska) Market Segment. All Market Segments participated in the vote. |  |
| Summary of PRS Discussion |  | On 1/13/22, participants clarified that SCR820 provides supplemental communication tools not meant to displace required North American Electric Reliability Corporation (NERC) communication. Participants requested additional implementation details and suggested that the ERCOT Technology Working Group (TWG) review SCR820’s impact on ERCOT and TOs. On 2/9/22, participants reviewed the 2/3/22 ERCOT comments. On 9/15/22, participants reviewed the 9/13/22 Impact Analysis. ERCOT Staff noted the project will be conducted in three phases Some participants expressed concern for costs and requested more specificity before proceeding with the project. In response to participant questions, ERCOT Staff noted it will not be known until the planning stage of the project whether a vendor will be needed. |  |

| Sponsor |  |
| --- | --- |
| Name | Dennis Kunkel and David Mercado |
| E-mail Address | dkkunkel@aep.com / david.mercado@centerpointenergy.com |
| Company | American Electric Power Service Corporation / CenterPoint Energy Houston Electric, LLC |
| Phone Number | 361-289-4003 / 713-207-2252 |
| Cell Number | 361-813-4140 / 281-704-6567 |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jordan Troublefield |
| E-Mail Address | Jordan.Troublefield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ROS 011222 | Endorsed SCR820 as submitted |
| ERCOT 020322 | Proposed an alternative schedule to complete the Impact Analysis for SCR820 prior to the April 14, 2022 PRS meeting |
| ERCOT 032822 | Proposed an alternative schedule to complete the Impact Analysis for SCR820 prior to the May 12, 2022 PRS meeting |
| ERCOT 050622 | Proposed an alternative schedule to complete the Impact Analysis for SCR820 prior to the July 14, 2022 PRS meeting |
| ERCOT 071222 | Proposed an alternative schedule to complete the Impact Analysis for SCR820 prior to the September 15, 2022 PRS meeting |

Market Rules Notes

None

Proposed System Change

Issue:

- During any emergency event, such as the recent Energy Emergency Alert (EEA) Level 3 event, ERCOT provides Verbal Dispatch Instructions (VDIs) to Transmission Operators (TOs) to support emergency operations communications and/or instructions, including instructions to shed Load and for the restoration of Load.

- During Winter Storm Uri, AEP Texas operators received over 4000 phone calls.  The number of calls can be overwhelming, especially during Real-Time critical emergencies.

- Communications under a Black Start situation would be even more overwhelming while trying to communicate properly with all the different parties of the different island developments.

- Verbal communications often utilize predetermined scripts.  However, the operators must allow time for all of the TOs to connect to the Hotline bridge, read out the script and have at least one TO repeat back the instruction to allow for three-part communication.  Operators are typically quickly taking notes and logging the communications in real-time as well.  The ability to quickly push these instructions out in written format will minimize the delivery time while having a written note and/or log as well.

- AEP is part of four different islands and TOs may drop in and out of the ERCOT Black Start voice bridges due to taking other calls resulting in information exchange that will likely be lost.

Resolution:

A new, secure, web-based Real-Time messaging platform will be created that allows fast, effective operational messaging between ERCOT and the ERCOT TOs.  The ERCOT/TO Real-Time messaging application enables the following:

- Reduction of phone calls as primary communication.

  - If there is no response to a message within five minutes, ERCOT follows up with a call.

- Provides a log of all messages so that if an operator is pulled away, the operator can quickly reference logged communications with no information lost.

- All TOs can confirm receipt for a one-to-many Hotline call vs currently the one randomly selected TO.

- The web-based application will allow all TOs to easily integrate with existing or easily accessible hardware and software.

- ERCOT or TOs can send or review messages similar to an internet-based email exchange.

  - ERCOT may establish a list of standard messages that are pre-populated to add efficiency.

  - Low-Medium-High priority may be established to messages.

  - The application should provide the capability for a configuration setting or flag to drive a local auditory alarm for incoming messages to alert the operator of a new communication.  The actual audible alarm will be the responsibility of each user to implement.

- Every company can build and/or own templates and pre-defined texts.

- Initially, messaging would be between ERCOT and TOs.

  - ERCOT is to establish validation criteria (e.g., Market Information System (MIS) Secure certificate and/or role) that is exclusive to qualified users consistent with ERCOT Critical Energy Infrastructure Information (ECEII) Protocols.

- Continued support for general information updates that does not require acknowledgement such as status updates.

- Message retention that allows for review during and following the emergency event and that supports historical reports (exports) that can vary based on message type up to 13 calendar months.

- Messages to roll-off of user interface after a configurable set time (e.g., two days) while still remaining available for subsequent review of event in a time stamped and historized archive.

- Expanded communications between TOs and generators in the event of Black Start.

- The use of this messaging tool should be included as part of any ERCOT emergency operations training (e.g., Black Start training) as appropriate, along with routine tests to ensure continued functionality.

- Creates a platform for other future use cases such as but not limited to:

- ERCOT-to-Qualified Scheduling Entity (QSE) communications;

- Protection system degradation;

- “Remote Terminal Unit (RTU)” and/or Inter-Control Center Communications Protocol (ICCP) outages;

- Supervisory Control and Data Acquisition (SCADA) and/or telemetry issues;

- Real-Time oscillations;

- Large unit trip notifications;

- Real-Time outage coordination and/or delays, etc.

- Application may be hosted through Wide Area Network (WAN), internet, or both based on technical and security review during the creation of the Impact Analysis (IA).