Draft

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100 – Austin, Texas 78744

Thursday, September 1, 2022 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Bowen, Kenneth | CPS Energy | Via Teleconference |
| Boyd, Phillip | City of Lewisville | Via Teleconference |
| Bunch, Kevin | EDF Trading North America (EDF Trading) | Via Teleconference |
| Camet, Brooke | Office of Public Utility Council (OPUC) | Via Teleconference |
| Cochran, Seth | DC Energy | Via Teleconference |
| Ebrahimian, Reza | Austin Energy | Via Teleconference |
| Evans, Doug | South Texas Electric Cooperative (STEC) | Via Teleconference |
| Gerety, Chris | Texas-New Mexico Power (TNMP) | Via Teleconference |
| Haley, Ian | Luminant Generation (Luminant) |  |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) | Via Teleconference |
| Lee, Billy | Garland Power and Light (GP&L) | Via Teleconference |
| Looper, Jerry | Denton Municipal Electric (DME) | Alt. Rep. for Chris Lutrick Via Teleconference |
| Marr, Daniel | Lower Colorado River Authority (LCRA) | Via Teleconference |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) | Via Teleconference |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide | Via Teleconference |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) |  |
| Smith, Chase | Southern Power |  |
| Valagura, Bill | Calpine Corporation (Calpine) | Via Teleconference |
| Varnell, John | Tenaska Power Services (Tenaska) | Alt. Rep. for Adam Cochran |
| Velasquez, Ivan | Oncor Electric Delivery (Oncor) | Alt. Rep. for Eithar Nashawati |
| Woitt, Wes | CenterPoint Energy (CNP) |  |
| Zhang, Wen | Shell Energy North America (SENA) | Alt. Rep. for Resmi Surendran Via Teleconference |

| - Guests: |  |  |
| --- | --- | --- |
| Anderson, Connor | AB Power Advisors | Via Teleconference |
| Bailey, Robert | NRG | Via Teleconference |
| Barnes, Bill | NRG | Via Teleconference |
| Blackshear, David | PNM Resources | Via Teleconference |
| Boggs, Callie | Eric Winters Goff, LLC | Via Teleconference |
| Bruns, Scott | Enverus | Via Teleconference |
| Burford, Bret | AEPSC | Via Teleconference |
| Burke, Tom | RWE | Via Teleconference |
| Cloninger, Ross | TNMP | Via Teleconference |
| Cortez, Sarai | Trailstone |  |
| DeWitt, Charles | PEC | Via Teleconference |
| Dollar, Zachary | PUCT | Via Teleconference |
| Floyd, Rickey | Oncor | Via Teleconference |
| Headrick, Bridget | Customized Energy Solutions |  |
| Henry, Mark | Texas Reliability Entity | Via Teleconference |
| Huynh, Thuy | Potomac Economics | Via Teleconference |
| Jackson, Jimmy | CPS Energy | Via Teleconference |
| Jamar, Ben | Orsted | Via Teleconference |
| Jowlabar, Nicholas | RWE Renewables | Via Teleconference |
| Khayat, Maribel | CNP | Via Teleconference |
| King, Kenesha | Oncor | Via Teleconference |
| Koenig, Chris | GSEC | Via Teleconference |
| Kolb, Lloyd | Invenergy | Via Teleconference |
| Lacek, Mollie | Talen Energy | Via Teleconference |
| Lee, Jim | CNP |  |
| Leverett, Travis | WETT LLC | Via Teleconference |
| Lotter, Eric | GridMonitor | Via Teleconference |
| Matevosyan, Julia | ESIG Energy | Via Teleconference |
| Miller, Luke | LP&L | Via Teleconference |
| Noyes, Theresa | LCRA | Via Teleconference |
| Nguyen, Andy | LCRA | Via Teleconference |
| Orr, Rob | Lone Star Transmission | Via Teleconference |
| Palen, John | Grid Beyond | Via Teleconference |
| Patel, Rutul | Oncor | Via Teleconference |
| Patel, Shodhan | Constellation | Via Teleconference |
| Polusani, Jithender | PECI | Via Teleconference |
| Proffer, Erica | KVUE | Via Teleconference |
| Pyka, Greg | Schneider Engineering | Via Teleconference |
| Ramaswamy, Ramya | PUCT | Via Teleconference |
| Reid, Walter | Advanced Power Alliance | Via Teleconference |
| Ritch, John | NextEra | Via Teleconference |
| Roberts, Vincent | TNMP | Via Teleconference |
| Sams, Bryan | Calpine Corporation | Via Teleconference |
| Siddiqi, Shams | Crescent Power Consulting | Via Teleconference |
| Stanfill, Susan | PGR | Via Teleconference |
| Stanton, Spencer | Orsted Trading | Via Teleconference |
| Walcavich, Colin | National Grid Renewables | Via Teleconference |
| Wang, Zhenhua | AEPSC | Via Teleconference |
| Williams, Wes | BTU | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power | Via Teleconference |
| Woods, Brad | Texas Reliability Entity | Via Teleconference |
| Zhang, Yang | WETT | Via Teleconference |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Anderson, Troy |  | Via Teleconference |
| Billo, Jeff |  | Via Teleconference |
| Chambers, Jason |  | Via Teleconference |
| Cheng, Yunzhi |  | Via Teleconference |
| Clifton, Suzy |  |  |
| Danielson, Christian |  | Via Teleconference |
| Du, Pengwei |  | Via Teleconference |
| Fohn, Doug |  | Via Teleconference |
| Garcia, Freddy |  |  |
| Green, Alex |  | Via Teleconference |
| Guiyab, Rochie |  | Via Teleconference |
| Huang, Fred |  |  |
| Lee, Alex |  | Via Teleconference |
| Mago, Nitika |  |  |
| Phillips, Cory |  | Via Teleconference |
| Sanchez, Daniel |  | Via Teleconference |
| Schmall, John |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Wasik-Gutierrez, Erin |  |  |
| Woodfin, Dan |  | Via Teleconference |
| Yan, Ping |  | Via Teleconference |

Unless otherwise indicated, all Market Segments participated in the votes.

Chase Smith called the September 1, 2022 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- There were no changes to the agenda.

- Approval of Meeting Minutes (see Key Documents)

August 10

This item was deferred to the September 1, 2022 ROS meeting.

- ERCOT Reports (See Key Documents)

- Operations Report

- Alex Lee reviewed the July 2022 Operations Report.

- System Planning Report

- Ping Yan reviewed the July 2022 System Planning Report.

- 2022 Under-Frequency Load Shed (UFLS) Survey Results

- Daniel Sanchez presented findings of the 2022 UFLS survey.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1143, Provide ERCOT Flexibility to Determine When ESRs May Charge During an EEA Level 3

Nitika Mago summarized NPRR1143.  Some Market Participants expressed concern regarding NPRR1143’s mechanics and potential reliability impacts and requested further review of the issues by the Operations Working Group (OWG) and the Performance, Disturbance, Compliance Working Group (PDCWG).  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

Planning Guide Revision Request (PGRR) 073, Related to NPRR956, Designation of Providers of Transmission Additions

Nodal Operating Guide Revision Request (NOGRR) 230, WAN Participant Security

ROS took no action on these items.

OWG (see Key Documents)

Rickey Floyd reviewed OWG activities.

Major Transmission Elements (MTE) List

Mr. Floyd summarized the MTE discussion at the August 18, 2022 OWG meeting and stated that OWG was in consensus to recommend ROS approve the MTE List as presented.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.  Mr. Floyd noted that although Pushkar Chhajed had changed employment, he was still willing to continue as the 2022 High Impact Transmission Elements (HITE) List Sub-Chair.  Market Participants requested consideration of the issue at the September 29, 2022 ROS meeting.

NPRR1070, Planning Criteria for GTC Exit Solutions

NPRR1132, Communicate Operating Limitations during Cold and Hot Weather Conditions

Resource Registration Glossary Revision Request (RRGRR) 032, Related to NPRR1132, Communicate Operating Limitations during Cold and Hot Weather Conditions

NPRR1138, Communication of Capability and Status of Online IRRs at 0 MW Output

NOGRR215, Limit Use of Remedial Action Schemes

ROS took no action on these items.

NOGRR226, Revision to 5% Transmission Operator (TO) Load Shedding Relay Point

Mr. Floyd summarized NOGRR226 discussion at the August 18, 2022 OWG meeting and stated that OWG was in consensus to support a recommendation to ROS for NOGRR226 as amended by the 8/17/22 Joint TOs comments.  Jim Lee summarized the 8/31/22 CenterPoint Energy comments.  Market Participants offered additional clarifications, including a title change, and discussed that NOGRR226 should be implemented 18 months after approval.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Inverter Based Resources Task Force (IBRTF) (see Key Documents)

Revised IBRTF Scope

Julia Matevosyan reviewed IBRTF activities and presented the revised IBRTF scope to accommodate the need for closed meetings for certain topics such as the Odessa disturbance event, and summarized the draft confidentiality agreement.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Dynamics Working Group (DWG)

There was no update to report.

PDCWG (see Key Documents)

Jimmy Jackson reviewed PDCWG activities.

Combined Ballot

Ivan Velasquez moved to approve the Combined Ballot as follows:

- To request PRS continue to table NPRR1143 for further review by OWG and PDCWG

- To approve the MTE List as submitted

- To recommend approval of NOGRR226 as amended by 8/31/22 CNP comments as revised by ROS

- To approve the revised IBRTF Scope as submitted

Wes Woitt seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Black Start Working Group (BSWG) (see Key Documents)

Rutul Patel reviewed BSWG activities.

Network Data Support Working Group (NDSWG) (see Key Documents)

Kenesha King reviewed NDSWG activities.

Steady State Working Group (SSWG) (see Key Documents)

Ross Cloninger reviewed SSWG activities.

Planning Working Group (PLWG) (see Key Documents)

Charles DeWitt reviewed PLWG activities.

Voltage Profile Working Group (VPWG) (See Key Documents)

Maribel Khayat reviewed VPWG activities.

Other Business (see Key Documents)

Annual TAC Subcommittee Structural Review

Mr. Smith expressed appreciation to ROS working group and task force leadership for their submittal of the annual review criteria for meeting efficiencies, and presented the comprehensive review for ROS consideration.  There were no objections.  Mr. Smith encouraged Market Participants to attend the September 12, 2022 TAC and TAC Subcommittee Structural and Procedural Review by Webex only.

2023 Meeting Schedule

Market Participants reviewed the 2023 Block Meeting Calendar.  Mr. Smith noted that there may be potential conflicts for the proposed ROS meetings and the yet to be published Public Utility Commission of Texas (PUCT) open meetings, and if so, consideration would be made for one-offs, but would not structurally change the ROS schedule.  There were no objections.

Review Open Action Items List

Market Participants reviewed the Open Action Items List.

Meeting Reminders

Mr. Smith reminded Market Participants that the September 29, 2022 and November 7, 2022 ROS meetings will be Webex Only.

No Report

- Operations Training Working Group (OTWG)

- System Protection Working Group (SPWG)

Adjournment

Mr. Smith adjourned the September 1, 2022 ROS meeting 11:14 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/event?id=1623086967303