## Slide 1
PDCWG Report to ROS
Chair: Jimmy Jackson, CPS
Vice Chair: Vacant
ROS
Sep 29th, 2022

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-2 FMEs and IMFR
    0 FME in the month of August
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 9/14/2022
  Review of 2023 A/S Methodology
  Review of NOGRR226
  Discussion of NPRR1433
  ERCOT Reports
  TRE Report
  BAL-001-TRE-SAR Overview

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There were 0 FME’s in August

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
Frequency Response Obligation (FRO): 412 MW/0.1 Hz
IMFR Performance currently
1223.77 MW/0.1HZ

## Slide 7
Questions?

## Slide 8: Frequency Control Report
Aug 2022

## Slide 9: CPS1 Performance

## Slide 10: RMS1 Performance of ERCOT Frequency
Notes: 16.48Mhz on avg for July 2022

## Slide 11: Frequency Profile Analysis

## Slide 12: Time Error Corrections
Notes: Time error started to go down around the 7th due to significant IRR ramps and heatwave. Several GTBD changes were made later in the month to recover time error.

## Slide 13: Total Energy
Notes: 43,067,150 MWh

## Slide 14: Total Energy from Wind Generation
Notes: 6,279,388 MWh

## Slide 15: % Energy from Wind Generation
Notes: 14.58%

## Slide 16: Total Energy From Solar Generation
Notes: 2,374,549 MWh

## Slide 17: % Energy from Solar Generation
Notes: 5.51%