# Section 18 (Errata):

NPRR1062 – Modify IDR Meter Requirement and Eliminate IDR Meter Requirement Report

This Nodal Protocol Revision Request (NPRR) changes the metering requirement for Premises connected at transmission voltage and/or having a peak Demand greater than 700kW/700kVA. Currently an Interval Data Recorder (IDR) Meter is required. This change modifies the requirement to be an IDR which includes IDR Meters and Advanced Meters. This NPRR also eliminates the IDR Meter Requirement Report.

Revised Subsection: 18.7 [unboxed language due to system implementation of LPGRR068, Add BUSLRG and BUSLRGDG Profile Types]