## Slide 1: Wholesale Market Working Group
Bryan Sams
Murali Sithuraj
October 12, 2022

## Slide 2: September WMWG Meeting
ERCOT presented 2023 Ancillary Service Methodology
  No changes to Regulation Service.
  Minimum Primary Frequency Response (PFR) increasing to 1,390 MW based on North American Electric Reliability Corporation (NERC) Standards.
  ERCOT Staff provided estimates of the procurement volumes for the ERCOT Contingency Reserve Service (ECRS).
  ERCOT evaluating both the pre and post ECRS implementation volumes and we expect to see the full proposed Methodology to the October 21 WMWG meeting.
  AS Methodology Materials Here:
      https://www.ercot.com/files/docs/2022/09/23/2023_Ancillary_Service_Methodology_KickOff_09132022_v2_REVISED.zip

## Slide 3: 2023 AS Framework

## Slide 4: September WMWG Meeting
Update on Battery Storage KTC 15.3 regarding Switchable ESRs.
  Jupiter power provided a brief update that there are outstanding jurisdictional policy issues that the Federal Energy Regulatory Commission (FERC) and Public Utility Commission of Texas (PUCT) need to address. E.g. charging in one ISO and discharging in another.
NPRR 1132, Hot Weather Operating Limits.
  This Nodal Protocol Revision Request (NPRR), and its companion, Resource Registration Guide Revision Request (RRGRR) 032, specifies that during local cold weather conditions, each Qualified Scheduling Entity (QSE) must update its Generation Resources’ and Energy Storage Resources’ Current Operating Plan (COP), Real-Time telemetry, and Outage and Derate reporting to reflect any cold weather limitations.
  This NPRR also requires each Resource Entity to provide Resource-specific cold weather minimum temperature limits, hot weather maximum temperature limits, and alternate fuel capability information in its Resource Registration data submitted pursuant to Planning Guide Section 6.8.2, Resource Registration Process, and update this information as necessary.
NPRR 1138, Communication of Capability and Status of Online IRRs at 0 MW Output.
  This NPRR requires each Resource Entity to ensure that the reactive capability curve submitted for any Intermittent Renewable Resource (IRR) accurately reflects the IRR’s reactive capability when it is not providing real power and at lower levels of real power output
Update on MDRPOC Review.

## Slide 5: Draft October WMWG Meeting
NPRR 1145, Use of State Estimator-Calculated ERCOT-Wide TLFs in Lieu of Seasonal Base Case ERCOT-Wide TLFs for Settlement (Discussion at September WMS was to take this matter up in October at WMWG)
  Review correlation between load and EMS TLF compared to the existing calculation.
  Review correlation between wind generation using EMS TLF vs. existing calculation as well as the seasonal differences between the two methods.
  Review allocation factors for Unaccounted for Energy (UFE), which have not changed since 2001.
Discussion/Progress on Verifiable Cost Revisions
NPRR1143, Provide ERCOT Flexibility to Determine When ESRs May Charge During an EEA Level 3 (WMWG)
NPRR 1147, Update and Improve Notification and Evaluation Processes Associated with Reliability Must-Run (RMR) (If assigned to WMWG)
NPRR 1148, Language Cleanup Related to ERCOT Contingency Reserve Service (ECRS) (If assigned to WMWG)