## Slide 1
NPRR for PUCT Rules 25.53 and 25.55
October 13, 2022

## Slide 2: Background/Facts
Protocols Section 3.21 Requires submitting EOPs, Weatherization Plans and Weather Preparedness Declarations (includes Section 22, Attachment O)
PUCT recently promulgated Rules 25.53 and 25.55
  Deal with same issues
Protocols Section 3.21.1 Requires submitting Natural Gas Pipeline Coordination Requirements for Resource Entities with Natural Gas Generation Resources (Section 22, Attachment K)
Protocols Section 1.3.1.1 includes weatherization plans

## Slide 3: NPRR Overview
In light of 16 TAC §§ 25.53 and 25.55:
  Removes requirements to submit EOPs, weatherization plans, and declarations of Summer/Winter weather preparedness in deference to PUCT rules
  Revises procedures for submitting declarations of natural gas pipeline coordination for Resource Entities with natural gas Generation Resources
  Revises list of items considered Protected Information to remove references to weatherization plans and add protections for information relating to weatherization activities submitted to, obtained by or generated by ERCOT per 16 TAC § 25.55

## Slide 4: NPRR Benefits
Reduces administrative burden of submitting weatherization declarations under Section 3.21
  Superseded by more comprehensive declarations of 16 TAC § 25.55
  At open meeting on September 29, 2022, PUCT Commissioners agreed ERCOT MPs need not submit Section 3.21 declarations in light of revised 16 TAC § 25.55
  NPRR implements that decision
Retains requirement to submit natural gas pipeline coordination declaration in Section 22, Attachment K
  Declaration will be submitted w/ summer weather preparedness declaration required by 16 TAC § 25.55(c)(3)(B)
  16 TAC § 25.55(c)(3)(B)(iv) authorizes ERCOT to specify additional information for inclusion in declarations
    Consolidating pipeline coordination declaration into weatherization declaration required by PUCT rules reduces administrative burden on MPs and ERCOT

## Slide 5: NPRR Benefits
Removes Section 3.21 requirement to submit EOPs
  PUCT recently amended 16 TAC § 25.53 to create more specific content requirements for EOPs and requires submittal to ERCOT
  Maintaining separate Protocol-level requirement to submit EOPs would be duplicative
  Because 16 TAC § 25.55 now regulates weatherization practices, ERCOT no longer needs MPs to designate weatherization-specific portions of EOP or submit standalone weatherization plan
Revisions to Sections 1.3.1.1 provide clarity regarding protected status of EOPs and weatherization-related information
  Required by 16 TAC § 25.53(c)(1)(C) and (c)(3)(d) and 16 TAC § 25.55(c)(6) and (f)(6)
  ERCOT may present aggregated data, but not individual facility data

## Slide 6: NPRR Overlap
NPRR1067, Market Entry Qualifications, Continued Participation Requirements, and Credit Risk Assessment
  Section 1.3.1.1
  Unaffected by proposed changes
NPRR1084, Improvements to Reporting of Resource Outages, Derates, and Startup Loading Failures
  Section 1.3.1.1
  Unaffected by proposed changes
To be withdrawn:
  NPRR1089, Requiring Highest-Ranking Representative, Official, or Officer of a Resource Entity to Execute Weatherization and Natural Gas Declarations
    Section 3.21
    Section 3.21.1
    Section 22, Attachment K
    Section 22, Attachment O