## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for September 2022

## Slide 2: Non-IRR GREDP < 85% – September 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 396 | 11 | 19 | 3.15 | 57.89
Unit 397 | 11 | 13 | 0.56 | 84.62

## Slide 3: IRR Summary – September 2022
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 77.38 | 56.99 | 87.77
GREDP Median (%) | 95.73 | 70.00 | 87.96
Average MW Error | 4.47 | 4.82 | 5.49
Median MW Error | 3.99 | 4.12 | 5.01
Total Intervals Scored | 12,192 | 5,072 | 3,298
100+ Intervals Scored | 31 | 270 | 17
Total Intervals Scored Average | 40.11 | 59.67 | 194

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Sept. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 914 | 915 | 4.55 | 99.89
Unit 2 | 793 | 815 | 4.10 | 97.30
Unit 3 | 710 | 725 | 9.30 | 97.93
Unit 4 | 615 | 615 | 3.67 | 100.00
Unit 5 | 517 | 530 | 4.25 | 97.55
Unit 9 | 314 | 314 | 2.66 | 100.00
Unit 10 | 268 | 281 | 6.55 | 95.37
Unit 11 | 259 | 262 | 1.68 | 98.85
Unit 12 | 220 | 223 | 7.73 | 98.65
Unit 13 | 214 | 217 | 4.88 | 98.62
Unit 15 | 196 | 196 | 4.07 | 100.00
Unit 16 | 176 | 180 | 4.69 | 97.78
Unit 17 | 167 | 167 | 7.56 | 100.00
Unit 25 | 133 | 139 | 5.20 | 95.68

## Slide 5: IRR < 95%, ≥ 100 Scored Intervals – Sept. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 6 | 387 | 468 | 5.01 | 82.69
Unit 7 | 415 | 445 | 4.61 | 93.26
Unit 8 | 365 | 424 | 4.59 | 86.08
Unit 14 | 171 | 210 | 3.13 | 81.43
Unit 18 | 134 | 162 | 8.13 | 82.72
Unit 19 | 118 | 158 | 8.47 | 74.68
Unit 20 | 149 | 157 | 2.78 | 94.90
Unit 21 | 141 | 155 | 4.65 | 90.97
Unit 22 | 136 | 144 | 8.44 | 94.44
Unit 23 | 122 | 142 | 8.25 | 85.92
Unit 24 | 119 | 141 | 3.40 | 84.40
Unit 26 | 131 | 139 | 2.93 | 94.24
Unit 27 | 111 | 122 | 4.15 | 90.98
Unit 28 | 95 | 116 | 6.37 | 81.90
Unit 29 | 95 | 108 | 7.53 | 87.96
Unit 30 | 96 | 105 | 5.83 | 91.43
Unit 31 | 96 | 102 | 5.14 | 94.12