## Slide 1
Item 6: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
October 26, 2022

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR1148, Language Cleanup Related to ERCOT Contingency Reserve Service (ECRS) [ERCOT]
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1128, Allow FFR Procurement up to FFR Limit Without Proration [Hunt Energy Network]
  IA: Between $30K and $50K Priority 2023; Rank 3760

## Slide 3: Appendix

## Slide 4: NPRR1128, Allow FFR Procurement up to FFR Limit Without Proration [Hunt Energy Network]
Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3760
ERCOT Impact Analysis: Between $30K and $50K; no impacts to ERCOT staffing; impacts to Market Operations Systems, Data Management & Analytic Systems, Channel Management Systems, and Content Delivery Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR sets a -$0.01 per MW lower Ancillary Service Offer floor for Fast Frequency Response (FFR) Responsive Reserve (RRS) rather than for other RRS categories during certain Operating Hours, thereby allowing, depending on relative Ancillary Service Offers, FFR procurement up to the current FFR limit without proration with other RRS categories in the Ancillary Service procurement process. This NPRR also requires ERCOT to, at least on annual basis, specify the Operating Hours where prioritizing procurement of FFR up to the maximum FFR amount is beneficial in improving reliability. Beyond this, ERCOT may add more hours where FFR prioritization is in effect closer to Real-Time if it believes that these additional hours are vulnerable to low system inertia.
PRS Decision: On 8/11/22, PRS voted to recommend approval of NPRR1128 as amended by the 7/15/22 ERCOT comments. There was one opposing vote from the Consumer (Occidental) Market Segment. On 10/13/22, PRS voted to endorse and forward to TAC the 9/15/22 PRS Report and 10/11/22 Impact Analysis for NPRR1128 with a recommended priority of 2023 and rank of 3760. There was one abstention from the Consumer (Occidental) Market Segment.

## Slide 5: NPRR1148, Language Cleanup Related to ERCOT Contingency Reserve Service (ECRS) [ERCOT]
Proposed Effective Date: Upon system implementation of NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NPRR863.)
Revision Description: This NPRR addresses Protocol gaps found during the creation of the ERCOT Contingency Reserve Service (ECRS) system change requirements.
PRS Decision: On 9/15/22, PRS voted unanimously to recommend approval of NPRR1148 as submitted. On 10/13/22, PRS voted to endorse and forward to TAC the 9/15/22 PRS Report and 8/30/22 Impact Analysis for NPRR1148. There was one abstention from the Consumer (Occidental) Market Segment.

## Slide 6: 2022 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February Various Dates | April 4/5 – 4/7 | May 5/24 – 5/26 | July 7/26 – 7/28 | October 10/4 – 10/6 | December 12/6 – 12/8
LPGRR068 NPRR1054(a) NPRR1005 NOGRR210 RRGRR025 NPRR917 NPRR1052 NPRR1065 NPRR1073 NPRR1016 PGRR082 NOGRR212 | None NPRR1092(a) | NPRR939 NPRR1093 NPRR1101 NPRR1113 NOGRR191 NOGRR198 NOGRR232 OBDRR032 OBDRR033 OBDRR035 SCR800 SCR809 SCR814 MarkeTrak User Interface Refresh | NPRR1108(a) NPRR935(b) NOGRR239 NPRR1129 NPRR1108(b) | None FFR Advancement (NPRR863 FFR) NPRR1120 OBDRR039 NPRR987(a) NPRR1002(a) NPRR1063 | NPRR1084 NPRR1096(a) NPRR1097 SCR812 NPRR1142 RIOO
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R3
R4
R5
R6
ü
ü
ü
ü
Securitization Subchapter N March Go-Live
1/1
EMS Freeze
May 2023 – Jan. 2024
E
E
E
E
E
E
ü
ü
ü
ü
DGR/DESR
NPRR935(b) – New solar forecasts and reports
NPRR987(a) – ESR Contribution to PRC
NPRR1002(a) – Charging Restrictions in Emergency Conditions
NPRR1054(a) – Portion of gray box
NPRR1092(a) – RUC offer floor change
NPRR1096(a) – Non-Spin portion
TBD | NPRRs: 484,825(b),826,829,841,857,879,885,904,918,930,936,941,945,962,963,965,975,987,995,1004,1006,1007,1019,1023,1026,1030,1032,1034,1057, 1077,1090,1092(b),1105 SCRs: 799,805,807,810,813,816,818,819 PGRRs: 066,076,088,091,094,099 Other: OBDRR009,OBDRR017,RRGRR028
ü
ü
ü
ü
6/4 – 6/6
7/1
5/13
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
E
E
E
P
E
E
10/13
ü
ü
ü
7/15
ü
8/16
ü
11/2
ü
12/1
12/9