Date:	October 26, 2022

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR1128, Allow FFR Procurement up to FFR Limit Without Proration [Hunt Energy Network] - NPRR1148, Language Cleanup Related to ERCOT Contingency Reserve Service (ECRS) [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) For NPRRs, ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1128, Allow FFR Procurement up to FFR Limit Without Proration [Hunt Energy Network] Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3760 ERCOT Impact Analysis: Between $30K and $50K; no impacts to ERCOT staffing; impacts to Market Operations Systems, Data Management & Analytic Systems, Channel Management Systems, and Content Delivery Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR sets a -$0.01 per MW lower Ancillary Service Offer floor for Fast Frequency Response (FFR) Responsive Reserve (RRS) rather than for other RRS categories during certain Operating Hours, thereby allowing, depending on relative Ancillary Service Offers, FFR procurement up to the current FFR limit without proration with other RRS categories in the Ancillary Service procurement process. This NPRR also requires ERCOT to, at least on annual basis, specify the Operating Hours where prioritizing procurement of FFR up to the maximum FFR amount is beneficial in improving reliability. Beyond this, ERCOT may add more hours where FFR prioritization is in effect closer to Real-Time if it believes that these additional hours are vulnerable to low system inertia. PRS Decision: On 8/11/22, PRS voted to recommend approval of NPRR1128 as amended by the 7/15/22 ERCOT comments. There was one opposing vote from the Consumer (Occidental) Market Segment. On 10/13/22, PRS voted to endorse and forward to TAC the 9/15/22 PRS Report and 10/11/22 Impact Analysis for NPRR1128 with a recommended priority of 2023 and rank of 3760. There was one abstention from the Consumer (Occidental) Market Segment. - NPRR1148, Language Cleanup Related to ERCOT Contingency Reserve Service (ECRS) [ERCOT] Proposed Effective Date: Upon system implementation of NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. (There are no additional impacts to this NPRR beyond what was captured in the Impact Analysis for NPRR863.) Revision Description: This NPRR addresses Protocol gaps found during the creation of the ERCOT Contingency Reserve Service (ECRS) system change requirements. PRS Decision: On 9/15/22, PRS voted unanimously to recommend approval of NPRR1148 as submitted. On 10/13/22, PRS voted to endorse and forward to TAC the 9/15/22 PRS Report and 8/30/22 Impact Analysis for NPRR1148. There was one abstention from the Consumer (Occidental) Market Segment. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1132, Communicate Operating Limitations during Cold and Hot Weather Conditions [ERCOT] - SCR821, Voltage Set Point Target Information for Distribution Generation Resource (DGR) or Distribution Energy Storage Resource (DESR) [AEP] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1067, Market Entry Qualifications, Continued Participation Requirements, and Credit Risk Assessment [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1089, Requiring Highest-Ranking Representative, Official, or Officer of a Resource Entity to Execute Weatherization and Natural Gas Declarations [ERCOT] - NPRR1138, Communication of Capability and Status of Online IRRs at 0 MW Output [ERCOT] - NPRR1143, Provide ERCOT Flexibility to Determine When ESRs May Charge During an EEA Level 3 [ERCOT] - NPRR1144, Station Service Backup Power Metering [Plus Power] - NPRR1145, Use of State Estimator-Calculated ERCOT-Wide TLFs in Lieu of Seasonal Base Case ERCOT-Wide TLFs for Settlement [ERCOT] - NPRR1146, Credit Changes to Appropriately Reflect TAO Exposure [REMC] - NPRR1147, Update and Improve Notification and Evaluation Processes Associated with Reliability Must-Run (RMR) [ERCOT] - NPRR1149, Implementation of Systematic Ancillary Service Failed Quantity Charges [ERCOT] - NPRR1150, Related to NOGRR230, WAN Participant Security [ERCOT] New Revision Requests Scheduled for Consideration at PRS - NPRR1151, Protocol Revision Subcommittee Meeting Requirement [Oncor] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr