## Slide 1: LFL Updates
Eric Goff, on behalf of Lancium
Goff Policy

## Slide 2: LFL-33: Consider the impacts of and need for rules related to self-limiting RAS/CMPs
Real Time Ops:
  Consider whether a Regional Standard for economic demand response can modify NERC compliance for planning and operations for economic curtailment.
  Alternatively, explore whether planning cases can really be expected in real time, given the possible small interconnection queue
  Finally, modify contingency processing and analysis so that voluntary load curtailment can resolve congestion, and that load can be studied as offline for all operational studies
    Therefore, ERCOT can choose not to activate a contingency if it can instead have a load economically curtail (Protocol Section 6.5.7.1.9) 6.5.7.1.9

## Slide 3: LFL-35
“Consider what changes to outage coordination processes are needed to incorporate LFL, including load assumptions for outage coordination studies.”
Allow Outage Coordination to request if an LFL will curtail for a planned outage, or to require an LFL to curtail for a maintenance or forced outage. Curtailment can be to either turn offline or to not exceed a specified power level.

## Slide 4: LFL-37 Consider forecasting impacts of LFL co-locating with Generation Resources LFL-45 Identify impacts to load forecasting and consider what process changes are necessary to incorporate LFL.
Will the neural network component of the load forecast be able to handle this?
Does the load forecast need more data, such as a current bitcoin price?
Does NPRR 1139 help with this?