| REV REQ NO. | DESCRIPTION | URGENT | ERCOT Opinion | ERCOT Market Impact Statement |
| --- | --- | --- | --- | --- |
| 1128NPRR | Allow FFR Procurement up to FFR Limit Without Proration. This Nodal Protocol Revision Request (NPRR) sets a -$0.01 per MW lower Ancillary Service Offer floor for Fast Frequency Response (FFR) Responsive Reserve (RRS) rather than for other RRS categories, thereby allowing, depending on relative Ancillary Service Offers, FFR procurement up to the current FFR limit without proration with other RRS categories in the Ancillary Service procurement process. [Hunt Energy Network] | N | ERCOT supports approval of NPRR1128. | ERCOT Staff has reviewed NPRR1128 and believes the market impact for NPRR1128 provides reliability benefits by implementing a preference for FFR procurement specifically during certain times of year when low levels of inertia on the ERCOT System are more common. |
| 1148NPRR | Language Cleanup Related to ERCOT Contingency Reserve Service (ECRS). This NPRR addresses Protocol gaps found during the creation of the ECRS system change requirements. [ERCOT] | N | ERCOT supports approval of NPRR1148. | ERCOT Staff has reviewed NPRR1148 and believes the market impact for NPRR1148 properly reconciles Protocol language with the upcoming system implementation of ECRS. |
| 043OBDRR | Related to NPRR1148, Language Cleanup Related to ERCOT Contingency Reserve Service (ECRS). This Other Binding Document Revision Request (OBDRR) aligns the ORDC methodology with the Protocol revisions of NPRR1148. [ERCOT] | N | ERCOT supports approval of OBDRR043. | ERCOT Staff has reviewed OBDRR043 and believes the market impact for OBDRR043 properly reconciles OBD language with the upcoming system implementation of ECRS. |
| 069LPGRR | Add Lubbock Zip Codes. This Load Profiling Guide Revision Request (LPGRR) adds Lubbock Power & Light’s (LP&L’s) Service Address Zip Codes to the Load Profiling Guide and updates the ERCOT service territory map to include Lubbock County. Additionally, the LPGRR corrects several instances in which zip code counts were inadvertently omitted in the Count column by numbering and renumbering as necessary the affected zip code counts. [ERCOT] | N | ERCOT supports approval of LPGRR069. | ERCOT Staff has reviewed LPGRR069 and believes it has a positive market impact by providing market efficiencies and enhancements through the incorporation of Lubbock Power & Light into the Load Profiling Guide and application of corrections to the Profile Decision Tree’s misnumbered Weather Zone Table. |
| 170RMGRR | Inadvertent Gain Process Updates. This Retail Market Guide Revision Request (RMGRR) addresses the following issues associated with the Inadvertent Gain/Loss (IAG) process. [TXU Energy] | Y | ERCOT supports approval of RMGRR170. | ERCOT Staff has reviewed RMGRR170 and believes the market impact for RMGRR170 does not violate existing rules as they pertain to Inadvertent Switches. |