## 20XX ECRS (hidden)
20XX ECRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
4 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
5 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
6 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
7 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
8 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
9 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
10 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
11 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
12 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
13 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
14 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
15 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
17 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
18 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
19 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
21 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
22 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
23 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
24 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A

## 2023 ECRS
2023 ECRS
HE | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01
1 | 1265.9863 | 1395.369 | 1375.4373 | 1365.1791 | 1531.588 | 1509.1376 | 1571.8554 | 1630.4043 | 1726.6832
2 | 1208.8735 | 1365.9994 | 1246.5393 | 1335.757 | 1507.3403 | 1374.3088 | 1517.6647 | 1622.2493 | 1568.0569
3 | 1309.8254 | 1460.0158 | 1376.79 | 1348.8731 | 1460.5145 | 1476.3248 | 1556.4346 | 1718.8103 | 1582.562
4 | 1308.2862 | 1459.9334 | 1246.277 | 1381.0669 | 1483.5544 | 1470.5838 | 1431.2939 | 1624.9474 | 1550.6812
5 | 1349.4844 | 1529.8453 | 1356.0931 | 1292.3954 | 1514.7933 | 1425.6845 | 1407.9101 | 1595.081 | 1513.0508
6 | 1421.3428 | 1557.2637 | 1471.3921 | 1327.9001 | 1429.8078 | 1538.1675 | 1417.1478 | 1478.7758 | 1542.8761
7 | 1577.1522 | 1753.14 | 1525.8313 | 1611.8226 | 1588.1701 | 1731.9796 | 1715.0607 | 1615.6133 | 1687.5596
8 | 2047.146 | 2395.5628 | 1715.7762 | 1693.4162 | 1721.2053 | 1796.1698 | 1893.751 | 1817.6175 | 1895.8231
9 | 1984.7057 | 2629.8506 | 1767.0685 | 1696.609 | 2301.4646 | 2241.858 | 2567.5307 | 2282.6997 | 2215.3195
10 | 2430.8488 | 3038.8604 | 1772.3089 | 2359.0109 | 2481.5727 | 2335.041 | 2284.3061 | 2449.705 | 2838.0047
11 | 2516.5359 | 2293.8502 | 2470.9165 | 2111.6289 | 2407.1042 | 2351.6825 | 2484.8224 | 2443.2369 | 2409.5122
12 | 2366.8795 | 2100.103 | 2187.4581 | 2218.4222 | 2284.3812 | 2465.6952 | 2525.6201 | 2380.3042 | 2540.9599
13 | 2093.9374 | 1968.846 | 2218.6378 | 2425.5197 | 2522.1042 | 2519.088 | 2509.5187 | 2489.2393 | 2384.6191
14 | 2052.2189 | 2067.3274 | 2028.7748 | 2456.1873 | 2476.5991 | 2596.7091 | 2339.0807 | 2433.4206 | 2410.1534
15 | 1818.746 | 2395.5477 | 2074.2672 | 2385.8977 | 2630.6006 | 2492.697 | 2127.7674 | 2487.8492 | 2371.6187
16 | 2035.7505 | 2534.2755 | 2282.9409 | 2317.3375 | 2691.8186 | 2514.7114 | 2451.3413 | 2568.5243 | 2454.223
17 | 2163.664 | 2427.4357 | 2452.8251 | 2502.3486 | 3038.0133 | 2522.257 | 2574.7463 | 2643.0078 | 2681.6835
18 | 1957.3689 | 2155.2581 | 2539.101 | 2455.7914 | 2848.3974 | 2441.3457 | 2447.7697 | 2808.7696 | 2284.7002
19 | 1654.0326 | 1975.0225 | 2388.2086 | 2523.9591 | 2652.9752 | 2600.9231 | 2497.9323 | 2679.4333 | 2066.3664
20 | 1456.3223 | 1689.7123 | 2182.4255 | 2092.654 | 2531.5926 | 2574.2025 | 2393.2004 | 2534.4308 | 2138.1975
21 | 1437.8555 | 1749.2515 | 1933.2242 | 1901.2137 | 2130.1158 | 2450.3147 | 2076.1671 | 2262.3539 | 1838.1415
22 | 1478.5523 | 1767.201 | 1587.8413 | 1627.9968 | 2080.8512 | 2111.3671 | 2046.2221 | 1972.1338 | 1791.2147
23 | 1312.2391 | 1666.1366 | 1442.8653 | 1529.0937 | 1860.7833 | 1567.1397 | 1834.5164 | 1897.3166 | 1820.2749
24 | 1296.7452 | 1481.9302 | 1381.8277 | 1593.3807 | 1591.2653 | 1634.677 | 1717.8444 | 1694.747 | 1668.8308

## Charts
Month | Date | Group | HE | Type | 20XX ECRS | 2023 ECRS | Delta-1 | Month | Jun |  |  | ECRS Requirement Comparison for June
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 1 | ECRS | #N/A | 1265.9863 | #N/A | Type | (All) |  |  | Range: 1374 MW - 2601 MW; Avg: 2073 MW
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 2 | ECRS | #N/A | 1208.8735 | #N/A
Jan | 2018-01-01 | b. HE3-6 | 3 | ECRS | #N/A | 1309.8254 | #N/A | Row Labels | 20XX | 2023 |  |  | min | 1374
Jan | 2018-01-01 | b. HE3-6 | 4 | ECRS | #N/A | 1308.2862 | #N/A | 1 | #N/A | 1509.1376 |  |  | max | 2601
Jan | 2018-01-01 | b. HE3-6 | 5 | ECRS | #N/A | 1349.4844 | #N/A | 2 | #N/A | 1374.3088 |  |  | avg | 2073
Jan | 2018-01-01 | b. HE3-6 | 6 | ECRS | #N/A | 1421.3428 | #N/A | 3 | #N/A | 1476.3248 |  |  | Change | #N/A
Jan | 2018-01-01 | c. HE7-10 | 7 | ECRS | #N/A | 1577.1522 | #N/A | 4 | #N/A | 1470.5838
Jan | 2018-01-01 | c. HE7-10 | 8 | ECRS | #N/A | 2047.146 | #N/A | 5 | #N/A | 1425.6845
Jan | 2018-01-01 | c. HE7-10 | 9 | ECRS | #N/A | 1984.7057 | #N/A | 6 | #N/A | 1538.1675
Jan | 2018-01-01 | c. HE7-10 | 10 | ECRS | #N/A | 2430.8488 | #N/A | 7 | #N/A | 1731.9796
Jan | 2018-01-01 | d. HE11-14 | 11 | ECRS | #N/A | 2516.5359 | #N/A | 8 | #N/A | 1796.1698
Jan | 2018-01-01 | d. HE11-14 | 12 | ECRS | #N/A | 2366.8795 | #N/A | 9 | #N/A | 2241.858
Jan | 2018-01-01 | d. HE11-14 | 13 | ECRS | #N/A | 2093.9374 | #N/A | 10 | #N/A | 2335.041
Jan | 2018-01-01 | d. HE11-14 | 14 | ECRS | #N/A | 2052.2189 | #N/A | 11 | #N/A | 2351.6825
Jan | 2018-01-01 | e. HE15-18 | 15 | ECRS | #N/A | 1818.746 | #N/A | 12 | #N/A | 2465.6952
Jan | 2018-01-01 | e. HE15-18 | 16 | ECRS | #N/A | 2035.7505 | #N/A | 13 | #N/A | 2519.088
Jan | 2018-01-01 | e. HE15-18 | 17 | ECRS | #N/A | 2163.664 | #N/A | 14 | #N/A | 2596.7091
Jan | 2018-01-01 | e. HE15-18 | 18 | ECRS | #N/A | 1957.3689 | #N/A | 15 | #N/A | 2492.697
Jan | 2018-01-01 | f. HE19-22 | 19 | ECRS | #N/A | 1654.0326 | #N/A | 16 | #N/A | 2514.7114
Jan | 2018-01-01 | f. HE19-22 | 20 | ECRS | #N/A | 1456.3223 | #N/A | 17 | #N/A | 2522.257
Jan | 2018-01-01 | f. HE19-22 | 21 | ECRS | #N/A | 1437.8555 | #N/A | 18 | #N/A | 2441.3457
Jan | 2018-01-01 | f. HE19-22 | 22 | ECRS | #N/A | 1478.5523 | #N/A | 19 | #N/A | 2600.9231
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 23 | ECRS | #N/A | 1312.2391 | #N/A | 20 | #N/A | 2574.2025
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 24 | ECRS | #N/A | 1296.7452 | #N/A | 21 | #N/A | 2450.3147
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 1 | ECRS | #N/A | 1395.369 | #N/A | 22 | #N/A | 2111.3671
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 2 | ECRS | #N/A | 1365.9994 | #N/A | 23 | #N/A | 1567.1397
Feb | 2018-02-01 | b. HE3-6 | 3 | ECRS | #N/A | 1460.0158 | #N/A | 24 | #N/A | 1634.677
Feb | 2018-02-01 | b. HE3-6 | 4 | ECRS | #N/A | 1459.9334 | #N/A
Feb | 2018-02-01 | b. HE3-6 | 5 | ECRS | #N/A | 1529.8453 | #N/A |  |  |  |  | Hourly Average ECRS Requirement Comparison
Feb | 2018-02-01 | b. HE3-6 | 6 | ECRS | #N/A | 1557.2637 | #N/A | Type | ECRS |  |  | Range: 2130 MW - 1731 MW; Avg: 1981 MW
Feb | 2018-02-01 | c. HE7-10 | 7 | ECRS | #N/A | 1753.14 | #N/A
Feb | 2018-02-01 | c. HE7-10 | 8 | ECRS | #N/A | 2395.5628 | #N/A | Row Labels | 20XX | 2023 |  |  | min-change | 0 | #N/A
Feb | 2018-02-01 | c. HE7-10 | 9 | ECRS | #N/A | 2629.8506 | #N/A | Jan | #N/A | 1731.0208 | 1731.0208 | 8 | max-change | 2130.4446 | Aug
Feb | 2018-02-01 | c. HE7-10 | 10 | ECRS | #N/A | 3038.8604 | #N/A | Feb | #N/A | 1952.4058 | 1952.4058 | 5 | AVG-CHANGE | 1981.4375
Feb | 2018-02-01 | d. HE11-14 | 11 | ECRS | #N/A | 2293.8502 | #N/A | Mar | #N/A | 1834.3678 | 1834.3678 | 7
Feb | 2018-02-01 | d. HE11-14 | 12 | ECRS | #N/A | 2100.103 | #N/A | Apr | #N/A | 1898.0609 | 1898.0609 | 6 | min | 1731
Feb | 2018-02-01 | d. HE11-14 | 13 | ECRS | #N/A | 1968.846 | #N/A | May | #N/A | 2115.2755 | 2115.2755 | 2 | max | 2130
Feb | 2018-02-01 | d. HE11-14 | 14 | ECRS | #N/A | 2067.3274 | #N/A | Jun | #N/A | 2072.5861 | 2072.5861 | 3 | AVG | 1981
Feb | 2018-02-01 | e. HE15-18 | 15 | ECRS | #N/A | 2395.5477 | #N/A | Jul | #N/A | 2057.896 | 2057.896 | 4
Feb | 2018-02-01 | e. HE15-18 | 16 | ECRS | #N/A | 2534.2755 | #N/A | Aug | #N/A | 2130.4446 | 2130.4446 | 1
Feb | 2018-02-01 | e. HE15-18 | 17 | ECRS | #N/A | 2427.4357 | #N/A | Sep | #N/A | 2040.8797 | 2040.8797
Feb | 2018-02-01 | e. HE15-18 | 18 | ECRS | #N/A | 2155.2581 | #N/A | Oct | #N/A | 0 | #N/A
Feb | 2018-02-01 | f. HE19-22 | 19 | ECRS | #N/A | 1975.0225 | #N/A | Nov | #N/A | 0 | #N/A
Feb | 2018-02-01 | f. HE19-22 | 20 | ECRS | #N/A | 1689.7123 | #N/A | Dec | #N/A | 0 | #N/A
Feb | 2018-02-01 | f. HE19-22 | 21 | ECRS | #N/A | 1749.2515 | #N/A
Feb | 2018-02-01 | f. HE19-22 | 22 | ECRS | #N/A | 1767.201 | #N/A
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 23 | ECRS | #N/A | 1666.1366 | #N/A
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 24 | ECRS | #N/A | 1481.9302 | #N/A
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 1 | ECRS | #N/A | 1375.4373 | #N/A
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 2 | ECRS | #N/A | 1246.5393 | #N/A
Mar | 2018-03-01 | b. HE3-6 | 3 | ECRS | #N/A | 1376.79 | #N/A
Mar | 2018-03-01 | b. HE3-6 | 4 | ECRS | #N/A | 1246.277 | #N/A
Mar | 2018-03-01 | b. HE3-6 | 5 | ECRS | #N/A | 1356.0931 | #N/A
Mar | 2018-03-01 | b. HE3-6 | 6 | ECRS | #N/A | 1471.3921 | #N/A
Mar | 2018-03-01 | c. HE7-10 | 7 | ECRS | #N/A | 1525.8313 | #N/A
Mar | 2018-03-01 | c. HE7-10 | 8 | ECRS | #N/A | 1715.7762 | #N/A
Mar | 2018-03-01 | c. HE7-10 | 9 | ECRS | #N/A | 1767.0685 | #N/A
Mar | 2018-03-01 | c. HE7-10 | 10 | ECRS | #N/A | 1772.3089 | #N/A
Mar | 2018-03-01 | d. HE11-14 | 11 | ECRS | #N/A | 2470.9165 | #N/A
Mar | 2018-03-01 | d. HE11-14 | 12 | ECRS | #N/A | 2187.4581 | #N/A
Mar | 2018-03-01 | d. HE11-14 | 13 | ECRS | #N/A | 2218.6378 | #N/A
Mar | 2018-03-01 | d. HE11-14 | 14 | ECRS | #N/A | 2028.7748 | #N/A
Mar | 2018-03-01 | e. HE15-18 | 15 | ECRS | #N/A | 2074.2672 | #N/A
Mar | 2018-03-01 | e. HE15-18 | 16 | ECRS | #N/A | 2282.9409 | #N/A
Mar | 2018-03-01 | e. HE15-18 | 17 | ECRS | #N/A | 2452.8251 | #N/A
Mar | 2018-03-01 | e. HE15-18 | 18 | ECRS | #N/A | 2539.101 | #N/A
Mar | 2018-03-01 | f. HE19-22 | 19 | ECRS | #N/A | 2388.2086 | #N/A
Mar | 2018-03-01 | f. HE19-22 | 20 | ECRS | #N/A | 2182.4255 | #N/A
Mar | 2018-03-01 | f. HE19-22 | 21 | ECRS | #N/A | 1933.2242 | #N/A
Mar | 2018-03-01 | f. HE19-22 | 22 | ECRS | #N/A | 1587.8413 | #N/A
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 23 | ECRS | #N/A | 1442.8653 | #N/A
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 24 | ECRS | #N/A | 1381.8277 | #N/A
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 1 | ECRS | #N/A | 1365.1791 | #N/A
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 2 | ECRS | #N/A | 1335.757 | #N/A
Apr | 2018-04-01 | b. HE3-6 | 3 | ECRS | #N/A | 1348.8731 | #N/A
Apr | 2018-04-01 | b. HE3-6 | 4 | ECRS | #N/A | 1381.0669 | #N/A
Apr | 2018-04-01 | b. HE3-6 | 5 | ECRS | #N/A | 1292.3954 | #N/A
Apr | 2018-04-01 | b. HE3-6 | 6 | ECRS | #N/A | 1327.9001 | #N/A
Apr | 2018-04-01 | c. HE7-10 | 7 | ECRS | #N/A | 1611.8226 | #N/A
Apr | 2018-04-01 | c. HE7-10 | 8 | ECRS | #N/A | 1693.4162 | #N/A
Apr | 2018-04-01 | c. HE7-10 | 9 | ECRS | #N/A | 1696.609 | #N/A
Apr | 2018-04-01 | c. HE7-10 | 10 | ECRS | #N/A | 2359.0109 | #N/A
Apr | 2018-04-01 | d. HE11-14 | 11 | ECRS | #N/A | 2111.6289 | #N/A
Apr | 2018-04-01 | d. HE11-14 | 12 | ECRS | #N/A | 2218.4222 | #N/A
Apr | 2018-04-01 | d. HE11-14 | 13 | ECRS | #N/A | 2425.5197 | #N/A
Apr | 2018-04-01 | d. HE11-14 | 14 | ECRS | #N/A | 2456.1873 | #N/A
Apr | 2018-04-01 | e. HE15-18 | 15 | ECRS | #N/A | 2385.8977 | #N/A
Apr | 2018-04-01 | e. HE15-18 | 16 | ECRS | #N/A | 2317.3375 | #N/A
Apr | 2018-04-01 | e. HE15-18 | 17 | ECRS | #N/A | 2502.3486 | #N/A
Apr | 2018-04-01 | e. HE15-18 | 18 | ECRS | #N/A | 2455.7914 | #N/A
Apr | 2018-04-01 | f. HE19-22 | 19 | ECRS | #N/A | 2523.9591 | #N/A
Apr | 2018-04-01 | f. HE19-22 | 20 | ECRS | #N/A | 2092.654 | #N/A
Apr | 2018-04-01 | f. HE19-22 | 21 | ECRS | #N/A | 1901.2137 | #N/A
Apr | 2018-04-01 | f. HE19-22 | 22 | ECRS | #N/A | 1627.9968 | #N/A
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 23 | ECRS | #N/A | 1529.0937 | #N/A
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 24 | ECRS | #N/A | 1593.3807 | #N/A
May | 2018-05-01 | a. HE1-2 & HE23-24 | 1 | ECRS | #N/A | 1531.588 | #N/A
May | 2018-05-01 | a. HE1-2 & HE23-24 | 2 | ECRS | #N/A | 1507.3403 | #N/A
May | 2018-05-01 | b. HE3-6 | 3 | ECRS | #N/A | 1460.5145 | #N/A
May | 2018-05-01 | b. HE3-6 | 4 | ECRS | #N/A | 1483.5544 | #N/A
May | 2018-05-01 | b. HE3-6 | 5 | ECRS | #N/A | 1514.7933 | #N/A
May | 2018-05-01 | b. HE3-6 | 6 | ECRS | #N/A | 1429.8078 | #N/A
May | 2018-05-01 | c. HE7-10 | 7 | ECRS | #N/A | 1588.1701 | #N/A
May | 2018-05-01 | c. HE7-10 | 8 | ECRS | #N/A | 1721.2053 | #N/A
May | 2018-05-01 | c. HE7-10 | 9 | ECRS | #N/A | 2301.4646 | #N/A
May | 2018-05-01 | c. HE7-10 | 10 | ECRS | #N/A | 2481.5727 | #N/A
May | 2018-05-01 | d. HE11-14 | 11 | ECRS | #N/A | 2407.1042 | #N/A | Type | RRS
May | 2018-05-01 | d. HE11-14 | 12 | ECRS | #N/A | 2284.3812 | #N/A
May | 2018-05-01 | d. HE11-14 | 13 | ECRS | #N/A | 2522.1042 | #N/A | Month | Average of Delta-1
May | 2018-05-01 | d. HE11-14 | 14 | ECRS | #N/A | 2476.5991 | #N/A | Jan | 41.2308
May | 2018-05-01 | e. HE15-18 | 15 | ECRS | #N/A | 2630.6006 | #N/A | Apr | 86.2727
May | 2018-05-01 | e. HE15-18 | 16 | ECRS | #N/A | 2691.8186 | #N/A | Jul | 18.3333
May | 2018-05-01 | e. HE15-18 | 17 | ECRS | #N/A | 3038.0133 | #N/A | Oct | 0
May | 2018-05-01 | e. HE15-18 | 18 | ECRS | #N/A | 2848.3974 | #N/A | Feb | 80.4167
May | 2018-05-01 | f. HE19-22 | 19 | ECRS | #N/A | 2652.9752 | #N/A | Mar | 181.6667
May | 2018-05-01 | f. HE19-22 | 20 | ECRS | #N/A | 2531.5926 | #N/A | May | 5.9231
May | 2018-05-01 | f. HE19-22 | 21 | ECRS | #N/A | 2130.1158 | #N/A | Jun | -17.3636
May | 2018-05-01 | f. HE19-22 | 22 | ECRS | #N/A | 2080.8512 | #N/A | Aug | 15.3846
May | 2018-05-01 | a. HE1-2 & HE23-24 | 23 | ECRS | #N/A | 1860.7833 | #N/A | Sep | 0
May | 2018-05-01 | a. HE1-2 & HE23-24 | 24 | ECRS | #N/A | 1591.2653 | #N/A | Nov | 0
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 1 | ECRS | #N/A | 1509.1376 | #N/A | Dec | 0
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 2 | ECRS | #N/A | 1374.3088 | #N/A | Grand Total | 34.2778
Jun | 2018-06-01 | b. HE3-6 | 3 | ECRS | #N/A | 1476.3248 | #N/A
Jun | 2018-06-01 | b. HE3-6 | 4 | ECRS | #N/A | 1470.5838 | #N/A
Jun | 2018-06-01 | b. HE3-6 | 5 | ECRS | #N/A | 1425.6845 | #N/A
Jun | 2018-06-01 | b. HE3-6 | 6 | ECRS | #N/A | 1538.1675 | #N/A
Jun | 2018-06-01 | c. HE7-10 | 7 | ECRS | #N/A | 1731.9796 | #N/A
Jun | 2018-06-01 | c. HE7-10 | 8 | ECRS | #N/A | 1796.1698 | #N/A
Jun | 2018-06-01 | c. HE7-10 | 9 | ECRS | #N/A | 2241.858 | #N/A
Jun | 2018-06-01 | c. HE7-10 | 10 | ECRS | #N/A | 2335.041 | #N/A
Jun | 2018-06-01 | d. HE11-14 | 11 | ECRS | #N/A | 2351.6825 | #N/A
Jun | 2018-06-01 | d. HE11-14 | 12 | ECRS | #N/A | 2465.6952 | #N/A
Jun | 2018-06-01 | d. HE11-14 | 13 | ECRS | #N/A | 2519.088 | #N/A
Jun | 2018-06-01 | d. HE11-14 | 14 | ECRS | #N/A | 2596.7091 | #N/A
Jun | 2018-06-01 | e. HE15-18 | 15 | ECRS | #N/A | 2492.697 | #N/A
Jun | 2018-06-01 | e. HE15-18 | 16 | ECRS | #N/A | 2514.7114 | #N/A
Jun | 2018-06-01 | e. HE15-18 | 17 | ECRS | #N/A | 2522.257 | #N/A
Jun | 2018-06-01 | e. HE15-18 | 18 | ECRS | #N/A | 2441.3457 | #N/A
Jun | 2018-06-01 | f. HE19-22 | 19 | ECRS | #N/A | 2600.9231 | #N/A
Jun | 2018-06-01 | f. HE19-22 | 20 | ECRS | #N/A | 2574.2025 | #N/A
Jun | 2018-06-01 | f. HE19-22 | 21 | ECRS | #N/A | 2450.3147 | #N/A
Jun | 2018-06-01 | f. HE19-22 | 22 | ECRS | #N/A | 2111.3671 | #N/A
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 23 | ECRS | #N/A | 1567.1397 | #N/A
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 24 | ECRS | #N/A | 1634.677 | #N/A
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 1 | ECRS | #N/A | 1571.8554 | #N/A
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 2 | ECRS | #N/A | 1517.6647 | #N/A
Jul | 2018-07-01 | b. HE3-6 | 3 | ECRS | #N/A | 1556.4346 | #N/A
Jul | 2018-07-01 | b. HE3-6 | 4 | ECRS | #N/A | 1431.2939 | #N/A
Jul | 2018-07-01 | b. HE3-6 | 5 | ECRS | #N/A | 1407.9101 | #N/A
Jul | 2018-07-01 | b. HE3-6 | 6 | ECRS | #N/A | 1417.1478 | #N/A
Jul | 2018-07-01 | c. HE7-10 | 7 | ECRS | #N/A | 1715.0607 | #N/A
Jul | 2018-07-01 | c. HE7-10 | 8 | ECRS | #N/A | 1893.751 | #N/A
Jul | 2018-07-01 | c. HE7-10 | 9 | ECRS | #N/A | 2567.5307 | #N/A
Jul | 2018-07-01 | c. HE7-10 | 10 | ECRS | #N/A | 2284.3061 | #N/A
Jul | 2018-07-01 | d. HE11-14 | 11 | ECRS | #N/A | 2484.8224 | #N/A
Jul | 2018-07-01 | d. HE11-14 | 12 | ECRS | #N/A | 2525.6201 | #N/A
Jul | 2018-07-01 | d. HE11-14 | 13 | ECRS | #N/A | 2509.5187 | #N/A
Jul | 2018-07-01 | d. HE11-14 | 14 | ECRS | #N/A | 2339.0807 | #N/A
Jul | 2018-07-01 | e. HE15-18 | 15 | ECRS | #N/A | 2127.7674 | #N/A
Jul | 2018-07-01 | e. HE15-18 | 16 | ECRS | #N/A | 2451.3413 | #N/A
Jul | 2018-07-01 | e. HE15-18 | 17 | ECRS | #N/A | 2574.7463 | #N/A
Jul | 2018-07-01 | e. HE15-18 | 18 | ECRS | #N/A | 2447.7697 | #N/A
Jul | 2018-07-01 | f. HE19-22 | 19 | ECRS | #N/A | 2497.9323 | #N/A
Jul | 2018-07-01 | f. HE19-22 | 20 | ECRS | #N/A | 2393.2004 | #N/A
Jul | 2018-07-01 | f. HE19-22 | 21 | ECRS | #N/A | 2076.1671 | #N/A
Jul | 2018-07-01 | f. HE19-22 | 22 | ECRS | #N/A | 2046.2221 | #N/A
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 23 | ECRS | #N/A | 1834.5164 | #N/A
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 24 | ECRS | #N/A | 1717.8444 | #N/A
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 1 | ECRS | #N/A | 1630.4043 | #N/A
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 2 | ECRS | #N/A | 1622.2493 | #N/A
Aug | 2018-08-01 | b. HE3-6 | 3 | ECRS | #N/A | 1718.8103 | #N/A
Aug | 2018-08-01 | b. HE3-6 | 4 | ECRS | #N/A | 1624.9474 | #N/A
Aug | 2018-08-01 | b. HE3-6 | 5 | ECRS | #N/A | 1595.081 | #N/A
Aug | 2018-08-01 | b. HE3-6 | 6 | ECRS | #N/A | 1478.7758 | #N/A
Aug | 2018-08-01 | c. HE7-10 | 7 | ECRS | #N/A | 1615.6133 | #N/A
Aug | 2018-08-01 | c. HE7-10 | 8 | ECRS | #N/A | 1817.6175 | #N/A
Aug | 2018-08-01 | c. HE7-10 | 9 | ECRS | #N/A | 2282.6997 | #N/A
Aug | 2018-08-01 | c. HE7-10 | 10 | ECRS | #N/A | 2449.705 | #N/A
Aug | 2018-08-01 | d. HE11-14 | 11 | ECRS | #N/A | 2443.2369 | #N/A
Aug | 2018-08-01 | d. HE11-14 | 12 | ECRS | #N/A | 2380.3042 | #N/A
Aug | 2018-08-01 | d. HE11-14 | 13 | ECRS | #N/A | 2489.2393 | #N/A
Aug | 2018-08-01 | d. HE11-14 | 14 | ECRS | #N/A | 2433.4206 | #N/A
Aug | 2018-08-01 | e. HE15-18 | 15 | ECRS | #N/A | 2487.8492 | #N/A
Aug | 2018-08-01 | e. HE15-18 | 16 | ECRS | #N/A | 2568.5243 | #N/A
Aug | 2018-08-01 | e. HE15-18 | 17 | ECRS | #N/A | 2643.0078 | #N/A
Aug | 2018-08-01 | e. HE15-18 | 18 | ECRS | #N/A | 2808.7696 | #N/A
Aug | 2018-08-01 | f. HE19-22 | 19 | ECRS | #N/A | 2679.4333 | #N/A
Aug | 2018-08-01 | f. HE19-22 | 20 | ECRS | #N/A | 2534.4308 | #N/A
Aug | 2018-08-01 | f. HE19-22 | 21 | ECRS | #N/A | 2262.3539 | #N/A
Aug | 2018-08-01 | f. HE19-22 | 22 | ECRS | #N/A | 1972.1338 | #N/A
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 23 | ECRS | #N/A | 1897.3166 | #N/A
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 24 | ECRS | #N/A | 1694.747 | #N/A
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 1 | ECRS | #N/A | 1726.6832 | #N/A
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 2 | ECRS | #N/A | 1568.0569 | #N/A
Sep | 2018-09-01 | b. HE3-6 | 3 | ECRS | #N/A | 1582.562 | #N/A
Sep | 2018-09-01 | b. HE3-6 | 4 | ECRS | #N/A | 1550.6812 | #N/A
Sep | 2018-09-01 | b. HE3-6 | 5 | ECRS | #N/A | 1513.0508 | #N/A
Sep | 2018-09-01 | b. HE3-6 | 6 | ECRS | #N/A | 1542.8761 | #N/A
Sep | 2018-09-01 | c. HE7-10 | 7 | ECRS | #N/A | 1687.5596 | #N/A
Sep | 2018-09-01 | c. HE7-10 | 8 | ECRS | #N/A | 1895.8231 | #N/A
Sep | 2018-09-01 | c. HE7-10 | 9 | ECRS | #N/A | 2215.3195 | #N/A
Sep | 2018-09-01 | c. HE7-10 | 10 | ECRS | #N/A | 2838.0047 | #N/A
Sep | 2018-09-01 | d. HE11-14 | 11 | ECRS | #N/A | 2409.5122 | #N/A
Sep | 2018-09-01 | d. HE11-14 | 12 | ECRS | #N/A | 2540.9599 | #N/A
Sep | 2018-09-01 | d. HE11-14 | 13 | ECRS | #N/A | 2384.6191 | #N/A
Sep | 2018-09-01 | d. HE11-14 | 14 | ECRS | #N/A | 2410.1534 | #N/A
Sep | 2018-09-01 | e. HE15-18 | 15 | ECRS | #N/A | 2371.6187 | #N/A
Sep | 2018-09-01 | e. HE15-18 | 16 | ECRS | #N/A | 2454.223 | #N/A
Sep | 2018-09-01 | e. HE15-18 | 17 | ECRS | #N/A | 2681.6835 | #N/A
Sep | 2018-09-01 | e. HE15-18 | 18 | ECRS | #N/A | 2284.7002 | #N/A
Sep | 2018-09-01 | f. HE19-22 | 19 | ECRS | #N/A | 2066.3664 | #N/A
Sep | 2018-09-01 | f. HE19-22 | 20 | ECRS | #N/A | 2138.1975 | #N/A
Sep | 2018-09-01 | f. HE19-22 | 21 | ECRS | #N/A | 1838.1415 | #N/A
Sep | 2018-09-01 | f. HE19-22 | 22 | ECRS | #N/A | 1791.2147 | #N/A
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 23 | ECRS | #N/A | 1820.2749 | #N/A
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 24 | ECRS | #N/A | 1668.8308 | #N/A
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 1 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 2 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | b. HE3-6 | 3 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | b. HE3-6 | 4 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | b. HE3-6 | 5 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | b. HE3-6 | 6 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | c. HE7-10 | 7 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | c. HE7-10 | 8 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | c. HE7-10 | 9 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | c. HE7-10 | 10 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | d. HE11-14 | 11 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | d. HE11-14 | 12 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | d. HE11-14 | 13 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | d. HE11-14 | 14 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | e. HE15-18 | 15 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | e. HE15-18 | 16 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | e. HE15-18 | 17 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | e. HE15-18 | 18 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | f. HE19-22 | 19 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | f. HE19-22 | 20 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | f. HE19-22 | 21 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | f. HE19-22 | 22 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 23 | ECRS | #N/A | 0 | 0
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 24 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 1 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 2 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | b. HE3-6 | 3 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | b. HE3-6 | 4 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | b. HE3-6 | 5 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | b. HE3-6 | 6 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | c. HE7-10 | 7 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | c. HE7-10 | 8 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | c. HE7-10 | 9 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | c. HE7-10 | 10 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | d. HE11-14 | 11 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | d. HE11-14 | 12 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | d. HE11-14 | 13 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | d. HE11-14 | 14 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | e. HE15-18 | 15 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | e. HE15-18 | 16 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | e. HE15-18 | 17 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | e. HE15-18 | 18 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | f. HE19-22 | 19 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | f. HE19-22 | 20 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | f. HE19-22 | 21 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | f. HE19-22 | 22 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 23 | ECRS | #N/A | 0 | 0
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 24 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 1 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 2 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | b. HE3-6 | 3 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | b. HE3-6 | 4 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | b. HE3-6 | 5 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | b. HE3-6 | 6 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | c. HE7-10 | 7 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | c. HE7-10 | 8 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | c. HE7-10 | 9 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | c. HE7-10 | 10 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | d. HE11-14 | 11 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | d. HE11-14 | 12 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | d. HE11-14 | 13 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | d. HE11-14 | 14 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | e. HE15-18 | 15 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | e. HE15-18 | 16 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | e. HE15-18 | 17 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | e. HE15-18 | 18 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | f. HE19-22 | 19 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | f. HE19-22 | 20 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | f. HE19-22 | 21 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | f. HE19-22 | 22 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 23 | ECRS | #N/A | 0 | 0
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 24 | ECRS | #N/A | 0 | 0