## Slide 1
NPRR for PUCT Rules 25.53 and 25.55
Presented by:
Andrew Gallo
Assistant General Counsel - Regulatory

## Slide 2: Background/Facts
Protocols §3.21 currently requires submitting EOPs, Weatherization Plans and Weather Preparedness Declarations (includes Section 22, Attachment O)
PUCT recently promulgated Rules §25.53 and §25.55
  Deal with same topics
Protocols §3.21.1 currently requires submitting Natural Gas Pipeline Coordination Declarations (Section 22, Attachment K)
Protocols §1.3.1.1 currently includes weatherization plans

## Slide 3: NPRR Overview
In light of PUCT Rules 25.53 and 25.55, NPRR will:
  Remove requirements to submit EOPs, weatherization plans, and declarations of Summer/Winter weather preparedness in deference to PUCT rules
  Revise procedures for submitting declarations of natural gas pipeline coordination
  Revise Protected Information to remove references to weatherization plans and add protections for information relating to weatherization activities submitted to, obtained by or generated by ERCOT per PUCT Rule 25.55
  Revise ECEII definition to cover EOPs submitted to ERCOT pursuant to any PUCT rule or NERC Reliability Standard [to cover EOP-011 submittals per NOG 3.7(6)]

## Slide 4: NPRR Benefits
Reduces administrative burden of submitting weatherization declarations under Protocols § 3.21
  Superseded by more comprehensive declarations of PUCT Rule 25.55
  At open meeting on September 29, 2022, PUCT Commissioners agreed ERCOT MPs need not submit § 3.21 declarations in light of revised PUCT Rule 25.55
  NPRR implements that decision
Retains requirement to submit natural gas pipeline coordination declaration in Section 22, Attachment K
  Declaration to be submitted w/ summer weather preparedness declaration [PUCT Rule 25.55(c)(3)(B)]
  PUCT Rule authorizes ERCOT to specify additional information to include in declarations
    Consolidating pipeline coordination declaration into weatherization declaration reduces administrative burden on MPs and ERCOT

## Slide 5: NPRR Benefits
Removes § 3.21 requirement to submit EOPs
  PUCT Rule 25.53 creates more specific requirements for EOPs and requires submittal to ERCOT
  Existing separate Protocol-level requirement for EOPs is duplicative
  Because PUCT Rule 25.55 now regulates weatherization activities, ERCOT no longer needs MPs to designate weatherization-specific portions of EOP or submit standalone weatherization plan
Revisions to § 1.3.1.1 provide clarity regarding protected status of EOPs and weatherization-related information
  Required by PUCT Rule 25.53(c)(1)(C) and (c)(3)(d) and PUCT Rule 25.55(c)(6) and (f)(6)
  ERCOT may present aggregated data, but not individual facility data
Revisions to § 1.3.2.1 removes references to entities to make it clear any EOPs submitted to ERCOT pursuant to PUCT rule or NERC Reliability Standard is ECEII

## Slide 6: NPRR Overlap
NPRR1067, Market Entry Qualifications, Continued Participation Requirements, and Credit Risk Assessment
  § 1.3.1.1
  Unaffected by proposed changes
NPRR1084, Improvements to Reporting of Resource Outages, Derates, and Startup Loading Failures
  § 1.3.1.1
  Unaffected by proposed changes
To be withdrawn:
  NPRR1089, Requiring Highest-Ranking Representative, Official, or Officer of a Resource Entity to Execute Weatherization and Natural Gas Declarations
    § 3.21
    § 3.21.1
    § 22, Attachment K
    § 22, Attachment O