## Slide 1
2023 Long-Term Load Forecast
Calvin Opheim
Load Forecasting & Analysis
SAWG
November 9, 2022

## Slide 2: Agenda
ERCOT System Forecast
Rooftop PV Forecast
Forecast Adjustments
Assumptions and Challenges
Questions

## Slide 3
ERCOT System Load Forecast

## Slide 4: ERCOT Summer Peak Demand Forecast
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Historical | 56068.0162 | 60029.6626 | 58483.7006 | 60212.6796 | 62202.8028 | 62114.7508 | 62102.9637 | 63407.1899 | 65713.4485 | 68317.6698 | 66557.7818 | 67252.9949 | 66464.0643 | 69620.4076 | 71092.6092 | 69496.2398 | 73308.1534 | 74665.5795 | 74327.8368 | 73650.5735 | 80037.836
Forecast | 82307.7938 | 84325.4419 | 85740.4859 | 87131.4537 | 88518.1955 | 89089.8296 | 89623.8407 | 90119.6099 | 90563.229 | 90977.7359

## Slide 5: Recent Summer Peak Demand Forecasts
Chart: Year
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
2020 LTLF | 81593.2603 | 82982.0987 | 84193.342 | 85383.9337 | 86546.2076 | 87668.3732 | 88751.3167 | 89814.0662 | 90855.718
2021 LTLF | 80280.2923 | 81266.818 | 82057.6381 | 82838.0592 | 83615.9218 | 84361.6918 | 85094.6733 | 85820.1422 | 86523.2017
2022 LTLF | 79328.6254 | 80553.6185 | 81581.3409 | 82605.7585 | 83398.0649 | 84146.1036 | 84878.1297 | 85569.3326 | 86233.2128
2023 LTLF | 82307.7938 | 84325.4419 | 85740.4859 | 87131.4537 | 88518.1955 | 89089.8296 | 89623.8407 | 90119.6099 | 90563.229

## Slide 6: 2023 Summer Peak Demand Scenarios
Chart: Historical Weather Year
| 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Forecast | P90
 | 81643.5372 | 81569.2793 | 81947.3972 | 84190.1327 | 85695.6628 | 84678.406 | 82860.8428 | 80588.8117 | 83145.4267 | 81137.1203 | 79268.7609 | 82633.3899 | 81398.3679 | 81307.5359 | 77427.979 | 82307.7938 | 85085.3087

## Slide 7: Summer Peak Demand Scenarios
Chart: Year
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Mild Weather (2021) | 77427.979 | 79095.732 | 80163.0503 | 81304.5561 | 82755.2245 | 83592.2707 | 84400.014 | 85168.3608 | 85881.5825 | 86563.4907
Extreme Weather (2011) | 85695.6628 | 87297.5312 | 88377.2053 | 89541.3929 | 90678.851 | 91416.0533 | 92115.3231 | 92776.3218 | 93385.3792 | 93965.8146
Forecast | 82307.7938 | 84325.4419 | 85740.4859 | 87131.4537 | 88518.1955 | 89089.8296 | 89623.8407 | 90119.6099 | 90563.229 | 90977.7359

## Slide 8: Historical Coincident Factors Scenario Forecasts
Chart: Year
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Maximum Coincident Factors | 82307.7938 | 84325.4419 | 85740.4859 | 87131.4537 | 88518.1955 | 89089.8296 | 89623.8407 | 90119.6099 | 90563.229 | 90977.7359
Average Coincident Factors | 81388.7825 | 83369.4525 | 84803.1015 | 86202.4599 | 87588.9253 | 88161.0474 | 88695.9105 | 89192.4647 | 89637.1059 | 90052.6576
Minimum Coincident Factors | 80108.0915 | 82026.8352 | 83408.4445 | 84780.9793 | 86154.3932 | 86699.2588 | 87206.716 | 87675.8973 | 88093.141 | 88481.237

## Slide 9: ERCOT Annual Energy Forecast
Chart: Year
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Actual | 279859.6871 | 284353.9065 | 288361.9987 | 298432.4753 | 304957.9249 | 306569.309 | 310833.7322 | 307366.3563 | 318268.5325 | 333968.6178 | 324986.4682 | 331715.6797 | 340115.3201 | 347470.2521 | 351344.2118 | 357227.0858 | 376206.855 | 383811.7391 | 381749.367 | 392667.7523 | 419000
Forecast | 445388.3287 | 464983.0351 | 480009.0692 | 494259.9219 | 508344.4895 | 516425.159 | 521236.6728 | 527020.0229 | 532397.8513 | 538741.674

## Slide 10: Recent Annual Energy Forecasts
Chart: Year
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
2020 LTLF | 437920.9466 | 449969.4074 | 458262.8869 | 467416.1431 | 476372.8197 | 486219.7609 | 493415.2383 | 501621.5583 | 509666.7007
2021 LTLF | 434006.1603 | 444425.8147 | 450675.8648 | 457853.9767 | 464902.5388 | 472950.0009 | 478510.2935 | 485142.9766 | 491642.1955
2022 LTLF | 439714.0606 | 452161.0561 | 460428.7627 | 469633.6408 | 476838.7511 | 484883.461 | 490231.6813 | 496464.3935 | 502356.7005
2023 LTLF | 445388.3287 | 464983.0351 | 480009.0692 | 494259.9219 | 508344.4895 | 516425.159 | 521236.6728 | 527020.0229 | 532397.8513

## Slide 11
Rooftop PV Forecast

## Slide 12: Rooftop PV Forecast
An hourly rooftop PV forecast was created
A forecast was created for residential ESIIDs using the load profile assignment for each weather zone
Total installed capacity was approximately 1,528 MW as of September 2022
Forecast is for the total installed capacity to increase to approximately 6,500 MW by August 2032
The gross forecast minus the rooftop PV forecast results in the net forecast

## Slide 13: Rooftop PV Forecast - Approach
Chart: 8/19/2021
Residential with PV | 2.3623 | 2.172 | 2.0405 | 1.9238 | 1.8648 | 1.8532 | 1.8668 | 1.6221 | 0.86663 | -0.22011 | -1.0433 | -1.7217 | -2.1344 | -2.2307 | -1.8145 | -1.0916 | 0.020209 | 1.4242 | 2.781 | 3.5241 | 3.7302 | 3.5603 | 3.2485 | 2.8277
Residential w/o PV | 1.9473 | 1.8023 | 1.6886 | 1.6069 | 1.5538 | 1.5566 | 1.5843 | 1.5403 | 1.5326 | 1.7126 | 1.9556 | 2.2173 | 2.488 | 2.722 | 2.9309 | 3.1289 | 3.3226 | 3.4661 | 3.4505 | 3.272 | 3.1105 | 2.9522 | 2.6768 | 2.3457

## Slide 14: Rooftop PV Forecast - Approach
Calculate the total hourly demands for residential ESIIDs with PV
Calculate the total hourly demands for residential ESIIDs without PV
Divide the total hour demand values by the number of ESIIDs (result is an average use per ESIID with and without PV)
Create models for the average use per ESIID with and without PV
Run the models for the average use per ESIID with and without PV using historical weather data from 2007 – 2021
Subtract the average use per ESIID without PV by the average use per ESIID with PV for each hour (call this the PV hourly factors)

## Slide 15: Rooftop PV Forecast - Approach
Multiply the PV hourly factors by the forecasted number of PV Premises (this is the total PV forecast to be applied to the Long-Term Load Forecast)
Subtract the PV forecast from the Long-Term Load Forecast for each of the historical weather years (2007 – 2021)
Assume the same PV hourly factor for residential and business ESIIDs

## Slide 16: Observations
Residential ESIIDs with PV have greater average usage per hour than ESIIDs without PV during the early morning and evening hours
Some studies suggest that customers with PV tend to use more energy
To compensate for this, should the shapes be unitized?

## Slide 17
Forecast Adjustments

## Slide 18: Load Forecast Adjustments
Remainder of Lubbock’s load (~200 MW) added to North Forecast beginning 6/1/2023
“Fiber Services in Lubbock, TX.” About NTS, NTS Communications, Inc., 2018, www.ntscom.com/aboutnts/primary-locations/lubbock-tx.

## Slide 19: Load Forecast Adjustments
Rayburn load (~200 MW) added to East Forecast
“RCEC.” PROJECTS>OFFICE>RCEC, Alliance Architects, 2019, www.alliancearch.com/projects/office/rcec/.

## Slide 20: Load Forecast Adjustments – Industrial Facilities
Adjustments added for Large Industrial Facilities
  Coast 650 MW
  Far West from 200 to 1,000 MW
  South from 620 to 930 MW
  South Central 500 to 1,300 MW

## Slide 21: Load Forecast Adjustments - LFLs
Adjustments added for Large Flexible Loads
  700 MW per year were added from 2023 through 2027
  Only 10% of the load is assumed to be operational during peak periods
  25% assigned to North Central
  20% assigned to each of Far West, North, and West
  15% assigned to South Central

## Slide 22
Assumptions and Challenges

## Slide 23: Assumptions
Inherent Levels from the Input Data of
  Appliance Stock and Energy Efficiency
  Demand Response
  4 CP Impact
  Price Responsive Load
  Electric Vehicles (Brattle forecast indicates small impact)

## Slide 24: Questions?