## SARA LargeLoads - Winter
Large Loads - Winter
| UNIT/LOAD NAME | GENERATION INTERCONNECTION PROJECT CODE | UNIT/LOAD CODE | COUNTY | FUEL/LOAD TYPE | ZONE | IN SERVICE | INSTALLED CAPACITY RATING (MW) | WINTER CAPACITY (MW) | LINE ITEM DESCRIPTION
Operational Co-located Resource (All Fuel Types)
4 | DESERT SKY WIND 1 A |  | DSKYWND1_UNIT_1A | PECOS | WIND-O | WEST | 2022 | 65.79 | 53.1 | Line item reporting of all generation units with a co-located large load at the site. The MW values listed are the installed capacity rating and seasonal rating of the generation resources.
5 | DESERT SKY WIND 1 B |  | DSKYWND2_UNIT_2A | PECOS | WIND-O | WEST | 2022 | 65.79 | 50.4
6 | DESERT SKY WIND 2 A |  | DSKYWND1_UNIT_1B | PECOS | WIND-O | WEST | 2022 | 23.93 | 18.7
7 | DESERT SKY WIND 2 B |  | DSKYWND2_UNIT_2B | PECOS | WIND-O | WEST | 2022 | 14.74 | 8
8 | FALVEZ ASTRA WIND |  | ASTRA_UNIT1 | RANDALL | WIND-P | PANHANDLE | 2017 | 163.2 | 163.2
9 | KING MOUNTAIN WIND (NE) |  | KING_NE_KINGNE | UPTON | WIND-O | WEST | 2001 | 79.7 | 79.7
10 | KING MOUNTAIN WIND (NW) |  | KING_NW_KINGNW | UPTON | WIND-O | WEST | 2001 | 79.7 | 79.7
11 | KING MOUNTAIN WIND (SE) |  | KING_SE_KINGSE | UPTON | WIND-O | WEST | 2001 | 40.5 | 40.5
12 | KING MOUNTAIN WIND (SW) |  | KING_SW_KINGSW | UPTON | WIND-O | WEST | 2001 | 79.7 | 79.7
13 | ODESSA-ECTOR POWER CTG 11 |  | OECCS_CT11 | ECTOR | GAS-CC | WEST | 2001 | 176 | 195.2
14 | ODESSA-ECTOR POWER CTG 12 |  | OECCS_CT12 | ECTOR | GAS-CC | WEST | 2001 | 176 | 189.1
15 | ODESSA-ECTOR POWER CTG 21 |  | OECCS_CT21 | ECTOR | GAS-CC | WEST | 2001 | 176 | 195.2
16 | ODESSA-ECTOR POWER CTG 22 |  | OECCS_CT22 | ECTOR | GAS-CC | WEST | 2001 | 176 | 189.1
17 | ODESSA-ECTOR POWER STG 1 |  | OECCS_UNIT1 | ECTOR | GAS-CC | WEST | 2001 | 224 | 217
18 | ODESSA-ECTOR POWER STG 2 |  | OECCS_UNIT2 | ECTOR | GAS-CC | WEST | 2001 | 224 | 217
19 | WOLF HOLLOW 2 CTG 4 |  | WHCCS2_CT4 | HOOD | GAS-CC | NORTH | 2017 | 360 | 353.3
20 | WOLF HOLLOW 2 CTG 5 |  | WHCCS2_CT5 | HOOD | GAS-CC | NORTH | 2017 | 360 | 354.6
21 | WOLF HOLLOW 2 STG 6 |  | WHCCS2_STG6 | HOOD | GAS-CC | NORTH | 2017 | 511.2 | 473.1
22 | Operational Co-located Capacity Total (All Fuel Types) | [6 empty] | 2996.25 | 2956.6
23
24 | Operational Co-located Resources - Synchronized but not Approved for Commercial Operations (All Fuel Types)
25 | LONGBOW SOLAR | 20INR0026 | LON_SOLAR1 | BRAZORIA | SOLAR | COASTAL | 2022 | 78.2 | 77
26 | Operational Co-located Capacity - Synchronized but not Approved for Commercial Operations Total (All Fuel Types) | [6 empty] | 78.2 | 77
27 | [9 empty] | Generation resource capacity rating (MW) sub-totals by fuel type and seasonal peak average capacity contribution metrics.
28 | Operational Co-located Wind Capacity Sub-total (Panhandle Counties) |  | CO_WIND_OPERATIONAL_P |  |  |  |  | 163.2 | 163.2
29 | Wind Peak Average Capacity Percentage (Panhandle) |  | WIND_PEAK_PCT_P | % |  |  |  | 100 | 34
30
31 | Operational Co-located Wind Capacity Sub-total (Other Counties) |  | CO_WIND_OPERATIONAL_O |  |  |  |  | 449.85 | 409.8
32 | Wind Peak Average Capacity Percentage (Other) |  | WIND_PEAK_PCT_O | % |  |  |  | 100 | 19
33
34 | Operational Co-located Solar Capacity Sub-total |  | CO_SOLAR_OPERATIONAL |  |  |  |  | 78.2 | 77
35 | Solar Peak Average Capacity Percentage |  | SOLAR_PEAK_PCT | % |  |  |  | 100 | 11
36
37 | Operational Co-located Thermal Capacity Sub-total |  | CO_THERMAL_OPERATIONAL |  |  |  |  | 2383.2 | 2383.6
38 | [9 empty] | CO_LFL_OPERATIONAL = Expected peak consumption by operational LFLs at co-located sites. The calculation for this line item is described in the methodology assumptions at the bottom of the page. CO_LFL_OPERATIONAL_FIRM = The portion of total operational co-located LFL that is expected to be firm. CO_LFL_OPERATIONAL_FLEXIBLE = The portion of total operational co-located LFL that is expected to be flexible.
39 | Co-located LFL Forecast |  | CO_LFL_OPERATIONAL |  |  |  |  | 729 | 411.3
40 | Co-located LFL Firm Forecast Adjustment |  | CO_LFL_OPERATIONAL_FIRM |  |  |  |  | -21.87 | -21.87
41 | Co-located LFL Flexibility Total |  | CO_LFL_OPERATIONAL_FLEXIBLE |  |  |  |  | 707.13 | 389.43
42
43 | Operational Stand-Alone Large Loads | [8 empty] | Line item reporting of all registered Large Loads. The MW values listed are the installed load totals. In the interim, these values will be reported in aggregate by load zone.
44
45 | LOAD ZONE NORTH |  | LZ_NORTH |  | LFL |  |  | 387 | 387
46 | LOAD ZONE WEST |  | LZ_WEST |  | LFL |  |  | 544 | 544
47 | LOAD ZONE SOUTH |  | LZ_SOUTH |  | LFL |  |  | 600 | 600
48 | Operational Stand-Alone Large Loads Total | [6 empty] | 1531 | 1531
49 | [9 empty] | LOAD_OPERATIONAL_LFL = Subtotal of operational LFL MW from the Large Load accounting. LOAD_OPERATIONAL_LFL_FIRM = The portion of total oprational LFL that is expected to be firm. LOAD_PEAK_PCT_LFL = The percentage of total operational LFL that is expected to be consuming during the peak hour. The calculation for this line item is described in the methodology assumptions at the bottom of the page.
50 | Stand-Alone Large Loads (LFL) |  | LOAD_OPERATIONAL_LFL |  |  |  |  | 1531 | 1531
51 | Stand-Alone Large Loads Firm Adjustment (LFL) |  | LOAD_OPERATIONAL_LFL_FIRM |  |  |  |  | -45.93 | -45.93
52 | Stand-Alone Large Loads Peak Consumption Percentage (LFL) |  | LOAD_PEAK_PCT_LFL | % |  |  |  | 100 | 60
53 | Stand-Alone Large Loads Flexibility Total (LFL) |  | LOAD_OPERATIONAL_LFL_FLEXIBLE |  |  |  |  | 1485.07 | 872.67
54
55 | [9 empty] | Line item accounting of expected LFL demand (MW) during the peak hour. LFL Peak Demand, MW = (Large Flexible Load Forecast) - (Large Flexible Load Curtailed)
56 | LFL Load Forecast, MW:
57 | plus: Large Flexible Load Forecast (Stand-alone) | [7 empty] | 1531
58 | less: Large Flexible Load Curtailed Load (Stand-alone) | [7 empty] | 612.4
59 | LFL Peak Demand, MW (Stand-alone) | [7 empty] | 918.6
60
61 | [9 empty] | Line item accounting of expected capacity available from LFL co-located resources. Capacity Available from LFL Co-located Resources = (Resource Capacity Co-located with LFLs) - (Less Forecasted Loads at Co-located Sites)
62 | Resource Co-located w/ LFLs, MW:
63 | Resource Capacity Co-located with Large Flexible Loads | [6 empty] | 3074.45 | 2525.42
64 | Less Forecasted Loads at Co-located LFL Sites | [6 empty] | 729 | 411.3
65 | Capacity Available from LFL Co-located Resources | [6 empty] | 2345.45 | 2114.12
66
Methodology Assumptions: The entirety of this section is reported on an unofficial basis and is meant as a bridge between where LFL reporting is in current documents and where it is intended to be in future reports. This page is independent of the rest of this report and in no way impacts the calculations of any Planning Reserve Margin (PRM) or Capacity Available for Operating Reserves (CAFOR) values cited elsewhere in this document. Note that stand-alone LFLs have been aggregated by load zone. Once the definition of LFL is created and project developers can opt into that categorization, the intent is that those projects will be reported on an individual basis. Currently, the aggregate loads reported on this page are a product of ERCOT's LFL Interconnection team's internal accounting. Only projects which were classified as "In Service" and those which predated the interim interconnection process were included in this report. No effort was made in this report to account for how planned transmission projects would affect future load limits. Additionally, load totals were based on ERCOT's conservative estimates of expected operational load derived from interconnection requests and project updates from the site owners. Actual load totals could differ slightly based on changes in project schedules. Details on what each classification entails can be found below: “In Service” includes the amount of load that a customer requested that can be connected reliably and has completed all other requirements to be authorized to interconnect and operate. Through its large flexible load process, ERCOT is tracking thirteen operational projects, six were authorized to connect their requested load and seven were limited to load levels that met NERC and ERCOT reliability standards. Any requested load above the approved amount is tracked as “deferred.” “Met Planning” represents requested load amounts that have satisfied the NERC and ERCOT reliability planning criteria but have not completed the subsequent steps to be authorized to begin operation. The loads in this category have not necessarily begun those next steps. Of the seventeen projects currently having met the planning requirements, twelve could be interconnected at their requested load and five were approved at load amounts below their requested amount. Again, any requested load above the approved amount is tracked as “deferred.” “Deferred” represents either load amounts the customer identified would be brought on at a future date or the portions of requested load additions that could not be integrated reliably as identified in the planning study reviews. Deferred load can ultimately satisfy the planning requirements after necessary transmission improvements are done. Some transmission projects may already be planned and under construction and completion of those projects may allow some deferred load to satisfy the planning requirements. Load can change status from “Deferred” to “Met Planning” if the load is (1) customer identified load below the approved amount scheduled to be added later than the initial in-service date or (2) an already planned or a simple transmission upgrade is necessary to add the load. An example of a simple upgrade might be adding capacitors at an existing station. Deferred load that depends on transmission upgrades that are not already planned will remain deferred. Such upgrades will not be assumed to be approved. To integrate that deferred load would require a new planning study. “In Study” represents loads that have submitted transmission planning studies for review by ERCOT. These studies reflect the NERC and ERCOT planning requirements for reliable integration of the load. The result of this review is the identification whether the entire load can be integrated to the grid at its selected location, or a lesser load amount is permissible. Factors that can result in load limits include the overload of transmission equipment, voltage or frequency impacts, sub-synchronous interactions, and, if co-located with a generation resource, reactive power considerations. The “Planned” status represents projects about which ERCOT has knowledge, but for which no formal studies have been submitted to ERCOT. If the desired in-service date is not known, the planned load is assumed to be connected in 2027. Upon receipt of the planning studies, the project’s status changes to “In Study.” Since RFIs for site specific information have not been finalized yet, several assumptions were made in the process of calculating site cutoff prices. All sites, whether hedged or unhedged, were assumed to be price responsive based on their respective load zone prices. An Antminer S19 with efficiency of 0.029 TH/W was used along with the bitcoin hashprice in late October to calculate a strike price of $86/MWh for all LFLs in this report. Additionally, the firm portion of all LFLs was estimated at 3% of total site load to account for auxiliary cooling needs and idle ASIC power draw when curtailed. ERCOT utilized the expertise of market participants actively pursuing bitcoin mining ventures in the state of Texas when coming up with these assumptions. To calculate the Co-located LFL Forecast and the Stand-alone Large Loads Peak Consumption Percentage (LFL), the strike price (detailed above) was compared to the respective load zone prices for the 20 hours with the lowest average PRC for the past 3 years during the Winter season. If the settlement price was above the strike price, then the load was assumed to be operating in a curtailed state at 3% of its total site capacity. If the settlement price was below the strike price, then the load was assumed to be operating to its max capabilities. The Co-located LFL Forecast was then calculated by summing the expected load at all sites for each hour and taking an average of all 60 hourly sums. The Stand-alone Large Loads Peak Consumption Percentage (LFL) was calculated by finding an average load factor for each site over all 60 hours and then calculating a weighted average of those individual load factors.

## CDR LargeLoads - Summer
Large Loads - Summer
| UNIT/LOAD NAME | GENERATION INTERCONNECTION PROJECT CODE | UNIT/LOAD CODE | COUNTY | FUEL/LOAD TYPE | ZONE | IN SERVICE | INSTALLED CAPACITY RATING (MW) | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | LINE ITEM DESCRIPTION
Operational Co-located Resource (All Fuel Types)
4 | DESERT SKY WIND 1 A |  | DSKYWND1_UNIT_1A | PECOS | WIND-O | WEST | 2022 | 65.79 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | Line item reporting of all generation units with a co-located large load at the site. The MW values listed are the installed capacity rating and seasonal rating of the generation resources.
5 | DESERT SKY WIND 1 B |  | DSKYWND2_UNIT_2A | PECOS | WIND-O | WEST | 2022 | 65.79 | 50.4 | 50.4 | 50.4 | 50.4 | 50.4 | 50.4 | 50.4 | 50.4 | 50.4 | 50.4
6 | DESERT SKY WIND 2 A |  | DSKYWND1_UNIT_1B | PECOS | WIND-O | WEST | 2022 | 23.93 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7
7 | DESERT SKY WIND 2 B |  | DSKYWND2_UNIT_2B | PECOS | WIND-O | WEST | 2022 | 14.74 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
8 | FALVEZ ASTRA WIND |  | ASTRA_UNIT1 | RANDALL | WIND-P | PANHANDLE | 2017 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2
9 | KING MOUNTAIN WIND (NE) |  | KING_NE_KINGNE | UPTON | WIND-O | WEST | 2001 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7
10 | KING MOUNTAIN WIND (NW) |  | KING_NW_KINGNW | UPTON | WIND-O | WEST | 2001 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7
11 | KING MOUNTAIN WIND (SE) |  | KING_SE_KINGSE | UPTON | WIND-O | WEST | 2001 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5
12 | KING MOUNTAIN WIND (SW) |  | KING_SW_KINGSW | UPTON | WIND-O | WEST | 2001 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7
13 | ODESSA-ECTOR POWER CTG 11 |  | OECCS_CT11 | ECTOR | GAS-CC | WEST | 2001 | 176 | 166.7 | 166.7 | 166.7 | 166.7 | 166.7 | 166.7 | 166.7 | 166.7 | 166.7 | 166.7
14 | ODESSA-ECTOR POWER CTG 12 |  | OECCS_CT12 | ECTOR | GAS-CC | WEST | 2001 | 176 | 158.2 | 158.2 | 158.2 | 158.2 | 158.2 | 158.2 | 158.2 | 158.2 | 158.2 | 158.2
15 | ODESSA-ECTOR POWER CTG 21 |  | OECCS_CT21 | ECTOR | GAS-CC | WEST | 2001 | 176 | 166.7 | 166.7 | 166.7 | 166.7 | 166.7 | 166.7 | 166.7 | 166.7 | 166.7 | 166.7
16 | ODESSA-ECTOR POWER CTG 22 |  | OECCS_CT22 | ECTOR | GAS-CC | WEST | 2001 | 176 | 158.2 | 158.2 | 158.2 | 158.2 | 158.2 | 158.2 | 158.2 | 158.2 | 158.2 | 158.2
17 | ODESSA-ECTOR POWER STG 1 |  | OECCS_UNIT1 | ECTOR | GAS-CC | WEST | 2001 | 224 | 206 | 206 | 206 | 206 | 206 | 206 | 206 | 206 | 206 | 206
18 | ODESSA-ECTOR POWER STG 2 |  | OECCS_UNIT2 | ECTOR | GAS-CC | WEST | 2001 | 224 | 206 | 206 | 206 | 206 | 206 | 206 | 206 | 206 | 206 | 206
19 | WOLF HOLLOW 2 CTG 4 |  | WHCCS2_CT4 | HOOD | GAS-CC | NORTH | 2017 | 360 | 327.8 | 327.8 | 327.8 | 327.8 | 327.8 | 327.8 | 327.8 | 327.8 | 327.8 | 327.8
20 | WOLF HOLLOW 2 CTG 5 |  | WHCCS2_CT5 | HOOD | GAS-CC | NORTH | 2017 | 360 | 329.3 | 329.3 | 329.3 | 329.3 | 329.3 | 329.3 | 329.3 | 329.3 | 329.3 | 329.3
21 | WOLF HOLLOW 2 STG 6 |  | WHCCS2_STG6 | HOOD | GAS-CC | NORTH | 2017 | 511.2 | 458.3 | 458.3 | 458.3 | 458.3 | 458.3 | 458.3 | 458.3 | 458.3 | 458.3 | 458.3
22 | Operational Co-located Capacity Total (All Fuel Types) | [6 empty] | 2996.25 | 2750.2 | 2750.2 | 2750.2 | 2750.2 | 2750.2 | 2750.2 | 2750.2 | 2750.2 | 2750.2 | 2750.2
23
24 | Operational Co-located Resources - Synchronized but not Approved for Commercial Operations (All Fuel Types)
25 | LONGBOW SOLAR | 20INR0026 | LON_SOLAR1 | BRAZORIA | SOLAR | COASTAL | 2022 | 78.2 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77
26 | Operational Co-located Capacity - Synchronized but not Approved for Commercial Operations Total (All Fuel Types) | [6 empty] | 78.2 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77
27 | [18 empty] | Generation resource capacity rating (MW) sub-totals by fuel type and seasonal peak average capacity contribution metrics.
28 | Operational Co-located Wind Capacity Sub-total (Panhandle Counties) |  | CO_WIND_OPERATIONAL_P |  |  |  |  | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2
29 | Wind Peak Average Capacity Percentage (Panhandle) |  | WIND_PEAK_PCT_P | % |  |  |  | 100 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
30
31 | Operational Co-located Wind Capacity Sub-total (Other Counties) |  | CO_WIND_OPERATIONAL_O |  |  |  |  | 449.85 | 409.8 | 409.8 | 409.8 | 409.8 | 409.8 | 409.8 | 409.8 | 409.8 | 409.8 | 409.8
32 | Wind Peak Average Capacity Percentage (Other) |  | WIND_PEAK_PCT_O | % |  |  |  | 100 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
33
34 | Operational Co-located Solar Capacity Sub-total |  | CO_SOLAR_OPERATIONAL |  |  |  |  | 78.2 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77
35 | Solar Peak Average Capacity Percentage |  | SOLAR_PEAK_PCT | % |  |  |  | 100 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81 | 81
36
37 | Operational Co-located Thermal Capacity Sub-total |  | CO_THERMAL_OPERATIONAL |  |  |  |  | 2383.2 | 2177.2 | 2177.2 | 2177.2 | 2177.2 | 2177.2 | 2177.2 | 2177.2 | 2177.2 | 2177.2 | 2177.2
38 | [18 empty] | CO_LFL_OPERATIONAL = Expected peak consumption by operational LFLs at co-located sites. The calculation for this line item is described in the methodology assumptions at the bottom of the page. CO_LFL_OPERATIONAL_FIRM = The portion of total operational co-located LFL that is expected to be firm. CO_LFL_OPERATIONAL_FLEXIBLE = The portion of total operational co-located LFL that is expected to be flexible.
39 | Co-located LFL Forecast |  | CO_LFL_OPERATIONAL |  |  |  |  | 729 | 410.8 | 410.8 | 410.8 | 410.8 | 410.8 | 410.8 | 410.8 | 410.8 | 410.8 | 410.8
40 | Co-located LFL Firm Forecast Adjustment |  | CO_LFL_OPERATIONAL_FIRM |  |  |  |  | -21.87 | -21.87 | -21.87 | -21.87 | -21.87 | -21.87 | -21.87 | -21.87 | -21.87 | -21.87 | -21.87
41 | Co-located LFL Flexibility Total |  | CO_LFL_OPERATIONAL_FLEXIBLE |  |  |  |  | 707.13 | 388.93 | 388.93 | 388.93 | 388.93 | 388.93 | 388.93 | 388.93 | 388.93 | 388.93 | 388.93
42
43 | Operational Stand-Alone Large Loads | [17 empty] | Line item reporting of all registered Large Loads. The MW values listed are the installed load totals. In the interim, these values will be reported in aggregate by load zone.
44
45 | LOAD ZONE NORTH |  | LZ_NORTH |  | LFL |  |  | 387 | 387 | 387 | 387 | 387 | 387 | 387 | 387 | 387 | 387 | 387
46 | LOAD ZONE WEST |  | LZ_WEST |  | LFL |  |  | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544
47 | LOAD ZONE SOUTH |  | LZ_SOUTH |  | LFL |  |  | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600
48 | Operational Stand-Alone Large Loads Total | [6 empty] | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531
49 | [18 empty] | LOAD_OPERATIONAL_LFL = Subtotal of operational LFL MW from the Large Load accounting. LOAD_OPERATIONAL_LFL_FIRM = The portion of total oprational LFL that is expected to be firm. LOAD_PEAK_PCT_LFL = The percentage of total operational LFL that is expected to be consuming during the peak hour. The calculation for this line item is described in the methodology assumptions at the bottom of the page.
50 | Stand-Alone Large Loads (LFL) |  | LOAD_OPERATIONAL_LFL |  |  |  |  | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531
51 | Stand-Alone Large Loads Firm Adjustment (LFL) |  | LOAD_OPERATIONAL_LFL_FIRM |  |  |  |  | -45.93 | -45.93 | -45.93 | -45.93 | -45.93 | -45.93 | -45.93 | -45.93 | -45.93 | -45.93 | -45.93
52 | Stand-Alone Large Loads Peak Consumption Percentage (LFL) |  | LOAD_PEAK_PCT_LFL | % |  |  |  | 100 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56
53 | Stand-Alone Large Loads Flexibility Total (LFL) |  | LOAD_OPERATIONAL_LFL_FLEXIBLE |  |  |  |  | 1485.07 | 811.43 | 811.43 | 811.43 | 811.43 | 811.43 | 811.43 | 811.43 | 811.43 | 811.43 | 811.43
54
55 | [18 empty] | Line item accounting of expected LFL demand (MW) during the peak hour. LFL Peak Demand, MW = (Large Flexible Load Forecast) - (Large Flexible Load Curtailed)
56 | LFL Load Forecast, MW:
57 | plus: Large Flexible Load Forecast (Stand-alone) | [7 empty] | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531
58 | less: Large Flexible Load Curtailed Load (Stand-alone) | [7 empty] | 673.64 | 673.64 | 673.64 | 673.64 | 673.64 | 673.64 | 673.64 | 673.64 | 673.64 | 673.64
59 | LFL Peak Demand, MW (Stand-alone) | [7 empty] | 857.36 | 857.36 | 857.36 | 857.36 | 857.36 | 857.36 | 857.36 | 857.36 | 857.36 | 857.36
60
61 | [18 empty] | Line item accounting of expected capacity available from LFL co-located resources. Capacity Available from LFL Co-located Resources = (Resource Capacity Co-located with LFLs) - (Less Forecasted Loads at Co-located Sites)
62 | Resource Co-located w/ LFLs, MW:
63 | Resource Capacity Co-located with Large Flexible Loads | [6 empty] | 3074.45 | 2370.49 | 2370.49 | 2370.49 | 2370.49 | 2370.49 | 2370.49 | 2370.49 | 2370.49 | 2370.49 | 2370.49
64 | Less Forecasted Loads at Co-located LFL Sites | [6 empty] | 729 | 410.8 | 410.8 | 410.8 | 410.8 | 410.8 | 410.8 | 410.8 | 410.8 | 410.8 | 410.8
65 | Capacity Available from LFL Co-located Resources | [6 empty] | 2345.45 | 1959.69 | 1959.69 | 1959.69 | 1959.69 | 1959.69 | 1959.69 | 1959.69 | 1959.69 | 1959.69 | 1959.69
Methodology Assumptions: The entirety of this section is reported on an unofficial basis and is meant as a bridge between where LFL reporting is in current documents and where it is intended to be in future reports. This page is independent of the rest of this report and in no way impacts the calculations of any Reserve Margin or Capacity Available for Operating Reserves (CAFOR) values cited elsewhere in this document. Note that stand-alone LFLs have been aggregated by load zone. Once the definition of LFL is created and project developers can opt into that categorization, the intent is that those projects will be reported on an individual basis. Currently, the aggregate loads reported on this page are a product of ERCOT's LFL Interconnection team's internal accounting. Only projects which were classified as "In Service" and those which predated the interim interconnection process were included in this report. No effort was made in this report to account for how planned transmission projects would affect future load limits. Additionally, load totals were based on ERCOT's conservative estimates of expected operational load derived from interconnection requests and project updates from the site owners. Actual load totals could differ slightly based on changes in project schedules. Details on what each classification entails can be found below: “In Service” includes the amount of load that a customer requested that can be connected reliably and has completed all other requirements to be authorized to interconnect and operate. Through its large flexible load process, ERCOT is tracking thirteen operational projects, six were authorized to connect their requested load and seven were limited to load levels that met NERC and ERCOT reliability standards. Any requested load above the approved amount is tracked as “deferred.” “Met Planning” represents requested load amounts that have satisfied the NERC and ERCOT reliability planning criteria but have not completed the subsequent steps to be authorized to begin operation. The loads in this category have not necessarily begun those next steps. Of the seventeen projects currently having met the planning requirements, twelve could be interconnected at their requested load and five were approved at load amounts below their requested amount. Again, any requested load above the approved amount is tracked as “deferred.” “Deferred” represents either load amounts the customer identified would be brought on at a future date or the portions of requested load additions that could not be integrated reliably as identified in the planning study reviews. Deferred load can ultimately satisfy the planning requirements after necessary transmission improvements are done. Some transmission projects may already be planned and under construction and completion of those projects may allow some deferred load to satisfy the planning requirements. Load can change status from “Deferred” to “Met Planning” if the load is (1) customer identified load below the approved amount scheduled to be added later than the initial in-service date or (2) an already planned or a simple transmission upgrade is necessary to add the load. An example of a simple upgrade might be adding capacitors at an existing station. Deferred load that depends on transmission upgrades that are not already planned will remain deferred. Such upgrades will not be assumed to be approved. To integrate that deferred load would require a new planning study. “In Study” represents loads that have submitted transmission planning studies for review by ERCOT. These studies reflect the NERC and ERCOT planning requirements for reliable integration of the load. The result of this review is the identification whether the entire load can be integrated to the grid at its selected location, or a lesser load amount is permissible. Factors that can result in load limits include the overload of transmission equipment, voltage or frequency impacts, sub-synchronous interactions, and, if co-located with a generation resource, reactive power considerations. The “Planned” status represents projects about which ERCOT has knowledge, but for which no formal studies have been submitted to ERCOT. If the desired in-service date is not known, the planned load is assumed to be connected in 2027. Upon receipt of the planning studies, the project’s status changes to “In Study.” Since RFIs for site specific information have not been finalized yet, several assumptions were made in the process of calculating site cutoff prices. All sites, whether hedged or unhedged, were assumed to be price responsive based on their respective load zone prices. An Antminer S19 with efficiency of 0.029 TH/W was used along with the bitcoin hashprice in late October to calculate a strike price of $86/MWh for all LFLs in this report. Additionally, the firm portion of all LFLs was estimated at 3% of total site load to account for auxiliary cooling needs and idle ASIC power draw when curtailed. ERCOT utilized the expertise of market participants actively pursuing bitcoin mining ventures in the state of Texas when coming up with these assumptions. To calculate the Co-located LFL Forecast and the Stand-alone Large Loads Peak Consumption Percentage (LFL), the strike price (detailed above) was compared to the respective load zone prices for the 20 hours with the lowest average PRC for the past 3 years during the Summer season. If the settlement price was above the strike price, then the load was assumed to be operating in a curtailed state at 3% of its total site capacity. If the settlement price was below the strike price, then the load was assumed to be operating to its max capabilities. The Co-located LFL Forecast was then calculated by summing the expected load at all sites for each hour and taking an average of all 60 hourly sums. The Stand-alone Large Loads Peak Consumption Percentage (LFL) was calculated by finding an average load factor for each site over all 60 hours and then calcultaing a wieghted average of those individual load factors.

## CDR LargeLoads - Winter
Large Loads - Winter
| UNIT/LOAD NAME | GENERATION INTERCONNECTION PROJECT CODE | UNIT/LOAD CODE | COUNTY | FUEL/LOAD TYPE | ZONE | IN SERVICE | INSTALLED CAPACITY RATING (MW) | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028 | 2028/2029 | 2029/2030 | 2030/2031 | 2031/2032 | 2032/2033 | LINE ITEM DESCRIPTION
Operational Co-located Resource (All Fuel Types)
4 | DESERT SKY WIND 1 A |  | DSKYWND1_UNIT_1A | PECOS | WIND-O | WEST | 2022 | 65.79 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | 53.1 | Line item reporting of all generation units with a co-located large load at the site. The MW values listed are the installed capacity rating and seasonal rating of the generation resources.
5 | DESERT SKY WIND 1 B |  | DSKYWND2_UNIT_2A | PECOS | WIND-O | WEST | 2022 | 65.79 | 50.4 | 50.4 | 50.4 | 50.4 | 50.4 | 50.4 | 50.4 | 50.4 | 50.4 | 50.4
6 | DESERT SKY WIND 2 A |  | DSKYWND1_UNIT_1B | PECOS | WIND-O | WEST | 2022 | 23.93 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7 | 18.7
7 | DESERT SKY WIND 2 B |  | DSKYWND2_UNIT_2B | PECOS | WIND-O | WEST | 2022 | 14.74 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
8 | FALVEZ ASTRA WIND |  | ASTRA_UNIT1 | RANDALL | WIND-P | PANHANDLE | 2017 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2
9 | KING MOUNTAIN WIND (NE) |  | KING_NE_KINGNE | UPTON | WIND-O | WEST | 2001 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7
10 | KING MOUNTAIN WIND (NW) |  | KING_NW_KINGNW | UPTON | WIND-O | WEST | 2001 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7
11 | KING MOUNTAIN WIND (SE) |  | KING_SE_KINGSE | UPTON | WIND-O | WEST | 2001 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5 | 40.5
12 | KING MOUNTAIN WIND (SW) |  | KING_SW_KINGSW | UPTON | WIND-O | WEST | 2001 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7 | 79.7
13 | ODESSA-ECTOR POWER CTG 11 |  | OECCS_CT11 | ECTOR | GAS-CC | WEST | 2001 | 176 | 195.2 | 195.2 | 195.2 | 195.2 | 195.2 | 195.2 | 195.2 | 195.2 | 195.2 | 195.2
14 | ODESSA-ECTOR POWER CTG 12 |  | OECCS_CT12 | ECTOR | GAS-CC | WEST | 2001 | 176 | 189.1 | 189.1 | 189.1 | 189.1 | 189.1 | 189.1 | 189.1 | 189.1 | 189.1 | 189.1
15 | ODESSA-ECTOR POWER CTG 21 |  | OECCS_CT21 | ECTOR | GAS-CC | WEST | 2001 | 176 | 195.2 | 195.2 | 195.2 | 195.2 | 195.2 | 195.2 | 195.2 | 195.2 | 195.2 | 195.2
16 | ODESSA-ECTOR POWER CTG 22 |  | OECCS_CT22 | ECTOR | GAS-CC | WEST | 2001 | 176 | 189.1 | 189.1 | 189.1 | 189.1 | 189.1 | 189.1 | 189.1 | 189.1 | 189.1 | 189.1
17 | ODESSA-ECTOR POWER STG 1 |  | OECCS_UNIT1 | ECTOR | GAS-CC | WEST | 2001 | 224 | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217
18 | ODESSA-ECTOR POWER STG 2 |  | OECCS_UNIT2 | ECTOR | GAS-CC | WEST | 2001 | 224 | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217
19 | WOLF HOLLOW 2 CTG 4 |  | WHCCS2_CT4 | HOOD | GAS-CC | NORTH | 2017 | 360 | 353.3 | 353.3 | 353.3 | 353.3 | 353.3 | 353.3 | 353.3 | 353.3 | 353.3 | 353.3
20 | WOLF HOLLOW 2 CTG 5 |  | WHCCS2_CT5 | HOOD | GAS-CC | NORTH | 2017 | 360 | 354.6 | 354.6 | 354.6 | 354.6 | 354.6 | 354.6 | 354.6 | 354.6 | 354.6 | 354.6
21 | WOLF HOLLOW 2 STG 6 |  | WHCCS2_STG6 | HOOD | GAS-CC | NORTH | 2017 | 511.2 | 473.1 | 473.1 | 473.1 | 473.1 | 473.1 | 473.1 | 473.1 | 473.1 | 473.1 | 473.1
22 | Operational Co-located Capacity Total (All Fuel Types) | [6 empty] | 2996.25 | 2956.6 | 2956.6 | 2956.6 | 2956.6 | 2956.6 | 2956.6 | 2956.6 | 2956.6 | 2956.6 | 2956.6
23
24 | Operational Co-located Resources - Synchronized but not Approved for Commercial Operations (All Fuel Types)
25 | LONGBOW SOLAR | 20INR0026 | LON_SOLAR1 | BRAZORIA | SOLAR | COASTAL | 2022 | 78.2 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77
26 | Operational Co-located Capacity - Synchronized but not Approved for Commercial Operations Total (All Fuel Types) | [6 empty] | 78.2 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77
27 | [18 empty] | Generation resource capacity rating (MW) sub-totals by fuel type and seasonal peak average capacity contribution metrics.
28 | Operational Co-located Wind Capacity Sub-total (Panhandle Counties) |  | CO_WIND_OPERATIONAL_P |  |  |  |  | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2 | 163.2
29 | Wind Peak Average Capacity Percentage (Panhandle) |  | WIND_PEAK_PCT_P | % |  |  |  | 100 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34 | 34
30
31 | Operational Co-located Wind Capacity Sub-total (Other Counties) |  | CO_WIND_OPERATIONAL_O |  |  |  |  | 449.85 | 409.8 | 409.8 | 409.8 | 409.8 | 409.8 | 409.8 | 409.8 | 409.8 | 409.8 | 409.8
32 | Wind Peak Average Capacity Percentage (Other) |  | WIND_PEAK_PCT_O | % |  |  |  | 100 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19 | 19
33
34 | Operational Co-located Solar Capacity Sub-total |  | CO_SOLAR_OPERATIONAL |  |  |  |  | 78.2 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77 | 77
35 | Solar Peak Average Capacity Percentage |  | SOLAR_PEAK_PCT | % |  |  |  | 100 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11
36
37 | Operational Co-located Thermal Capacity Sub-total |  | CO_THERMAL_OPERATIONAL |  |  |  |  | 2383.2 | 2383.6 | 2383.6 | 2383.6 | 2383.6 | 2383.6 | 2383.6 | 2383.6 | 2383.6 | 2383.6 | 2383.6
38 | [18 empty] | CO_LFL_OPERATIONAL = Expected peak consumption by operational LFLs at co-located sites. The calculation for this line item is described in the methodology assumptions at the bottom of the page. CO_LFL_OPERATIONAL_FIRM = The portion of total operational co-located LFL that is expected to be firm. CO_LFL_OPERATIONAL_FLEXIBLE = The portion of total operational co-located LFL that is expected to be flexible.
39 | Co-located LFL Forecast |  | CO_LFL_OPERATIONAL |  |  |  |  | 729 | 411.3 | 411.3 | 411.3 | 411.3 | 411.3 | 411.3 | 411.3 | 411.3 | 411.3 | 411.3
40 | Co-located LFL Firm Forecast Adjustment |  | CO_LFL_OPERATIONAL_FIRM |  |  |  |  | -21.87 | -21.87 | -21.87 | -21.87 | -21.87 | -21.87 | -21.87 | -21.87 | -21.87 | -21.87 | -21.87
41 | Co-located LFL Flexibility Total |  | CO_LFL_OPERATIONAL_FLEXIBLE |  |  |  |  | 707.13 | 389.43 | 389.43 | 389.43 | 389.43 | 389.43 | 389.43 | 389.43 | 389.43 | 389.43 | 389.43
42
43 | Operational Stand-Alone Large Loads | [17 empty] | Line item reporting of all registered Large Loads. The MW values listed are the installed load totals. In the interim, these values will be reported in aggregate by load zone.
44
45 | LOAD ZONE NORTH |  | LZ_NORTH |  | LFL |  |  | 387 | 387 | 387 | 387 | 387 | 387 | 387 | 387 | 387 | 387 | 387
46 | LOAD ZONE WEST |  | LZ_WEST |  | LFL |  |  | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544 | 544
47 | LOAD ZONE SOUTH |  | LZ_SOUTH |  | LFL |  |  | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600
48 | Operational Stand-Alone Large Loads Total | [6 empty] | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531
49 | [18 empty] | LOAD_OPERATIONAL_LFL = Subtotal of operational LFL MW from the Large Load accounting. LOAD_OPERATIONAL_LFL_FIRM = The portion of total oprational LFL that is expected to be firm. LOAD_PEAK_PCT_LFL = The percentage of total operational LFL that is expected to be consuming during the peak hour. The calculation for this line item is described in the methodology assumptions at the bottom of the page.
50 | Stand-Alone Large Loads (LFL) |  | LOAD_OPERATIONAL_LFL |  |  |  |  | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531
51 | Stand-Alone Large Loads Firm Adjustment (LFL) |  | LOAD_OPERATIONAL_LFL_FIRM |  |  |  |  | -45.93 | -45.93 | -45.93 | -45.93 | -45.93 | -45.93 | -45.93 | -45.93 | -45.93 | -45.93 | -45.93
52 | Stand-Alone Large Loads Peak Consumption Percentage (LFL) |  | LOAD_PEAK_PCT_LFL | % |  |  |  | 100 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
53 | Stand-Alone Large Loads Flexibility Total (LFL) |  | LOAD_OPERATIONAL_LFL_FLEXIBLE |  |  |  |  | 1485.07 | 872.67 | 872.67 | 872.67 | 872.67 | 872.67 | 872.67 | 872.67 | 872.67 | 872.67 | 872.67
54
55 | [18 empty] | Line item accounting of expected LFL demand (MW) during the peak hour. LFL Peak Demand, MW = (Large Flexible Load Forecast) - (Large Flexible Load Curtailed)
56 | LFL Load Forecast, MW:
57 | plus: Large Flexible Load Forecast (Stand-alone) | [7 empty] | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531 | 1531
58 | less: Large Flexible Load Curtailed Load (Stand-alone) | [7 empty] | 612.4 | 612.4 | 612.4 | 612.4 | 612.4 | 612.4 | 612.4 | 612.4 | 612.4 | 612.4
59 | LFL Peak Demand, MW (Stand-alone) | [7 empty] | 918.6 | 918.6 | 918.6 | 918.6 | 918.6 | 918.6 | 918.6 | 918.6 | 918.6 | 918.6
60
61 | [18 empty] | Line item accounting of expected capacity available from LFL co-located resources. Capacity Available from LFL Co-located Resources = (Resource Capacity Co-located with LFLs) - (Less Forecasted Loads at Co-located Sites)
62 | Resource Co-located w/ LFLs, MW:
63 | Resource Capacity Co-located with Large Flexible Loads | [6 empty] | 3074.45 | 2525.42 | 2525.42 | 2525.42 | 2525.42 | 2525.42 | 2525.42 | 2525.42 | 2525.42 | 2525.42 | 2525.42
64 | Less Forecasted Loads at Co-located LFL Sites | [6 empty] | 729 | 411.3 | 411.3 | 411.3 | 411.3 | 411.3 | 411.3 | 411.3 | 411.3 | 411.3 | 411.3
65 | Capacity Available from LFL Co-located Resources | [6 empty] | 2345.45 | 2114.12 | 2114.12 | 2114.12 | 2114.12 | 2114.12 | 2114.12 | 2114.12 | 2114.12 | 2114.12 | 2114.12
Methodology Assumptions: The entirety of this section is reported on an unofficial basis and is meant as a bridge between where LFL reporting is in current documents and where it is intended to be in future reports. This page is independent of the rest of this report and in no way impacts the calculations of any Reserve Margin or Capacity Available for Operating Reserves (CAFOR) values cited elsewhere in this document. Note that stand-alone LFLs have been aggregated by load zone. Once the definition of LFL is created and project developers can opt into that categorization, the intent is that those projects will be reported on an individual basis. Currently, the aggregate loads reported on this page are a product of ERCOT's LFL Interconnection team's internal accounting. Only projects which were classified as "In Service" and those which predated the interim interconnection process were included in this report. No effort was made in this report to account for how planned transmission projects would affect future load limits. Additionally, load totals were based on ERCOT's conservative estimates of expected operational load derived from interconnection requests and project updates from the site owners. Actual load totals could differ slightly based on changes in project schedules. Details on what each classification entails can be found below: “In Service” includes the amount of load that a customer requested that can be connected reliably and has completed all other requirements to be authorized to interconnect and operate. Through its large flexible load process, ERCOT is tracking thirteen operational projects, six were authorized to connect their requested load and seven were limited to load levels that met NERC and ERCOT reliability standards. Any requested load above the approved amount is tracked as “deferred.” “Met Planning” represents requested load amounts that have satisfied the NERC and ERCOT reliability planning criteria but have not completed the subsequent steps to be authorized to begin operation. The loads in this category have not necessarily begun those next steps. Of the seventeen projects currently having met the planning requirements, twelve could be interconnected at their requested load and five were approved at load amounts below their requested amount. Again, any requested load above the approved amount is tracked as “deferred.” “Deferred” represents either load amounts the customer identified would be brought on at a future date or the portions of requested load additions that could not be integrated reliably as identified in the planning study reviews. Deferred load can ultimately satisfy the planning requirements after necessary transmission improvements are done. Some transmission projects may already be planned and under construction and completion of those projects may allow some deferred load to satisfy the planning requirements. Load can change status from “Deferred” to “Met Planning” if the load is (1) customer identified load below the approved amount scheduled to be added later than the initial in-service date or (2) an already planned or a simple transmission upgrade is necessary to add the load. An example of a simple upgrade might be adding capacitors at an existing station. Deferred load that depends on transmission upgrades that are not already planned will remain deferred. Such upgrades will not be assumed to be approved. To integrate that deferred load would require a new planning study. “In Study” represents loads that have submitted transmission planning studies for review by ERCOT. These studies reflect the NERC and ERCOT planning requirements for reliable integration of the load. The result of this review is the identification whether the entire load can be integrated to the grid at its selected location, or a lesser load amount is permissible. Factors that can result in load limits include the overload of transmission equipment, voltage or frequency impacts, sub-synchronous interactions, and, if co-located with a generation resource, reactive power considerations. The “Planned” status represents projects about which ERCOT has knowledge, but for which no formal studies have been submitted to ERCOT. If the desired in-service date is not known, the planned load is assumed to be connected in 2027. Upon receipt of the planning studies, the project’s status changes to “In Study.” Since RFIs for site specific information have not been finalized yet, several assumptions were made in the process of calculating site cutoff prices. All sites, whether hedged or unhedged, were assumed to be price responsive based on their respective load zone prices. An Antminer S19 with efficiency of 0.029 TH/W was used along with the bitcoin hashprice in late October to calculate a strike price of $86/MWh for all LFLs in this report. Additionally, the firm portion of all LFLs was estimated at 3% of total site load to account for auxiliary cooling needs and idle ASIC power draw when curtailed. ERCOT utilized the expertise of market participants actively pursuing bitcoin mining ventures in the state of Texas when coming up with these assumptions. To calculate the Co-located LFL Forecast and the Stand-alone Large Loads Peak Consumption Percentage (LFL), the strike price (detailed above) was compared to the respective load zone prices for the 20 hours with the lowest average PRC for the past 3 years during the Winter season. If the settlement price was above the strike price, then the load was assumed to be operating in a curtailed state at 3% of its total site capacity. If the settlement price was below the strike price, then the load was assumed to be operating to its max capabilities. The Co-located LFL Forecast was then calculated by summing the expected load at all sites for each hour and taking an average of all 60 hourly sums. The Stand-alone Large Loads Peak Consumption Percentage (LFL) was calculated by finding an average load factor for each site over all 60 hours and then calcultaing a wieghted average of those individual load factors.