## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for October 2022

## Slide 2: Non-IRR GREDP < 85% – October 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 324 | 174 | 265 | 1.66 | 65.66
Unit 376 | 35 | 87 | 3.30 | 40.23
Unit 380 | 52 | 76 | 3.98 | 68.42
Unit 390 | 22 | 28 | 1.12 | 78.57
Unit 398 | 13 | 16 | 0.43 | 81.25

## Slide 3: IRR Summary – October 2022
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 85.46 | 71.42 | 79.50
GREDP Median (%) | 95.78 | 81.82 | 83.65
Average MW Error | 4.69 | 5.09 | 5.37
Median MW Error | 4.28 | 4.48 | 4.64
Total Intervals Scored | 53,269 | 24,186 | 22,197
100+ Intervals Scored | 98 | 196 | 49
Total Intervals Scored Average | 178.76 | 230.34 | 453

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 1,814 | 1,817 | 3.93 | 99.83
Unit 3 | 1,576 | 1,584 | 4.35 | 99.49
Unit 4 | 1,427 | 1,484 | 2.94 | 96.16
Unit 5 | 1,391 | 1,427 | 4.05 | 97.48
Unit 6 | 1,176 | 1,222 | 4.83 | 96.24
Unit 8 | 1,190 | 1,191 | 4.67 | 99.92
Unit 10 | 993 | 995 | 7.04 | 99.80
Unit 12 | 986 | 987 | 2.54 | 99.90
Unit 13 | 971 | 976 | 3.01 | 99.49
Unit 18 | 854 | 861 | 3.31 | 99.19
Unit 19 | 837 | 852 | 3.29 | 98.24
Unit 21 | 763 | 797 | 4.48 | 95.73
Unit 22 | 774 | 786 | 3.04 | 98.47
Unit 23 | 778 | 782 | 3.39 | 99.49
Unit 24 | 723 | 753 | 1.63 | 96.02
Unit 26 | 748 | 750 | 5.02 | 99.73
Unit 27 | 723 | 732 | 3.04 | 98.77
Unit 28 | 690 | 691 | 5.99 | 99.86
Unit 32 | 670 | 670 | 5.87 | 100.00
Unit 35 | 581 | 591 | 9.43 | 98.31

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 39 | 444 | 452 | 2.59 | 98.23
Unit 40 | 440 | 443 | 4.99 | 99.32
Unit 41 | 430 | 433 | 5.15 | 99.31
Unit 43 | 415 | 426 | 9.83 | 97.42
Unit 44 | 401 | 420 | 6.69 | 95.48
Unit 45 | 415 | 418 | 1.50 | 99.28
Unit 46 | 406 | 407 | 3.33 | 99.75
Unit 47 | 401 | 406 | 5.54 | 98.77
Unit 48 | 373 | 389 | 6.56 | 95.89
Unit 50 | 376 | 379 | 6.18 | 99.21
Unit 51 | 360 | 360 | 1.52 | 100.00
Unit 58 | 301 | 311 | 4.49 | 96.78
Unit 59 | 303 | 309 | 5.09 | 98.06
Unit 60 | 301 | 306 | 4.12 | 98.37
Unit 62 | 284 | 292 | 6.48 | 97.26
Unit 65 | 268 | 277 | 1.43 | 96.75
Unit 70 | 237 | 242 | 2.19 | 97.93
Unit 71 | 235 | 237 | 10.25 | 99.16
Unit 72 | 225 | 233 | 5.88 | 96.57
Unit 73 | 210 | 210 | 3.95 | 100.00

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 74 | 197 | 201 | 1.85 | 98.01
Unit 75 | 189 | 196 | 0.99 | 96.43
Unit 77 | 186 | 194 | 3.88 | 95.88
Unit 81 | 157 | 165 | 4.08 | 95.15
Unit 83 | 157 | 159 | 1.71 | 98.74
Unit 84 | 149 | 155 | 8.41 | 96.13
Unit 96 | 108 | 112 | 1.91 | 96.43
Unit 97 | 103 | 107 | 2.25 | 96.26
Unit 98 | 106 | 106 | 2.69 | 100.00

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1,655 | 1,826 | 4.44 | 90.64
Unit 7 | 1,116 | 1,194 | 4.91 | 93.47
Unit 9 | 905 | 1,024 | 2.47 | 88.38
Unit 11 | 871 | 988 | 5.22 | 88.16
Unit 14 | 786 | 961 | 1.96 | 81.79
Unit 15 | 841 | 925 | 2.95 | 90.92
Unit 16 | 822 | 923 | 2.79 | 89.06
Unit 17 | 810 | 882 | 5.03 | 91.84
Unit 20 | 787 | 849 | 4.64 | 92.70
Unit 25 | 618 | 750 | 1.60 | 82.40
Unit 29 | 573 | 685 | 5.83 | 83.65
Unit 30 | 565 | 677 | 3.82 | 83.46
Unit 31 | 470 | 676 | 4.43 | 69.53
Unit 33 | 574 | 616 | 7.31 | 93.18
Unit 34 | 480 | 591 | 3.83 | 81.22
Unit 36 | 492 | 551 | 1.34 | 89.29
Unit 37 | 466 | 525 | 7.72 | 88.76
Unit 38 | 343 | 480 | 6.62 | 71.46
Unit 42 | 403 | 429 | 3.85 | 93.94
Unit 49 | 333 | 379 | 6.50 | 87.86

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 52 | 293 | 355 | 6.32 | 82.54
Unit 53 | 146 | 348 | 6.72 | 41.95
Unit 54 | 326 | 347 | 5.97 | 93.95
Unit 55 | 280 | 337 | 8.31 | 83.09
Unit 56 | 307 | 335 | 18.16 | 91.64
Unit 57 | 307 | 335 | 5.56 | 91.64
Unit 61 | 276 | 303 | 15.91 | 91.09
Unit 63 | 77 | 283 | 8.45 | 27.21
Unit 64 | 229 | 278 | 6.74 | 82.37
Unit 66 | 219 | 274 | 10.79 | 79.93
Unit 67 | 225 | 255 | 4.37 | 88.24
Unit 68 | 210 | 252 | 3.93 | 83.33
Unit 69 | 234 | 247 | 2.32 | 94.74
Unit 76 | 90 | 195 | 4.48 | 46.15
Unit 78 | 56 | 188 | 3.97 | 29.79
Unit 79 | 135 | 177 | 10.16 | 76.27
Unit 80 | 142 | 175 | 1.78 | 81.14
Unit 82 | 150 | 163 | 2.58 | 92.02
Unit 85 | 98 | 147 | 1.45 | 66.67
Unit 86 | 116 | 137 | 4.65 | 84.67

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 87 | 77 | 134 | 7.38 | 57.46
Unit 88 | 28 | 132 | 4.61 | 21.21
Unit 89 | 108 | 132 | 6.26 | 81.82
Unit 90 | 91 | 128 | 4.04 | 71.09
Unit 91 | 114 | 127 | 5.04 | 89.76
Unit 92 | 97 | 124 | 2.96 | 78.23
Unit 93 | 103 | 121 | 5.12 | 85.12
Unit 94 | 94 | 120 | 3.39 | 78.33
Unit 95 | 108 | 117 | 4.60 | 92.31