|  |  |  |  |
| --- | --- | --- | --- |
| SCR Number | [821](https://www.ercot.com/mktrules/issues/SCR821) | SCR Title | Voltage Set Point Target Information for Distribution Generation Resource (DGR) or Distribution Energy Storage Resource (DESR) |
| Impact Analysis Date | | November 8, 2022 | |
| Estimated Cost/Budgetary Impact | | Between $25k and $50k | |
| Estimated Time Requirements | | The timeline for implementing this System Change Request (SCR) is dependent upon Public Utility Commission of Texas (PUCT) prioritization and approval.  Estimated project duration: 3 to 5 months | |
| ERCOT Staffing Impacts (across all areas) | | Implementation Labor: 100% ERCOT; 0% Vendor  Ongoing Requirements: No impacts to ERCOT staffing. | |
| ERCOT Computer System Impacts | | The following ERCOT systems would be impacted:   * Energy Management Systems 100% | |
| ERCOT Business Function Impacts | | No impacts to ERCOT business functions. | |
| Grid Operations & Practices Impacts | | No impacts to ERCOT grid operations and practices. | |

|  |
| --- |
| Evaluation of Interim Solutions or Alternatives for a More Efficient Implementation |
| None offered. |

|  |
| --- |
| Comments |
| None. |