## Slide 1: Summer Weather Impacts on Load by Customer Type
Chart: 
Large Commercial | 0.264
Small Commercial | 0.247
Residential | 0.488
Customer class breakdown is for competitive choice areas; percentages are extrapolated for municipals and co-ops to achieve region-wide estimate
Large C&I are >700 kW
15-minute demand values
Tuesday, August 2, 2022
5:00 p.m.
ERCOT Load: 78,689 MW
Temperature in Dallas: 100°
>37,000 MW of weather-sensitive load -- 47% of peak
Residential
47.0%
Small Commercial
24.1%
Large Commercial and Industrial
28.9%
Chart: 
Large Commercial | 0.452
Small Commercial | 0.277
Residential | 0.271
Tuesday, March 1, 2022
5:00 p.m.
ERCOT Load: 39,767 MW
Temperature in Dallas: 71°
Residential
23.0%
Small Commercial
27.3%
Large Commercial and Industrial
49.7%