## correlations
DATE RANGE OF ANALYSIS
5/1/2021 - 4/8/2022
ORIGINAL UFE-DLF CORRELATION
CNP_D | 0.059076
CNP_E | -0.46978
ONCOR_A | -0.14876
ONCOR_B | -0.43838
TNMP_A-C-E | -0.17228
TNMP_B-D | 0.41565
AEP-C_A | 0.11603
AEP-C_B | -0.43312
AEP-N_A | 0.40229
AEP-N_B | 0.46895
NEC_A | -0.45915
NEC_B | -0.24253
EMS TLFs-ERCOT LOAD | -0.24802
SEASONAL TLFs-ERCOT LOAD | 0.20587
ORIGINAL_UFE-SEASONAL TLFs | -0.58297
EMS TLFs-WIND GEN | 0.84346
SEASONAL TLFs-WIND GEN | -0.085822
EMS TLFs-SEASONAL TLFs | -0.13009
SEASON | EMS TLFs-SEASONAL TLFs | EMS TLFs-WIND GEN | SEASONAL TLFs-WIND GEN
SPRING | -0.30888 | 0.85697 | -0.19288
SUMMER | 0.065837 | 0.80455 | -0.062673
FALL | -0.067757 | 0.85868 | -0.072362
WINTER | -0.24197 | 0.85768 | -0.23089