**NDSWG Report to ROS**

**December 2022**

**Chair: Kenesha King, Vice-Chair: Aniruddha Khedlekar (AK)**

**NDSWG last met on November 15, 2022 (WebEx)**

**Discussion/Review Items:**

**NMMS Project Update**

* Presented by Joel Koepke
* Upgrade of SGEM
* New NMMS cutover December 5, 2022
* Test system accessible via CITRIX
* Changes to incremental XML format
* NMMS unavailable from 12/2 – 12/5

**Weatherization Attestation**

* Presented by Joel Koepke
* Winter – TSP Declaration of Weatherization Preparedness
* Request for information was made by ERCOT to TSPs

**Ratings Report**

* Presented by Joel Koepke
* NPRR1063 – Ratings Report
* ERCOT will begin posting a Ratings Report to the MIS website early December
* This report is posted as the model is built

**Model Change Request**

* Presented by Joel Koepke
* SSWG will be starting the process of adding node-breaker details to the SSWG cases
* Modifications may be needed to the submission of information to ERCOT
* SSWG members will be asked to correct and add new information to the model

**FERC Order 881 – Dynamic Ratings**

* Presented by Joel Koepke
* ERCOT will not be adjusting Dynamic Ratings functionality in response to FERC Order 881

**2023 NDSWG Leadership**

* Chair: Aniruddha Khedlekar (AK) (LCRA)
* Co-Chair: Gerardo Escamilla (CPS Energy)

Next NDSWG meeting will be held on January 17, 2023