Date:	December 5, 2022

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR1132, Communicate Operating Limitations during Cold and Hot Weather Conditions [ERCOT] - NPRR1138, Communication of Capability and Status of Online IRRs at 0 MW Output – URGENT [ERCOT] - NPRR1152, Remove Requirements to Submit Emergency Operations Plans, Weatherization Plans, and Declarations of Summer/Winter Weather Preparedness – URGENT [ERCOT] - NPRR1154, Include Alternate Resource in the Availability Plan for the Firm Fuel Supply Service – URGENT [LCRA] - SCR821, Voltage Set Point Target Information for Distribution Generation Resource (DGR) or Distribution Energy Storage Resource (DESR) [AEP]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) For NPRRs, ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1132, Communicate Operating Limitations during Cold and Hot Weather Conditions [ERCOT] Proposed Effective Date: February 1, 2023 (manual solution) and upon system implementation – Priority 2023; Rank 340 (automated solution) ERCOT Impact Analysis: Between $65K and $95K; no impacts to ERCOT staffing; impacts to Resource Integration and Ongoing Operations (RIOO), Grid Decision Support Systems, and Data Management & Analytic Systems; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR specifies that during local cold weather conditions, each Qualified Scheduling Entity (QSE) must update its Generation Resources’ and Energy Storage Resources’ Current Operating Plan (COP), Real-Time telemetry, and Outage and derate reporting to reflect any cold-weather limitations. This NPRR also requires each Resource Entity to provide Resource-specific cold weather minimum temperature limits, hot weather maximum temperature limits, and alternate fuel capability information in its Resource Registration data submitted pursuant to Planning Guide Section 6.8.2, Resource Registration Process, and update this information as necessary. PRS Decision: On 10/13/22, PRS voted to recommend approval of NPRR1132 as amended by the 10/11/22 Luminant comments. There was one abstention from the Consumer (Occidental) Market Segment. On 11/11/22, PRS voted unanimously to endorse and forward to TAC the 10/13/22 PRS Report as amended by the 10/14/22 ERCOT comments and 11/1/22 Revised Impact Analysis for NPRR1132 with a recommended priority of 2023 and rank of 340. - NPRR1138, Communication of Capability and Status of Online IRRs at 0 MW Output – URGENT [ERCOT] Proposed Effective Date: February 1, 2023 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR requires each Resource Entity to ensure the reactive capability curve for any Intermittent Renewable Resource (IRR) accurately reflects the IRR’s reactive capability when it is not providing real power or is operating at lower levels of real power output. PRS Decision: On 11/11/22, PRS voted unanimously to grant NPRR1138 Urgent status; to recommend approval of NPRR1138 as amended by the 11/7/22 Luminant comments; and to forward to TAC NPRR1138 and the 5/25/22 Impact Analysis. - NPRR1152, Remove Requirements to Submit Emergency Operations Plans, Weatherization Plans, and Declarations of Summer/Winter Weather Preparedness – URGENT [ERCOT] Proposed Effective Date: February 1, 2023 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes the Protocol requirements to submit emergency operations plans (“EOPs”), weatherization plans, and declarations of Summer/Winter weather preparedness in light of recent Public Utility Commission of Texas (PUCT) rules requiring submission of such information to ERCOT; revises procedures for submitting to ERCOT declarations of natural gas pipeline coordination for Resource Entities with natural gas Generation Resources; revises the list of items considered Protected Information in Section 1.3.1.1, Items Considered Protected Information, to remove references to weatherization plans and add protections for information relating to weatherization activities submitted to or obtained by ERCOT in connection with 16 Texas Administrative Code (TAC) § 25.55; and revises the list of ERCOT Critical Energy Infrastructure Information (ECEII) to clarify language concerning EOPs and add protections for information relating to weatherization activities submitted to or obtained by ERCOT in connection with PUCT rules and North American Electric Reliability Corporation (NERC) Reliability Standards. PRS Decision: On 11/11/22, PRS voted unanimously to grant NPRR1152 Urgent status; to recommend approval of NPRR1152 as submitted; and to forward to TAC NPRR1152 and the 10/20/22 Impact Analysis. - NPRR1154, Include Alternate Resource in the Availability Plan for the Firm Fuel Supply Service – URGENT [LCRA] Proposed Effective Date: Upon system implementation – Priority TBD; Rank TBD ERCOT Impact Analysis: Between $40K and $70K; no impacts to ERCOT staffing; impacts to Settlements & Billing Systems and Data Management & Analytic Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR updates language to allow for a qualified alternate Resource to be considered in the calculation of the availability reduction factor for the Firm Fuel Supply Service Resource (FFSSR). Additionally, this NPRR provides a new Settlement billing determinant that will provide the Firm Fuel Supply Service Award Amount per QSE per FFSSR by hour. PRS Decision: On 11/11/22, PRS voted unanimously to grant NPRR1154 Urgent status; to recommend approval of NPRR1154 as amended by the 11/9/22 LCRA comments; and to forward to TAC NPRR1154. - SCR821, Voltage Set Point Target Information for Distribution Generation Resource (DGR) or Distribution Energy Storage Resource (DESR) [AEP] Proposed Effective Date: Upon system implementation – Priority 2024; Rank 4000 ERCOT Impact Analysis: Between $25K and $50K; no impacts to ERCOT staffing; impacts to Energy Management Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This SCR allows, at the option of the Transmission and/or Distribution Service Provider (TDSP), Voltage Set Point target information to be provided to a Distribution Generation Resource (DGR) or a Distribution Energy Storage Resource (DESR) installation. PRS Decision: On 8/11/22, PRS voted to recommend approval of SCR821 as submitted. There were three abstentions from the Independent Retail Electric Provider (IREP) (Reliant) and Investor Owned Utility (IOU) (2) (Oncor, CNP) Market Segments. On 11/11/22, PRS voted to endorse and forward to TAC the 9/15/22 PRS Report and 11/8/22 Impact Analysis for SCR821 with a recommended priority of 2024 and rank of 4000. There were two abstentions from the IOU (Oncor, CNP) Market Segment. Revision Requests Rejected None Revision Requests Withdrawn - NPRR1089, Requiring Highest-Ranking Representative, Official, or Officer of a Resource Entity to Execute Weatherization and Natural Gas Declarations [ERCOT] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1144, Station Service Backup Power Metering [Plus Power] - NPRR1147, Update and Improve Notification and Evaluation Processes Associated with Reliability Must-Run (RMR) [ERCOT] - NPRR1151, Protocol Revision Subcommittee Meeting Requirement [Oncor] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1067, Market Entry Qualifications, Continued Participation Requirements, and Credit Risk Assessment [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1143, Provide ERCOT Flexibility to Determine When ESRs May Charge During an EEA Level 3 [ERCOT] - NPRR1145, Use of State Estimator-Calculated ERCOT-Wide TLFs in Lieu of Seasonal Base Case ERCOT-Wide TLFs for Settlement [ERCOT] - NPRR1146, Credit Changes to Appropriately Reflect TAO Exposure [REMC] - NPRR1149, Implementation of Systematic Ancillary Service Failed Quantity Charges [ERCOT] - NPRR1150, Related to NOGRR230, WAN Participant Security [ERCOT] - NPRR1153, ERCOT Fee Schedule Changes [ERCOT] New Revision Requests Scheduled for Consideration at PRS - NPRR1155, Attestation Regarding Market Participant Citizenship, Ownership, or Headquarters [ERCOT] - NPRR1156, Priority Revision Request Process [Oncor] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr