ERCOT Nodal Operating Guides

Section 8

Attachment G

Load Resource Tests

September 1, 2019

### Annual Load Resource Telemetry Test

General Information

Date:					Location (County):

ERCOT Asset Code:			Load Resource’s QSE:

Load Resource Name:			Load Point Name:

(multiple points only)

For Test Details Reference Section 3.4, Load Resource Testing Requirement.

Telemetry Test Results

Start Time Interval:

Load Resource Breaker Status:			Response MW:

UFR Status*:				MW at Maximum Load**:

Note:	*	Only applicable to Load Resource’s providing Responsive Reserve (RRS) Service

**	Maximum available capacity for each Load Resources will be capped to the Maximum Load test level

By signature below, the Load Resource Representative certifies that the telemetry and high set under frequency relays, where applicable, are in place and fully functional.

Submittal

Load Resource Representative Name:

Signature:

QSE Representative:				Date submitted to ERCOT:

ERCOT Validation By:			Date:

### Biennial Test for Load Resources Providing Responsive Reserve Service

General Information

Date:						Location (County):

ERCOT Asset Code:				Load Resource’s QSE:

Load Resource Name:				Load Point Name:

(multiple points only)

Instructions

As specified in Protocol Section 8.1.1.2, General Capacity Testing Requirements, a Load Resource providing RRS Service shall test each under frequency relay or solid state controller, whichever applies, for correct operation.  A separate certified relay test results sheet is to be attached for each relay tested.  Please provide sufficient notation on each test sheet to assist ERCOT in matching up the sheet to individual relays.  This test of the under frequency relay does not require the Load to be interrupted.  If, within the biennial testing period, the Load’s performance has been verified through the correct response to an actual event, the data from that event can be supplied to meet this requirement and the required annual telemetry test.  The date, interval, and other information associated with the event are to be noted below.  ERCOT will return a copy of the validated test form to the QSE.

Verification of telemetered Response to an Actual Event

Date of event:					Interval of event:

Load Resource Breaker Status:				MW Load Prior to Event:

UFR Status:		Instantaneous Response MW:		Frequency deviation Hz:

Time Load restored:		ERCOT Operator:

Submittal

By signature below the Load Resource representative certifies the high set under frequency relay(s) are in place and fully functional.

Load Resource Representative Name:

Signature:

Name of Company Performing Relay Test:

QSE Representative:				Date submitted to ERCOT:

ERCOT Validation By:				Date:

Note:  Please attach certified relay test results sheet(s) to this form when submitting to ERCOT.

[NOGRR187: Replace Section 8 Attachment G above with the following upon system implementation of NPRR863:] ERCOT Nodal Operating Guides Section 8 Attachment G Load Resource Tests TBD - Annual Load Resource Telemetry Test - General Information Date: Location (County): ERCOT Asset Code: Load Resource’s QSE: - Load Resource Name: Load Point Name: (multiple points only) For Test Details Reference Section 3.4, Load Resource Testing Requirement. Telemetry Test Results Start Time Interval: Load Resource Breaker Status: Response MW: UFR Status*: MW at Maximum Load**: Note: * Only applicable to Load Resources providing Responsive Reserve (RRS) or ERCOT Contingency Reserve Service (ECRS) ** Maximum available capacity for each Load Resources will be capped to the Maximum Load test level By signature below, the Load Resource Representative certifies that the telemetry and high set under frequency relays, where applicable, are in place and fully functional. Submittal Load Resource Representative Name: Signature: QSE Representative: Date submitted to ERCOT: ERCOT Validation By: Date: - Biennial Test for Load Resources Providing Responsive Reserve Service - General Information Date: Location (County): ERCOT Asset Code: Load Resource’s QSE: Load Resource Name: Load Point Name: (multiple points only) Instructions As specified in Protocol Section 8.1.1.2, General Capacity Testing Requirements, a Load Resource providing RRS Service shall test each under frequency relay or solid state controller, whichever applies, for correct operation. A separate certified relay test results sheet is to be attached for each relay tested. Please provide sufficient notation on each test sheet to assist ERCOT in matching up the sheet to individual relays. This test of the under frequency relay does not require the Load to be interrupted. If, within the biennial testing period, the Load’s performance has been verified through the correct response to an actual event, the data from that event can be supplied to meet this requirement and the required annual telemetry test. The date, interval, and other information associated with the event are to be noted below. ERCOT will return a copy of the validated test form to the QSE. Verification of telemetered Response to an Actual Event Date of event: Interval of event: Load Resource Breaker Status: MW Load Prior to Event: UFR Status: Instantaneous Response MW: Frequency deviation Hz: Time Load restored: ERCOT Operator: Submittal By signature below the Load Resource representative certifies the high set under frequency relay(s) are in place and fully functional. Load Resource Representative Name: Signature: Name of Company Performing Relay Test: QSE Representative: Date submitted to ERCOT: ERCOT Validation By: Date: Note: Please attach certified relay test results sheet(s) to this form when submitting to ERCOT.