- Section 2:

RRGRR016 – Additional Guidance for Solar Data

This Resource Registration Glossary Revision Request (RRGRR) clarifies glossary definitions and detailed descriptions of data fields in order to provide more direction to Market Participants for the successful submission of their Resource Asset Registration Forms (RARFs).

Revised Section:  Panel Details [unboxed due to system implementation]

RRGRR019 – Related to NPRR901, Switchable Generation Resource Status Code

This Resource Registration Glossary Revision Request (RRGRR) adds a modeling designation for Switchable Generation Resources (SWGRs) to the Resource Asset Registration Form (RARF).  The modeling designation shows that SWGRs have the potential to operate in another Control Area.

Revised Section:  Unit Information [unboxed due to system implementation]

RRGRR030 – Allow New Voltage Levels in Resource Registration Information

This Resource Registration Glossary Revision Request (RRGRR) removes the hard coding of voltage levels for certain Resource Registration information related to Transformer Data.  This allows Resources connected to other voltage levels to submit their Resource Registration data without receiving validation errors.

Revised Section:  Transformer Data (as applicable) [unboxed due to system implementation]