## Summary
PEAK AVERAGE WIND CAPACITY PERCENTAGES, Summer PEAK SEASONS
WINDPEAKPCT Values (Weighted Averages based on Installed Wind Capacity)*
Summer Peak Ave. Wind Capacity Percentages and Total Unit Capacities | [6 empty] | Summer, Coastal | Summer, Panhandle | Summer, Other
Top Twenty Peak Hours for Each year | [6 empty] | 60.19% | 29.67% | 20.64%
CDR Wind Region | Coastal |  | Panhandle |  | Other
Year | Capacity Contribution Percentage | Capacity (MW) | Capacity Contribution Percentage | Capacity (MW) | Capacity Contribution Percentage | Capacity (MW) | * The methodology for calculating WINDPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/mktrules/nprotocols/library
2022 | 72.61% | 4858 | 24.24% | 4406 | 19.02% | 18531
2021 | 40.61% | 3579 | 37.53% | 4406 | 24.89% | 15411
2020 | 43.54% | 3283 | 25.67% | 4406 | 26.81% | 14737
2019 | 75.22% | 2814 | 34.13% | 4196 | 23.53% | 12178
2018 | 53.11% | 2613 | 25.59% | 4196 | 18.19% | 11487
2017 | 63.47% | 2136 | 24.51% | 4022 | 21.83% | 10035
2016 | 73.64% | 1839 | 48.44% | 2870 | 19.42% | 8562
2015 | 53.29% | 1674 | 17.28% | 1776 | 10.29% | 7116
2014 | 60.17% | 1673 | 21.17% | 207 | 18.64% | 6318
2013 | 76.35% | 1274 | 10.93% | 207 | 12.57% | 6099
PEAK AVERAGE SOLAR CAPACITY PERCENTAGES, Summer PEAK SEASONS
SOLARPEAKPCT Value (Weighted Average based on Installed Solar Capacity) *
Summer Peak Ave. Solar Capacity Percentages and Total Unit Capacities | [6 empty] | Summer
Top Twenty Peak Hours for Each year | [6 empty] | 79.5%
Year | Capacity Contribution Percentage | Capacity (MW) |  |  |  |  | * The methodology for calculating SOLARPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/mktrules/nprotocols/library
2022 | 76.96% | 8370
2021 | 82.13% | 4234
2020 | 83.65% | 2442

## S2022
Wind - Coastal
HOUR ENDING | 2022-07-08 17:00 | 2022-07-12 16:00 | 2022-07-12 17:00 | 2022-07-13 17:00 | 2022-07-18 16:00 | 2022-07-18 17:00 | 2022-07-18 18:00 | 2022-07-19 15:00 | 2022-07-19 16:00 | 2022-07-19 17:00 | 2022-07-19 18:00 | 2022-07-19 19:00 | 2022-07-20 15:00 | 2022-07-20 16:00 | 2022-07-20 17:00 | 2022-07-20 18:00 | 2022-07-25 17:00 | 2022-07-25 18:00 | 2022-07-26 17:00 | 2022-07-26 18:00
ERCOT LOAD (MW) | 78555.3257 | 78587.2785 | 78675.9154 | 78629.3734 | 78660.2219 | 79295.5194 | 79271.2417 | 78855.6114 | 79442.5492 | 79795.5934 | 79573.0594 | 78647.557 | 78630.3004 | 79730.4286 | 80147.8488 | 79861.1173 | 78852.1927 | 78666.8049 | 78600.8932 | 78649.0455
TOTAL HSL (MW) | 3003.511 | 2300.0002 | 2440.3693 | 3446.3801 | 2858.4889 | 3261.0241 | 3444.9914 | 3660.9818 | 3954.4971 | 3999.2634 | 4039.6515 | 4077.2079 | 3761.3997 | 3832.0671 | 3879.5794 | 3913.4175 | 3728.6662 | 3707.6998 | 3504.5005 | 3731.6989
TOTAL CAPACITY (MW) | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858 | 4858
CAPACITY FACTOR | 61.83% | 47.34% | 50.23% | 70.94% | 58.84% | 67.13% | 70.91% | 75.36% | 81.4% | 82.32% | 83.15% | 83.93% | 77.43% | 78.88% | 79.86% | 80.56% | 76.75% | 76.32% | 72.14% | 76.82%
CAPACITY FACTOR AVG | 2022-07-08 17:00: 72.61%
Wind - Panhandle
HOUR ENDING | 2022-07-08 17:00 | 2022-07-12 16:00 | 2022-07-12 17:00 | 2022-07-13 17:00 | 2022-07-18 16:00 | 2022-07-18 17:00 | 2022-07-18 18:00 | 2022-07-19 15:00 | 2022-07-19 16:00 | 2022-07-19 17:00 | 2022-07-19 18:00 | 2022-07-19 19:00 | 2022-07-20 15:00 | 2022-07-20 16:00 | 2022-07-20 17:00 | 2022-07-20 18:00 | 2022-07-25 17:00 | 2022-07-25 18:00 | 2022-07-26 17:00 | 2022-07-26 18:00
ERCOT LOAD (MW) | 78555.3257 | 78587.2785 | 78675.9154 | 78629.3734 | 78660.2219 | 79295.5194 | 79271.2417 | 78855.6114 | 79442.5492 | 79795.5934 | 79573.0594 | 78647.557 | 78630.3004 | 79730.4286 | 80147.8488 | 79861.1173 | 78852.1927 | 78666.8049 | 78600.8932 | 78649.0455
TOTAL HSL (MW) | 285.0169 | 646.3363 | 623.3035 | 510.0207 | 131.7754 | 141.1959 | 178.559 | 2639.4922 | 2639.6237 | 2372.4967 | 1962.7944 | 1758.8529 | 559.9222 | 328.0868 | 477.1326 | 569.2828 | 1321.5502 | 1374.6479 | 1371.785 | 1471.1872
TOTAL CAPACITY (MW) | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406
CAPACITY FACTOR | 6.469% | 14.67% | 14.15% | 11.58% | 2.991% | 3.205% | 4.053% | 59.91% | 59.91% | 53.85% | 44.55% | 39.92% | 12.71% | 7.446% | 10.83% | 12.92% | 29.99% | 31.2% | 31.13% | 33.39%
CAPACITY FACTOR AVG | 2022-07-08 17:00: 24.24%
Wind - Other
HOUR ENDING | 2022-07-08 17:00 | 2022-07-12 16:00 | 2022-07-12 17:00 | 2022-07-13 17:00 | 2022-07-18 16:00 | 2022-07-18 17:00 | 2022-07-18 18:00 | 2022-07-19 15:00 | 2022-07-19 16:00 | 2022-07-19 17:00 | 2022-07-19 18:00 | 2022-07-19 19:00 | 2022-07-20 15:00 | 2022-07-20 16:00 | 2022-07-20 17:00 | 2022-07-20 18:00 | 2022-07-25 17:00 | 2022-07-25 18:00 | 2022-07-26 17:00 | 2022-07-26 18:00
ERCOT LOAD (MW) | 78555.3257 | 78587.2785 | 78675.9154 | 78629.3734 | 78660.2219 | 79295.5194 | 79271.2417 | 78855.6114 | 79442.5492 | 79795.5934 | 79573.0594 | 78647.557 | 78630.3004 | 79730.4286 | 80147.8488 | 79861.1173 | 78852.1927 | 78666.8049 | 78600.8932 | 78649.0455
TOTAL HSL (MW) | 1122.1516 | 3899.4218 | 4341.4953 | 2083.2593 | 1088.3014 | 1206.4472 | 1422.2834 | 4864.2888 | 4068.0436 | 3732.8788 | 3814.128 | 4346.8138 | 2514.7181 | 2490.0239 | 2889.4179 | 3796.5341 | 6190.1871 | 6458.8434 | 4959.7263 | 5221.4566
TOTAL CAPACITY (MW) | 18531 | 18531 | 18531 | 18531 | 18531 | 18531 | 18531 | 18531 | 18531 | 18531 | 18531 | 18531 | 18531 | 18531 | 18531 | 18531 | 18531 | 18531 | 18531 | 18531
CAPACITY FACTOR | 6.056% | 21.04% | 23.43% | 11.24% | 5.873% | 6.51% | 7.675% | 26.25% | 21.95% | 20.14% | 20.58% | 23.46% | 13.57% | 13.44% | 15.59% | 20.49% | 33.4% | 34.85% | 26.76% | 28.18%
CAPACITY FACTOR AVG | 2022-07-08 17:00: 19.02%
Solar
HOUR ENDING | 2022-07-08 17:00 | 2022-07-12 16:00 | 2022-07-12 17:00 | 2022-07-13 17:00 | 2022-07-18 16:00 | 2022-07-18 17:00 | 2022-07-18 18:00 | 2022-07-19 15:00 | 2022-07-19 16:00 | 2022-07-19 17:00 | 2022-07-19 18:00 | 2022-07-19 19:00 | 2022-07-20 15:00 | 2022-07-20 16:00 | 2022-07-20 17:00 | 2022-07-20 18:00 | 2022-07-25 17:00 | 2022-07-25 18:00 | 2022-07-26 17:00 | 2022-07-26 18:00
ERCOT LOAD (MW) | 78555.3257 | 78587.2785 | 78675.9154 | 78629.3734 | 78660.2219 | 79295.5194 | 79271.2417 | 78855.6114 | 79442.5492 | 79795.5934 | 79573.0594 | 78647.557 | 78630.3004 | 79730.4286 | 80147.8488 | 79861.1173 | 78852.1927 | 78666.8049 | 78600.8932 | 78649.0455
TOTAL HSL (MW) | 6474.8479 | 6497.5313 | 6204.4118 | 4824.1674 | 7278.1218 | 7048.4538 | 6726.8488 | 7279.4423 | 7178.4932 | 6991.1437 | 6578.145 | 5172.0297 | 6538.1186 | 6190.096 | 5920.907 | 5592.9077 | 6452.6561 | 6341.3893 | 6746.9448 | 6789.6632
TOTAL CAPACITY (MW) | 8370 | 8370 | 8370 | 8370 | 8370 | 8370 | 8370 | 8370 | 8370 | 8370 | 8370 | 8370 | 8370 | 8370 | 8370 | 8370 | 8370 | 8370 | 8370 | 8370
CAPACITY FACTOR | 77.36% | 77.63% | 74.13% | 57.64% | 86.95% | 84.21% | 80.37% | 86.97% | 85.76% | 83.53% | 78.59% | 61.79% | 78.11% | 73.96% | 70.74% | 66.82% | 77.09% | 75.76% | 80.61% | 81.12%
CAPACITY FACTOR AVG | 2022-07-08 17:00: 76.96%

## S2021
Wind - Coastal
HOUR ENDING | 2021-07-26 16:00 | 2021-07-26 17:00 | 2021-07-26 18:00 | 2021-08-09 16:00 | 2021-08-09 17:00 | 2021-08-10 17:00 | 2021-08-12 16:00 | 2021-08-23 16:00 | 2021-08-23 17:00 | 2021-08-23 18:00 | 2021-08-24 16:00 | 2021-08-24 17:00 | 2021-08-24 18:00 | 2021-08-25 16:00 | 2021-08-25 17:00 | 2021-08-25 18:00 | 2021-08-31 15:00 | 2021-08-31 16:00 | 2021-08-31 17:00 | 2021-08-31 18:00
ERCOT LOAD (MW) | 72671.009 | 73145.1529 | 73060.4072 | 72790.07 | 72836.2999 | 72601.2649 | 72575.6425 | 72612.9658 | 73030.2054 | 72905.875 | 73147.9488 | 73687.1049 | 73508.1213 | 73283.21 | 73566.2869 | 73470.1256 | 72761.9764 | 73509.3166 | 73659.1364 | 73284.0945
TOTAL HSL (MW) | 329.8478 | 512.4638 | 747.6726 | 2486.6391 | 2621.2645 | 2524.5363 | 1429.9582 | 1123.9279 | 1267.0557 | 1357.3487 | 1265.2348 | 1529.6763 | 1668.4297 | 1127.0248 | 1065.7095 | 1173.7189 | 989.8887 | 1519.9481 | 1984.3165 | 2343.8756
TOTAL CAPACITY (MW) | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579 | 3579
CAPACITY FACTOR | 9.216% | 14.32% | 20.89% | 69.48% | 73.24% | 70.54% | 39.95% | 31.4% | 35.4% | 37.93% | 35.35% | 42.74% | 46.62% | 31.49% | 29.78% | 32.79% | 27.66% | 42.47% | 55.44% | 65.49%
CAPACITY FACTOR AVG | 2021-07-26 16:00: 40.61%
Wind - Panhandle
HOUR ENDING | 2021-07-26 16:00 | 2021-07-26 17:00 | 2021-07-26 18:00 | 2021-08-09 16:00 | 2021-08-09 17:00 | 2021-08-10 17:00 | 2021-08-12 16:00 | 2021-08-23 16:00 | 2021-08-23 17:00 | 2021-08-23 18:00 | 2021-08-24 16:00 | 2021-08-24 17:00 | 2021-08-24 18:00 | 2021-08-25 16:00 | 2021-08-25 17:00 | 2021-08-25 18:00 | 2021-08-31 15:00 | 2021-08-31 16:00 | 2021-08-31 17:00 | 2021-08-31 18:00
ERCOT LOAD (MW) | 72671.009 | 73145.1529 | 73060.4072 | 72790.07 | 72836.2999 | 72601.2649 | 72575.6425 | 72612.9658 | 73030.2054 | 72905.875 | 73147.9488 | 73687.1049 | 73508.1213 | 73283.21 | 73566.2869 | 73470.1256 | 72761.9764 | 73509.3166 | 73659.1364 | 73284.0945
TOTAL HSL (MW) | 891.048 | 995.1451 | 1435.0548 | 1710.3152 | 2038.3256 | 2552.9927 | 1734.1691 | 2519.2831 | 2709.1522 | 2928.0692 | 1857.6759 | 1919.6992 | 1991.3652 | 1713.5514 | 1944.4689 | 2162.0011 | 507.4968 | 485.9008 | 447.0139 | 525.7266
TOTAL CAPACITY (MW) | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406
CAPACITY FACTOR | 20.22% | 22.59% | 32.57% | 38.82% | 46.26% | 57.94% | 39.36% | 57.18% | 61.49% | 66.46% | 42.16% | 43.57% | 45.2% | 38.89% | 44.13% | 49.07% | 11.52% | 11.03% | 10.15% | 11.93%
CAPACITY FACTOR AVG | 2021-07-26 16:00: 37.53%
Wind - Other
HOUR ENDING | 2021-07-26 16:00 | 2021-07-26 17:00 | 2021-07-26 18:00 | 2021-08-09 16:00 | 2021-08-09 17:00 | 2021-08-10 17:00 | 2021-08-12 16:00 | 2021-08-23 16:00 | 2021-08-23 17:00 | 2021-08-23 18:00 | 2021-08-24 16:00 | 2021-08-24 17:00 | 2021-08-24 18:00 | 2021-08-25 16:00 | 2021-08-25 17:00 | 2021-08-25 18:00 | 2021-08-31 15:00 | 2021-08-31 16:00 | 2021-08-31 17:00 | 2021-08-31 18:00
ERCOT LOAD (MW) | 72671.009 | 73145.1529 | 73060.4072 | 72790.07 | 72836.2999 | 72601.2649 | 72575.6425 | 72612.9658 | 73030.2054 | 72905.875 | 73147.9488 | 73687.1049 | 73508.1213 | 73283.21 | 73566.2869 | 73470.1256 | 72761.9764 | 73509.3166 | 73659.1364 | 73284.0945
TOTAL HSL (MW) | 987.3874 | 1322.797 | 1633.5184 | 7276.6819 | 7491.7792 | 9185.8005 | 4779.9633 | 4341.2861 | 5010.8389 | 6081.6448 | 4225.9137 | 4483.7152 | 4890.2248 | 2730.3121 | 3152.6614 | 3660.9716 | 568.8513 | 1110.6145 | 1392.3133 | 2392.8415
TOTAL CAPACITY (MW) | 15411 | 15411 | 15411 | 15411 | 15411 | 15411 | 15411 | 15411 | 15411 | 15411 | 15411 | 15411 | 15411 | 15411 | 15411 | 15411 | 15411 | 15411 | 15411 | 15411
CAPACITY FACTOR | 6.407% | 8.583% | 10.6% | 47.22% | 48.61% | 59.61% | 31.02% | 28.17% | 32.51% | 39.46% | 27.42% | 29.09% | 31.73% | 17.72% | 20.46% | 23.76% | 3.691% | 7.207% | 9.035% | 15.53%
CAPACITY FACTOR AVG | 2021-07-26 16:00: 24.89%
Solar
HOUR ENDING | 2021-07-26 16:00 | 2021-07-26 17:00 | 2021-07-26 18:00 | 2021-08-09 16:00 | 2021-08-09 17:00 | 2021-08-10 17:00 | 2021-08-12 16:00 | 2021-08-23 16:00 | 2021-08-23 17:00 | 2021-08-23 18:00 | 2021-08-24 16:00 | 2021-08-24 17:00 | 2021-08-24 18:00 | 2021-08-25 16:00 | 2021-08-25 17:00 | 2021-08-25 18:00 | 2021-08-31 15:00 | 2021-08-31 16:00 | 2021-08-31 17:00 | 2021-08-31 18:00
ERCOT LOAD (MW) | 72671.009 | 73145.1529 | 73060.4072 | 72790.07 | 72836.2999 | 72601.2649 | 72575.6425 | 72612.9658 | 73030.2054 | 72905.875 | 73147.9488 | 73687.1049 | 73508.1213 | 73283.21 | 73566.2869 | 73470.1256 | 72761.9764 | 73509.3166 | 73659.1364 | 73284.0945
TOTAL HSL (MW) | 3815.4134 | 3761.2283 | 3654.3393 | 3793.618 | 3538.8548 | 3107.7614 | 3192.1062 | 3758.7474 | 3675.9448 | 3451.4162 | 3763.4883 | 3733.7477 | 3610.2259 | 3703.7612 | 3624.9313 | 3467.3876 | 3460.6058 | 3285.9506 | 2737.8609 | 2408.0719
TOTAL CAPACITY (MW) | 4234 | 4234 | 4234 | 4234 | 4234 | 4234 | 4234 | 4234 | 4234 | 4234 | 4234 | 4234 | 4234 | 4234 | 4234 | 4234 | 4234 | 4234 | 4234 | 4234
CAPACITY FACTOR | 90.11% | 88.83% | 86.31% | 89.6% | 83.58% | 73.4% | 75.39% | 88.78% | 86.82% | 81.52% | 88.89% | 88.18% | 85.27% | 87.48% | 85.61% | 81.89% | 81.73% | 77.61% | 64.66% | 56.87%
CAPACITY FACTOR AVG | 2021-07-26 16:00: 82.13%

## S2020
Wind - Coastal
HOUR ENDING | 2020-07-13 15:00 | 2020-07-13 16:00 | 2020-07-13 17:00 | 2020-07-13 18:00 | 2020-07-16 17:00 | 2020-08-12 16:00 | 2020-08-12 17:00 | 2020-08-12 18:00 | 2020-08-13 15:00 | 2020-08-13 16:00 | 2020-08-13 17:00 | 2020-08-13 18:00 | 2020-08-14 16:00 | 2020-08-14 17:00 | 2020-08-14 18:00 | 2020-08-15 18:00 | 2020-08-16 18:00 | 2020-08-28 15:00 | 2020-08-28 16:00 | 2020-08-28 17:00
ERCOT LOAD (MW) | 73700.3171 | 74262.7089 | 74344.0699 | 74030.2321 | 73716.7343 | 74084.5207 | 74110.3813 | 73739.52 | 73649.2339 | 74194.688 | 74364.0981 | 74086.3504 | 74141.0626 | 74375.8462 | 74123.6672 | 73821.4172 | 73516.9196 | 73791.2191 | 74362.5893 | 74150.4663
TOTAL HSL (MW) | 1092.6573 | 1312.826 | 1596.7456 | 1972.0587 | 2182.4085 | 1370.7125 | 1677.2385 | 1936.3997 | 755.5635 | 1068.7199 | 1363.1067 | 1519.4263 | 890.6761 | 1325.4165 | 1638.5027 | 1389.0692 | 1135.3573 | 1159.3947 | 1386.9537 | 1814.4347
TOTAL CAPACITY (MW) | 3283 | 3283 | 3283 | 3283 | 3283 | 3283 | 3283 | 3283 | 3283 | 3283 | 3283 | 3283 | 3283 | 3283 | 3283 | 3283 | 3283 | 3283 | 3283 | 3283
CAPACITY FACTOR | 33.28% | 39.99% | 48.64% | 60.07% | 66.48% | 41.75% | 51.09% | 58.98% | 23.01% | 32.55% | 41.52% | 46.28% | 27.13% | 40.37% | 49.91% | 42.31% | 34.58% | 35.32% | 42.25% | 55.27%
CAPACITY FACTOR AVG | 2020-07-13 15:00: 43.54%
Wind - Panhandle
HOUR ENDING | 2020-07-13 15:00 | 2020-07-13 16:00 | 2020-07-13 17:00 | 2020-07-13 18:00 | 2020-07-16 17:00 | 2020-08-12 16:00 | 2020-08-12 17:00 | 2020-08-12 18:00 | 2020-08-13 15:00 | 2020-08-13 16:00 | 2020-08-13 17:00 | 2020-08-13 18:00 | 2020-08-14 16:00 | 2020-08-14 17:00 | 2020-08-14 18:00 | 2020-08-15 18:00 | 2020-08-16 18:00 | 2020-08-28 15:00 | 2020-08-28 16:00 | 2020-08-28 17:00
ERCOT LOAD (MW) | 73700.3171 | 74262.7089 | 74344.0699 | 74030.2321 | 73716.7343 | 74084.5207 | 74110.3813 | 73739.52 | 73649.2339 | 74194.688 | 74364.0981 | 74086.3504 | 74141.0626 | 74375.8462 | 74123.6672 | 73821.4172 | 73516.9196 | 73791.2191 | 74362.5893 | 74150.4663
TOTAL HSL (MW) | 1794.5497 | 1298.2347 | 956.0143 | 1042.9157 | 1108.4279 | 937.8492 | 932.2486 | 900.7206 | 762.6792 | 530.2888 | 460.8433 | 390.6104 | 615.7077 | 1474.862 | 2565.7206 | 1278.7738 | 2318.5219 | 1315.8308 | 1059.8311 | 877.2367
TOTAL CAPACITY (MW) | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406 | 4406
CAPACITY FACTOR | 40.73% | 29.47% | 21.7% | 23.67% | 25.16% | 21.29% | 21.16% | 20.44% | 17.31% | 12.04% | 10.46% | 8.865% | 13.97% | 33.47% | 58.23% | 29.02% | 52.62% | 29.86% | 24.05% | 19.91%
CAPACITY FACTOR AVG | 2020-07-13 15:00: 25.67%
Wind - Other
HOUR ENDING | 2020-07-13 15:00 | 2020-07-13 16:00 | 2020-07-13 17:00 | 2020-07-13 18:00 | 2020-07-16 17:00 | 2020-08-12 16:00 | 2020-08-12 17:00 | 2020-08-12 18:00 | 2020-08-13 15:00 | 2020-08-13 16:00 | 2020-08-13 17:00 | 2020-08-13 18:00 | 2020-08-14 16:00 | 2020-08-14 17:00 | 2020-08-14 18:00 | 2020-08-15 18:00 | 2020-08-16 18:00 | 2020-08-28 15:00 | 2020-08-28 16:00 | 2020-08-28 17:00
ERCOT LOAD (MW) | 73700.3171 | 74262.7089 | 74344.0699 | 74030.2321 | 73716.7343 | 74084.5207 | 74110.3813 | 73739.52 | 73649.2339 | 74194.688 | 74364.0981 | 74086.3504 | 74141.0626 | 74375.8462 | 74123.6672 | 73821.4172 | 73516.9196 | 73791.2191 | 74362.5893 | 74150.4663
TOTAL HSL (MW) | 6679.0258 | 6218.7119 | 6049.3311 | 6181.4212 | 4449.9535 | 3947.0102 | 3996.6083 | 4428.9274 | 4907.5425 | 4775.3645 | 4798.6066 | 4961.05 | 1248.6012 | 1336.9546 | 1750.9125 | 3394.865 | 2850.7107 | 2711.9811 | 2158.4977 | 2016.1844
TOTAL CAPACITY (MW) | 14652 | 14652 | 14652 | 14652 | 14652 | 14737 | 14737 | 14737 | 14737 | 14737 | 14737 | 14737 | 14737 | 14737 | 14737 | 14737 | 14737 | 14737 | 14737 | 14737
CAPACITY FACTOR | 45.58% | 42.44% | 41.29% | 42.19% | 30.37% | 26.78% | 27.12% | 30.05% | 33.3% | 32.4% | 32.56% | 33.66% | 8.473% | 9.072% | 11.88% | 23.04% | 19.34% | 18.4% | 14.65% | 13.68%
CAPACITY FACTOR AVG | 2020-07-13 15:00: 26.81%
Solar
HOUR ENDING | 2020-07-13 15:00 | 2020-07-13 16:00 | 2020-07-13 17:00 | 2020-07-13 18:00 | 2020-07-16 17:00 | 2020-08-12 16:00 | 2020-08-12 17:00 | 2020-08-12 18:00 | 2020-08-13 15:00 | 2020-08-13 16:00 | 2020-08-13 17:00 | 2020-08-13 18:00 | 2020-08-14 16:00 | 2020-08-14 17:00 | 2020-08-14 18:00 | 2020-08-15 18:00 | 2020-08-16 18:00 | 2020-08-28 15:00 | 2020-08-28 16:00 | 2020-08-28 17:00
ERCOT LOAD (MW) | 73700.3171 | 74262.7089 | 74344.0699 | 74030.2321 | 73716.7343 | 74084.5207 | 74110.3813 | 73739.52 | 73649.2339 | 74194.688 | 74364.0981 | 74086.3504 | 74141.0626 | 74375.8462 | 74123.6672 | 73821.4172 | 73516.9196 | 73791.2191 | 74362.5893 | 74150.4663
TOTAL HSL (MW) | 2147.1474 | 2094.2282 | 1861.1767 | 1969.2959 | 2231.6681 | 2207.9945 | 2176.222 | 2071.1833 | 2250.655 | 2229.4252 | 2205.9662 | 2128.5303 | 2051.0365 | 1956.6885 | 1842.0466 | 1670.426 | 1304.3206 | 2186.7068 | 2153.5248 | 2115.56
TOTAL CAPACITY (MW) | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442 | 2442
CAPACITY FACTOR | 87.93% | 85.76% | 76.22% | 80.64% | 91.39% | 90.42% | 89.12% | 84.82% | 92.16% | 91.3% | 90.33% | 87.16% | 83.99% | 80.13% | 75.43% | 68.4% | 53.41% | 89.55% | 88.19% | 86.63%
CAPACITY FACTOR AVG | 2020-07-13 15:00: 83.65%

## S2019
Wind - Coastal
HOUR ENDING | 2019-08-07 17:00 | 2019-08-07 18:00 | 2019-08-09 16:00 | 2019-08-09 17:00 | 2019-08-12 15:00 | 2019-08-12 16:00 | 2019-08-12 17:00 | 2019-08-12 18:00 | 2019-08-12 19:00 | 2019-08-13 15:00 | 2019-08-13 16:00 | 2019-08-13 17:00 | 2019-08-13 18:00 | 2019-08-19 16:00 | 2019-08-19 17:00 | 2019-08-19 18:00 | 2019-08-26 16:00 | 2019-08-26 17:00 | 2019-08-26 18:00 | 2019-08-26 19:00
ERCOT LOAD (MW) | 73178.3726 | 72948.9383 | 73106.0604 | 73212.5878 | 73460.1348 | 74480.983 | 74819.7146 | 74593.3673 | 73657.667 | 73590.734 | 74458.4496 | 74457.8742 | 74175.519 | 73808.4291 | 73895.846 | 73397.0907 | 73967.264 | 74469.1148 | 74295.8997 | 73231.6697
TOTAL HSL (MW) | 2054.6302 | 2011.7933 | 2337.0175 | 2345.1719 | 1693.3739 | 1984.0225 | 2279.3657 | 2290.6546 | 2318.1558 | 1462.9991 | 1729.8413 | 2045.0078 | 2170.6103 | 2095.7475 | 2291.7851 | 2383.9752 | 1952.0602 | 2153.2464 | 2327.6333 | 2405.4997
TOTAL CAPACITY (MW) | 2814 | 2814 | 2814 | 2814 | 2814 | 2814 | 2814 | 2814 | 2814 | 2814 | 2814 | 2814 | 2814 | 2814 | 2814 | 2814 | 2814 | 2814 | 2814 | 2814
CAPACITY FACTOR | 73.01% | 71.49% | 83.05% | 83.34% | 60.18% | 70.51% | 81% | 81.4% | 82.38% | 51.99% | 61.47% | 72.67% | 77.14% | 74.48% | 81.44% | 84.72% | 69.37% | 76.52% | 82.72% | 85.48%
CAPACITY FACTOR AVG | 2019-08-07 17:00: 75.22%
Wind - Panhandle
HOUR ENDING | 2019-08-07 17:00 | 2019-08-07 18:00 | 2019-08-09 16:00 | 2019-08-09 17:00 | 2019-08-12 15:00 | 2019-08-12 16:00 | 2019-08-12 17:00 | 2019-08-12 18:00 | 2019-08-12 19:00 | 2019-08-13 15:00 | 2019-08-13 16:00 | 2019-08-13 17:00 | 2019-08-13 18:00 | 2019-08-19 16:00 | 2019-08-19 17:00 | 2019-08-19 18:00 | 2019-08-26 16:00 | 2019-08-26 17:00 | 2019-08-26 18:00 | 2019-08-26 19:00
ERCOT LOAD (MW) | 73178.3726 | 72948.9383 | 73106.0604 | 73212.5878 | 73460.1348 | 74480.983 | 74819.7146 | 74593.3673 | 73657.667 | 73590.734 | 74458.4496 | 74457.8742 | 74175.519 | 73808.4291 | 73895.846 | 73397.0907 | 73967.264 | 74469.1148 | 74295.8997 | 73231.6697
TOTAL HSL (MW) | 2104.738 | 1868.1101 | 527.3328 | 1404.9229 | 780.5989 | 1173.7582 | 1397.2535 | 1279.1629 | 1039.2147 | 711.7325 | 641.7107 | 616.715 | 598.1934 | 2474.6665 | 2574.9562 | 2238.422 | 1614.7961 | 1708.8898 | 1744.0415 | 2144.8554
TOTAL CAPACITY (MW) | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196
CAPACITY FACTOR | 50.16% | 44.52% | 12.57% | 33.48% | 18.6% | 27.97% | 33.3% | 30.49% | 24.77% | 16.96% | 15.29% | 14.7% | 14.26% | 58.98% | 61.37% | 53.35% | 38.48% | 40.73% | 41.56% | 51.12%
CAPACITY FACTOR AVG | 2019-08-07 17:00: 34.13%
Wind - Other
HOUR ENDING | 2019-08-07 17:00 | 2019-08-07 18:00 | 2019-08-09 16:00 | 2019-08-09 17:00 | 2019-08-12 15:00 | 2019-08-12 16:00 | 2019-08-12 17:00 | 2019-08-12 18:00 | 2019-08-12 19:00 | 2019-08-13 15:00 | 2019-08-13 16:00 | 2019-08-13 17:00 | 2019-08-13 18:00 | 2019-08-19 16:00 | 2019-08-19 17:00 | 2019-08-19 18:00 | 2019-08-26 16:00 | 2019-08-26 17:00 | 2019-08-26 18:00 | 2019-08-26 19:00
ERCOT LOAD (MW) | 73178.3726 | 72948.9383 | 73106.0604 | 73212.5878 | 73460.1348 | 74480.983 | 74819.7146 | 74593.3673 | 73657.667 | 73590.734 | 74458.4496 | 74457.8742 | 74175.519 | 73808.4291 | 73895.846 | 73397.0907 | 73967.264 | 74469.1148 | 74295.8997 | 73231.6697
TOTAL HSL (MW) | 1995.6221 | 2486.9708 | 3353.6479 | 3672.7856 | 2253.0827 | 2403.0002 | 2687.084 | 3188.4875 | 3780.4982 | 1390.037 | 1548.1045 | 1915.937 | 2746.8642 | 2421.2775 | 2678.5764 | 3151.9741 | 3777.2718 | 3647.4535 | 3787.4227 | 4435.4492
TOTAL CAPACITY (MW) | 12178 | 12178 | 12178 | 12178 | 12178 | 12178 | 12178 | 12178 | 12178 | 12178 | 12178 | 12178 | 12178 | 12178 | 12178 | 12178 | 12178 | 12178 | 12178 | 12178
CAPACITY FACTOR | 16.39% | 20.42% | 27.54% | 30.16% | 18.5% | 19.73% | 22.07% | 26.18% | 31.04% | 11.41% | 12.71% | 15.73% | 22.56% | 19.88% | 22% | 25.88% | 31.02% | 29.95% | 31.1% | 36.42%
CAPACITY FACTOR AVG | 2019-08-07 17:00: 23.53%

## S2018
Wind - Coastal
HOUR ENDING | 2018-07-18 16:00 | 2018-07-18 17:00 | 2018-07-18 18:00 | 2018-07-18 19:00 | 2018-07-19 15:00 | 2018-07-19 16:00 | 2018-07-19 17:00 | 2018-07-19 18:00 | 2018-07-19 19:00 | 2018-07-20 16:00 | 2018-07-20 17:00 | 2018-07-20 18:00 | 2018-07-20 19:00 | 2018-07-22 17:00 | 2018-07-22 18:00 | 2018-07-23 15:00 | 2018-07-23 16:00 | 2018-07-23 17:00 | 2018-07-23 18:00 | 2018-07-23 19:00
ERCOT LOAD (MW) | 71621.3992 | 72397.5814 | 72288.903 | 71158.8001 | 71634.9268 | 72900.477 | 73473.0281 | 73297.9315 | 72227.8114 | 72343.4503 | 72956.2825 | 72680.5324 | 71114.8551 | 71290.3831 | 71578.4632 | 72097.6068 | 73058.2543 | 73029.0372 | 72564.6806 | 71123.0041
TOTAL HSL (MW) | 1362.1115 | 1539.4499 | 1752.6924 | 1937.464 | 1162.4837 | 1586.9518 | 1830.1309 | 1833.6757 | 1866.0062 | 1387.9936 | 1585.3323 | 1636.7044 | 1638.4854 | 1178.0875 | 1370.3587 | 615.4285 | 516.2873 | 734.7893 | 1072.762 | 1149.0871
TOTAL CAPACITY (MW) | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613 | 2613
CAPACITY FACTOR | 52.13% | 58.92% | 67.08% | 74.15% | 44.49% | 60.73% | 70.04% | 70.18% | 71.41% | 53.12% | 60.67% | 62.64% | 62.71% | 45.09% | 52.44% | 23.55% | 19.76% | 28.12% | 41.05% | 43.98%
CAPACITY FACTOR AVG | 2018-07-18 16:00: 53.11%
Wind - Panhandle
HOUR ENDING | 2018-07-18 16:00 | 2018-07-18 17:00 | 2018-07-18 18:00 | 2018-07-18 19:00 | 2018-07-19 15:00 | 2018-07-19 16:00 | 2018-07-19 17:00 | 2018-07-19 18:00 | 2018-07-19 19:00 | 2018-07-20 16:00 | 2018-07-20 17:00 | 2018-07-20 18:00 | 2018-07-20 19:00 | 2018-07-22 17:00 | 2018-07-22 18:00 | 2018-07-23 15:00 | 2018-07-23 16:00 | 2018-07-23 17:00 | 2018-07-23 18:00 | 2018-07-23 19:00
ERCOT LOAD (MW) | 71621.3992 | 72397.5814 | 72288.903 | 71158.8001 | 71634.9268 | 72900.477 | 73473.0281 | 73297.9315 | 72227.8114 | 72343.4503 | 72956.2825 | 72680.5324 | 71114.8551 | 71290.3831 | 71578.4632 | 72097.6068 | 73058.2543 | 73029.0372 | 72564.6806 | 71123.0041
TOTAL HSL (MW) | 407.7045 | 381.7208 | 414.4483 | 551.6084 | 1057.3751 | 896.8595 | 811.1399 | 832.6532 | 855.5633 | 1621.1471 | 1428.8781 | 1494.6499 | 1673.7588 | 643.9484 | 577.8055 | 1720.1432 | 1738.9327 | 1682.3485 | 1483.0939 | 1197.5409
TOTAL CAPACITY (MW) | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196 | 4196
CAPACITY FACTOR | 9.717% | 9.097% | 9.877% | 13.15% | 25.2% | 21.37% | 19.33% | 19.84% | 20.39% | 38.64% | 34.05% | 35.62% | 39.89% | 15.35% | 13.77% | 40.99% | 41.44% | 40.09% | 35.35% | 28.54%
CAPACITY FACTOR AVG | 2018-07-18 16:00: 25.59%
Wind - Other
HOUR ENDING | 2018-07-18 16:00 | 2018-07-18 17:00 | 2018-07-18 18:00 | 2018-07-18 19:00 | 2018-07-19 15:00 | 2018-07-19 16:00 | 2018-07-19 17:00 | 2018-07-19 18:00 | 2018-07-19 19:00 | 2018-07-20 16:00 | 2018-07-20 17:00 | 2018-07-20 18:00 | 2018-07-20 19:00 | 2018-07-22 17:00 | 2018-07-22 18:00 | 2018-07-23 15:00 | 2018-07-23 16:00 | 2018-07-23 17:00 | 2018-07-23 18:00 | 2018-07-23 19:00
ERCOT LOAD (MW) | 71621.3992 | 72397.5814 | 72288.903 | 71158.8001 | 71634.9268 | 72900.477 | 73473.0281 | 73297.9315 | 72227.8114 | 72343.4503 | 72956.2825 | 72680.5324 | 71114.8551 | 71290.3831 | 71578.4632 | 72097.6068 | 73058.2543 | 73029.0372 | 72564.6806 | 71123.0041
TOTAL HSL (MW) | 952.157 | 930.4222 | 1071.7156 | 1321.8174 | 1412.378 | 1322.3462 | 1311.2727 | 1516.8177 | 1769.6352 | 1825.4012 | 2058.7884 | 2501.0456 | 2850.3944 | 960.2856 | 1004.7067 | 2515.7824 | 3089.5915 | 3822.6581 | 4636.5836 | 4913.1508
TOTAL CAPACITY (MW) | 11487 | 11487 | 11487 | 11487 | 11487 | 11487 | 11487 | 11487 | 11487 | 11487 | 11487 | 11487 | 11487 | 11487 | 11487 | 11487 | 11487 | 11487 | 11487 | 11487
CAPACITY FACTOR | 8.289% | 8.1% | 9.33% | 11.51% | 12.3% | 11.51% | 11.42% | 13.2% | 15.41% | 15.89% | 17.92% | 21.77% | 24.81% | 8.36% | 8.746% | 21.9% | 26.9% | 33.28% | 40.36% | 42.77%
CAPACITY FACTOR AVG | 2018-07-18 16:00: 18.19%

## S2017
Wind - Coastal
HOUR ENDING | 2017-07-20 15:00 | 2017-07-20 16:00 | 2017-07-20 17:00 | 2017-07-20 18:00 | 2017-07-21 16:00 | 2017-07-21 17:00 | 2017-07-21 18:00 | 2017-07-25 17:00 | 2017-07-26 17:00 | 2017-07-27 16:00 | 2017-07-27 17:00 | 2017-07-27 18:00 | 2017-07-28 15:00 | 2017-07-28 16:00 | 2017-07-28 17:00 | 2017-07-28 18:00 | 2017-07-28 19:00 | 2017-07-29 17:00 | 2017-07-29 18:00 | 2017-08-16 17:00
ERCOT LOAD (MW) | 67782.995 | 68516.691 | 68789.5079 | 68571.6988 | 68310.8815 | 68421.951 | 67913.2579 | 68019.4469 | 67897.0041 | 68506.9823 | 68648.0851 | 68366.859 | 68304.7192 | 69024.7379 | 69512.1546 | 69453.5521 | 68319.3518 | 68379.412 | 67997.5941 | 67889.1391
TOTAL HSL (MW) | 763.3958 | 1214.0172 | 1458.4846 | 1505.8473 | 1464.2991 | 1550.4135 | 1576.1123 | 1813.5364 | 448.4442 | 1331.7581 | 1360.8761 | 1336.7929 | 829.2667 | 1126.9031 | 1453.2043 | 1605.8187 | 1627.2886 | 1321.494 | 1433.7207 | 1894.4356
TOTAL CAPACITY (MW) | 2136 | 2136 | 2136 | 2136 | 2136 | 2136 | 2136 | 2136 | 2136 | 2136 | 2136 | 2136 | 2136 | 2136 | 2136 | 2136 | 2136 | 2136 | 2136 | 2136
CAPACITY FACTOR | 35.74% | 56.84% | 68.28% | 70.5% | 68.55% | 72.58% | 73.79% | 84.9% | 20.99% | 62.35% | 63.71% | 62.58% | 38.82% | 52.76% | 68.03% | 75.18% | 76.18% | 61.87% | 67.12% | 88.69%
CAPACITY FACTOR AVG | 2017-07-20 15:00: 63.47%
Wind - Panhandle
HOUR ENDING | 2017-07-20 15:00 | 2017-07-20 16:00 | 2017-07-20 17:00 | 2017-07-20 18:00 | 2017-07-21 16:00 | 2017-07-21 17:00 | 2017-07-21 18:00 | 2017-07-25 17:00 | 2017-07-26 17:00 | 2017-07-27 16:00 | 2017-07-27 17:00 | 2017-07-27 18:00 | 2017-07-28 15:00 | 2017-07-28 16:00 | 2017-07-28 17:00 | 2017-07-28 18:00 | 2017-07-28 19:00 | 2017-07-29 17:00 | 2017-07-29 18:00 | 2017-08-16 17:00
ERCOT LOAD (MW) | 67782.995 | 68516.691 | 68789.5079 | 68571.6988 | 68310.8815 | 68421.951 | 67913.2579 | 68019.4469 | 67897.0041 | 68506.9823 | 68648.0851 | 68366.859 | 68304.7192 | 69024.7379 | 69512.1546 | 69453.5521 | 68319.3518 | 68379.412 | 67997.5941 | 67889.1391
TOTAL HSL (MW) | 1732.6906 | 1609.6222 | 1357.4777 | 1160.3768 | 1620.2364 | 1585.0988 | 1582.7281 | 2185.79 | 1392.0728 | 107.599 | 296.5316 | 462.8245 | 194.6595 | 218.3271 | 270.9931 | 597.6471 | 694.6185 | 1200.9731 | 1268.5307 | 176.6181
TOTAL CAPACITY (MW) | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022 | 4022
CAPACITY FACTOR | 43.08% | 40.02% | 33.75% | 28.85% | 40.28% | 39.41% | 39.35% | 54.35% | 34.61% | 2.675% | 7.373% | 11.51% | 4.84% | 5.428% | 6.738% | 14.86% | 17.27% | 29.86% | 31.54% | 4.391%
CAPACITY FACTOR AVG | 2017-07-20 15:00: 24.51%
Wind - Other
HOUR ENDING | 2017-07-20 15:00 | 2017-07-20 16:00 | 2017-07-20 17:00 | 2017-07-20 18:00 | 2017-07-21 16:00 | 2017-07-21 17:00 | 2017-07-21 18:00 | 2017-07-25 17:00 | 2017-07-26 17:00 | 2017-07-27 16:00 | 2017-07-27 17:00 | 2017-07-27 18:00 | 2017-07-28 15:00 | 2017-07-28 16:00 | 2017-07-28 17:00 | 2017-07-28 18:00 | 2017-07-28 19:00 | 2017-07-29 17:00 | 2017-07-29 18:00 | 2017-08-16 17:00
ERCOT LOAD (MW) | 67782.995 | 68516.691 | 68789.5079 | 68571.6988 | 68310.8815 | 68421.951 | 67913.2579 | 68019.4469 | 67897.0041 | 68506.9823 | 68648.0851 | 68366.859 | 68304.7192 | 69024.7379 | 69512.1546 | 69453.5521 | 68319.3518 | 68379.412 | 67997.5941 | 67889.1391
TOTAL HSL (MW) | 2071.7149 | 2014.6567 | 2057.9984 | 2314.1665 | 3279.3562 | 3574.0356 | 3798.6958 | 3455.3375 | 3646.8686 | 1567.4351 | 1842.0993 | 2290.8265 | 1255.2951 | 1183.7551 | 1147.1347 | 1268.3194 | 1478.4663 | 1514.7649 | 1785.4361 | 2262.959
TOTAL CAPACITY (MW) | 10035 | 10035 | 10035 | 10035 | 10035 | 10035 | 10035 | 10035 | 10035 | 10035 | 10035 | 10035 | 10035 | 10035 | 10035 | 10035 | 10035 | 10035 | 10035 | 10035
CAPACITY FACTOR | 20.64% | 20.08% | 20.51% | 23.06% | 32.68% | 35.62% | 37.85% | 34.43% | 36.34% | 15.62% | 18.36% | 22.83% | 12.51% | 11.8% | 11.43% | 12.64% | 14.73% | 15.09% | 17.79% | 22.55%
CAPACITY FACTOR AVG | 2017-07-20 15:00: 21.83%

## S2016
Wind - Coastal
HOUR ENDING | 2016-08-08 15:00 | 2016-08-08 16:00 | 2016-08-08 17:00 | 2016-08-08 18:00 | 2016-08-09 16:00 | 2016-08-09 17:00 | 2016-08-09 18:00 | 2016-08-10 15:00 | 2016-08-10 16:00 | 2016-08-10 17:00 | 2016-08-10 18:00 | 2016-08-10 19:00 | 2016-08-11 15:00 | 2016-08-11 16:00 | 2016-08-11 17:00 | 2016-08-11 18:00 | 2016-08-11 19:00 | 2016-08-12 15:00 | 2016-08-12 16:00 | 2016-08-12 17:00
ERCOT LOAD (MW) | 69022.2612 | 69983.9874 | 70110.2395 | 69650.4101 | 69586.0012 | 69866.0056 | 69369.5033 | 69755.5754 | 70477.6939 | 70530.0327 | 70141.4827 | 68927.5501 | 70248.4181 | 71009.4303 | 71109.9002 | 70770.6422 | 69429.7308 | 69868.1141 | 70292.1398 | 69216.4551
TOTAL HSL (MW) | 708.8782 | 1105.4623 | 1278.6063 | 1428.8631 | 989.6787 | 1285.1816 | 1532.553 | 1334.8749 | 1529.2066 | 1569.6706 | 1514.0594 | 1443.5381 | 1198.3727 | 1420.87 | 1608.2879 | 1644.8469 | 1643.6271 | 1020.7814 | 1312.6854 | 1513.0992
TOTAL CAPACITY (MW) | 1839 | 1839 | 1839 | 1839 | 1839 | 1839 | 1839 | 1839 | 1839 | 1839 | 1839 | 1839 | 1839 | 1839 | 1839 | 1839 | 1839 | 1839 | 1839 | 1839
CAPACITY FACTOR | 38.55% | 60.11% | 69.53% | 77.7% | 53.82% | 69.88% | 83.34% | 72.59% | 83.15% | 85.35% | 82.33% | 78.5% | 65.16% | 77.26% | 87.45% | 89.44% | 89.38% | 55.51% | 71.38% | 82.28%
CAPACITY FACTOR AVG | 2016-08-08 15:00: 73.64%
Wind - Panhandle
HOUR ENDING | 2016-08-08 15:00 | 2016-08-08 16:00 | 2016-08-08 17:00 | 2016-08-08 18:00 | 2016-08-09 16:00 | 2016-08-09 17:00 | 2016-08-09 18:00 | 2016-08-10 15:00 | 2016-08-10 16:00 | 2016-08-10 17:00 | 2016-08-10 18:00 | 2016-08-10 19:00 | 2016-08-11 15:00 | 2016-08-11 16:00 | 2016-08-11 17:00 | 2016-08-11 18:00 | 2016-08-11 19:00 | 2016-08-12 15:00 | 2016-08-12 16:00 | 2016-08-12 17:00
ERCOT LOAD (MW) | 69022.2612 | 69983.9874 | 70110.2395 | 69650.4101 | 69586.0012 | 69866.0056 | 69369.5033 | 69755.5754 | 70477.6939 | 70530.0327 | 70141.4827 | 68927.5501 | 70248.4181 | 71009.4303 | 71109.9002 | 70770.6422 | 69429.7308 | 69868.1141 | 70292.1398 | 69216.4551
TOTAL HSL (MW) | 1426.6951 | 1534.3244 | 1472.4584 | 2078.8741 | 862.0032 | 732.8527 | 953.6064 | 1398.8751 | 1261.9743 | 1386.9469 | 1676.5241 | 1920.737 | 1032.0717 | 1129.4703 | 1270.5932 | 1457.4517 | 1413.374 | 1698.8366 | 1598.3412 | 1497.2787
TOTAL CAPACITY (MW) | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870 | 2870
CAPACITY FACTOR | 49.71% | 53.46% | 51.31% | 72.43% | 30.03% | 25.53% | 33.23% | 48.74% | 43.97% | 48.33% | 58.42% | 66.92% | 35.96% | 39.35% | 44.27% | 50.78% | 49.25% | 59.19% | 55.69% | 52.17%
CAPACITY FACTOR AVG | 2016-08-08 15:00: 48.44%
Wind - Other
HOUR ENDING | 2016-08-08 15:00 | 2016-08-08 16:00 | 2016-08-08 17:00 | 2016-08-08 18:00 | 2016-08-09 16:00 | 2016-08-09 17:00 | 2016-08-09 18:00 | 2016-08-10 15:00 | 2016-08-10 16:00 | 2016-08-10 17:00 | 2016-08-10 18:00 | 2016-08-10 19:00 | 2016-08-11 15:00 | 2016-08-11 16:00 | 2016-08-11 17:00 | 2016-08-11 18:00 | 2016-08-11 19:00 | 2016-08-12 15:00 | 2016-08-12 16:00 | 2016-08-12 17:00
ERCOT LOAD (MW) | 69022.2612 | 69983.9874 | 70110.2395 | 69650.4101 | 69586.0012 | 69866.0056 | 69369.5033 | 69755.5754 | 70477.6939 | 70530.0327 | 70141.4827 | 68927.5501 | 70248.4181 | 71009.4303 | 71109.9002 | 70770.6422 | 69429.7308 | 69868.1141 | 70292.1398 | 69216.4551
TOTAL HSL (MW) | 1250.8118 | 1465.8286 | 1742.9937 | 1764.6733 | 1778.977 | 2053.7465 | 2356.0928 | 1290.1052 | 1992.5726 | 1956.4344 | 1496.6105 | 1550.3464 | 801.4201 | 1017.486 | 1118.9471 | 1612.2199 | 2252.9607 | 1869.605 | 1890.8125 | 2000.4495
TOTAL CAPACITY (MW) | 8562 | 8562 | 8562 | 8562 | 8562 | 8562 | 8562 | 8562 | 8562 | 8562 | 8562 | 8562 | 8562 | 8562 | 8562 | 8562 | 8562 | 8562 | 8562 | 8562
CAPACITY FACTOR | 14.61% | 17.12% | 20.36% | 20.61% | 20.78% | 23.99% | 27.52% | 15.07% | 23.27% | 22.85% | 17.48% | 18.11% | 9.36% | 11.88% | 13.07% | 18.83% | 26.31% | 21.84% | 22.08% | 23.36%
CAPACITY FACTOR AVG | 2016-08-08 15:00: 19.42%

## S2015
Wind - Coastal
HOUR ENDING | 2015-08-05 16:00 | 2015-08-05 17:00 | 2015-08-05 18:00 | 2015-08-06 16:00 | 2015-08-06 17:00 | 2015-08-06 18:00 | 2015-08-07 16:00 | 2015-08-07 17:00 | 2015-08-07 18:00 | 2015-08-10 15:00 | 2015-08-10 16:00 | 2015-08-10 17:00 | 2015-08-10 18:00 | 2015-08-10 19:00 | 2015-08-11 15:00 | 2015-08-11 16:00 | 2015-08-11 17:00 | 2015-08-11 18:00 | 2015-08-12 16:00 | 2015-08-12 17:00
ERCOT LOAD (MW) | 68302.4652 | 68682.7965 | 68178.3262 | 68667.2668 | 68978.1566 | 68594.3844 | 68332.3817 | 68730.9935 | 68154.226 | 68005.0431 | 69421.378 | 69876.7222 | 69593.1954 | 68228.5182 | 68570.9307 | 69775.0326 | 69527.163 | 68092.786 | 68189.5235 | 68421.9942
TOTAL HSL (MW) | 1259.3585 | 1373.5117 | 1457.2326 | 1334.4018 | 1431.8136 | 1437.476 | 1278.0877 | 1390.6422 | 1443.2198 | 453.8836 | 645.6445 | 746.7736 | 708.6426 | 687.9425 | 260.7752 | 336.7964 | 419.0893 | 551.0259 | 253.3285 | 372.79
TOTAL CAPACITY (MW) | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674 | 1674
CAPACITY FACTOR | 75.23% | 82.05% | 87.05% | 79.71% | 85.53% | 85.87% | 76.35% | 83.07% | 86.21% | 27.11% | 38.57% | 44.61% | 42.33% | 41.1% | 15.58% | 20.12% | 25.04% | 32.92% | 15.13% | 22.27%
CAPACITY FACTOR AVG | 2015-08-05 16:00: 53.29%
Wind - Panhandle
HOUR ENDING | 2015-08-05 16:00 | 2015-08-05 17:00 | 2015-08-05 18:00 | 2015-08-06 16:00 | 2015-08-06 17:00 | 2015-08-06 18:00 | 2015-08-07 16:00 | 2015-08-07 17:00 | 2015-08-07 18:00 | 2015-08-10 15:00 | 2015-08-10 16:00 | 2015-08-10 17:00 | 2015-08-10 18:00 | 2015-08-10 19:00 | 2015-08-11 15:00 | 2015-08-11 16:00 | 2015-08-11 17:00 | 2015-08-11 18:00 | 2015-08-12 16:00 | 2015-08-12 17:00
ERCOT LOAD (MW) | 68302.4652 | 68682.7965 | 68178.3262 | 68667.2668 | 68978.1566 | 68594.3844 | 68332.3817 | 68730.9935 | 68154.226 | 68005.0431 | 69421.378 | 69876.7222 | 69593.1954 | 68228.5182 | 68570.9307 | 69775.0326 | 69527.163 | 68092.786 | 68189.5235 | 68421.9942
TOTAL HSL (MW) | 83.1976 | 65.2757 | 51.4001 | 350.4521 | 288.5093 | 308.9597 | 554.7497 | 641.1749 | 830.7837 | 430.3774 | 490.6404 | 427.686 | 345.059 | 272.1423 | 150.7178 | 132.1723 | 152.461 | 170.667 | 187.3845 | 205.23
TOTAL CAPACITY (MW) | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776 | 1776
CAPACITY FACTOR | 4.685% | 3.675% | 2.894% | 19.73% | 16.24% | 17.4% | 31.24% | 36.1% | 46.78% | 24.23% | 27.63% | 24.08% | 19.43% | 15.32% | 8.486% | 7.442% | 8.585% | 9.61% | 10.55% | 11.56%
CAPACITY FACTOR AVG | 2015-08-05 16:00: 17.28%
Wind - Other
HOUR ENDING | 2015-08-05 16:00 | 2015-08-05 17:00 | 2015-08-05 18:00 | 2015-08-06 16:00 | 2015-08-06 17:00 | 2015-08-06 18:00 | 2015-08-07 16:00 | 2015-08-07 17:00 | 2015-08-07 18:00 | 2015-08-10 15:00 | 2015-08-10 16:00 | 2015-08-10 17:00 | 2015-08-10 18:00 | 2015-08-10 19:00 | 2015-08-11 15:00 | 2015-08-11 16:00 | 2015-08-11 17:00 | 2015-08-11 18:00 | 2015-08-12 16:00 | 2015-08-12 17:00
ERCOT LOAD (MW) | 68302.4652 | 68682.7965 | 68178.3262 | 68667.2668 | 68978.1566 | 68594.3844 | 68332.3817 | 68730.9935 | 68154.226 | 68005.0431 | 69421.378 | 69876.7222 | 69593.1954 | 68228.5182 | 68570.9307 | 69775.0326 | 69527.163 | 68092.786 | 68189.5235 | 68421.9942
TOTAL HSL (MW) | 583.8425 | 523.1831 | 605.7031 | 1011.4504 | 952.2441 | 900.6223 | 1297.7815 | 1456.3674 | 1638.281 | 253.1073 | 464.7524 | 588.5213 | 758.4947 | 1013.0623 | 245.8424 | 299.0687 | 390.3682 | 473.3641 | 477.8601 | 714.5113
TOTAL CAPACITY (MW) | 7116 | 7116 | 7116 | 7116 | 7116 | 7116 | 7116 | 7116 | 7116 | 7116 | 7116 | 7116 | 7116 | 7116 | 7116 | 7116 | 7116 | 7116 | 7116 | 7116
CAPACITY FACTOR | 8.205% | 7.352% | 8.512% | 14.21% | 13.38% | 12.66% | 18.24% | 20.47% | 23.02% | 3.557% | 6.531% | 8.27% | 10.66% | 14.24% | 3.455% | 4.203% | 5.486% | 6.652% | 6.715% | 10.04%
CAPACITY FACTOR AVG | 2015-08-05 16:00: 10.29%

## S2014
Wind - Coastal
HOUR ENDING | 2014-08-07 17:00 | 2014-08-08 15:00 | 2014-08-08 16:00 | 2014-08-08 17:00 | 2014-08-08 18:00 | 2014-08-15 17:00 | 2014-08-21 16:00 | 2014-08-21 17:00 | 2014-08-21 18:00 | 2014-08-22 16:00 | 2014-08-22 17:00 | 2014-08-22 18:00 | 2014-08-25 15:00 | 2014-08-25 16:00 | 2014-08-25 17:00 | 2014-08-25 18:00 | 2014-08-25 19:00 | 2014-08-26 16:00 | 2014-08-26 17:00 | 2014-09-10 17:00
ERCOT LOAD (MW) | 64475.11 | 64614.096 | 65530.9913 | 65506.2924 | 64440.1206 | 64695.8592 | 65228.5773 | 65477.3775 | 64640.5794 | 65184.2953 | 65319.9789 | 64637.6218 | 64751.8241 | 65798.9397 | 66459.6733 | 66372.945 | 65055.9952 | 64921.5628 | 65372.3775 | 64479.8655
TOTAL HSL (MW) | 1426.2841 | 1050.695 | 1229.8797 | 1333.7093 | 939.9228 | 787.9549 | 1203.3274 | 1272.3838 | 1440.4376 | 1170.0272 | 1303.9541 | 1358.9458 | 445.5691 | 590.2608 | 679.8212 | 764.3945 | 737.3296 | 561.0627 | 749.397 | 1086.4261
TOTAL CAPACITY (MW) | 1673 | 1673 | 1673 | 1673 | 1673 | 1673 | 1673 | 1673 | 1673 | 1673 | 1673 | 1673 | 1673 | 1673 | 1673 | 1673 | 1673 | 1673 | 1673 | 1673
CAPACITY FACTOR | 85.25% | 62.8% | 73.51% | 79.72% | 56.18% | 47.1% | 71.93% | 76.05% | 86.1% | 69.94% | 77.94% | 81.23% | 26.63% | 35.28% | 40.63% | 45.69% | 44.07% | 33.54% | 44.79% | 64.94%
CAPACITY FACTOR AVG | 2014-08-07 17:00: 60.17%
Wind - Panhandle
HOUR ENDING | 2014-08-07 17:00 | 2014-08-08 15:00 | 2014-08-08 16:00 | 2014-08-08 17:00 | 2014-08-08 18:00 | 2014-08-15 17:00 | 2014-08-21 16:00 | 2014-08-21 17:00 | 2014-08-21 18:00 | 2014-08-22 16:00 | 2014-08-22 17:00 | 2014-08-22 18:00 | 2014-08-25 15:00 | 2014-08-25 16:00 | 2014-08-25 17:00 | 2014-08-25 18:00 | 2014-08-25 19:00 | 2014-08-26 16:00 | 2014-08-26 17:00 | 2014-09-10 17:00
ERCOT LOAD (MW) | 64475.11 | 64614.096 | 65530.9913 | 65506.2924 | 64440.1206 | 64695.8592 | 65228.5773 | 65477.3775 | 64640.5794 | 65184.2953 | 65319.9789 | 64637.6218 | 64751.8241 | 65798.9397 | 66459.6733 | 66372.945 | 65055.9952 | 64921.5628 | 65372.3775 | 64479.8655
TOTAL HSL (MW) | 12.4478 | 3.7318 | 5.2058 | 30.8453 | 59.1028 | 60.3678 | 67.8251 | 63.7174 | 71.5143 | 58.7657 | 67.2482 | 67.3358 | 55.7457 | 40.0532 | 34.5596 | 33.1852 | 22.0227 | 13.6277 | 15.7288 | 93.5102
TOTAL CAPACITY (MW) | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207
CAPACITY FACTOR | 6.013% | 1.803% | 2.515% | 14.9% | 28.55% | 29.16% | 32.77% | 30.78% | 34.55% | 28.39% | 32.49% | 32.53% | 26.93% | 19.35% | 16.7% | 16.03% | 10.64% | 6.583% | 7.598% | 45.17%
CAPACITY FACTOR AVG | 2014-08-07 17:00: 21.17%
Wind - Other
HOUR ENDING | 2014-08-07 17:00 | 2014-08-08 15:00 | 2014-08-08 16:00 | 2014-08-08 17:00 | 2014-08-08 18:00 | 2014-08-15 17:00 | 2014-08-21 16:00 | 2014-08-21 17:00 | 2014-08-21 18:00 | 2014-08-22 16:00 | 2014-08-22 17:00 | 2014-08-22 18:00 | 2014-08-25 15:00 | 2014-08-25 16:00 | 2014-08-25 17:00 | 2014-08-25 18:00 | 2014-08-25 19:00 | 2014-08-26 16:00 | 2014-08-26 17:00 | 2014-09-10 17:00
ERCOT LOAD (MW) | 64475.11 | 64614.096 | 65530.9913 | 65506.2924 | 64440.1206 | 64695.8592 | 65228.5773 | 65477.3775 | 64640.5794 | 65184.2953 | 65319.9789 | 64637.6218 | 64751.8241 | 65798.9397 | 66459.6733 | 66372.945 | 65055.9952 | 64921.5628 | 65372.3775 | 64479.8655
TOTAL HSL (MW) | 829.2071 | 715.1916 | 980.645 | 984.653 | 1167.3038 | 589.2141 | 2136.821 | 2169.1089 | 2415.2339 | 2247.3731 | 2354.9622 | 2677.6817 | 278.0555 | 329.6358 | 497.9059 | 628.0426 | 901.0713 | 285.6367 | 594.0502 | 772.1555
TOTAL CAPACITY (MW) | 6318 | 6318 | 6318 | 6318 | 6318 | 6318 | 6318 | 6318 | 6318 | 6318 | 6318 | 6318 | 6318 | 6318 | 6318 | 6318 | 6318 | 6318 | 6318 | 6316
CAPACITY FACTOR | 13.12% | 11.32% | 15.52% | 15.58% | 18.48% | 9.326% | 33.82% | 34.33% | 38.23% | 35.57% | 37.27% | 42.38% | 4.401% | 5.217% | 7.881% | 9.941% | 14.26% | 4.521% | 9.403% | 12.23%
CAPACITY FACTOR AVG | 2014-08-07 17:00: 18.64%

## S2013
Wind - Coastal
HOUR ENDING | 2013-07-31 17:00 | 2013-08-01 16:00 | 2013-08-01 17:00 | 2013-08-01 18:00 | 2013-08-05 16:00 | 2013-08-05 17:00 | 2013-08-05 18:00 | 2013-08-06 16:00 | 2013-08-06 17:00 | 2013-08-06 18:00 | 2013-08-07 15:00 | 2013-08-07 16:00 | 2013-08-07 17:00 | 2013-08-07 18:00 | 2013-08-07 19:00 | 2013-08-08 16:00 | 2013-08-08 17:00 | 2013-08-08 18:00 | 2013-08-09 17:00 | 2013-08-30 17:00
ERCOT LOAD (MW)
TOTAL HSL (MW) | 735.25 | 463.2083 | 577.6833 | 660.9417 | 1176.875 | 1190.6833 | 1204.2083 | 1169.975 | 1193.75 | 1211.525 | 989.55 | 1093.525 | 1154.5167 | 1196.0583 | 1196.6167 | 979.6333 | 1123.5583 | 1208.825 | 576.925 | 351.825
TOTAL CAPACITY (MW) | 1274 | 1274 | 1274 | 1274 | 1274 | 1274 | 1274 | 1274 | 1274 | 1274 | 1274 | 1274 | 1274 | 1274 | 1274 | 1274 | 1274 | 1274 | 1274 | 1274
CAPACITY FACTOR | 57.71% | 36.36% | 45.34% | 51.88% | 92.38% | 93.46% | 94.52% | 91.83% | 93.7% | 95.1% | 77.67% | 85.83% | 90.62% | 93.88% | 93.93% | 76.89% | 88.19% | 94.88% | 45.28% | 27.62%
CAPACITY FACTOR AVG | 2013-07-31 17:00: 76.35%
Wind - Panhandle
HOUR ENDING | 2013-07-31 17:00 | 2013-08-01 16:00 | 2013-08-01 17:00 | 2013-08-01 18:00 | 2013-08-05 16:00 | 2013-08-05 17:00 | 2013-08-05 18:00 | 2013-08-06 16:00 | 2013-08-06 17:00 | 2013-08-06 18:00 | 2013-08-07 15:00 | 2013-08-07 16:00 | 2013-08-07 17:00 | 2013-08-07 18:00 | 2013-08-07 19:00 | 2013-08-08 16:00 | 2013-08-08 17:00 | 2013-08-08 18:00 | 2013-08-09 17:00 | 2013-08-30 17:00
ERCOT LOAD (MW)
TOTAL HSL (MW) | 14.6 | 10.8667 | 15.0667 | 10.5917 | 55.6 | 47.8083 | 54.05 | 19.425 | 17.8 | 16.225 | 20.3583 | 13.3333 | 17.0333 | 19.9917 | 13.025 | 13.075 | 11.05 | 48.525 | 25.9667 | 7.9667
TOTAL CAPACITY (MW) | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207 | 207
CAPACITY FACTOR | 7.053% | 5.25% | 7.279% | 5.117% | 26.86% | 23.1% | 26.11% | 9.384% | 8.599% | 7.838% | 9.835% | 6.441% | 8.229% | 9.658% | 6.292% | 6.316% | 5.338% | 23.44% | 12.54% | 3.849%
CAPACITY FACTOR AVG | 2013-07-31 17:00: 10.93%
Wind - Other
HOUR ENDING | 2013-07-31 17:00 | 2013-08-01 16:00 | 2013-08-01 17:00 | 2013-08-01 18:00 | 2013-08-05 16:00 | 2013-08-05 17:00 | 2013-08-05 18:00 | 2013-08-06 16:00 | 2013-08-06 17:00 | 2013-08-06 18:00 | 2013-08-07 15:00 | 2013-08-07 16:00 | 2013-08-07 17:00 | 2013-08-07 18:00 | 2013-08-07 19:00 | 2013-08-08 16:00 | 2013-08-08 17:00 | 2013-08-08 18:00 | 2013-08-09 17:00 | 2013-08-30 17:00
ERCOT LOAD (MW)
TOTAL HSL (MW) | 209.05 | 128.1 | 289.1833 | 467.0583 | 1244.0333 | 1186.2333 | 1172.2917 | 736.4917 | 771.15 | 875.1417 | 342.3 | 526.8417 | 613.1833 | 943.025 | 1462.6417 | 909.6667 | 1490.4833 | 1519.9417 | 283.4917 | 156.5917
TOTAL CAPACITY (MW) | 6099 | 6099 | 6099 | 6099 | 6099 | 6099 | 6099 | 6099 | 6099 | 6099 | 6099 | 6099 | 6099 | 6099 | 6099 | 6099 | 6099 | 6099 | 6099 | 6099
CAPACITY FACTOR | 3.428% | 2.1% | 4.741% | 7.658% | 20.4% | 19.45% | 19.22% | 12.08% | 12.64% | 14.35% | 5.612% | 8.638% | 10.05% | 15.46% | 23.98% | 14.92% | 24.44% | 24.92% | 4.648% | 2.567%
CAPACITY FACTOR AVG | 2013-07-31 17:00: 12.57%