| NPRR Number | 1138 | NPRR Title | Communication of Capability and Status of Online IRRs at 0 MW Output |
| --- | --- | --- | --- |
| Impact Analysis Date |  | December 13, 2022 |  |
| Estimated Cost/Budgetary Impact |  | Less than $25k, which will be absorbed by the Operations & Maintenance (O&M) budgets of affected department. See Comments. |  |
| Estimated Time Requirements |  | No project required. This Nodal Protocol Revision Request (NPRR) can take effect following Public Utility Commission of Texas (PUCT) approval. |  |
| ERCOT Staffing Impacts (across all areas) |  | Ongoing Requirements: No impacts to ERCOT staffing. |  |
| ERCOT Computer System Impacts |  | No impacts to ERCOT computer systems. |  |
| ERCOT Business Function Impacts |  | No impacts to ERCOT business functions. |  |
| Grid Operations & Practices Impacts |  | No impacts to ERCOT grid operations and practices. |  |

Evaluation of Interim Solutions or Alternatives for a More Efficient Implementation

None offered.

Comments

If approved, there will be a temporary increase in O&M labor to process updates to reactive capability curves using the normal model processing timeline.