## Sheet1
Generator Unit Name | Fuel Type | Anticipated Emissions Category Resulting in Output Limitation (e.g., SOx, NOx, Hg, waste water), | Resource Owner Name | County | Zip Code | Unit Code | Winter Net Maximum Sustainable Rating (MW) | Winter Net Minimum Sustainable Rating (MW)
Bosque Energy Center Block 1 | Natural Gas | Nox, CO, NH3 | Calpine Corporation | Bosque | 76634 | BOSQUESW_CC1 | 253.75 | 120.7
Bosque Energy Center Block 2 | Natural Gas | Nox, CO, NH3 | Calpine Corporation | Bosque | 76634 | BOSQUESW_CC2 | 567.59 | 110.3
Freestone Energy Center Block 1 (Fairfield, TX) | Natural Gas | Nox, CO | Calpine Corporation | Freestone | 75840 | FREC_CC1 | 501.25 | 130.37
Freestone Energy Center Block 2 (Fairfield, TX) | Natural Gas | Nox, CO | Calpine Corporation | Freestone | 75840 | FREC_CC2 | 501.89 | 125.3
Guadalupe Energy Center Block 1 | Natural Gas | Nox, CO | Calpine Corporation | Guadalupe | 78130 | GUADG_G1 | 516 | 92
Guadalupe Energy Center Block 2 | Natural Gas | Nox, CO | Calpine Corporation | Guadalupe | 78130 | GUADG_G2 | 537 | 92
Baytown Energy Center | Natural Gas | Nox, CO, NH3 | Calpine Corporation | Chambers | 77520 | BTE_CC1 | 650.61 | 1
Channel Energy Center | Natural Gas | Nox, CO, NH3 | Calpine Corporation | Harris | 77506 | CHE_CC1 | 693 | 1
Deer Park Energy Center | Natural Gas | Nox, CO, NH3 | Calpine Corporation | Harris | 77536 | DDPEC_CC1 | 1316 | 319.4
Pasadena Power Plant II | Natural Gas | Nox, CO, NH3 | Calpine Corporation | Harris | 77506 | PASGEN | 522 | 179
Pasadena Power Plant I | Natural Gas | Nox, CO, NH3 | Calpine Corporation | Harris | 77506 | CALPINE COGEN | 189.6 | 37.1
Jack A. Fusco Energy Center | Natural Gas | Nox, CO, NH3 | Calpine Corporation | Fort Bend | 77469 | BVE_CC1 | 606 | 148
Texas City Power Plant | Natural Gas | Nox, CO | Calpine Corporation | Galveston | 77590 | TXCTY_CC1 | 438.63 | 60.55
Corpus Christi Energy Center | Natural Gas | Nox, CO | Calpine Corporation | Nueces | 78407 | CCEC_C1 | 422 | 6
Hidalgo Energy Center | Natural Gas | Nox, CO | Calpine Corporation | Hidalgo | 78541 | DUKE_CC1 | 475 | 141
Magic Valley Generation Station | Natural Gas | Nox, CO, NH3 | Calpine Corporation | Hidalgo | 78539 | NEDIN_C1 | 695.01 | 203.78
Limestone 2 | Coal | Opacity | NRG Energy Services | Limestone | 75846 | LEG_2 | 768 | 363
Limestone 1 | Coal | Opacity | NRG Energy Services | Limestone | 75846 | LEG_1 | 793 | 363