APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Monday, November 7, 2022 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Bowen, Kenneth | CPS Energy |  |
| Boyd, Phillip | City of Lewisville |  |
| Burke, Tom | RWE Renewables (RWE) | Alt. Rep. for Jennifer Ayers-Brasher |
| Cochran, Seth | DC Energy |  |
| DeLeon, Amanda | Tenaska Power Services (Tenaska) | Alt. Rep. for Adam Cochran |
| Ebrahimian, Reza | Austin Energy |  |
| Gerety, Chris | Texas-New Mexico Power (TNMP) |  |
| Haley, Ian | Luminant Generation (Luminant) |  |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) |  |
| Lee, Billy | Garland Power and Light (GP&L) |  |
| Lutrick, Chris | Denton Municipal Electric (DME) |  |
| Marr, Daniel | Lower Colorado River Authority (LCRA) |  |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  |
| Nashawati, Eithar | Oncor Electric Delivery |  |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) | Alt. Rep. for Brooke Camet |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) |  |
| Schmitt, Jennifer | Rhythm Ops |  |
| Smith, Chase | Southern Power |  |
| Woitt, Wes | CenterPoint Energy (CNP) |  |
| Zhang, Wen | Shell Energy North America (SENA) | Alt. Rep. for Resmi Surendran |

The following proxy was assigned:

- Bill Valagura to Kevin Matt

- Kevin Bunch to Seth Cochran

| - Guests: |  |  |
| --- | --- | --- |
| Anderson, Connor | AB Power Advisors |  |
| Bell, Brad | Solar Proponent |  |
| Blackburn, Don | Hunt Energy Network Power |  |
| Blackshear, David | PNM Resources |  |
| Burford, Bret | AEPSC |  |
| Callender, Hudson | CPS Energy |  |
| Chatlani, Varsha | BETM |  |
| Cheng, Yong | Lone Star Transmission |  |
| Cloninger, Ross | TNMP |  |
| Coleman, Diana | CPS Energy |  |
| Cortez, Sarai | Trailstone |  |
| DeWitt, Charles | PEC |  |
| Fischesser, Matt | ACES |  |
| Flessner, Teddi | STEC |  |
| Floyd, Rickey | Oncor |  |
| Gross, Blake | AEPSC |  |
| Henry, Mark | Texas Reliability Entity |  |
| Henson, Martha | Oncor |  |
| Hinds, David | LCRA |  |
| Huweart, Jillian | Apex |  |
| Jones, Randy | Mountaineer |  |
| Jowlabar, Nicholas | RWE |  |
| Khayat, Maribel | CNP |  |
| Koberlein, Paul | LP&L |  |
| Kota, Naga | National Grid Renewables |  |
| Kroskey, Tony | Brazos |  |
| Lacek, Mollie | Talen Energy |  |
| Lee, Jim | CNP |  |
| Lotter, Eric | GridMonitor |  |
| Mathew, Shirley | Austin Energy |  |
| McCamant, Frank | McCamant Consulting |  |
| McCreary, Shawn | GP&L |  |
| Miller, Alexandra | EDFR |  |
| Morris, Sandy | WETT |  |
| Mulholland, Chad | NRG |  |
| Noyes, Theresa | LCRA |  |
| Orr, Rob | Lone Star Transmission |  |
| Penney, David | Texas Reliability Entity |  |
| Pyka, Greg | Schneider Engineering |  |
| Reid, Walter | Advanced Power Alliance |  |
| Ritch, John | NextEra Energy |  |
| Sams, Bryan | Calpine Corporation |  |
| True, Roy | ACES |  |
| Turner, Lucas | STEC |  |
| Uy, Manny | Hunt Energy |  |
| Velasquez, Ivan | Oncor |  |
| Wall, Perrin | CNP |  |
| Wang, Zhenhua | AEPSC |  |
| Williams, Wes | BTU |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Wolf, Craig | RES |  |
| Zerwas, Rebecca | PUCT |  |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Anderson, Troy |  |  |
| Billo, Jeff |  |  |
| Bonser, Drew |  |  |
| Boren, Ann |  |  |
| Cheng, Yunzhi |  |  |
| Clifton, Suzy |  |  |
| Du, Pengwei |  |  |
| Fohn, Doug |  |  |
| Garcia, Freddy |  |  |
| Golen, Robert |  |  |
| Guiyab, Rochie |  |  |
| Hartmann, Jimmy |  |  |
| Huang, Fred |  |  |
| Jenkins, Darrell |  |  |
| Kang, Sun Wook |  |  |
| Kezell, David |  |  |
| Lee, Alex |  |  |
| Mago, Nitika |  |  |
| Nikouei, Farhad |  |  |
| Phillips, Cory |  |  |
| Schmall, John |  |  |
| Wasik-Gutierrez, Erin |  |  |
| Woodfin, Dan |  |  |
| Yan, Ping |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

Katie Rich called the November 7, 2022 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Rich directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

Ms. Rich reviewed items scheduled for a vote and noted changes to the agenda.

- Approval of Meeting Minutes (see Key Documents)

September 29, 2022

Market Participants reviewed the September 29. 2022 ROS Meeting Minutes.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Technical Advisory Committee (TAC) Update

Ms. Rich reviewed the disposition of items considered at the October 26, 2022 TAC meeting, including codifying criteria for TAC Representatives.

- ERCOT Reports (See Key Documents)

- Operations Report

- Alex Lee reviewed the September 2022 Operations Report.

- System Planning Report

- Ping Yan reviewed the September 2022 System Planning Report.

Transient Security Assessment Tool (TSAT) Model Update

Yunzhi Cheng provided an update on the TSAT data requirements and model statuses.

Proposed Changes to Ancillary Service Methodology for 2023

- Nitika Mago presented the proposed ERCOT Methodologies for Determining Minimum Ancillary Service Requirements for 2023 and reviewed the analyses and drivers for the changes in methodologies.  Some Market Participants expressed concern for the ERCOT procurement of Non-Spinning Reserve (Non-Spin) based on a ten-hour forecast rather than eight hours.   Ms. Mago reviewed the analyses for six and ten hours and noted that the ten-hour forecast will allow ERCOT to better respond to uncertainty, and offered to provide additional analyses related to the eight-hour forecast at a later date.

- Jennifer Schmitt moved to endorse the ERCOT Methodologies for Determining Minimum Ancillary Service Requirements for 2023 as recommended by ERCOT.  Dennis Kunkel seconded the motion.  The motion carried with five abstentions from the Consumer (3) (Air Liquide, Sierra Club, City of Lewisville) and (2) Independent Retail Electric Provider (IREP) (Reliant, Rhythm Ops) Market Segments.  (Please see ballot posted with Key Documents.)

Urgency Vote(s) (see Key Documents)

Nodal Operating Guide Revision Request (NOGRR) 243, Implementation of Seasonal Load Shed Tables

Jim Lee reviewed the request for Urgent status and summarized the 11/2/22 Joint TO comments to NOGRR243.  Ms. Rich reviewed the 11/2/22 GSEC comments to NOGRR243.  Rebecca Zerwas reviewed the 11/7/22 PUCT comments to NOGRR243.  Some Market Participants expressed concern that without advanced notice of which Seasonal Load shed table applies to the Load shed event, systems may not be able to respond as quickly.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

ROS Revision Requests (see Key Documents)

Impact Analysis Review

NOGRR226, Revision to 5% Transmission Operator (TO) Load Shedding Relay Point

Market Participants reviewed the 11/1/22 Impact Analysis; discussed NOGRR226’s implementation requirements and effective date in consideration of impacts to TOs, and their desire for an implementation date of no earlier than October 1, 2024; and expressed concern for compliance issues.  Troy Anderson reviewed the project implementation process and presented priority and rank options for NOGRR226 for Market Participant consideration.  ERCOT Staff committed to filing additional comments providing effective date language.  ERCOT Staff also noted that they were conducting analysis related to the current 5-10-10 Underfrequency Load Shedding levels and plan to file a separate NOGRR to address this issue in the near future.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Resource Registration Glossary Revision Request (RRGRR) 032, Related to NPRR1132, Communicate Operating Limitations during Cold and Hot Weather Conditions

Market Participants discussed that the September 29, 2022 ROS clarifications to NPRR1132 were not fully translated to RRGRR032, specifically to remove language regarding an engineering analysis.  ERCOT Staff reviewed the Revision Request timeline and project implementation, noting the manual process for RRGR032 and NPRR1132, and offered to submit clarifications to RRGRR032 for consideration at the December 5, 2022 TAC meeting.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Language Review

Planning Guide Revision Request (PGRR) 102, Dynamic Operation Model Improvement

Mr. Y. Cheng summarized PGRR102.  Market Participants commented that model quality testing is needed for the TSAT.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

ROS took no action on this item.

NOGRR230, WAN Participant Security

Matt Fischesser summarized the 11/04/22 ACES comments to NOGRR230.  Doug Fohn encouraged Market Participants to attend the November 10, 2022 Technology Working Group (TWG) meeting to further discuss the issues.  ROS took no action on this item.

Nodal Protocol Revision Request (NPRR) 1150, Related to NOGRR230, WAN Participant Security (see Key Documents)

Mr. Fohn summarized NPRR1150.  Ms. Rich summarized NPRR1150 discussion at the October 13, 2022 Protocol Revision Subcommittee (PRS) meeting.  ROS took no action on this item.

Dynamics Working Group (DWG) (see Key Documents)

DWG Procedure Manual

Zhenhua Wang reviewed DWG activities and presented the updated DWG Procedure manual for ROS consideration.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Operations Working Group (OWG) (see Key Documents)

Shawn McCreary reviewed OWG activities.

NPRR1070, Planning Criteria for GTC Exit Solutions

NOGRR215, Limit Use of Remedial Action Schemes

ROS took no action on these items.

NPRR1138, Communication of Capability and Status of Online IRRs at 0 MW Output

Mr. McCreary summarized NPRR1138 discussion at the October 27, 2022 OWG meeting and stated that OWG was in consensus to support a recommendation to ROS for NPRR1138 as amended by the 10/20/22 EDFR comments.  Ian Haley summarized the 11/7/22 Luminant comments to NPRR1138.  Some Market Participants expressed concern for providing reactive capability without being compensated and expressed support for Voltage Support Service (VSS) products as an alternate solution, pending Public Utility Commission of Texas (PUCT) direction on the issues.  Market Participants noted NPRR1138 and VSS discussions at the October 21, 2022 Wholesale Market Working Group (WMWG) meeting.  Freddy Garcia reminded Market Participants of the reliability issues, noted the ERCOT desire to proceed with NPRR1138 as written, and stated that other solutions should be considered in a separate Revision Request.

Mr. Haley moved to endorse NPRR1138 as amended by the 11/07/22 Luminant comments.  Mr.  Kunkel seconded the motion.  The motion carried with two objections from the Independent Generator (RWE, Southern Power) Market Segment.  (Please see ballot posted with Key Documents.)

NPRR1143, Provide ERCOT Flexibility to Determine When ESRs May Charge During an EEA Level 3

Mr. McCreary summarized NPRR1143 discussion at the October 27, 2022 OWG meeting and stated that OWG was in consensus to support a recommendation to ROS for NPRR1143 as amended by the 9/29/22 ERCOT comments.  Ms. Mago stated that ERCOT anticipates providing responses to specific Market Participants concerns on NPRR1143 at the November 17, 2022 OWG meeting.  ROS took no action on this item.

Planning Working Group (PLWG) Report (see Key Documents)

NPRR1147, Update and Improve Notification and Evaluation Processes Associated with Reliability Must-Run

Charlie DeWitt reviewed PLWG activities, summarized NPRR1147 discussion at the October 19, 2022 PLWG meeting, and stated that PLWG was in consensus to support a recommendation to ROS for NPRR1147.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Chad Mulholland reviewed PDCWG activities, and noted the inclusion of the analyses of daily minimum system inertia and inertia trends in the Frequency Control Report.

Steady State Working Group (SSWG) (see Key Documents)

SSWG Procedure Manual

Ross Cloninger reviewed SSWG activities and presented the updated SSWG Procedure Manual for ROS consideration.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Mr. Kunkel moved to approve the Combined Ballot as follows:

- To approve the September 29, 2022 ROS Meeting Minutes as submitted

- To grant NOGRR243 Urgent status; to recommend approval of NOGRR243 as amended by the 11/02/22 Joint TOs comments; and to forward NOGRR243 to TAC

- To endorse and forward to TAC the 9/1/22 ROS Report and 11/1/22 Impact Analysis for NOGRR226, with a recommended priority of 2023 and rank of 3900

- To recommend approval of PGRR102 as submitted

- To approve the DWG Procedure Manual as submitted

- To endorse NPRR1147 as submitted

- To approve the SSWG Procedure Manual as submitted

Billy Lee seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Operations Training Working Group (OTWG)

David Blackshear reviewed OTWG activities and reminded Market Participants of the October 17, 2022 ERCOT Operator Training Seminar and the October 26, 2022 Severe Weather Drill training for all TOs and Qualified Scheduling Entities (QSEs) that represent Generation Resources.

Other Business

2023 ERCOT Membership/Segment Representative Elections

Suzy Clifton reminded Market Participants that the membership date of record is Friday, November 18, 2022; noted Market Notice M-C100322-02, ERCOT Membership Application for 2023 Membership Year Now Available Reminder and Additional Information, was sent on October 23, 2022, 2022; and stated that 2023 Segment Representative Elections for TAC and Subcommittees would begin the week after the record date.

December 1, 2022 ROS Meeting

Ms. Rich noted the potential for ROS Leadership to consider cancelling the December 1, 2022 ROS

meeting in consideration of meeting efficiencies and the December 5, 2022 TAC meeting, and encouraged Market Participants and ERCOT Staff to advise of urgent items for consideration.

Review Open Action Items List

Market Participants reviewed the Open Action Items List.

No Report

- Black Start Working Group (BSWG)

- Inverter Based Resources Task Force (IBRTF)

- Network Data Support Working Group (NDSWG)

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Ms. Rich adjourned the November 7, 2022 ROS meeting at 1:45 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/event?id=1660345378010