Draft

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, December 1, 2022 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Bowen, Kenneth | CPS Energy |  |
| Boyd, Phillip | City of Lewisville |  |
| Bunch, Kevin | EDF Trading North America (EDF Trading) |  |
| Burke, Tom | RWE Renewables (RWE) | Alt. Rep. for Jennifer Ayers-Brasher |
| Carter, Matt | Garland Power and Light (GP&L) | Alt. Rep. for Billy Lee |
| Cloninger, Ross | Texas-New Mexico Power (TNMP) | Alt. Rep. for Chris Gerety |
| Cochran, Seth | DC Energy |  |
| Ebrahimian, Reza | Austin Energy |  |
| Haley, Ian | Luminant Generation (Luminant) |  |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) |  |
| Lutrick, Chris | Denton Municipal Electric (DME) |  |
| Marr, Daniel | Lower Colorado River Authority (LCRA) |  |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  |
| Nashawati, Eithar | Oncor Electric Delivery |  |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) |  |
| Schmitt, Jennifer | Rhythm Ops |  |
| Smith, Chase | Southern Power |  |
| Valagura, Bill | Calpine Corporation (Calpine) |  |
| Varnell, John | Tenaska Power Services (Tenaska) | Alt. Rep. for Adam Cochran |
| Woitt, Wes | CenterPoint Energy (CNP) |  |
| Zhang, Wen | Shell Energy North America (SENA) | Alt. Rep. for Resmi Surendran |

| Guests: |  |  |
| --- | --- | --- |
| Anderson, Connor | AB Power Advisors |  |
| Ashley, Kristy | Customized Energy Solutions |  |
| Blackburn, Don | Hunt Energy Network Power |  |
| Blackshear, David | PNM Resources |  |
| Blakey, Eric | Pedernales Electric Cooperative |  |
| Burford, Bret | AEPSC |  |
| Bruce, Mark | Cratylus Advisors |  |
| Calcagni, Anthony | DC Energy |  |
| Callender, Hudson | CPS Energy |  |
| DeRidder, Chris | nFront |  |
| DeWitt, Charles | PEC |  |
| Dharme, Neeraja | EDFT |  |
| Evans, Doug | AEPSC |  |
| Flessner, Teddi | STEC |  |
| Floyd, Rickey | Oncor |  |
| Henry, Mark | Texas Reliability Entity |  |
| Henson, Martha | Oncor |  |
| Jackson, Jimmy | CPS Energy |  |
| Khayat, Maribel | CNP |  |
| King, Kenesha | Oncor |  |
| Koenig, Chris | GSEC |  |
| Kroskey, Tony | Brazos |  |
| Lacek, Mollie | Talen Energy |  |
| Lee, Jim | CNP |  |
| Lotter, Eric | GridMonitor |  |
| Macaraeg, Tad | Stem |  |
| Matevosyan, Julia | ESIG Energy |  |
| Morris, Sandy | WETT |  |
| Mulholland, Chad | NRG |  |
| Owens, Frank | Rayburn Electric Cooperative |  |
| Patel, Shodhan | Constellation |  |
| Ramaswamy, Ramya | PUCT |  |
| Ravulapati, Bharath | LCRA |  |
| Reid, Walter | Advanced Power Alliance |  |
| Ritch, John | NextEra Energy |  |
| Siddiqi, Shams | Crescent Power |  |
| Smith, Caitlin | Jupiter Power |  |
| Turner, Lucas | STEC |  |
| Velasquez, Ivan | Oncor |  |
| Walcavich, Colin | NG Renewables |  |
| White, Lauri | AEPSC |  |
| Williams, Wes | BTU |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Woods, Brad | Texas Reliability Entity |  |
| Wu, Tiffany | PUCT |  |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Billo, Jeff |  |  |
| Boren, Ann |  |  |
| Cheng, Yunzhi |  |  |
| Clifton, Suzy |  |  |
| Thinesh Devadhas, Mohanadha |  |  |
| Fohn, Doug |  |  |
| Frosch, Colleen |  |  |
| Garcia, Freddy |  |  |
| Golen, Robert |  |  |
| Huang, Fred |  |  |
| Kang, Sun Wook |  |  |
| Lee, Alex |  |  |
| Mago, Nitika |  |  |
| Phillips, Cory |  |  |
| Schmall, John |  |  |
| Solis, Stephen |  |  |
| Wasik-Gutierrez, Erin |  |  |
| Yan, Ping |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

Chase Smith called the December 1, 2022 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

Mr. Smith reviewed items scheduled for a vote and noted changes to the agenda.

# Approval of Meeting Minutes (see Key Documents)

November 7, 2022

Market Participants reviewed the November 7, 2022 ROS Meeting Minutes.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Technical Advisory Committee (TAC) Update

Mr. Smith noted that TAC had not met since the last ROS meeting.

# ERCOT Reports (See Key Documents)

# Operations Report

# Alex Lee noted that the October 2022 Operations Report was posted.  There were no questions or comments.

# System Planning Report

# Ping Yan noted that the October 2022 System Planning Report was posted and stated that the ERCOT Long-Term Load Forecast (LTLF) is anticipated to be published in December 2022 or January 2023.  There were no questions or comments.

Generic Transmission Constraint (GTC) Update

Yunzhi Cheng provided an update on the Panhandle GTC.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1150, Related to NOGRR230, WAN Participant Security

Market Participants reviewed NPRR1150 and requested additional time to consider the issues.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

ROS Revision Requests (see Key Documents)

Impact Analysis Review

Planning Guide Revision Request (PGRR) 102, Dynamic Operation Model Improvement

Market Participants reviewed the 10/21/22 Impact Analysis for PGRR102.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

Nodal Operating Guide Revision Request (NOGRR) 230, WAN Participant Security

ROS took no action on these items.

Operations Working Group (OWG) (see Key Documents)

Rickey Floyd reviewed OWG activities.

NPRR1070, Planning Criteria for GTC Exit Solutions

Market Participants noted the recent Public Utility Commission of Texas (PUCT) rulemaking in Project 53403 and expressed concern for the impacts related to NPRR1070.   Mr. Smith requested ERCOT Staff provide an update on the on the implementation of the Amendments to PUC Rule 25.101 in Project No. 53403, and how it will impact NPRR1070 at the January 5, 2023 ROS meeting.

NOGRR215, Limit Use of Remedial Action Schemes

ROS took no action on this item.

NPRR1143, Provide ERCOT Flexibility to Determine When ESRs May Charge During an EEA Level 3

Mr. Floyd summarized NPRR1143 discussion at the November 17, 2022 OWG meeting, including the ERCOT mockup analyses and summary of benefits of Energy Storage Resources (ESRs) charging during Energy Emergency Alert (EEA) Level 3 (EEA3).  Mr. Floyd stated that OWG was in consensus to support a recommendation to ROS for NPRR1143 as amended by the 9/29/22 ERCOT comments.  Some Market Participants expressed concern for potential ramifications of this solution.

Mr. Smith moved to endorse NPRR1143 as amended by the 9/29/22 ERCOT comments.  Cyrus Reed seconded the motion.  The motion carried with two objections from the Cooperative (STEC) and Independent Power Marketer (IPM) (EDF Trading) Market Segments, and 11 abstentions from the Independent Generator (2) (Calpine, Luminant), IPM (3) (SENA, Tenaska, DC Energy), Independent Retail Electric Provider (IREP) (2) (Reliant, Rhythm Ops) and Municipal (4) (CPS Energy, Austin Energy, GP&L, DME) Market Segments.  (Please see ballot posted with Key Documents.)

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Jimmy Jackson reviewed PDCWG activities, including the overview of ESR performance issues during Real-Time.  Market Participants expressed concern for the issues and requested further discussion at ROS.  Mr. Smith requested ERCOT Staff present key takeaways of the operational issues related to ESRs at the January 5, 2023 ROS meeting.

Combined Ballot

Dennis Kunkel moved to approve the Combined Ballot as follows:

- To approve the November 7, 2022 ROS Meeting Minutes as submitted

- To request PRS to continue to table NPRR1150

- To endorse and forward to TAC the 11/7/22 ROS Report and 10/21/22 Impact Analysis for PGRR102

Daniel Marr seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Inverter Based Resources Task Force (IBRTF) (see Key Documents)

Julia Matevosyan reviewed IBRTF activities.

Network Data Support Working Group (NDSWG) (see Key Documents)

Kenesha King reviewed NDSWG activities.

Steady State Working Group (SSWG) (see Key Documents)

Ross Cloninger reviewed SSWG activities.

System Protection Working Group (SPWG) (see Key Documents)

Bret Burford reviewed SPWG activities.

Voltage Profile Working Group (VPWG) (see Key Documents)

Maribel Khayat reviewed VPWG activities.

Other Business

NOGRR226, Addition of Supplemental UFLS Stages

Nitika Mago reminded Market Participants of the NOGRR226 implementation timeline and effective date discussion at the November 7, 2022 ROS meeting and summarized the 11/30/22 ERCOT comments to NOGR226.  Market Participants expressed support for the 11/30/22 ERCOT comments to NOGRR226.   Brittney Albracht reviewed the Revision Request timeline and noted that TAC would consider NOGRR226 at the December 5, 2022 TAC meeting.

Review Open Action Items List

Mr. Smith requested ROS Working Group and Task Force Leadership be cognizant of their action items and drive the review and resolution of the issues.

No Report

- Black Start Working Group (BSWG)

- Dynamics Working Group (DWG)

- Operations Training Working Group (OTWG)

- Planning Working Group (PLWG)

Adjournment

Mr. Smith adjourned the December 1, 2022 ROS meeting at 11:04 a.m.

# Footnotes

# Key Documents referenced in these minutes may be accessed on the ERCOT website at:

# https://www.ercot.com/calendar/12012022-ROS-Meeting-by-Webex