## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for December 2022

## Slide 2: Non-IRR GREDP < 85% – December 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 280 | 665 | 791 | 4.16 | 84.07

## Slide 3: IRR Summary – December 2022
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 83.02 | 71.59 | 78.57
GREDP Median (%) | 92.94 | 80.38 | 85.10
Average MW Error | 4.30 | 4.42 | 4.87
Median MW Error | 4.05 | 4.16 | 4.72
Total Intervals Scored | 102,074 | 50,583 | 49,166
100+ Intervals Scored | 153 | 159 | 86
Total Intervals Scored Average | 324.04 | 358.74 | 571.70

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Dec. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 2,200 | 2,200 | 4.36 | 100.00
Unit 3 | 1,914 | 1,957 | 3.15 | 97.80
Unit 4 | 1,954 | 1,955 | 2.86 | 99.95
Unit 5 | 1,811 | 1,898 | 4.81 | 95.42
Unit 6 | 1,818 | 1,890 | 5.14 | 96.19
Unit 9 | 1,726 | 1,745 | 4.24 | 98.91
Unit 10 | 1,583 | 1,603 | 2.69 | 98.75
Unit 11 | 1,534 | 1,537 | 2.42 | 99.80
Unit 12 | 1,481 | 1,485 | 2.93 | 99.73
Unit 13 | 1,418 | 1,479 | 2.83 | 95.88
Unit 14 | 1,414 | 1,447 | 3.80 | 97.72
Unit 15 | 1,405 | 1,428 | 4.01 | 98.39
Unit 16 | 1,383 | 1,426 | 4.40 | 96.98
Unit 17 | 1,310 | 1,356 | 3.33 | 96.61
Unit 23 | 1,188 | 1,193 | 5.66 | 99.58
Unit 25 | 1,161 | 1,176 | 2.59 | 98.72
Unit 30 | 1,021 | 1,034 | 1.80 | 98.74
Unit 31 | 964 | 975 | 7.90 | 98.87
Unit 32 | 930 | 968 | 6.43 | 96.07
Unit 33 | 928 | 968 | 10.32 | 95.87

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Dec. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 36 | 950 | 959 | 1.10 | 99.06
Unit 37 | 893 | 938 | 4.54 | 95.20
Unit 40 | 889 | 918 | 4.35 | 96.84
Unit 48 | 829 | 857 | 7.12 | 96.73
Unit 49 | 819 | 829 | 2.92 | 98.79
Unit 53 | 735 | 766 | 2.27 | 95.95
Unit 54 | 733 | 756 | 3.28 | 96.96
Unit 55 | 698 | 711 | 5.65 | 98.17
Unit 56 | 683 | 683 | 4.30 | 100.00
Unit 59 | 584 | 609 | 4.41 | 95.89
Unit 61 | 595 | 603 | 7.02 | 98.67
Unit 62 | 558 | 582 | 2.62 | 95.88
Unit 63 | 559 | 581 | 8.86 | 96.21
Unit 64 | 555 | 576 | 0.91 | 96.35
Unit 67 | 531 | 533 | 3.00 | 99.62
Unit 68 | 523 | 533 | 6.88 | 98.12
Unit 70 | 502 | 511 | 5.05 | 98.24
Unit 71 | 485 | 509 | 10.85 | 95.28
Unit 73 | 483 | 499 | 3.89 | 96.79
Unit 74 | 482 | 487 | 7.56 | 98.97

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Dec. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 75 | 471 | 483 | 4.34 | 97.52
Unit 76 | 470 | 475 | 1.63 | 98.95
Unit 78 | 459 | 469 | 0.94 | 97.87
Unit 79 | 454 | 464 | 1.73 | 97.84
Unit 80 | 448 | 458 | 2.88 | 97.82
Unit 81 | 430 | 431 | 4.83 | 99.77
Unit 86 | 366 | 380 | 2.43 | 96.32
Unit 92 | 339 | 342 | 5.83 | 99.12
Unit 93 | 338 | 338 | 4.57 | 100.00
Unit 96 | 304 | 316 | 4.98 | 96.20
Unit 102 | 293 | 302 | 1.12 | 97.02
Unit 107 | 277 | 285 | 9.11 | 97.19
Unit 114 | 254 | 255 | 3.73 | 99.61
Unit 115 | 245 | 252 | 1.79 | 97.22
Unit 121 | 227 | 232 | 4.21 | 97.84
Unit 122 | 217 | 224 | 2.29 | 96.88
Unit 123 | 217 | 221 | 2.37 | 98.19
Unit 125 | 219 | 220 | 4.14 | 99.55
Unit 129 | 203 | 210 | 5.20 | 96.67
Unit 132 | 198 | 204 | 6.59 | 97.06

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – Dec. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 135 | 191 | 199 | 4.22 | 95.98
Unit 136 | 193 | 196 | 3.20 | 98.47
Unit 139 | 182 | 183 | 4.70 | 99.45
Unit 140 | 168 | 176 | 3.12 | 95.45
Unit 141 | 168 | 170 | 4.05 | 98.82
Unit 143 | 164 | 168 | 3.17 | 97.62
Unit 144 | 156 | 160 | 5.09 | 97.50

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – Dec. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,878 | 3,631 | 8.84 | 79.26
Unit 7 | 1,685 | 1,813 | 4.42 | 92.94
Unit 8 | 1,638 | 1,773 | 3.77 | 92.39
Unit 18 | 1,072 | 1,293 | 2.46 | 82.91
Unit 19 | 1,163 | 1,258 | 3.75 | 92.45
Unit 20 | 1,094 | 1,218 | 3.61 | 89.82
Unit 21 | 1,025 | 1,214 | 5.87 | 84.43
Unit 22 | 1,062 | 1,198 | 4.41 | 88.65
Unit 24 | 1,047 | 1,190 | 5.65 | 87.98
Unit 26 | 1,086 | 1,176 | 2.13 | 92.35
Unit 27 | 1,060 | 1,140 | 4.72 | 92.98
Unit 28 | 999 | 1,116 | 1.63 | 89.52
Unit 29 | 1,043 | 1,100 | 6.18 | 94.82
Unit 34 | 812 | 966 | 4.98 | 84.06
Unit 35 | 817 | 966 | 4.72 | 84.58
Unit 38 | 634 | 933 | 7.02 | 67.95
Unit 39 | 695 | 919 | 4.90 | 75.63
Unit 41 | 848 | 913 | 5.48 | 92.88
Unit 42 | 816 | 907 | 7.86 | 89.97
Unit 43 | 777 | 902 | 5.41 | 86.14

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – Dec. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 44 | 725 | 902 | 4.13 | 80.38
Unit 45 | 815 | 894 | 1.52 | 91.16
Unit 46 | 684 | 879 | 5.43 | 77.82
Unit 47 | 825 | 878 | 1.53 | 93.96
Unit 50 | 708 | 828 | 3.01 | 85.51
Unit 51 | 741 | 824 | 8.97 | 89.93
Unit 52 | 711 | 807 | 5.61 | 88.10
Unit 57 | 506 | 655 | 4.92 | 77.25
Unit 58 | 238 | 616 | 3.49 | 38.64
Unit 60 | 562 | 607 | 13.63 | 92.59
Unit 65 | 527 | 569 | 9.39 | 92.62
Unit 66 | 513 | 544 | 5.75 | 94.30
Unit 69 | 438 | 523 | 3.48 | 83.75
Unit 72 | 426 | 503 | 0.80 | 84.69
Unit 77 | 447 | 471 | 2.42 | 94.90
Unit 82 | 312 | 419 | 5.61 | 74.46
Unit 83 | 373 | 416 | 2.48 | 89.66
Unit 84 | 316 | 404 | 6.54 | 78.22
Unit 85 | 322 | 383 | 8.01 | 84.07
Unit 87 | 141 | 377 | 6.13 | 37.40

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – Dec. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 88 | 343 | 376 | 3.60 | 91.22
Unit 89 | 332 | 362 | 3.54 | 91.71
Unit 90 | 312 | 360 | 7.27 | 86.67
Unit 91 | 328 | 346 | 1.26 | 94.80
Unit 94 | 96 | 322 | 9.41 | 29.81
Unit 95 | 248 | 320 | 5.25 | 77.50
Unit 97 | 160 | 313 | 3.60 | 51.12
Unit 98 | 24 | 308 | 7.11 | 7.79
Unit 99 | 287 | 306 | 2.41 | 93.79
Unit 100 | 278 | 304 | 5.28 | 91.45
Unit 101 | 239 | 302 | 2.06 | 79.14
Unit 103 | 222 | 301 | 4.51 | 73.75
Unit 104 | 190 | 288 | 11.51 | 65.97
Unit 105 | 211 | 285 | 3.08 | 74.04
Unit 106 | 251 | 285 | 5.54 | 88.07
Unit 108 | 209 | 278 | 4.16 | 75.18
Unit 109 | 209 | 277 | 4.69 | 75.45
Unit 110 | 163 | 272 | 5.68 | 59.93
Unit 111 | 192 | 270 | 1.38 | 71.11
Unit 112 | 223 | 267 | 4.35 | 83.52

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – Dec. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 113 | 116 | 256 | 6.61 | 45.31
Unit 116 | 214 | 250 | 2.66 | 85.60
Unit 117 | 215 | 243 | 5.99 | 88.48
Unit 118 | 91 | 240 | 4.93 | 37.92
Unit 119 | 62 | 240 | 9.09 | 25.83
Unit 120 | 219 | 238 | 3.43 | 92.02
Unit 124 | 173 | 221 | 5.37 | 78.28
Unit 126 | 204 | 220 | 4.66 | 92.73
Unit 127 | 95 | 214 | 1.53 | 44.39
Unit 128 | 184 | 213 | 4.65 | 86.38
Unit 130 | 136 | 209 | 6.67 | 65.07
Unit 131 | 160 | 207 | 6.09 | 77.29
Unit 133 | 190 | 203 | 7.26 | 93.60
Unit 134 | 188 | 202 | 2.75 | 93.07
Unit 137 | 145 | 193 | 9.99 | 75.13
Unit 138 | 174 | 187 | 7.89 | 93.05
Unit 142 | 85 | 170 | 2.83 | 50.00
Unit 145 | 122 | 154 | 2.80 | 79.22
Unit 146 | 95 | 152 | 1.06 | 62.50
Unit 147 | 137 | 146 | 2.78 | 93.84

## Slide 12: IRR < 95%, ≥ 100 Scored Intervals – Dec. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 148 | 37 | 139 | 2.74 | 26.62
Unit 149 | 127 | 134 | 1.49 | 94.78
Unit 150 | 117 | 131 | 0.93 | 89.31
Unit 151 | 93 | 123 | 5.22 | 75.61
Unit 152 | 100 | 113 | 5.59 | 88.50
Unit 153 | 90 | 101 | 7.53 | 89.11