Date:	January 24, 2023

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR1144, Station Service Backup Power Metering [Plus Power] - NPRR1147, Update and Improve Notification and Evaluation Processes Associated with Reliability Must-Run (RMR) [ERCOT] - NPRR1149, Implementation of Systematic Ancillary Service Failed Quantity Charges [ERCOT] - NPRR1151, Protocol Revision Subcommittee Meeting Requirement [Oncor] - NPRR1153, ERCOT Fee Schedule Changes [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) For NPRRs, ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1144, Station Service Backup Power Metering [Plus Power] Proposed Effective Date: April 1, 2023 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR provides a limited exception to the requirement that all loads included in the netting arrangement for an ERCOT-Polled Settlement (EPS) Metering Facility only be connected to the ERCOT Transmission Grid through the EPS metering point(s) for the Facility. The exception would allow no more than 500kW of auxiliary Load connected to a station service transformer to be connected to a Transmission Service Provider’s (TSP’s) or Distribution Service Provider’s (DSP’s) Facilities through a separately metered point using an open transition load transfer switch listed for emergency use. PRS Decision: On 11/11/22, PRS voted to recommend approval of NPRR1144 as amended by the 8/29/22 Joint Commenters comments. There were three abstentions from the Consumer (Occidental), Cooperative (LCRA), and Investor Owned Utility (IOU) (CNP) Market Segments. On 12/8/22, PRS voted to endorse and forward to TAC the 11/11/22 PRS Report and 11/22/22 Impact Analysis for NPRR1144. There was one abstention from the IOU (CNP) Market Segment. - NPRR1147, Update and Improve Notification and Evaluation Processes Associated with Reliability Must-Run (RMR) [ERCOT] Proposed Effective Date: April 1, 2023 ERCOT Impact Analysis: No budgetary impact; ongoing impacts to ERCOT System Development department of 0.3 Full-Time Employees (FTEs); no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. (ERCOT is able to absorb the effort and will not require additional staff.) Revision Description: This NPRR adds a 20 MW capacity threshold for conducting a Reliability Must-Run (RMR) reliability analysis; requires that an RMR study be conducted when a Resource Entity gives notice that a Generation Resource is ceasing operation permanently due to a Forced Outage; and updates Section 22, Attachment E, Notification of Suspension of Operations, to require Resource Entity to provide information about deactivation of Transmission Facilities as part of the suspension of operations of the unit. PRS Decision: On 11/11/22, PRS voted unanimously to recommend approval of NPRR1147 as submitted. On 12/8/22, PRS voted unanimously to endorse and forward to TAC the 11/11/22 PRS Report and 8/15/22 Impact Analysis for NPRR1147. - NPRR1149, Implementation of Systematic Ancillary Service Failed Quantity Charges [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3780 ERCOT Impact Analysis: Between $120K and $160K; no impacts to ERCOT staffing; impacts to Settlements & Billing Systems, Market Operation Systems, and Data Management & Analytic Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR charges a Qualified Scheduling Entity (QSE) an Ancillary Service failed quantity if the Ancillary Service Supply Responsibility held by the QSE is not met by Resources in their portfolio in Real-Time, based on a comparison of their Real-Time telemetry. The charges will be done systematically without ERCOT Operators having to take additional action. PRS Decision: On 12/8/22, PRS voted unanimously to recommend approval of NPRR1149 as amended by the 12/1/22 ERCOT comments. On 1/17/23, PRS voted unanimously to endorse and forward to TAC the 12/8/22 PRS Report and 9/20/22 Impact Analysis for NPRR1149 with a recommended priority of 2023 and rank of 3780. - NPRR1151, Protocol Revision Subcommittee Meeting Requirement [Oncor] Proposed Effective Date: April 1, 2023 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR eliminates the Protocol requirement to hold at least one Protocol Revision Subcommittee (PRS) meeting per month. PRS Decision: On 11/11/22, PRS voted unanimously to recommend approval of NPRR1151 as submitted. On 12/8/22, PRS voted unanimously to endorse and forward to TAC the 11/11/22 PRS Report and 11/22/22 Impact Analysis for NPRR1151. - NPRR1153, ERCOT Fee Schedule Changes [ERCOT] Proposed Effective Date: April 1, 2023 (Phase 1) and upon system implementation – Priority 2023; Rank 3790 (Phase 2) ERCOT Impact Analysis: Between $20K and $30K; no impacts to ERCOT staffing; impacts to Resource Integration and Ongoing Operations (RIOO), Channel Management Systems, and ERCOT Website and MIS Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR changes the ERCOT Fee Schedule by adding two currently existing fees to the ERCOT Fee Schedule (public information request labor fees and ERCOT training fees); creating a registration fee of $500 for Resource Entities, Transmission or Distribution Service Providers (TDSPs), and Subordinate Qualified Scheduling Entities (Sub-QSEs); removing the current value of the ERCOT System Administration Fee; deleting the map sales fee; and restructuring three existing fees on the Fee Schedule (Generator Interconnection or Modification (GIM) fees, Full Interconnection Study (FIS) Application fees, and Wide Area Network (WAN) fees). PRS Decision: On 12/8/22, PRS voted unanimously to recommend approval of NPRR1153 as amended by the 11/2/22 ERCOT comments. On 1/17/23, PRS voted unanimously to endorse and forward to TAC the 12/8/22 PRS Report as amended by the 12/12/22 ERCOT comments and 12/13/22 Revised Impact Analysis for NPRR1153 with a proposed effective date of April 1, 2023 for Phase 1 and upon system implementation for Phase 2 with recommended priority of 2023 and rank of 3790. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1157, Incorporation of PUCT Approval into Revision Request Process [ERCOT] - NPRR1158, Remove Sunset Date for Weatherization Inspection Fees [ERCOT] - NPRR1159, Related to RMGRR171, Changes to Transition Process that Require Opt-in MOU or EC that are Designating POLR to provide Mass Transition Methodology to ERCOT [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1067, Market Entry Qualifications, Continued Participation Requirements, and Credit Risk Assessment [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1143, Provide ERCOT Flexibility to Determine When ESRs May Charge During an EEA Level 3 [ERCOT] - NPRR1145, Use of State Estimator-Calculated ERCOT-Wide TLFs in Lieu of Seasonal Base Case ERCOT-Wide TLFs for Settlement [ERCOT] - NPRR1146, Credit Changes to Appropriately Reflect TAO Exposure [REMC] - NPRR1150, Related to NOGRR230, WAN Participant Security [ERCOT] - NPRR1155, Attestation Regarding Market Participant Citizenship, Ownership, or Headquarters [ERCOT] - NPRR1156, Priority Revision Request Process [Oncor] New Revision Requests Scheduled for Consideration at PRS None at this time. These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr