**NDSWG Report to ROS**

**January 2023**

**New Leadership**

**Chair: Aniruddha Khedlekar (AK), Vice-Chair: Gerardo Escamilla**

**NDSWG last met on January 17, 2023 (WebEx)**

**Discussion/Review Items:**

**NMMS Project Update**

* Presented by Joel Koepke
* Upgrade of SGEM
* Initial Deployment was in Early December 2022.
* Some Performance Issues and Defects were reported.
* January, February Deployments scheduled to fix the critical defects

**RIOO Access - View Generation Submission Data**

* Presented by Joel Koepke
* Users can view current Modelling and upcoming submissions.
* Access is managed by TSP’s USA.

**Double Contingencies Annual Review**

* Presented by Joel Koepke
* Email will be sent out to all the TSP with Instructions.
* Files will be posted on Citrix NMMS Folder.
* Target PLD is a TBD.

**SCADA and Voltage Control Issues.**

* Presented by Stephen Solis
* Process in place to escalate unresolved SCADA issues to PUCT Enforcement Department if not resolved within reasonable time (30 Days).
* Issues not corrected within a day need to be addressed according to NOG Section 7.3

**2023 NDSWG New Leadership**

* Chair: Aniruddha Khedlekar (AK) (LCRA)
* Vice-Chair: Gerardo Escamilla (CPS Energy)

Next NDSWG meeting will be held on February 21, 2023