- Section 2:

- NOGRR226 – Addition of Supplemental UFLS Stages

- This Nodal Operating Guide Revision Request (NOGRR) adds provisions for Transmission Operator (TO) “anti-stall” automatic firm Load shedding at 59.5 Hz in order to improve reliability by mitigating the risk of a total system-wide Blackout.

Revised Subsection:  2.6.1 [partially effective upon system implementation]

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

Revised Subsections:  2.2.4.1, 2.2.7, 2.2.8, 2.2.9.1, 2.3.3, 2.5, 2.6, 2.6.1, 2.6.2, 2.7, 2.7.4, 2.9, 2.9.1, and 2.9.2