- Section 2:

RRGRR022 – Related to NPRR973, Add Definitions for Generator Step-Up and Main Power Transformer

This Resource Registration Glossary Revision Request (RRGRR) clarifies use of defined terms Generation Step-Up (GSU) and Main Power Transformer (MPT).

Revised Sections:  Protection, Transformer Data (as applicable) [unboxed due to system implementation]

RRGRR032 – Related to NPRR1132, Communicate Operating Limitations during Cold and Hot Weather Conditions

This Resource Registration Glossary Revision Request (RRGRR) adds data required to be shared with the ERCOT as the Reliability Coordinator, Balancing Authority, and Transmission Operator for use in considering cold weather limitations in its Operational Planning Analysis, Real-Time monitoring, Real-Time assessments, and other analysis functions.  This RRGRR also adds alternate fuel supply information to aid in the same analyses, adds data for hot weather limitations, and requires Distributed Generation Resources (DGRs) and Distributed Energy Storage Resources (DESRs) to provide this information due to the increasing level of DGR and DESRs interconnecting to the ERCOT System.

Revised Section:  Unit Information