IBRTF Report To ROS

February 2023

Chair: Mohammad Albaijat, Vice-Chair: Julia Matevosyan

IBRTF last met on January 20, 2023 (Webex)

It was only open meeting session.

Discussion Items:

Open meeting IBRTF Discussion

NERC EMT Reliability Guideline, It was presented by Aung Tant (NERC)

  - Electromagnetic Transient (EMT) Modeling for BPS-Connected Inverter-Based Resources – Requirements and Verification Practices

  - Studying EMT model is needed to address issues related to IBRs

  - To address gaps identified in recent disturbance reports.

  - Reference for TPs and PCs as they begin performing or coordinating EMT studies during the interconnection study process or during planning assessments.

  - Reliability Guideline: EMT Modeling and Simulation - in 2 parts

    - Vol. 1: EMT Model Requirements and Quality Control. Comments period ends Feb 20th . https://www.nerc.com/comm/RSTC_Reliability_Guidelines/Draft_Reliability_Guideline-EMT_Modeling_and_Simulations_Vol_1.pdf

    - Vol. 2: EMT Studies

  - EMT Taskforce

    - As EMTTF activities are entirely public, the EMTTF is open to all industry members

    - Please contact Aung Thant – aung.thant@nerc.net

IBR Ride-Through Requirements NOGRR245

Presented by Stephen Solis (ERCOT)

NERC Recommendations from the Odessa report and upcoming ERCOT activities for mitigating IBR risks

- Presented by Patrick Gravois (ERCOT)

- NERC published 2022 Odessa Disturbance Report in December 2022

- NERC held Webinar on January 4, 2023

  - Panelists from NERC, TRE, and ERCOT

- NERC recommendations to TOs, GOs, GOPs, Developers, OEMs

  - NERC Assurance of Inverter-Based Resource Performance

  - NERC Assurance of Model Quality

  - Model Quality and Model Validation

  - Study Qualified Changes Prior to Implementation

  - Adoption of Reliability Guidelines

    - BPS-Connected Inverter-Based Resource Performance

    - https://www.nerc.com/pa/rrm/ea/Pages/Major-Event-Reports.aspx

- NERC recommendation to ERCOT:

  - ERCOT Improvement to Interconnection Process

  - ERCOT Adoption of Reliability Guideline Content

  - ERCOT Follow-Up with all Inverter-Based Resources in Texas Interconnection

  - ERCOT System Model Validation Effort

- ERCOT Activities to Mitigate IBR Risks - 2023

  - Send out formal requests in January to REs of affected facilities in Odessa events that models will need to updated and resubmitted

  - Reach out to all facilities (Operational or Commissioning) with TMEIC, Power Electronics, or KACO inverters

Industry Update

- Presented by Julia Matevosyan (ESIG, IBRTF vice-chair)

- Proposed modifications to ENTSO-E Requirements for Generators to include grid forming capability

  - ENTSO-E is the European association for the cooperation of transmission system operators (TSOs) for electricity

  - In 2016 ENTSO-E approved Network Code (NC) on Requirements for Generators (RfG) – a harmonized minimum standard that all generators across Europe must respect to connect to the grid

  - On 11/23/22, ENTSO-E held a web-meeting to present proposed amendments to the network code to include grid forming capability requirements for IBRs (including battery storage) to ensure stable operation at high penetration of non-synchronous generation

  - The TSOs have developed this proposal for legal text and submitted it to the regulator for consideration

- UNIFI Grid Forming Specifications

  - Universal Interoperability for Grid-Forming Inverters (UNIFI) Consortium is a project funded by the U.S. Department of Energy. The project brings together leading researchers, industry stakeholders, utilities, and system operators to address fundamental challenges in seamless integration of grid-forming (GFM) technologies into power systems of the future. The project objectives include R&D, Commercialization and Demonstration, Outreach and Training

  - One of the project tasks is to provide uniform functional specifications for GFM IBRs for integrating GFM IBRs in electric power systems at any scale

  - The first version of the specification  was released on December 15th 2022 and it is envisioned that it will be a “living document” regularly updated during the course of the project and beyond.

  - These specs are in addition to applicable GFL requirements unless such requirements prevent GFM functionality.

- Grid forming batteries in Australia

  - Currently Australia is leading the way with three grid scale grid forming batteries in operation