## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2024-03-07 | 9:18

## Disclaimer
DEMAND AND ENERGY REPORT
For Planning Purposes Only
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been
developed from data provided through the settlement process. The data may contain errors or become obsolete
and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS
OR IMPLIED,INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE,
AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR
APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH
ALL FAULTS.
ERCOT publishes the values in this report based on the Initial Settlement occurring approximately five days after
the Operating Day. These values are updated to reflect Final Settlements (occurring 55 days after each Operating
Day of the month), lagged by two months after the end of the month. On each tab of this spreadshet there is a
column titled "Settlement Type" indicating whether the values are based on the Initial or Final Settlement for the month.
In instances where a generator is capable of using multiple fuels, the primary fuel is used in this report.

## Demand
Demand for 2023
Net System Maximum Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2023 Demand, MW | 65631.9709 | 63507.9545 | 53094.3213 | 60995.4144 | 68158.7102 | 80825.6176 | 82964.0895 | 85508.4518 | 84470.1018 | 71233.8382 | 56535.3852 | 56975.9838 | 85508.4518
Date | 01/31/2023 | 02/01/2023 | 03/31/2023 | 04/03/2023 | 05/05/2023 | 06/27/2023 | 07/31/2023 | 08/10/2023 | 09/08/2023 | 10/04/2023 | 11/08/2023 | 12/11/2023
Hour ending | 19:00 | 19:00 | 18:00 | 18:00 | 18:00 | 18:00 | 17:00 | 18:00 | 17:00 | 17:00 | 16:00 | 08:00
Day of the week | Tuesday | Wednesday | Friday | Monday | Friday | Tuesday | Monday | Thursday | Friday | Wednesday | Wednesday | Monday
Forecasted Demand, MW | 64094.5165 | 67397.65 | 56807.8364 | 59504.7756 | 69921.2899 | 77385.7444 | 78989.029 | 82307.7938 | 75720.087 | 68270.9833 | 57809.7677 | 61604.4709 | 82307.7938
Difference, percent | 2.399% | -5.771% | -6.537% | 2.505% | -2.521% | 4.445% | 5.032% | 3.889% | 11.56% | 4.34% | -2.204% | -7.513% | 3.889%
2022 Demand, MW | 63541.3851 | 68967.6626 | 56463.4752 | 58419.0763 | 71645.1167 | 76717.626 | 80147.8488 | 78505.2303 | 71075.4408 | 66152.7382 | 53335.8125 | 74524.9021 | 80147.8488
Date | 01/21/2022 | 02/04/2022 | 03/12/2022 | 04/05/2022 | 05/31/2022 | 06/23/2022 | 07/20/2022 | 08/02/2022 | 09/20/2022 | 10/12/2022 | 11/09/2022 | 12/23/2022
Hour ending | 08:00 | 10:00 | 08:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 16:00 | 08:00
Day of the week | Friday | Friday | Saturday | Tuesday | Tuesday | Thursday | Wednesday | Tuesday | Tuesday | Wednesday | Wednesday | Friday
Increase, MW | 2090.5858 | -5459.7081 | -3369.1538 | 2576.338 | -3486.4065 | 4107.9916 | 2816.2406 | 7003.2216 | 13394.661 | 5081.1 | 3199.5727 | -17548.9183
Increase, percent | 3.29% | -7.916% | -5.967% | 4.41% | -4.866% | 5.355% | 3.514% | 8.921% | 18.85% | 7.681% | 5.999% | -23.55%
Max All Time, MW | 65914.6978 | 69811.9544 | 60756.4143 | 60995.4144 | 71645.1167 | 80825.6176 | 82964.0895 | 85508.4518 | 84470.1018 | 71233.8382 | 56535.3852 | 74524.9021
Date | 01/17/2018 at 08:00 | 02/14/2021 at 20:00 | 03/05/2019 at 08:00 | 04/03/2023 at 18:00 | 05/31/2022 at 17:00 | 06/27/2023 at 18:00 | 07/31/2023 at 17:00 | 08/10/2023 at 18:00 | 09/08/2023 at 17:00 | 10/04/2023 at 17:00 | 11/08/2023 at 16:00 | 12/23/2022 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2023 Demand, MW | 65743.7907 | 63650.3835 | 53215.1646 | 61239.9861 | 68328.2277 | 81017.5983 | 83032.4767 | 85636.8846 | 84540.2922 | 71437.9449 | 56610.0793 | 57130.5223 | 85636.8846
Date | 01/31/2023 | 02/01/2023 | 03/31/2023 | 04/03/2023 | 05/05/2023 | 06/27/2023 | 07/31/2023 | 08/10/2023 | 09/08/2023 | 10/04/2023 | 11/08/2023 | 12/11/2023
Interval ending | 18:30 | 19:00 | 17:30 | 17:00 | 17:30 | 17:00 | 17:00 | 17:00 | 16:45 | 17:00 | 15:30 | 07:30
Day of the week | Tuesday | Wednesday | Friday | Monday | Friday | Tuesday | Monday | Thursday | Friday | Wednesday | Wednesday | Monday
Max All Time, MW | 66068.475 | 69993.566 | 61563.6014 | 61239.9861 | 71777.2862 | 81017.5983 | 83032.4767 | 85636.8846 | 84540.2922 | 71437.9449 | 57039.3063 | 74628.9366
Date | 01/17/2018 at 07:15 | 02/14/2021 at 19:00 | 03/05/2019 at 07:15 | 04/03/2023 at 17:00 | 05/31/2022 at 17:00 | 06/27/2023 at 17:00 | 07/31/2023 at 17:00 | 08/10/2023 at 17:00 | 09/08/2023 at 16:45 | 10/04/2023 at 17:00 | 11/14/2018 at 07:00 | 12/23/2022 at 08:00
Net System Minimum Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
2023 Demand, MW | 33570.3406 | 33810.5221 | 33845.2252 | 33279.9682 | 34254.2875 | 38104.0927 | 45083.9243 | 46578.1868 | 41241.0038 | 34495.7212 | 35158.7737 | 36260.8809
Date | 01/16/2023 | 02/07/2023 | 03/05/2023 | 04/30/2023 | 05/01/2023 | 06/04/2023 | 07/02/2023 | 08/31/2023 | 09/17/2023 | 10/15/2023 | 11/05/2023 | 12/24/2023
Interval ending | 04:00 | 03:00 | 04:00 | 04:30 | 03:45 | 04:45 | 06:45 | 05:00 | 06:00 | 04:30 | 03:30 | 05:45
Day of the week | Monday | Tuesday | Sunday | Sunday | Monday | Sunday | Sunday | Thursday | Sunday | Sunday | Sunday | Sunday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2023
Net Energy for Load
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2023 Energy, MWh | 32164146.5059 | 30227600.1454 | 31763108.3522 | 30697934.0022 | 36461576.7684 | 42649473.521 | 47428811.5611 | 50250256.9791 | 42978962.6478 | 35408445.3857 | 31379258.7324 | 33274437.7795 | 444684012.3806
2023 YTD Energy, MWh | 32164146.5059 | 62391746.6513 | 94154855.0035 | 124852789.0057 | 161314365.7742 | 203963839.2951 | 251392650.8562 | 301642907.8353 | 344621870.4831 | 380030315.8688 | 411409574.6012 | 444684012.3806
Forecasted Energy, MWh | 35716347.4486 | 31522590.3861 | 32572881.8625 | 32207121.1854 | 37143276.9537 | 41799879.9709 | 45002191.4875 | 45922246.2331 | 39600749.3904 | 35822160.9365 | 32499992.0993 | 35578890.792 | 445388328.746
Difference, percent | -9.946% | -4.108% | -2.486% | -4.686% | -1.835% | 2.032% | 5.392% | 9.425% | 8.531% | -1.155% | -3.448% | -6.477% | -0.1581%
YTD Forecasted Energy, MWh | 35716347.4486 | 67238937.8347 | 99811819.6972 | 132018940.8826 | 169162217.8363 | 210962097.8072 | 255964289.2947 | 301886535.5278 | 341487284.9182 | 377309445.8547 | 409809437.954 | 445388328.746
YTD Difference, percent | -9.946% | -7.209% | -5.668% | -5.428% | -4.639% | -3.317% | -1.786% | -0.0807% | 0.9179% | 0.7211% | 0.3905% | -0.1581%
2022 Energy, MWh | 33399762.9035 | 31278988.4493 | 30456521.8381 | 30789882.1661 | 38535174.6783 | 42039495.9473 | 45986058.8171 | 43001721.907 | 37422407.8828 | 32178969.0296 | 31208957.0267 | 33785715.7249 | 430083656.3707
Increase, MWh | -1235616.3976 | -1051388.3039 | 1306586.5142 | -91948.1639 | -2073597.9098 | 609977.5736 | 1442752.744 | 7248535.0721 | 5556554.765 | 3229476.3561 | 170301.7056 | -511277.9455 | 14600356.01
Increase, percent | -3.7% | -3.361% | 4.29% | -0.2986% | -5.381% | 1.451% | 3.137% | 16.86% | 14.85% | 10.04% | 0.5457% | -1.513% | 3.395%
2022 YTD Energy, MWh | 33399762.9035 | 64678751.3528 | 95135273.1909 | 125925155.357 | 164460330.0352 | 206499825.9826 | 252485884.7996 | 295487606.7066 | 332910014.5894 | 365088983.619 | 396297940.6458 | 430083656.3707
Increase, MWh | -1235616.3976 | -2287004.7015 | -980418.1874 | -1072366.3512 | -3145964.2611 | -2535986.6874 | -1093233.9434 | 6155301.1287 | 11711855.8937 | 14941332.2498 | 15111633.9554 | 14600356.01
Increase, percent | -3.7% | -3.536% | -1.031% | -0.8516% | -1.913% | -1.228% | -0.433% | 2.083% | 3.518% | 4.093% | 3.813% | 3.395%
Net System Load Factors based on Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2023 | 65.87% | 70.83% | 80.52% | 69.9% | 71.9% | 73.29% | 76.84% | 78.99% | 70.67% | 66.81% | 76.98% | 78.5% | 59.37%
Demand Factors 2022 | 70.65% | 67.49% | 72.6% | 73.2% | 72.29% | 76.11% | 77.12% | 73.62% | 73.13% | 65.38% | 81.16% | 60.93% | 61.26%
Net System Load Factors based on 15-Minute Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2023 | 65.76% | 70.67% | 80.33% | 69.62% | 71.72% | 73.11% | 76.78% | 78.87% | 70.61% | 66.62% | 76.88% | 78.28% | 59.28%
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2023
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2296.8268 | 1841.2872 | 1979.6502 | 2232.122 | 2394.53 | 2805.0106 | 2889.2483 | 2996.4287 | 3022.5513 | 2677.6829 | 1752.3613 | 1789.1617
LZ_CPS | 4515.6544 | 4428.3717 | 3511.3469 | 4196.1674 | 4581.85 | 5371.6799 | 5301.765 | 5639.903 | 5461.9829 | 5005.8524 | 3299.0282 | 3508.3032
LZ_HOUSTON | 13514.9293 | 13508.496 | 14548.5423 | 15900.8001 | 17996.0639 | 21378.5869 | 22009.9458 | 22166.1973 | 22043.2221 | 16871.2042 | 15020.0705 | 13112.3973
LZ_LCRA | 3163.9398 | 2998.7148 | 1961.564 | 2292.8168 | 2587.1423 | 3303.5869 | 3420.478 | 3560.7675 | 3537.5688 | 2929.3794 | 1811.836 | 2497.9581
LZ_NORTH | 23579.719 | 22315.2768 | 15555.7262 | 19443.3753 | 22515.0064 | 28482.4606 | 29461.9168 | 30641.8029 | 29994.9468 | 24345.8287 | 17819.7064 | 18690.9156
LZ_RAYBN | 1254.2472 | 1146.4594 | 519.0516 | 682.652 | 841.8105 | 1195.8496 | 1315.8157 | 1361.8371 | 1329.6056 | 972.7392 | 636.7972 | 910.6513
LZ_SOUTH | 9678.8195 | 9851.4469 | 8061.9042 | 8828.8016 | 9314.4407 | 10076.7765 | 10068.1935 | 10482.4809 | 10407.0916 | 10279.8947 | 8002.5906 | 8092.9456
LZ_WEST | 7739.6546 | 7560.3306 | 7077.3791 | 7663.2509 | 8097.384 | 8403.6473 | 8565.1137 | 8787.4673 | 8743.3231 | 8355.3633 | 8267.689 | 8528.1896
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2330.5017 | 1995.3632 | 1979.6502 | 2233.9648 | 2394.53 | 2954.3353 | 2961.8022 | 3063.3473 | 3027.3261 | 2677.6829 | 1878.6191 | 1801.6899
Date and Time | 31 @ 12:30 | 1 @ 00:15 | 31 @ 17:30 | 3 @ 17:30 | 5 @ 17:30 | 21 @ 17:00 | 12 @ 18:00 | 17 @ 17:45 | 8 @ 17:00 | 4 @ 17:00 | 7 @ 16:00 | 11 @ 08:00
LZ_CPS | 4515.6544 | 4437.7982 | 3655.2671 | 4252.518 | 4581.85 | 5562.4752 | 5629.0292 | 5773.3597 | 5564.925 | 5018.3897 | 3387.9405 | 3508.3032
Date and Time | 31 @ 18:30 | 1 @ 18:45 | 1 @ 17:00 | 3 @ 17:45 | 5 @ 17:30 | 21 @ 16:45 | 11 @ 18:00 | 21 @ 17:45 | 5 @ 17:30 | 4 @ 17:30 | 7 @ 15:45 | 11 @ 07:30
LZ_HOUSTON | 13530.1107 | 14491.4891 | 14698.6797 | 16200.6887 | 18725.9103 | 21458.4629 | 22020.5625 | 22822.4998 | 22099.3208 | 18644.8011 | 15155.1533 | 13112.3973
Date and Time | 31 @ 19:00 | 28 @ 15:45 | 8 @ 16:00 | 3 @ 15:45 | 19 @ 17:00 | 28 @ 16:00 | 31 @ 16:30 | 14 @ 16:30 | 7 @ 15:45 | 2 @ 16:00 | 7 @ 15:15 | 11 @ 07:30
LZ_LCRA | 3163.9398 | 3080.998 | 1973.5638 | 2310.8441 | 2587.1423 | 3400.0175 | 3483.0815 | 3625.0956 | 3541.1593 | 2929.3794 | 2176.7453 | 2497.9581
Date and Time | 31 @ 18:30 | 1 @ 11:45 | 31 @ 18:00 | 3 @ 17:45 | 5 @ 17:30 | 21 @ 16:30 | 13 @ 17:30 | 17 @ 18:00 | 8 @ 17:00 | 4 @ 17:00 | 27 @ 07:45 | 11 @ 07:30
LZ_NORTH | 23995.147 | 22421.9838 | 17838.9709 | 19577.2022 | 22595.2648 | 28482.4606 | 29461.9168 | 30646.6509 | 30151.3355 | 24345.8287 | 19281.4565 | 19019.7754
Date and Time | 30 @ 18:30 | 1 @ 18:15 | 20 @ 08:30 | 3 @ 18:00 | 5 @ 16:45 | 27 @ 17:00 | 31 @ 17:00 | 25 @ 16:15 | 7 @ 17:00 | 4 @ 17:00 | 27 @ 07:30 | 29 @ 08:00
LZ_RAYBN | 1257.7424 | 1182.4296 | 869.1893 | 720.903 | 912.913 | 1217.9849 | 1332.803 | 1450.1525 | 1373.8928 | 975.9846 | 970.5455 | 981.0314
Date and Time | 31 @ 18:15 | 1 @ 09:30 | 19 @ 08:00 | 3 @ 18:30 | 31 @ 17:45 | 27 @ 18:15 | 31 @ 18:00 | 20 @ 17:45 | 7 @ 18:00 | 4 @ 17:30 | 27 @ 07:15 | 29 @ 07:45
LZ_SOUTH | 9961.995 | 9921.0237 | 8526.456 | 8962.8702 | 9538.6325 | 10962.051 | 10915.4225 | 11442.4777 | 10974.9774 | 10288.501 | 8002.5906 | 8192.615
Date and Time | 31 @ 19:45 | 1 @ 19:15 | 11 @ 15:30 | 15 @ 16:15 | 23 @ 17:15 | 21 @ 16:45 | 25 @ 17:00 | 14 @ 15:30 | 9 @ 17:00 | 4 @ 16:45 | 8 @ 15:30 | 11 @ 07:00
LZ_WEST | 8308.6044 | 7981.9416 | 7717.6588 | 8357.6981 | 8367.8053 | 8985.0142 | 9365.2585 | 9578.4535 | 9444.5232 | 8858.5205 | 8418.7085 | 8827.4944
Date and Time | 30 @ 06:45 | 17 @ 06:30 | 20 @ 08:00 | 19 @ 16:30 | 7 @ 15:45 | 28 @ 14:15 | 29 @ 17:45 | 5 @ 14:45 | 4 @ 16:30 | 12 @ 16:30 | 27 @ 07:30 | 29 @ 08:30
Net Energy for Load, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 1086478.1462 | 994269.869 | 1044263.8384 | 1020151.5449 | 1224944.5715 | 1462769.3874 | 1636264.5397 | 1711132.5606 | 1482350.2202 | 1168399.0236 | 981128.7457 | 1004333.1085
LZ_CPS | 1846781.2299 | 1759797.5714 | 1817704.1882 | 1770019.212 | 2152250.932 | 2669592.3462 | 2985799.451 | 3126710.2901 | 2764691.7994 | 2113494.8916 | 1710596.0742 | 1790520.9102
LZ_HOUSTON | 7460347.6177 | 7239010.8885 | 8203995.0482 | 8014703.7341 | 9842197.6126 | 11383721.6029 | 12333458.8168 | 13121200.0204 | 11333451.6279 | 9336382.969 | 7935111.5563 | 8157595.6317
LZ_LCRA | 1109587.8721 | 1055325.358 | 965967.5509 | 937652.7309 | 1158350.692 | 1528576.4661 | 1769929.1566 | 1864017.4897 | 1557191.2092 | 1157437.4793 | 1030327.2719 | 1126526.0581
LZ_NORTH | 10491734.5295 | 9757575.8624 | 9518722.0219 | 9042868.0071 | 10979291.1376 | 13456567.6607 | 15596183.8645 | 16931262.1266 | 13411070.9636 | 10464056.7119 | 9456854.4104 | 10250543.1023
LZ_RAYBN | 438657.9603 | 399735.3922 | 335473.7621 | 305436.4279 | 391415.3509 | 509533.1087 | 608820.6878 | 690785.1747 | 515789.5354 | 379348.3792 | 364839.8551 | 435038.1913
LZ_SOUTH | 4479631.3638 | 4309335.9247 | 4706868.6186 | 4510081.217 | 5248976.2288 | 6009308.3508 | 6381176.1137 | 6586712.973 | 6054560.4324 | 5089906.1663 | 4340595.4431 | 4540538.92
LZ_WEST | 5250927.7864 | 4712549.2792 | 5170113.3239 | 5097021.1283 | 5464150.2429 | 5629404.598 | 6117178.931 | 6218436.3441 | 5859856.8596 | 5699419.7648 | 5559805.3757 | 5969341.8573
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2023
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 14550.1994 | 14554.5167 | 15390.2343 | 16791.9626 | 18954.5233 | 22415.4441 | 23110.2315 | 23284.7885 | 23181.2341 | 17826.3742 | 15880.3594 | 14088.6888
EAST | 2618.0727 | 2511.8481 | 1764.748 | 2169.536 | 2306.5462 | 2888.7485 | 3024.3152 | 3157.9108 | 3043.2972 | 2500.0076 | 1798.0479 | 2276.2893
FWEST | 5501.088 | 5388.7445 | 5443.7527 | 5702.508 | 5804.898 | 5540.6106 | 5779.7248 | 5858.4806 | 5851.779 | 6010.6268 | 6212.2584 | 6271.8289
NCENT | 21908.4114 | 20667.3416 | 14090.7987 | 17688.4327 | 20763.4675 | 26366.6901 | 27284.9186 | 28426.378 | 27842.8112 | 22531.319 | 16356.2086 | 17059.4444
NORTH | 1514.3933 | 1515.7566 | 1020.9775 | 1227.1812 | 1427.0893 | 1909.5029 | 1928.1482 | 1933.4451 | 1963.3142 | 1476.9224 | 1347.505 | 1485.7974
SCENT | 12412.4519 | 11457.2687 | 9600.7859 | 10969.1572 | 12008.9653 | 13540.2113 | 13599.3242 | 14400.6714 | 14236.0844 | 13198.0468 | 8873.7304 | 9987.767
SOUTH | 5457.4705 | 5911.3927 | 4651.2309 | 5189.0939 | 5340.8815 | 6285.0353 | 6287.27 | 6406.7196 | 6335.0967 | 6145.1767 | 4739.7785 | 4318.8941
WEST | 1781.7035 | 1643.5146 | 1252.6367 | 1502.1146 | 1721.8567 | 2071.3555 | 2018.5443 | 2168.4907 | 2086.6754 | 1749.4713 | 1402.1911 | 1641.8124
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 14591.2629 | 15289.3961 | 15551.1789 | 17088.8895 | 19707.3493 | 22563.2297 | 23129.9724 | 24045.7465 | 23231.1025 | 19641.2744 | 16004.7828 | 14088.6888
Date and Time | 31 @ 19:00 | 28 @ 16:00 | 8 @ 16:00 | 3 @ 15:45 | 19 @ 17:00 | 28 @ 16:00 | 31 @ 16:30 | 14 @ 16:30 | 8 @ 16:30 | 2 @ 16:00 | 7 @ 15:00 | 11 @ 07:30
EAST | 2669.6412 | 2537.9168 | 2122.0401 | 2230.2241 | 2478.6638 | 2908.4361 | 3076.3752 | 3293.7102 | 3214.2167 | 2500.0076 | 2265.9292 | 2330.8436
Date and Time | 30 @ 18:30 | 1 @ 12:00 | 20 @ 07:30 | 3 @ 16:45 | 19 @ 16:45 | 27 @ 14:45 | 31 @ 14:30 | 21 @ 15:15 | 7 @ 15:00 | 4 @ 17:00 | 27 @ 07:15 | 29 @ 07:15
FWEST | 5831.3506 | 5831.1996 | 5830.1984 | 6189.4722 | 6152.223 | 6253.2177 | 6498.3316 | 6610.851 | 6572.2209 | 6564.4186 | 6422.3095 | 6540.3806
Date and Time | 30 @ 06:45 | 16 @ 09:45 | 23 @ 17:45 | 19 @ 16:15 | 7 @ 15:45 | 23 @ 13:45 | 29 @ 17:30 | 13 @ 15:00 | 22 @ 16:30 | 12 @ 14:45 | 21 @ 09:30 | 29 @ 09:00
NCENT | 22358.3135 | 20815.1929 | 16260.7089 | 17812.3579 | 20894.4149 | 26366.6901 | 27284.9186 | 28434.0962 | 27883.8729 | 22545.1173 | 17713.7067 | 17445.9918
Date and Time | 31 @ 10:30 | 1 @ 18:30 | 20 @ 08:00 | 3 @ 18:00 | 5 @ 16:45 | 27 @ 17:00 | 31 @ 17:00 | 10 @ 17:30 | 7 @ 17:00 | 4 @ 17:30 | 27 @ 07:30 | 29 @ 08:00
NORTH | 1631.2612 | 1539.4972 | 1296.4142 | 1336.6805 | 1552.2234 | 1963.6624 | 2052.0971 | 2103.8648 | 2029.8057 | 1612.1628 | 1508.0203 | 1556.7824
Date and Time | 30 @ 07:30 | 3 @ 07:30 | 20 @ 07:30 | 19 @ 18:00 | 31 @ 17:00 | 29 @ 15:15 | 13 @ 15:00 | 22 @ 15:30 | 7 @ 15:15 | 2 @ 16:30 | 27 @ 07:30 | 29 @ 07:45
SCENT | 12412.4519 | 11583.5858 | 9657.2841 | 11063.1149 | 12008.9653 | 14370.5508 | 14475.4045 | 14832.3648 | 14271.4321 | 13198.0468 | 9214.2519 | 9991.0289
Date and Time | 31 @ 18:30 | 1 @ 11:30 | 31 @ 17:45 | 3 @ 17:45 | 5 @ 17:30 | 21 @ 16:45 | 13 @ 19:15 | 14 @ 18:45 | 8 @ 17:30 | 4 @ 17:00 | 7 @ 15:45 | 11 @ 07:15
SOUTH | 5749.083 | 5994.845 | 5243.7601 | 5499.5491 | 5699.0279 | 6680.4925 | 6499.5266 | 6714.8118 | 6497.8421 | 6163.065 | 4743.9432 | 4398.7194
Date and Time | 31 @ 19:45 | 1 @ 19:15 | 12 @ 16:30 | 15 @ 16:15 | 23 @ 17:15 | 21 @ 16:45 | 31 @ 15:30 | 14 @ 15:30 | 14 @ 17:00 | 4 @ 17:45 | 8 @ 15:45 | 11 @ 07:00
WEST | 1935.2088 | 1702.5976 | 1411.6284 | 1507.8128 | 1727.6952 | 2125.3208 | 2144.906 | 2207.4622 | 2159.3127 | 1760.4057 | 1521.9035 | 1645.3789
Date and Time | 30 @ 19:00 | 17 @ 07:30 | 19 @ 08:45 | 3 @ 17:45 | 5 @ 17:00 | 21 @ 16:15 | 13 @ 16:45 | 11 @ 17:00 | 5 @ 17:00 | 4 @ 16:45 | 27 @ 07:30 | 30 @ 07:45
Net Zone Energy, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 7982502.0987 | 7719192.3561 | 8729884.0266 | 8510856.8863 | 10408869.0914 | 12030629.5707 | 13014896.0248 | 13844458.0326 | 11991905.8599 | 9887926.1482 | 8442102.8828 | 8731745.7323
EAST | 1177600.6607 | 1082723.7491 | 1071108.4125 | 1020776.6197 | 1216175.8522 | 1443960.5729 | 1654568.1312 | 1785571.109 | 1443598.8705 | 1166044.2093 | 1079238.2033 | 1150179.8083
FWEST | 3953791.5807 | 3602128.0511 | 3974394.2585 | 3936059.6181 | 4151740.0131 | 4138620.6468 | 4429837.2709 | 4428762.2879 | 4311433.0197 | 4377506.5054 | 4321045.776 | 4577419.636
NCENT | 9600934.8581 | 8924673.1769 | 8634749.2158 | 8190601.9389 | 9988214.5366 | 12324700.8923 | 14322721.7676 | 15581961.7176 | 12278818.0566 | 9510641.6123 | 8588626.9696 | 9361207.3508
NORTH | 806080.4293 | 757518.2297 | 739541.2194 | 702437.2425 | 820243.9223 | 956998.7561 | 1111419.323 | 1170890.9188 | 985436.8012 | 826586.9993 | 783282.7953 | 900408.1242
SCENT | 5259632.8337 | 4936299.1628 | 5127772.7247 | 4970239.0859 | 5943723.8184 | 7202451.1319 | 8048125.1432 | 8373636.8924 | 7350820.3658 | 5798261.7331 | 4936472.9483 | 5208818.308
SOUTH | 2470651.0775 | 2447332.1876 | 2655025.8878 | 2558129.264 | 3026966.0097 | 3493787.9286 | 3674942.1244 | 3806014.4831 | 3528386.0042 | 2934608.2166 | 2397194.4914 | 2418905.1455
WEST | 912952.9671 | 757733.2321 | 830632.607 | 808833.3467 | 905643.5246 | 1058324.0216 | 1172301.7759 | 1258961.5376 | 1088563.67 | 906869.9614 | 831294.6657 | 925753.6743
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy by Fuel Type
Energy by Fuel Type for 2023
Energy by Fuel Type, MWh
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 20531.2893 | 32588.941 | 10117.3046 | 11497.6616 | 22572.2817 | 47748.4372 | 64949.6141 | 62195.3141 | 58037.5941 | 21950.6977 | 14690.514 | 11236.1798 | 378115.8293
Coal | 3923906.6262 | 3576867.7731 | 3617654.0474 | 3930753.643 | 5219682.616 | 6196491.0252 | 6761983.659 | 6957660.3238 | 6274962.2249 | 5308272.9752 | 5109960.6043 | 4855801.3798 | 61733996.8978
Gas | 1192342.9068 | 1277459.4745 | 1881299.0269 | 1598221.2185 | 2939096.5099 | 4620515.8006 | 5141502.1041 | 7194647.6393 | 4534681.2897 | 2419077.3631 | 2553290.3537 | 1065488.4038 | 36417622.0908
Gas-CC | 10894479.1724 | 10294786.7104 | 9736431.5352 | 9600177.279 | 14804704.5037 | 16521000.7813 | 18640995.5936 | 20195842.2818 | 17814217.9034 | 12949535.864 | 10617857.6868 | 11937740.0858 | 164007769.3975
Hydro | 17246.5049 | 24264.0562 | 61030.5895 | 53614.1219 | 14344.1608 | 19932.5276 | 34909.9176 | 45887.7144 | 31528.8696 | 21743.8154 | 13115.9282 | 7865.016 | 345483.2222
Net DC/BLT | -100509.0006 | -41843.2199 | 12338.108 | -14867.7356 | 60058.0816 | 108100.4298 | 207774.8687 | 303053.8873 | 198418.8522 | 58366.0535 | 57917.6171 | 7432.0535 | 856239.9956
Nuclear | 3788041.4716 | 3428053.8396 | 3295829.8578 | 2715077.2414 | 2911321.4702 | 3422739.3067 | 3664660.126 | 3664061.5682 | 3563777.7973 | 3239834.3921 | 3262132.492 | 3790675.4994 | 40746205.0624
Other | 56986.1286 | 56228.6975 | 67735.0429 | 64010.127 | 65006.0062 | 64000.6973 | 64757.1775 | 83301.1919 | 77313.8417 | 83079.3627 | 73419.64 | 83549.9707 | 839387.8838
Solar | 1544600.0198 | 1473556.4834 | 2093916.8414 | 2602972.3321 | 3072015.2832 | 3544203.4884 | 3966768.1306 | 3946585.7256 | 3302874.1282 | 2630356.739 | 1946137.1517 | 2277730.8868 | 32401717.2104
WSL | -70415.393 | -69092.0244 | -83182.6498 | -78393.9764 | -81612.9744 | -79931.7259 | -82502.2223 | -101671.2135 | -95021.1454 | -97339.2844 | -92939.278 | -105091.6505 | -1037193.5381
Wind | 10896936.7798 | 10174729.4139 | 11069938.6482 | 10214872.0897 | 7434388.8296 | 8184672.7527 | 8963012.5922 | 7898692.5461 | 7218171.292 | 8773567.4076 | 7823676.0226 | 9342009.9544 | 107994668.329
Total | 32164146.5059 | 30227600.1454 | 31763108.3522 | 30697934.0022 | 36461576.7684 | 42649473.521 | 47428811.5611 | 50250256.9791 | 42978962.6478 | 35408445.3857 | 31379258.7324 | 33274437.7795 | 444684012.3806
Energy by Fuel Type, Percent
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 0.0638% | 0.1078% | 0.0319% | 0.0375% | 0.0619% | 0.112% | 0.1369% | 0.1238% | 0.135% | 0.062% | 0.0468% | 0.0338% | 0.085%
Coal | 12.2% | 11.83% | 11.39% | 12.8% | 14.32% | 14.53% | 14.26% | 13.85% | 14.6% | 14.99% | 16.28% | 14.59% | 13.88%
Gas | 3.707% | 4.226% | 5.923% | 5.206% | 8.061% | 10.83% | 10.84% | 14.32% | 10.55% | 6.832% | 8.137% | 3.202% | 8.19%
Gas-CC | 33.87% | 34.06% | 30.65% | 31.27% | 40.6% | 38.74% | 39.3% | 40.19% | 41.45% | 36.57% | 33.84% | 35.88% | 36.88%
Hydro | 0.0536% | 0.0803% | 0.1921% | 0.1747% | 0.0393% | 0.0467% | 0.0736% | 0.0913% | 0.0734% | 0.0614% | 0.0418% | 0.0236% | 0.0777%
Net DC/BLT | -0.3125% | -0.1384% | 0.0388% | -0.0484% | 0.1647% | 0.2535% | 0.4381% | 0.6031% | 0.4617% | 0.1648% | 0.1846% | 0.0223% | 0.1926%
Nuclear | 11.78% | 11.34% | 10.38% | 8.845% | 7.985% | 8.025% | 7.727% | 7.292% | 8.292% | 9.15% | 10.4% | 11.39% | 9.163%
Other | 0.1772% | 0.186% | 0.2133% | 0.2085% | 0.1783% | 0.1501% | 0.1365% | 0.1658% | 0.1799% | 0.2346% | 0.234% | 0.2511% | 0.1888%
Solar | 4.802% | 4.875% | 6.592% | 8.479% | 8.425% | 8.31% | 8.364% | 7.854% | 7.685% | 7.429% | 6.202% | 6.845% | 7.287%
WSL | -0.2189% | -0.2286% | -0.2619% | -0.2554% | -0.2238% | -0.1874% | -0.1739% | -0.2023% | -0.2211% | -0.2749% | -0.2962% | -0.3158% | -0.2332%
Wind | 33.88% | 33.66% | 34.85% | 33.28% | 20.39% | 19.19% | 18.9% | 15.72% | 16.79% | 24.78% | 24.93% | 28.08% | 24.29%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
* Information for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual
fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
Other includes petroleum coke, distillate fuel oil, and any other or unknown fuel.

## Energy by Fuel Chart
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
Biomass | 20.5313 | 32.5889 | 10.1173 | 11.4977 | 22.5723 | 47.7484 | 64.9496 | 62.1953 | 58.0376 | 21.9507 | 14.6905 | 11.2362
Coal | 3923.9066 | 3576.8678 | 3617.654 | 3930.7536 | 5219.6826 | 6196.491 | 6761.9837 | 6957.6603 | 6274.9622 | 5308.273 | 5109.9606 | 4855.8014
Gas | 1192.3429 | 1277.4595 | 1881.299 | 1598.2212 | 2939.0965 | 4620.5158 | 5141.5021 | 7194.6476 | 4534.6813 | 2419.0774 | 2553.2904 | 1065.4884
Gas-CC | 10894.4792 | 10294.7867 | 9736.4315 | 9600.1773 | 14804.7045 | 16521.0008 | 18640.9956 | 20195.8423 | 17814.2179 | 12949.5359 | 10617.8577 | 11937.7401
Hydro | 17.2465 | 24.2641 | 61.0306 | 53.6141 | 14.3442 | 19.9325 | 34.9099 | 45.8877 | 31.5289 | 21.7438 | 13.1159 | 7.865
Net DC/BLT | -100.509 | -41.8432 | 12.3381 | -14.8677 | 60.0581 | 108.1004 | 207.7749 | 303.0539 | 198.4189 | 58.3661 | 57.9176 | 7.4321
Nuclear | 3788.0415 | 3428.0538 | 3295.8299 | 2715.0772 | 2911.3215 | 3422.7393 | 3664.6601 | 3664.0616 | 3563.7778 | 3239.8344 | 3262.1325 | 3790.6755
Other | 56.9861 | 56.2287 | 67.735 | 64.0101 | 65.006 | 64.0007 | 64.7572 | 83.3012 | 77.3138 | 83.0794 | 73.4196 | 83.55
Solar | 1544.6 | 1473.5565 | 2093.9168 | 2602.9723 | 3072.0153 | 3544.2035 | 3966.7681 | 3946.5857 | 3302.8741 | 2630.3567 | 1946.1372 | 2277.7309
WSL | -70.4154 | -69.092 | -83.1826 | -78.394 | -81.613 | -79.9317 | -82.5022 | -101.6712 | -95.0211 | -97.3393 | -92.9393 | -105.0917
Wind | 10896.9368 | 10174.7294 | 11069.9386 | 10214.8721 | 7434.3888 | 8184.6728 | 8963.0126 | 7898.6925 | 7218.1713 | 8773.5674 | 7823.676 | 9342.01
* Information for this month has been updated based on final settlements.
* Chart excludes Wholesale Storage Load and Net DC/BLT because these resource categories can have negative values.

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Gas-CC | Gas
Jan* | 3788 | 3924 | 10897 | 1545 | 17 | 21 | 57 | 10894 | 1192
Feb* | 3428 | 3577 | 10175 | 1474 | 24 | 33 | 56 | 10295 | 1277
Mar* | 3296 | 3618 | 11070 | 2094 | 61 | 10 | 68 | 9736 | 1881
Apr* | 2715 | 3931 | 10215 | 2603 | 54 | 11 | 64 | 9600 | 1598
May* | 2911 | 5220 | 7434 | 3072 | 14 | 23 | 65 | 14805 | 2939
Jun* | 3423 | 6196 | 8185 | 3544 | 20 | 48 | 64 | 16521 | 4621
Jul* | 3665 | 6762 | 8963 | 3967 | 35 | 65 | 65 | 18641 | 5142
Aug* | 3664 | 6958 | 7899 | 3947 | 46 | 62 | 83 | 20196 | 7195
Sep* | 3564 | 6275 | 7218 | 3303 | 32 | 58 | 77 | 17814 | 4535
Oct* | 3240 | 5308 | 8774 | 2630 | 22 | 22 | 83 | 12950 | 2419
Nov* | 3262 | 5110 | 7824 | 1946 | 13 | 15 | 73 | 10618 | 2553
Dec* | 3791 | 4856 | 9342 | 2278 | 8 | 11 | 84 | 11938 | 1065

## Energy Comparisons
* Information for this month has been updated based on final settlements.
* Information for this month has been updated based on final settlements.

## data_Energy Comparisons_1 (hidden)
| 2022 Actual | 2023 Actual
Jan* | 33400 | 32164
Feb* | 31279 | 30228
Mar* | 30457 | 31763
Apr* | 30790 | 30698
May* | 38535 | 36462
Jun* | 42039 | 42649
Jul* | 45986 | 47429
Aug* | 43002 | 50250
Sep* | 37422 | 42979
Oct* | 32179 | 35408
Nov* | 31209 | 31379
Dec* | 33786 | 33274

## data_Energy Comparisons_2 (hidden)
| 2023 Forecast | 2023 Actual
Jan* | 35716 | 32164
Feb* | 31523 | 30228
Mar* | 32573 | 31763
Apr* | 32207 | 30698
May* | 37143 | 36462
Jun* | 41800 | 42649
Jul* | 45002 | 47429
Aug* | 45922 | 50250
Sep* | 39601 | 42979
Oct* | 35822 | 35408
Nov* | 32500 | 31379
Dec* | 35579 | 33274

## Demand Comparisons
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.

## data_Demand Comparisons_1 (hidden)
| 2022 Actual | 2023 Actual
Jan* | 63541 | 65632
Feb* | 68968 | 63508
Mar* | 56463 | 53094
Apr* | 58419 | 60995
May* | 71645 | 68159
Jun* | 76718 | 80826
Jul* | 80148 | 82964
Aug* | 78505 | 85508
Sep* | 71075 | 84470
Oct* | 66153 | 71234
Nov* | 53336 | 56535
Dec* | 74525 | 56976

## data_Demand Comparisons_2 (hidden)
| 2023 Forecast | 2023 Actual
Jan* | 64095 | 65632
Feb* | 67398 | 63508
Mar* | 56808 | 53094
Apr* | 59505 | 60995
May* | 69921 | 68159
Jun* | 77386 | 80826
Jul* | 78989 | 82964
Aug* | 82308 | 85508
Sep* | 75720 | 84470
Oct* | 68271 | 71234
Nov* | 57810 | 56535
Dec* | 61604 | 56976