## Slide 1
ERCOT Staff
Mark Patterson
Manager Demand Integration
DSWG
February 13, 2023

## Slide 2: Failure Penalties – Past to Present
Prior to 2012-Availability Failure, Event Performance, 2 consecutive test failures
  Six Month Suspension of Resource or QSE or Both
  Suspension letter from ERCOT legal, Corrective Action Plan, Reinstatement Test
2012-Graduated scale for Suspension of Resource or QSE or Both
  QSE Event Performance failure
    ≥ 0.75 but less than 0.95 – Suspension for 1 Standard Contract Term
    ≥ 0.30 but less than 0.75 - Suspension for 2 Standard Contract Terms
    less than 0.30 - Suspension for 3 Standard Contract Terms
  QSE Availability failure – 1 Standard Contract Term Suspension
  2 Consecutive Test Failures - 1 Standard Contract Term Suspension
  Suspension Letter from ERCOT legal, Possible administrative penalties from PUC, Corrective Action Plan, Reinstatement Test and if ERCOT suspends qualification of an ERS Resource or a QSE representing an ERS Resource due to failure to meet performance obligations, ERCOT may revoke and recoup all payments for the ERS Contract Period associated with that ERS Resource.
2014 NPRR564 - Introduces payment reductions for non-performance in a single ERS Standard Contract Term but removes mandatory suspensions
2018 NPRR846 - sets the ERSTESTPF to lower values (accelerated payment reductions) and in some instances to zero for ERS Resources with three consecutive test failures in a 365-day period.
  Expectation was that QSEs would self-manage poor performers

## Slide 3: ERCOT to Reconsider Mandatory Suspensions
July 13, 2022 ERS deployment Event was first “non-performance” of ERCOT-Wide ERS Fleet
ERCOT has observed that testing performance has been on a downward trend
  Poor resource test performance is an indicator that ERS resources/QSEs are not adequately prepared to respond to deployment instructions
Replacing mandatory suspensions with payment reductions for non-performance was implemented based on the expectation that QSEs would self-manage their ERS portfolios.
Based on the downward trend in testing performance ERCOT will be revisiting our procedures pertaining to ERS resource/QSE suspensions
Even though mandatory suspensions were removed in NPRR 564 ERCOT has maintained the discretion to suspend resources and/or QSEs