## Slide 1
ROS Report – February 20, 2023
Katie Rich
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Voting Items
No Voting Items

## Slide 3: Recent ROS Actions
NOGRR 245, Inverter-Based Resource (IBR) Ride-Through Requirements – tabled and referred to DWG, OWG, and IBRTF
Approved Working Group/Task Force Leadership
Approved SSWG Procedural Manual
TSAT Model Update
Notes: There was significant discussion around NOGRR 245, especially the removal of the grandfathering provision and the timeline for implementation. ERCOT provided a presentation and asked for comments specifying the areas of concern or where compliance would be extremely difficult.
We still have some openings for VC roles at several WGs.
Currently, approximately 89% of IBRs have accepted TSAT models.

## Slide 4: Revision Requests under ROS Review
NPRR1070, Planning Criteria for GTC Exit Solutions (OWG, PLWG)
NPRR1150, Related to NOGRR230, WAN Participant Security
NOGRR215, Limit Use of Remedial Action Schemes (OWG)
NOGRR230, WAN Participant Security
NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements (DWG, OWG, IBRTF)
PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions
PGRR103, Establish Time Limit for Generator Commissioning Following Approval to Synchronize (OWG, PLWG)

## Slide 5: Recent ROS Discussion Items
CSAPR NOx Season Allowance – Joint workshop with WMS held on February 6
Notes: Several items were noted under next steps, which are currently being reviewed by ROS/WMS leadership and ERCOT staff. We will be bringing a report to TAC at a future meeting.

## Slide 6: Future Meetings
ROS
  Next Regularly Scheduled Meeting – March 2