APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin / 8000 Metropolis Drive (Building E), Suite 100 / Austin, Texas 78744 Thursday, January 5, 2023 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Bowen, Kenneth | CPS Energy | Via Teleconference |
| Boyd, Phillip | City of Lewisville | Via Teleconference |
| Cochran, Seth | DC Energy | Via Teleconference |
| Cooksey, Matthew | Office of Public Utility Council (OPUC) | Alt. Rep. for Nabaraj Pokharel Via Teleconference |
| DeLeon, Amanda | Tenaska Power Services (Tenaska) | Alt. Rep. for Adam Cochran Via Teleconference |
| Ebrahimian, Reza | Austin Energy | Via Teleconference |
| Gerety, Chris | Texas-New Mexico Power (TNMP) | Via Teleconference |
| Haley, Ian | Luminant Generation (Luminant) |  |
| Hall, Ron | Calpine Corporation (Calpine) | Via Teleconference |
| Kopp, Casey | Broad Reach Power | Via Teleconference |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) | Via Teleconference |
| Lee, Billy | Garland Power and Light (GP&L) | Via Teleconference |
| Lutrick, Chris | Denton Municipal Electric (DME) | Via Teleconference |
| Marr, Daniel | Lower Colorado River Authority (LCRA) | Via Teleconference |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  |
| Nashawati, Eithar | Oncor Electric Delivery | Via Teleconference |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) | Via Teleconference |
| Reed, Cyrus | Sierra Club | Via Teleconference |
| Reid, Mike | Air Liquide | Via Teleconference |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) |  |
| Schmitt, Jennifer | Rhythm Ops | Via Teleconference |
| Smith, Chase | Southern Power |  |
| Walcavich, Colin | NG Renewables | Via Teleconference |
| Woitt, Wes | CenterPoint Energy (CNP) | Via Teleconference |
| Zhang, Wen | Shell Energy North America (SENA) | Via Teleconference |

| - Guests: |  |  |
| --- | --- | --- |
| Anderson, Connor | AB Power Advisors | Via Teleconference |
| Ashley, Kristy | Customized Energy Solutions | Via Teleconference |
| Blackburn, Don | Hunt Energy Network Power | Via Teleconference |
| Blackshear, David | PNM Resources | Via Teleconference |
| Blakey, Eric | Pedernales Electric Cooperative | Via Teleconference |
| Bunch, Kevin | EDF Trading |  |
| Burford, Bret | AEPSC | Via Teleconference |
| Bruce, Mark | Cratylus Advisors | Via Teleconference |
| Calcagni, Anthony | DC Energy | Via Teleconference |
| Callender, Hudson | CPS Energy | Via Teleconference |
| Cloninger Ross | TNMP | Via Teleconference |
| DeRidder, Chris | nFront | Via Teleconference |
| DeWitt, Charles | PEC | Via Teleconference |
| Dharme, Neeraja | EDFT | Via Teleconference |
| Evans, Doug | AEPSC | Via Teleconference |
| Flessner, Teddi | STEC | Via Teleconference |
| Floyd, Rickey | Oncor | Via Teleconference |
| Henry, Mark | Texas Reliability Entity | Via Teleconference |
| Henson, Martha | Oncor | Via Teleconference |
| Huynh, Thuy | Potomac Economics | Via Teleconference |
| Jackson, Jimmy | CPS Energy | Via Teleconference |
| Khayat, Maribel | CNP | Via Teleconference |
| King, Kenesha | Oncor | Via Teleconference |
| Koenig, Chris | GSEC | Via Teleconference |
| Kroskey, Tony | Brazos | Via Teleconference |
| Lacek, Mollie | Talen Energy | Via Teleconference |
| Lee, Jim | CNP | Via Teleconference |
| Lotter, Eric | GridMonitor | Via Teleconference |
| Macaraeg, Tad | Stem | Via Teleconference |
| Matevosyan, Julia | ESIG Energy | Via Teleconference |
| Morris, Sandy | WETT | Via Teleconference |
| Mulholland, Chad | NRG | Via Teleconference |
| Owens, Frank | Rayburn Electric Cooperative | Via Teleconference |
| Patel, Rutul | Constellation | Via Teleconference |
| Ramaswamy, Ramya | PUCT | Via Teleconference |
| Ravulapati, Bharath | LCRA | Via Teleconference |
| Reid, Walter | Advanced Power Alliance | Via Teleconference |
| Ritch, John | NextEra Energy | Via Teleconference |
| Siddiqi, Shams | Crescent Power | Via Teleconference |
| Smith, Caitlin | Jupiter Power |  |
| Turner, Lucas | STEC | Via Teleconference |
| Velasquez, Ivan | Oncor Electric Delivery (Oncor) |  |
| Wang, Zhenhua | AEPSC | Via Teleconference |
| White, Lauri | AEPSC | Via Teleconference |
| Williams, Wes | BTU | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power |  |
| Woods, Brad | Texas Reliability Entity | Via Teleconference |
| Wu, Tiffany | PUCT | Via Teleconference |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  | Via Teleconference |
| Billo, Jeff |  | Via Teleconference |
| Boren, Ann |  | Via Teleconference |
| Cheng, Yunzhi |  | Via Teleconference |
| Clifton, Suzy |  |  |
| Devadhas Mohanadhas, Thinesh |  | Via Teleconference |
| Fohn, Doug |  | Via Teleconference |
| Frosch, Colleen |  | Via Teleconference |
| Garcia, Freddy |  |  |
| Golen, Robert |  | Via Teleconference |
| Hinojosa, Luis |  |  |
| Huang, Fred |  |  |
| Kang, Sun Wook |  | Via Teleconference |
| Lee, Alex |  | Via Teleconference |
| Mago, Nitika |  |  |
| Phillips, Cory |  | Via Teleconference |
| Schmall, John |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Teixeira, Jay |  |  |
| Wasik-Gutierrez, Erin |  |  |
| Yan, Ping |  | Via Teleconference |

Unless otherwise indicated, all Market Segments participated in the votes.

Suzy Clifton called the January 5, 2023 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Clifton directed attention to the Antitrust Admonition, which was displayed.

Membership Introductions

Ms. Clifton introduced newly seated ROS Segment Representatives and expressed appreciation for returning ROS Segment Representatives and their willingness to continue to serve.

- Election of 2023 ROS Chair and Vice Chair (see Key Documents)

Ms. Clifton reviewed the leadership election process codified in the Technical Advisory Committee

Procedures and opened the floor for nominations.

Ivan Velasquez nominated Chase Smith for 2023 ROS Chair.  Mr. Smith accepted the nomination.  Mr. Smith was named 2023 ROS Chair by acclamation.

Daniel Marr nominated Katie Rich for 2023 ROS Vice Chair.  Ms. Rich accepted the nomination.  Ms. Rich was named 2023 ROS Vice Chair by acclamation.

Agenda Review

- There were no changes to the agenda.

- Approval of Meeting Minutes (see Key Documents)

December 1, 2022

Market Participants reviewed the December 1, 2022 ROS Meeting Minutes.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Technical Advisory Committee (TAC) Update

Cross-State Air Pollution Rule (CSAPR) Oxides of Nitrogen (NOx) Season Allowance

Mr. Smith reviewed the disposition of items considered at the December 5, 2022 TAC meeting, including the TAC assignment to the Wholesale Market Subcommittee (WMS) and ROS to review the NOx season allowance issues under the Environmental Protection Agency's (EPA’s) CSAPR Federal Implementation Plan for ozone transport.  Ian Haley stated that in consideration of the potential implementation timeline, reliability impacts of the rule, and financial impacts to Resource owners, stakeholders need to begin exploring solutions.  Mr. Smith reminded Market Participants of the 2022 ERCOT presentation on the potential impacts of the rule, and stated a deeper dive of the issues is needed noting  that 2022 WMS and ROS leadership had discussed a potential workshop as the appropriate forum to review the issues.  Market Participants expressed support for the workshop, discussed potential topics to explore, and requested ERCOT consideration of sensitivity studies for scenarios to address Resource adequacy with this new version of the rule.  Mr. Smith offered to coordinate a February workshop date with ERCOT Staff and WMS and encouraged Market Participants to submit agenda topics and/or issues for consideration to ROS leadership.

Calculating Loads and/or Load Shedding in Real-Time (related to Nodal Operating Guide Revision Request (NOGRR) 243, Implementation of Seasonal Load Shed Tables

Mr. Smith summarized the discussion on NOGRR243 at the December 5, 2022 TAC meeting, and TAC’s request that ROS continue to review the calculation of Real-Time Load and Load shedding as a final solution.  Some Market Participants indicated there were ongoing discussions with Transmission Operators (TOs) for potential solutions and requested additional time to review the issues and bring forth concepts to ROS for consideration.  Market Participants expressed support for the requested approach.

- ERCOT Reports (See Key Documents)

- Operations Report

- Alex Lee summarized the November 2022 Operations Report. In response to Market Participants’ questions and concerns regarding the Load forecasts and the December 2022 cold weather event, Jeff Billo noted that ERCOT would be providing a preliminary report at the January 24, 2023 TAC meeting and will provide additional analysis in the appropriate forum after responses to the ERCOT Requests for Information (RFIs) were received.  In response to Market Participant concerns regarding the deadline to respond to RFIs, Mr. Billo indicated Generators that had an outage or unexpected gap issues should expect to receive an RFI, and ERCOT will notify those Generators as early as possible.

- System Planning Report

- Ping Yan summarized the November 2022 System Planning Report.

- ERCOT Update on Implementation of Amendments to Public Utility Commission of Texas (PUCT) Rule 25.101 in Project No. 53403

- Ms. Yan reviewed the key changes to the recent PUCT rulemaking in Project 53403; summarized next steps and impacts to Nodal Protocol Revision Request (NPRR) 1070, Planning Criteria for GTC Exit Solutions; and encouraged Market Participants to attend future Planning Working Group (PLWG) meetings to further discuss the issues.

- Operational issues related to Energy Storage Resources (ESRs)

- Luis Hinojosa summarized the discussions that took place at the November 16, 2022 Performance Disturbance Compliance Working Group (PDCWG) and November 18, 2022 Wholesale Market Working Group (WMWG) meetings on  Energy Storage Resources (ESRs) operational performance issues, presented a high level overview of the issues, and reviewed next steps.  Mr. Hinojosa encouraged Market Participants to attend the January 18, 2023 PDCWG meeting to discuss updates to the Business Practice Manual for Qualified Scheduling Entities (QSEs) related to ESR performance issues in Real-Time, and to forward questions and/or comments for the ESR workshop to:  Operations/Analysis@ercot.com

ROS Revision Requests (see Key Documents)

Language Review

Planning Guide Revision Request (PGRR) 103, Establish Time Limit for Generator Commissioning Following Approval to Synchronize

Jay Teixeira summarized PGRR103.  Market Participants discussed potential options to mitigate Generation Resources and ESRs delays in achieving full commercial operation within 180 days of receiving ERCOT’s approval for Initial Synchronization and whether the 180-day time limit was appropriate under certain circumstances.  Market Participants requested further review of the issues at the Operations Working Group (OWG) and the PLWG.  Some Market Participants opined that commercial solutions might be a more appropriate way of resolving the issues.  Mr. Smith offered to ask WMS to explore potential commercial solutions to the issues and provide their recommendation to ROS, and then OWG and PLWG would take up the issues.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR230, WAN Participant Security

NPRR1150, Related to NOGRR230, WAN Participant Security

No action was taken on these items.

OWG (see Key Documents)

Rickey Floyd reviewed OWG activities.

NPRR1070, Planning Criteria for GTC Exit Solutions

NOGRR215, Limit Use of Remedial Action Schemes

ROS took no action on these items.

Combined Ballot

Mr. Velasquez moved to approve the Combined Ballot as follows:

- To approve the December 1, 2022 ROS Meeting Minutes as submitted

- To table PGRR103 and refer the issue to the OWG and PLWG

Mr. Haley seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Inverter Based Resources Task Force (IBRTF)

Stephen Solis reviewed IBRTF activities.

Network Data Support Working Group (NDSWG)

Kenesha King reviewed NDSWG activities.

Dynamics Working Group (DWG) (see Key Documents)

Zhenhua Wang reviewed DWG activities.

Black Start Working Group (BSWG)

Rutul Patel reviewed BSWG activities.

Steady State Working Group (SSWG) (see Key Documents)

Mr. Smith noted the SSWG report was posted.

Other Business

2023 ROS Goals

Mr. Smith encouraged Market Participants to offer revisions for the 2023 ROS Goals and stated that ROS will consider 2023 ROS Goals after TAC approves its 2023 Goals.

2023 Working Group and Task Force Leadership

Mr. Smith encouraged Market Participants to consider leadership opportunities and stated that ROS Working Group and Task Force leadership will be considered for approval at the February 2, 2023 ROS meeting.

NPRR1156, Priority Revision Request Process and NPRR1157, Incorporation of PUCT Approval into Revision Request

Suzy Clifton noted that once NPRRs 1156 and 1157 have gone through the stakeholder process and are approved by the PUCT, ERCOT anticipates that there will be related Revision Requests to align the Nodal Operating Guide and Planning Guide  with the NPRRs.

Review Open Action Items List

Mr. Smith requested ROS Working Group and Task Force leadership be cognizant of their action items and drive the review and resolution of the issues.

No Report

- Operations Training Working Group (OTWG)

- PDCWG

- PLWG

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Smith adjourned the January 5, 2023 ROS meeting at 12:15 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/01052023-ROS-Meeting