## Slide 1
Firm Fuel Supply Service (FFSS) Post-Deployment Report for January/February 2023
Ryan King
ERCOT
Technical Advisory Committee (TAC)
February 20, 2023

## Slide 2: Background
This presentation is in response to the requirement under Protocol 3.14.5(8):
  “ERCOT will provide a report to the TAC or its designated subcommittee within 45 days of any FFSS deployments, including the Resources deployed and the reason for the deployments.”
There are additional reports that will be provided later in the year, specifically a report required under 3.14.5(10):
  “On an annual basis after the FFSS season, ERCOT will provide a report separately for the total amounts from Section 6.6.14.1, Firm Fuel Supply Service Fuel Replacement Costs Recovery, and Section 6.6.14.2, Firm Fuel Supply Service Hourly Standby Fee Payment and Fuel Replacement Cost Recovery, to the TAC or its designated subcommittee.”

## Slide 3: Background
Leading up to the freezing precipitation that started on Jan 30th, ERCOT began receiving information about gas supply restrictions and problems at some individual plants
  Made determination to deploy FFSS resources for the second time this obligation period
01/30
01/31
02/01
02/02
02/03
02/04
9:30 - Watch issued for forecasted freezing precipitation event from 01/30 through 02/02
13:00 - Public notice issued instructing Qualified Scheduling Entities (QSEs) to prepare for potential FFSS deployments
15:18- Public notification of First FFSS deployment instructions
00:00 - First FFSS deployment begins
9:00 - Watch and public notice cancelled
20:00 - Last FFSS deployments end

## Slide 4: Summary of FFSS Deployments
4 Resources had active FFSS deployments between approximately midnight on January 31st and 20:00 on February 2nd.
  The specific period of deployment varied across the different Resources.
The specific Resources deployed, and the timing of those deployments, was based on information from the QSEs, including:
  Was the Resource expecting potential fuel supply limitations;
  Whether the Resource would be able to run without utilizing reserve fuel procured through the FFSS program; and
  Discussions on available amounts of reserve fuel procured through the FFSS program.
Operating Day | Number of Resource Deployed | Total FFSS Deployed in MW(Based on FFSS Awards)
1/31/2023 | 4 | 757.5
2/1/2023 | 4 | 757.5
2/2/2023 | 2 | 38.5

## Slide 5: Deployment Details
These deployments were issued through Verbal Dispatch Instruction (VDI) and occurred across multiple VDIs, particularly when they spanned across multiple Operating Days.
Initial Notification Time for Deployment | Resource Name | Deployment Start | Deployment End | Reason
1/30/2023 15:17 | LHSES_UNIT1 | 1/31/2023 0:01 | 2/1/2023 23:59 | Capacity
1/30/2023 15:20 | LHSES_UNIT2A | 1/31/2023 0:01 | 2/1/2023 23:59 | Capacity
1/30/2023 20:51 | STEAM_STEAM_2 | 1/31/2023 0:01 | 2/1/2023 23:59 | Capacity
2/1/2023 17:51 | STEAM_STEAM_2 | 2/2/2023 0:01 | 2/2/2023 20:00 | Capacity
1/30/2023 20:55 | STEAM_STEAM_3 | 1/31/2023 0:01 | 2/1/2023 23:59 | Capacity
2/1/2023 17:54 | STEAM_STEAM_3 | 2/2/2023 0:01 | 2/2/2023 20:00 | Capacity

## Slide 6: Real-Time Reserves and Pricing during the FFSS Deployment
The High Sustained Limit (HSL) of Resources deployed for FFSS is excluded from the on-line ORDC reserves.
Real-Time On-Line and Off-Line price adders were and remained at zero during the deployment.
Chart: On-Line Operating Reserve Demand Curve (ORDC) Reserves during the FFSS Deployment

## Slide 7: Observations and Next Steps
Notification to market about FFSS deployment was successful (failed to send with first FFSS deployment in December ‘22 but was addressed in subsequent fix).
ERCOT staff are evaluating the performance of resources which will eventually flow through to settlement.
Given the still relatively early timing of this FFSS deployment within the season and obligation period, QSEs for FFSSRs that were deployed were given instruction/approval to restock fuel reserves for FFSS.
A report will be provided on FFSS fuel replacement costs after the end of the FFSS obligation period, as required by Protocol.
No additional takeaways beyond those identified in initial FFSS deployment.