## Slide 1
ERCOT Updates
NDSWG February 2023
Joel Koepke
2/21/2023

## Slide 2: Topics
NMMS “Tech Health” Project
  Recap
  February Release
  Additional Releases
Contingency Review
  Annual double-circuit review kickoff
  New manual contingency review
NOMCR One-Line Submission Discussion

## Slide 3: NMMS Tech Health Project – Deployments (Update)
Initial deployment was in early December
  Performance issues experienced
  Defects identified
Upcoming deployments (schedule subject to change)
  January deployment to fix critical defects
    Completed
  February deployment (2/24)
    MAGE (UX) only
  March and April deployments
    MAGE (UX) and SGEM (Backend) changes

## Slide 4: NMMS Tech Health Project – February 24th Release
Updates to MAGE application
  Users must install the update when prompted
  Please refrain from logging in during upgrades
Changes:
  Diagram loading time improved
  Diagram background color can be set for all users by ERCOT admin
  Color pallet now viewable in User Preference popup

## Slide 5: Double Circuit (DCKT) Contingency Annual Review
ERCOT will be kicking off the annual review of “double circuit” contingencies this week
An email will be sent to NDSWG contacts within the next week
  Requesting review of existing DCKT contingencies
  Providing instruction for submitting with a TSP-specific production load date
An ICR or CAMR submission must be submitted.
  CAMR submissions will be required for any updates, additions, or deletions
    Should only reference “seed” elements (e.g. no breakers or disconnects)
  ICR submission will be required if no changes are needed

## Slide 6: Manual Contingency Review
ERCOT will be starting a new process to review manual contingencies
The goal of this review is to determine if the contingencies are still accurate and required
  Many of the contingencies are disabled
The outcome of the review will be a CAMR or ICR similar to the double-circuit contingency review

## Slide 7: Restatement of NOMCR One-Line Submissions Guidelines
No ERCOT-sourced one-lines should be used to meet the NOMCR submission requirement
MAGE or SOTE one-lines should not be submitted even if modified
ERCOT uses MP-provided one-lines to:
  Validate the submitted changes within the NOMCR
  Validate topology at associated substations
  Arrange ERCOT-created one-lines similarly to the TSP’s
    These arrangements can be seen in SOTE and GridGeo