Draft

Minutes of the Reliability Operations Subcommittee (ROS) Meeting – Webex Only

Wednesday, February 8, 2023 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Bowen, Kenneth | CPS Energy |  |
| Boyd, Phillip | City of Lewisville |  |
| Cochran, Adam | Tenaska Power Services (Tenaska) |  |
| Cochran, Seth | DC Energy |  |
| Ebrahimian, Reza | Austin Energy |  |
| Haley, Ian | Luminant Generation (Luminant) |  |
| Hanson, Kevin | National Grid Renewables (NG Renewables) | Alt. Rep. for Kiran Kota |
| Kopp, Casey | Broad Reach Power |  |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) |  |
| Marr, Daniel | Lower Colorado River Authority (LCRA) |  |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) |  |
| Schmitt, Jennifer | Rhythm Ops |  |
| Smith, Chase | Southern Power |  |
| Velasquez, Ivan | Oncor Electric Delivery (Oncor) | Alt. Rep. for Eithar Nashawati |
| Woitt, Wes | CenterPoint Energy (CNP) |  |
| Zhang, Wen | Shell Energy North America (SENA) |  |

| Guests: |  |  |
| --- | --- | --- |
| Albaijat, Mohammad | Bridge Link Investments |  |
| Anderson, Connor | AB Power Advisors |  |
| Andrepont, Jordan | ENGIE |  |
| Ashley, Kristy | Customized Energy Solutions |  |
| Bell, Brad | Solar Proponent |  |
| Blackburn, Don | Hunt Energy Network Power |  |
| Blackshear, David | PNM Resources |  |
| Blakey, Eric | Pedernales Electric Cooperative |  |
| Borkar, Sandeep | LCRA |  |
| Calcagni, Anthony | DC Energy |  |
| Callender, Hudson | CPS Energy |  |
| Chan, Vanessa | Enel |  |
| Chwialkowski, Todd | EDF |  |
| Cloninger Ross | TNMP |  |
| Coleman, Diana | CPS Energy |  |
| DeRidder, Chris | nFront |  |
| Detelich, David | CPS Energy |  |
| DeWitt, Charles | PEC |  |
| Dharme, Neeraja | EDFT |  |
| Donohoo, Ken | OwlERC LLC |  |
| Dreyfus, Mark | MD Energy Consulting |  |
| Evans, Doug | AEPSC |  |
| Flessner, Teddi | STEC |  |
| Floyd, Rickey | Oncor |  |
| Galliguez, Percy | BEPSC |  |
| Gross, Blake | AEPSC |  |
| Hanson, Pamela | Texas State University |  |
| Helton, Bob | ENGIE |  |
| Henson, Martha | Oncor |  |
| Huynh, Thuy | Potomac Economics |  |
| Ito, Takayuki | AEPSC |  |
| Jackson, Jimmy | CPS Energy |  |
| Jolly, Emily | LCRA |  |
| Jowlabar, Nicholas | RWE Renewables |  |
| Kee, David | CPS Energy |  |
| Khayat, Maribel | CNP |  |
| Kroskey, Tony | Brazos |  |
| Lacek, Mollie | Talen Energy |  |
| Lee, Jim | CNP |  |
| Lee, Tina | WattBridge |  |
| Leverett, Travis | WETT |  |
| Lotter, Eric | GridMonitor |  |
| Macaraeg, Tad | Stem |  |
| Maynez, Andres | Orsted |  |
| Miller, Alexandra | EDFR |  |
| Minchew, Christina | CTT |  |
| Mohammed, Omer | CPS Energy |  |
| Morris, Sandy | WETT |  |
| Mulholland, Chad | NRG |  |
| Noyes, Theresa | LCRA |  |
| Nguyen, Andy | Constellation Energy Generation |  |
| Ok, Brendan | PUCT |  |
| Orr, Rob | Lone Star Transmission |  |
| Pappu, Ajay | Invenergy |  |
| Penney, David | Texas Reliability Entity |  |
| Polusani, Jithender | PEC |  |
| Preas, Dylan | LCRA |  |
| Ramaswamy, Ramya | PUCT |  |
| Reid, Walter | Advanced Power Alliance |  |
| Ritch, John | NextEra Energy |  |
| Sams, Bryan | Calpine |  |
| Siddiqi, Shams | Crescent Power |  |
| Sims, Chris | LP&L |  |
| Smith, Caitlin | Jupiter Power |  |
| Turner, Lucas | STEC |  |
| Varnell, John | Tenaska |  |
| Wall, Perrin | CNP |  |
| Wichers, Joshua | AEPSC |  |
| Williams, Wes | BTU |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Wolf, Craig | RES |  |
| Woods, Brad | Texas Reliability Entity |  |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Billo, Jeff |  |  |
| Boren, Ann |  |  |
| Cheng, Yunzhi |  |  |
| Clifton, Suzy |  |  |
| Cyphers, Darrell |  |  |
| Daryabak, Mehdi |  |  |
| Devadhas Mohanadhas, Thinesh |  |  |
| Du, Pengwei |  |  |
| Frosch, Colleen |  |  |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  |  |
| Golen, Robert |  |  |
| Herrera, Shane |  |  |
| Hinojosa, Luis |  |  |
| Huang, Fred |  |  |
| Jenkins, Darrell |  |  |
| Kang, Sun Wook |  |  |
| Mago, Nitika |  |  |
| Matlock, Robert |  |  |
| Phillips, Cory |  |  |
| Schmall, John |  |  |
| Sheets, Jarod |  |  |
| Solis, Stephen |  |  |
| Teixeira, Jay |  |  |
| Troublefield, Jordan |  |  |
| Wasik-Gutierrez, Erin |  |  |
| Woodfin, Dan |  |  |
| Yan, Ping |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

Katie Rich called the February 8, 2023 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Rich directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

# There were no changes to the agenda.

# Approval of Meeting Minutes (see Key Documents)

January 5, 2023

Market Participants reviewed the January 5, 2023 ROS Meeting Minutes.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Technical Advisory Committee (TAC) Update

Ms. Rich reviewed the disposition of items considered at the January 24, 2023 TAC meeting.

# 2023 ROS Working Group/Task Force Leadership (see Key Documents)

Ms. Rich presented the 2023 ROS Working Group and Task Force Leadership for ROS consideration.  Market Participants offered administrative clarifications to ROS Working Group and Task Force Leadership.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

# 2023 ROS Goals (see Key Documents)

# Market Participants expressed a desire to await development of the 2023 TAC Goals before finalizing 2023 ROS Goals and took no action on this item.

# ERCOT Reports (See Key Documents)

# Operations Report

# Freddy Garcia summarized the December 2022 Operations Report.

# System Planning Report

# Ping Yan summarized the December 2022 System Planning Report.

# Transient Security Assessment Tool (TSAT) Model Update

# Mehdi Daryabak summarized the update on the TSAT data requirements and model status, and responded to Market Participant questions and concerns.

ROS Revision Requests (see Key Documents)

Language Review

Nodal Operating Guide Revision Request (NOGRR) 245, Inverter-Based Resource (IBR) Ride-Through Requirements

Stephen Solis summarized NOGRR245, reviewed the voltage-ride through requirements, noted the NOGRR245 discussions at the January 19, 2023 Operations Working Group (OWG) meeting and January 20, 2023 Inverter Based Resources Task Force (IBRTF) meeting, and reviewed the implementation timeline.  Market Participants discussed whether it was appropriate to apply the new frequency ride-through requirements to certain existing IBRs, noting technical limitations of equipment and financial implications as concerns, and requested that ERCOT explore incorporating provisions that would allow for exemptions under some circumstances.  Mr. Solis requested that Market Participants provide, for consideration, detailed information supporting their concerns, including specifics from original equipment manufacturers identifying technical limitations.  Market Participants requested additional review of the issues by OWG and IBRTF and requested the Dynamics Working Group (DWG) review frequency ride-through and voltage ride-through requirements and the DWG Procedural Manual.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR230, WAN Participant Security

NPRR1150, Related to NOGRR230, WAN Participant Security

No action was taken on these items.

OWG (see Key Documents)

Rickey Floyd reviewed OWG activities.

NOGRR215, Limit Use of Remedial Action Schemes

Mr. Floyd summarized NOGRR215 discussion at the January 19, 2023 OWG meeting, stated that the working group did not achieve consensus on an opinion, and requested ROS provide direction on the issue.  He noted that additional comments have been submitted by LCRA and AEP since the OWG meeting.,  Ms. Rich stated that the 1/31/223 LCRA comments and 1/31/23 AEP comments on NOGRR215 will be discussed at the February 13, 2023 Congestion Management Working Group (CMWG) meeting.  Mr. Garcia summarized the NOGRR215 discussion at the February 6, 2023 Wholesale Market Subcommittee (WMS) meeting, and noted NOGRR215 will be considered at the March 1, 2023 WMS meeting. He reminded Market Participants of the reliability risks and solution proposed in NOGRR215 and noted that  the 1/31/23 AEP comments  align with ERCOT’s goals outlined in the Revision Request.  Emily Jolly summarized the 1/31/23 LCRA comments.  Market Participants requested additional time to review the issues.  Ms. Rich stated NOGRR215 will be considered at the March 2, 2023 ROS meeting.  ROS took no action on this item.

Planning Working Group (PLWG) (see Key Documents)

Charlie DeWitt reviewed PLWG activities.

NPRR1070, Planning Criteria for GTC Exit Solutions

Planning Guide Revision Request (PGRR) 103, Establish Time Limit for Generator Commissioning Following Approval to Synchronize

ROS took no action on these items.

IBRTF (see Key Documents)

Mohamed Albaijat reviewed IBRTF activities.

Steady State Working Group (SSWG) (see Key Documents)

SSWG Procedure Manual

Joshua Wichers reviewed SSWG activities and presented the updated SSWG Procedure Manual for ROS consideration.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Dennis Kunkel moved to approve the Combined Ballot as follows:

- To approve the January 5, 2023 ROS Meeting Minutes as submitted

- To approve the 2023 ROS Working Group and Task Force Leadership as revised by ROS

- To table NOGRR245 and refer the issue to OWG, IBRTF, and DWG

- To approve SSWG Procedure Manual as submitted

Daniel Marr seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Network Data Support Working Group (NDSWG) (see Key Documents)

Ms. Rich noted the NDSWG report was posted.

Performance Disturbance Compliance Working Group (See Key Documents)

Jimmy Jackson reviewed PDCWG activities.

Operations Training Working Group (OTWG) (see Key Documents)

Dave Blackshear reviewed OTWG activities and presented the 2023 training schedule.

Other Business

Cross-State Air Pollution Rule (CSAPR) Oxides of Nitrogen (NOx) Season Allowance Workshop Update

Ms. Rich summarized discussion at the February 6, 2023 CSAPR NOx Season Allowance Workshop and stated that ROS and WMS leadership will present the list of issues and next steps at a future TAC meeting.

Review Open Action Items List

Ms. Rich requested 2023 ROS Working Group and Task Force leadership review the Open Action Items list and present updates/clarifications to the list in their report at the March 2, 2023 ROS meeting.

No Report

- Black Start Working Group (BSWG)

- DWG

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Ms. Rich adjourned the February 8, 2023 ROS meeting at 12:06 p.m.