## Slide 1
Introduction to Bridging Solutions
Kenan Ögelman
Vice President of Commercial Operations
March 5, 2023

## Slide 2: Process
“…the Commission directs ERCOT to evaluate bridging options to retain existing assets and build new dispatchable generation until the PCM can be fully implemented” (Memorandum attached to Order, Project 53298 (Jan. 19, 2023)
ERCOT has been tasked with providing bridge solutions to cover: 1) retaining existing generation and 2) attracting the construction of new generation. The bridge would be in effect while the PUCT’s final market design is being developed.
The current recommendations are intended to:
  Advance our market to meet the PUCT’s long term goals with minimal distortions and adverse consequences.
  Have quick implementation timelines that don’t interfere with a long-term solution.
The current slate of options fall within 3 broad categories:
  Solutions that address new investment and maintaining existing resources.
  Solutions that address existing resources.
  Solutions that address new investment.

## Slide 3: Solutions that Address Both New Investment and Maintaining Existing Resources: Implement a Basic settlement component of PCM manually
ERCOT creates a basic manually settled PCM (Performance Credit Mechanism) that pays generators for their performance. This payment would be funded by a load ratio share allocation to all LSEs.
Pros:
Has a medium implementation timeline (late 2023 early 2024).
Gets a payment to generators that is based on performance.
Has mechanisms to preserve both existing generation and new entry.
Partially begins the PUCT recommended market design change.
Gives stakeholders and markets experience with the proposed future state.
Cons:
Does not create an obligation for LSEs to contract.
There would not be a forward market. The value of a PC is determined exclusively by ERCOT.

## Slide 4: Solutions that Address Both New Investment and Maintaining Existing Resources: Procure Additional Ancillary Services
ERCOT would procure more ancillary services and thereby pay an ancillary service payment to more market resources.
Pros:
Can be implemented quickly.
Utilizes existing market design.
Cons:
Ancillary service markets appear to be relatively illiquid, especially Non-Spin Reserve Service (NSRS). Prolonged price increases could precede an investment response.
Increased procurement of Ancillary Services has not resolved the reliance on Reliability Unit Commitment (RUC).
Only rewards a subset of the resources serving the grid.

## Slide 5: Solutions that Address Both New Investment and Maintaining Existing Resources: Enhance the Operating Reserve Demand Curve (ORDC)
ORDC would be modified to achieve a 1 in 10 LOLE in 2026. This would involve changing parameters of the curve. Except for VOLL/offer cap decoupling and minimum ORDC adder (which require system changes), all other parameters can be changed by PUCT instruction and BOD approval.
Pros:
Can be implemented quickly.
Enhancement to the energy-only market.
Cons:
Relies on mechanisms of the energy-only market for revenue (requires scarcity conditions).

## Slide 6: Solutions that Address Both New Investment and Maintaining Existing Resources: Backstop Reserve Service
ERCOT procures a preset capacity amount based on bids. Rules are then established to dispatch these resources only when scarcity conditions are met.
Pros:
Has a medium implementation timeline (Deliverable late 2023 early 2024).
Has mechanisms to preserve both existing generation and new entry.
Cons:
For most of the market resources, BRS relies on mechanisms of the energy-only market for revenue (requires scarcity conditions). Only a subset of the resources serving the grid receive the payment.
Must require that the resource can be mitigated and used for local issues. Otherwise, cannot serve as a bridge.
Implementation of BRS creates delays to implementation of PCM.
Creates a regulated group of resources that receive a capacity payment.
Capacity payment could be utilized to provide a competitive advantage over non-BRS resources if BRS resources are allowed to return to the market.

## Slide 7: Solution that Address Existing Resources: Contracts for Capacity
In the case of a retirement or an identified need for additional capacity, ERCOT would contract to cover fixed and operational costs plus a profit adder. Retiring power plants and retired power plants that could be returned to service would be eligible.
Pro:
Can be implemented quickly and relies on an existing practice.
Con:
Only a partial solution because it only covers retiring or mothballed generation.

## Slide 8: Solution that Address New Resources: Publish Indicative PCM Values
ERCOT would use the filed design assumptions to simply start publishing what PCM revenues and costs would look like starting for 2022. No revenue would be collected, or payments made. This would help markets price the value and costs of the service and may initiate investment discussion earlier than the case where the value is not published.
Pro:
Provides indicative pricing to the market to help understand risk management and investment decisions.
Cons:
No financial compensation or binding requirement.
No benefit for existing resources.

## Slide 9: Regarding RUC
ERCOT is committed to reliably reduce RUC commitments and will work on future processes to acquire the resource commitment it needs through market-based mechanisms.
Currently ERCOT needs more data to find both potential workarounds and build a best path for an Ancillary Service enhancement that would create an uncertainty product.
The plan is to continue to examine methods to improve the RUC process and bring solutions to stakeholders for consideration.

## Slide 10: Next Steps
The current process envisions the Board making a recommendation at its scheduled April meeting.
During March ERCOT staff will schedule workshops with stakeholders to solicit feedback and alternatives. This will result in an improved product and may result in modifications to what is presented today.
TAC will also facilitate discussion and ways to weigh in. TAC will have an agenda item at the R&M Committee to discuss any perspective that is developed on the issue.

## Slide 11: Questions?