## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
Alexandra Miller, PLWG Chair
Dylan Preas, PLWG Vice-Chair
March 02, 2022

## Slide 2: PLWG Activity Update
PGRR 103 - Establish Time limit for Generator Commissioning Following Approval to Synchronize
  ERCOT provided additional statistics and is continuing to investigate root cause of issues
  Stakeholder comments with suggested revisions are being considered by ERCOT
  Suggested to remain tabled at PLWG.
NPRR 1070 - Planning Criteria for GTC Exit Solutions
  ERCOT working on an RFP for a consultant to survey best practices for economic project evaluation.
  Timeline for ERCOT proposal is tied to the RFP.

## Slide 3: PLWG Activity Update
Impact on Planning Guides and Protocols of proposed revisions FAC-001 and FAC-002 changing term “material modifications” to “qualified changes”
  ERCOT planning presented an outline for implementation with expected completion by end of 2023.
DC Ties – identify planning criteria changes that may be needed to realize potential reliability benefits
  The issue was discussed and expect a draft of PGRR language to review in March
KTC-15-6 RMR and MRA Services Analysis for Batteries
  Due to complexity involving multiple ERCOT areas beyond planning, ERCOT analysis of this issue is ongoing. PLWG asks ROS to revisit the assignment of this issue to a more broad group or task force

## Slide 4: Questions?