## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for February 2023

## Slide 2: Non-IRR GREDP < 85% – February 2023
Unit​ | Total Intervals Passed​ | Total Intervals Scored​ | Std. Dev. (ATG - Exp MW)​ | GREDP Monthly Score​
Unit 361 | 107 | 155 | 3.44 | 69.03
Unit 381 | 23 | 63 | 2.23 | 36.51
Unit 387 | 37 | 45 | 0.62 | 82.22

## Slide 3: IRR Summary – February 2023
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 85.22 | 72.75 | 80.93
GREDP Median (%) | 95.01 | 83.91 | 88.48
Average MW Error | 5.29 | 5.42 | 5.77
Median MW Error | 4.91 | 5.04 | 5.62
Total Intervals Scored | 148,551 | 68,753 | 67,104
100+ Intervals Scored | 147 | 169 | 79
Total Intervals Scored Average | 467.14 | 528.87 | 849.42

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,888 | 3,033 | 5.42 | 95.22
Unit 2 | 2,845 | 2,870 | 5.10 | 99.13
Unit 4 | 2,627 | 2,632 | 4.82 | 99.81
Unit 5 | 2,523 | 2,607 | 6.57 | 96.78
Unit 7 | 2,508 | 2,515 | 2.97 | 99.72
Unit 9 | 2,404 | 2,410 | 3.28 | 99.75
Unit 10 | 2,304 | 2,342 | 3.20 | 98.38
Unit 11 | 2,290 | 2,332 | 3.96 | 98.20
Unit 14 | 2,225 | 2,265 | 4.68 | 98.23
Unit 15 | 2,159 | 2,225 | 3.40 | 97.03
Unit 18 | 2,101 | 2,159 | 4.58 | 97.31
Unit 19 | 1,970 | 2,007 | 6.77 | 98.16
Unit 22 | 1,853 | 1,857 | 12.75 | 99.78
Unit 25 | 1,721 | 1,768 | 2.77 | 97.34
Unit 26 | 1,736 | 1,764 | 4.85 | 98.41
Unit 31 | 1,638 | 1,644 | 1.07 | 99.64
Unit 32 | 1,568 | 1,594 | 3.16 | 98.37
Unit 33 | 1,542 | 1,593 | 4.84 | 96.80
Unit 34 | 1,507 | 1,570 | 6.05 | 95.99
Unit 35 | 1,506 | 1,564 | 3.74 | 96.29

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 36 | 1,505 | 1,543 | 5.00 | 97.54
Unit 37 | 1,500 | 1,516 | 10.41 | 98.94
Unit 39 | 1,395 | 1,457 | 5.23 | 95.74
Unit 40 | 1,413 | 1,449 | 7.46 | 97.52
Unit 41 | 1,387 | 1,430 | 4.79 | 96.99
Unit 43 | 1,329 | 1,392 | 11.85 | 95.47
Unit 46 | 1,298 | 1,330 | 4.50 | 97.59
Unit 48 | 1,264 | 1,301 | 4.44 | 97.16
Unit 49 | 1,271 | 1,286 | 0.91 | 98.83
Unit 50 | 1,231 | 1,281 | 4.09 | 96.10
Unit 55 | 1,199 | 1,231 | 8.19 | 97.40
Unit 56 | 1,168 | 1,217 | 5.57 | 95.97
Unit 58 | 1,202 | 1,210 | 6.55 | 99.34
Unit 59 | 1,156 | 1,210 | 5.68 | 95.54
Unit 60 | 1,112 | 1,144 | 1.94 | 97.20
Unit 62 | 1,088 | 1,108 | 9.84 | 98.19
Unit 64 | 1,056 | 1,065 | 12.86 | 99.15
Unit 65 | 929 | 942 | 7.26 | 98.62
Unit 68 | 863 | 901 | 10.37 | 95.78
Unit 69 | 888 | 890 | 6.56 | 99.78

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 72 | 821 | 833 | 3.72 | 98.56
Unit 73 | 809 | 817 | 3.80 | 99.02
Unit 75 | 754 | 783 | 4.05 | 96.30
Unit 78 | 739 | 759 | 5.58 | 97.36
Unit 80 | 702 | 726 | 1.97 | 96.69
Unit 82 | 682 | 685 | 14.30 | 99.56
Unit 87 | 552 | 579 | 3.14 | 95.34
Unit 89 | 560 | 560 | 3.81 | 100.00
Unit 90 | 538 | 559 | 3.15 | 96.24
Unit 91 | 554 | 559 | 6.65 | 99.11
Unit 93 | 546 | 550 | 8.56 | 99.27
Unit 100 | 452 | 452 | 3.85 | 100.00
Unit 102 | 393 | 400 | 3.76 | 98.25
Unit 108 | 296 | 306 | 3.50 | 96.73
Unit 112 | 241 | 241 | 4.07 | 100.00
Unit 113 | 230 | 237 | 5.61 | 97.05
Unit 115 | 215 | 226 | 4.09 | 95.13
Unit 116 | 222 | 223 | 5.33 | 99.55
Unit 120 | 199 | 205 | 4.90 | 97.07
Unit 124 | 179 | 186 | 1.39 | 96.24

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 126 | 181 | 181 | 6.87 | 100.00
Unit 132 | 144 | 150 | 3.16 | 96.00
Unit 136 | 148 | 148 | 4.29 | 100.00
Unit 139 | 141 | 141 | 6.52 | 100.00
Unit 140 | 135 | 140 | 1.30 | 96.43
Unit 141 | 133 | 137 | 3.92 | 97.08
Unit 143 | 122 | 122 | 5.26 | 100.00
Unit 145 | 107 | 110 | 4.77 | 97.27

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 2,566 | 2,777 | 4.91 | 92.40
Unit 6 | 2,388 | 2,573 | 7.18 | 92.81
Unit 8 | 2,210 | 2,417 | 6.38 | 91.44
Unit 12 | 2,207 | 2,332 | 5.62 | 94.64
Unit 13 | 2,104 | 2,288 | 3.53 | 91.96
Unit 16 | 1,996 | 2,183 | 4.21 | 91.43
Unit 17 | 2,051 | 2,175 | 5.66 | 94.30
Unit 20 | 1,751 | 1,918 | 5.73 | 91.29
Unit 21 | 1,630 | 1,896 | 5.07 | 85.97
Unit 23 | 1,532 | 1,840 | 8.65 | 83.26
Unit 24 | 1,322 | 1,832 | 2.03 | 72.16
Unit 27 | 1,559 | 1,670 | 4.05 | 93.35
Unit 28 | 1,535 | 1,654 | 6.69 | 92.81
Unit 29 | 1,485 | 1,652 | 1.73 | 89.89
Unit 30 | 1,459 | 1,649 | 5.30 | 88.48
Unit 38 | 836 | 1,459 | 5.13 | 57.30
Unit 42 | 1,323 | 1,406 | 8.62 | 94.10
Unit 44 | 1,235 | 1,362 | 9.30 | 90.68
Unit 45 | 1,243 | 1,337 | 6.57 | 92.97
Unit 47 | 967 | 1,326 | 6.77 | 72.93

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 51 | 1,082 | 1,275 | 20.71 | 84.86
Unit 52 | 1,072 | 1,264 | 5.30 | 84.81
Unit 53 | 961 | 1,263 | 3.86 | 76.09
Unit 54 | 1,168 | 1,235 | 1.65 | 94.57
Unit 57 | 970 | 1,214 | 6.36 | 79.90
Unit 61 | 1,003 | 1,122 | 3.91 | 89.39
Unit 63 | 489 | 1,106 | 3.37 | 44.21
Unit 66 | 822 | 930 | 6.76 | 88.39
Unit 67 | 806 | 911 | 5.20 | 88.47
Unit 70 | 703 | 875 | 1.56 | 80.34
Unit 71 | 615 | 865 | 10.23 | 71.10
Unit 74 | 649 | 815 | 2.86 | 79.63
Unit 76 | 724 | 775 | 3.01 | 93.42
Unit 77 | 717 | 766 | 2.99 | 93.60
Unit 79 | 629 | 737 | 1.20 | 85.35
Unit 81 | 551 | 691 | 4.58 | 79.74
Unit 83 | 565 | 666 | 6.04 | 84.83
Unit 84 | 370 | 631 | 9.61 | 58.64
Unit 85 | 295 | 599 | 6.23 | 49.25
Unit 86 | 536 | 590 | 1.10 | 90.85

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 88 | 509 | 573 | 4.82 | 88.83
Unit 92 | 510 | 554 | 3.65 | 92.06
Unit 94 | 520 | 548 | 4.27 | 94.89
Unit 95 | 495 | 534 | 1.48 | 92.70
Unit 96 | 437 | 525 | 8.37 | 83.24
Unit 97 | 462 | 516 | 5.57 | 89.53
Unit 98 | 451 | 511 | 5.09 | 88.26
Unit 99 | 302 | 503 | 6.92 | 60.04
Unit 101 | 139 | 432 | 7.55 | 32.18
Unit 103 | 365 | 391 | 2.42 | 93.35
Unit 104 | 225 | 373 | 4.21 | 60.32
Unit 105 | 349 | 368 | 6.11 | 94.84
Unit 106 | 184 | 322 | 10.61 | 57.14
Unit 107 | 64 | 314 | 10.07 | 20.38
Unit 109 | 256 | 303 | 9.78 | 84.49
Unit 110 | 274 | 297 | 6.43 | 92.26
Unit 111 | 222 | 248 | 2.68 | 89.52
Unit 114 | 222 | 236 | 2.61 | 94.07
Unit 117 | 121 | 215 | 8.39 | 56.28
Unit 118 | 193 | 214 | 4.44 | 90.19

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 119 | 171 | 209 | 6.69 | 81.82
Unit 121 | 187 | 199 | 5.76 | 93.97
Unit 122 | 186 | 199 | 10.51 | 93.47
Unit 123 | 140 | 191 | 8.06 | 73.30
Unit 125 | 105 | 185 | 9.99 | 56.76
Unit 127 | 164 | 179 | 4.99 | 91.62
Unit 128 | 164 | 178 | 7.04 | 92.13
Unit 129 | 117 | 178 | 1.34 | 65.73
Unit 130 | 155 | 174 | 6.54 | 89.08
Unit 131 | 149 | 161 | 2.94 | 92.55
Unit 133 | 72 | 150 | 4.99 | 48.00
Unit 134 | 76 | 150 | 7.08 | 50.67
Unit 135 | 129 | 149 | 9.82 | 86.58
Unit 137 | 121 | 147 | 3.57 | 82.31
Unit 138 | 132 | 142 | 3.18 | 92.96
Unit 142 | 117 | 132 | 5.84 | 88.64
Unit 144 | 107 | 120 | 6.82 | 89.17
Unit 146 | 62 | 107 | 9.67 | 57.94
Unit 147 | 61 | 101 | 5.86 | 60.40