## Summary
Registered Entity: |  |  | *Relay data(i.e. buss information, location, and relay ID numbers) is necessary for this Survey. Please enter information on the "RELAY Information" tab.
Date/Time of Survey: | 5/11/2023, 11:00 AM
Size and location of customer load, or percentage of connected load to be interrupted.* |  | Supplemental/Anti-Stall | [7 empty] | Frequency Set Points | [7 empty] | • Any other schemes that are part of or impact the UFLS programs such as related generation protection, islanding schemes, automatic load restoration schemes, and Special Protection Systems. • Please indicate any other ERCOT-registered Transmission/Distribution Service Providers (TDSPs) whose load is represented by your company in this survey.
|  | 59.5 Hz ≥ 90 Seconds |  | 59.5 Hz ≥ 120 Seconds |  |  | 59.5 Hz ≥ 150 Seconds |  |  | 59.3 Hz |  | 58.9 Hz |  |  | 58.5 Hz
|  | At least 1.5% of TO Load |  | Total of at least 3% of TO Load |  |  | Total of at least 4.5% of TO Load |  |  | At least 5% of TO Load |  | Total of at least 15% of TO Load |  |  | Total of at least 25% of TO Load
Load Area | Total Area Load (MW) | Load Dropped (MW) | % Load Dropped | Load Dropped (MW) | % Load Dropped | Cumulative Total | Load Dropped (MW) | % Load Dropped | Cumulative Total | Load Dropped (MW) | % Load Dropped | Load Dropped (MW) | % Load Dropped | Cumulative Total | Load Dropped (MW) | % Load Dropped | Cumulative Total | Comments
Total TO Load Submitted | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Relay Information
Registered Entity: |  |  |  | Supplemental/Anti-Stall |  |  | UFLS
Date/Time of Survey: | 5/11/2023, 11:00 AM |  |  | Time Threshold | Time Threshold | Time Threshold | Block 1 | Block 2 | Block 3
|  |  |  | 59.5 Hz ≥ 90 Seconds | 59.5 Hz ≥ 120 Seconds | 59.5 Hz ≥ 150 Seconds | 59.3 Hz | 58.9 Hz | 58.5 Hz
Location/Load Area | PSSE Bus No | Circuit Designation | Load (MW) | Load Dropped for Time Threshold 1 (MW) | Load Dropped for Time Threshold 2 (MW) | Load Dropped for Time Threshold 3 (MW) | Load Dropped for Block 1 (MW) | Load Dropped for Block 2 (MW) | Load Dropped for Block 3 (MW)